## Financials Spreadsheet
Overall site PV financials
Panel information
Total Panel area | 3224
Number of 8m² panels | 403
Capacity | 483.6 kW(p)
Financials
Capital cost | 2015000 |  | http://info.cat.org.uk/solarcalculator
Loan term | 25
Interest rate | 6%
Capital loan | 2135900
3000 + estimated installation
Electricity |  |  | http://www.google.co.uk/search?ix=seb&sourceid=chrome&ie=UTF-8&q=100w+poly+panel#q=100w+poly+panel&hl=en&prmd=imvns&source=lnms&tbm=shop&ei=ya9GT-iRB8yp8APz_KGvDg&sa=X&oi=mode_link&ct=mode&cd=6&ved=0CD4Q_AUoBQ&bav=on.2,or.r_gc.r_pw.r_cp.r_qf.,cf.osb&fp=9aab1fd4dd9be69f&biw=1280&bih=675&ix=seb
Electricity produced per year (kWh/year ) | 2189328.4
Units used directly | 227690.1536 | 10.4%
Units sold to the grid | 1961638.2464 | 89.6%
Income generated per year |  |  | http://www.ofgem.gov.uk/Sustainability/Environment/fits/Documents1/Feed-in%20Tariff%20Table%201%20August%202011.pdf
FiT Generation Tariff | 459758.964 | 21p/kWh
Export income | 60810.7856 | 3.1p/kWh
Total annual gross income | 520569.7496
Total annual net income
Maintenance | 20150 | 1% | These feilds will increase the payback
Insurance | 10075 | 0.5% | Possibly use the formaula from the wind assignment
Upgrade/Decomissioning
Investment value
Payback time in years | 3.8708
Profit over 25 years | 10999243.741
Rate of Return
Environmental Impact
Energy required to produce your PV panels
Energy payback time
CO2 emissions avoided per year

## Data
Latitude: | 55°56'19" North,
Longitude: | 4°12'41" West
Nominal power of the PV system: | 1kWp
Inclination of modules: | 35deg.
Orientation (azimuth) of modules: | 0deg.
Fixed angle
Month |  | Ed | Em | Hd | Hm
1 |  | 0.68 | 21.1 | 0.82 | 25.4
2 |  | 1.32 | 37.1 | 1.62 | 45.3
3 |  | 2.13 | 66.2 | 2.67 | 82.6
4 |  | 3.07 | 92.2 | 3.96 | 119
5 |  | 3.55 | 110 | 4.66 | 145
6 |  | 3.45 | 104 | 4.62 | 139
7 |  | 3.36 | 104 | 4.5 | 140
8 |  | 2.85 | 88.5 | 3.79 | 117
9 |  | 2.28 | 68.5 | 2.96 | 88.8
10 |  | 1.42 | 44.1 | 1.79 | 55.3
11 |  | 0.91 | 27.4 | 1.11 | 33.3
12 |  | 0.49 | 15.1 | 0.59 | 18.2
Year |  | 2.13 | 64.9 | 2.76 | 84
Ed: Average daily electricity production from the given system (kWh)
Em: Average monthly electricity production from the given system (kWh)
Hd: Average daily sum of global irradiation per square meter received by the modules of the given system (kWh/m2)
Hm: Average sum of global irradiation per square meter received by the modules of the given system (kWh/m2)
PVGIS (c) European Communities, 2001-2010
Latitude: | 55°56'19" North,
Longitude: | 4°12'41" West
Nominal power of the PV system: | 1kWp
Inclination of modules: | 35deg.
Orientation (azimuth) of modules: | -90deg.
Fixed angle
Month |  | Ed | Em | Hd | Hm
1 |  | 0.31 | 9.58 | 0.45 | 13.8
2 |  | 0.77 | 21.5 | 1.02 | 28.5
3 |  | 1.53 | 47.4 | 1.95 | 60.5
4 |  | 2.55 | 76.4 | 3.27 | 98.1
5 |  | 3.24 | 101 | 4.22 | 131
6 |  | 3.3 | 99.1 | 4.37 | 131
7 |  | 3.14 | 97.3 | 4.16 | 129
8 |  | 2.48 | 76.9 | 3.27 | 102
9 |  | 1.73 | 52 | 2.27 | 68
10 |  | 0.91 | 28.2 | 1.2 | 37.1
11 |  | 0.44 | 13.2 | 0.61 | 18.4
12 |  | 0.21 | 6.44 | 0.31 | 9.7
Year |  | 1.72 | 52.4 | 2.26 | 68.9
Ed: Average daily electricity production from the given system (kWh)
Em: Average monthly electricity production from the given system (kWh)
Hd: Average daily sum of global irradiation per square meter received by the modules of the given system (kWh/m2)
Hm: Average sum of global irradiation per square meter received by the modules of the given system (kWh/m2)
PVGIS (c) European Communities, 2001-2010
Latitude: | 55°56'19" North,
Longitude: | 4°12'41" West
Nominal power of the PV system: | 1kWp
Inclination of modules: | 35deg.
Orientation (azimuth) of modules: | 90deg.
Fixed angle
Month |  | Ed | Em | Hd | Hm
1 |  | 0.32 | 9.94 | 0.46 | 14.2
2 |  | 0.77 | 21.5 | 1.02 | 28.5
3 |  | 1.53 | 47.5 | 1.96 | 60.7
4 |  | 2.54 | 76.1 | 3.27 | 98.1
5 |  | 3.23 | 100 | 4.22 | 131
6 |  | 3.29 | 98.7 | 4.37 | 131
7 |  | 3.13 | 96.9 | 4.16 | 129
8 |  | 2.48 | 76.7 | 3.28 | 102
9 |  | 1.73 | 51.9 | 2.27 | 68.1
10 |  | 0.91 | 28.3 | 1.2 | 37.3
11 |  | 0.45 | 13.3 | 0.62 | 18.6
12 |  | 0.21 | 6.58 | 0.32 | 9.83
Year |  | 1.72 | 52.3 | 2.27 | 69
Ed: Average daily electricity production from the given system (kWh)
Em: Average monthly electricity production from the given system (kWh)
Hd: Average daily sum of global irradiation per square meter received by the modules of the given system (kWh/m2)
Hm: Average sum of global irradiation per square meter received by the modules of the given system (kWh/m2)
PVGIS (c) European Communities, 2001-2010

## Sheet3
House Number | Measured Autocad Footprint | Total Floor area | Useful area | Maximum number of panels per Roof | ROOF ORIENTATION | Demand | Azimuth | Panel Area | PV Yield | Actual PV yield | Mod | Adjusted PV Yield
1 | 91.47 | 91.47 | 45.735 | 5 | 280 |  |  | 40
2 | 86.28 | 172.56 | 86.28 | 10 | 335 |  |  | 80
3 | 95.86 | 95.86 | 47.93 | 6 | 64 |  |  | 48
4 | 81.37 | 162.74 | 81.37 | 10 | 299 |  |  | 80
5 | 61.36 | 122.72 | 61.36 | 7 | 299 |  |  | 56
6 | 74.35 | 74.35 | 37.175 | 4 | 63 |  |  | 32
7 | 88.405 | 88.405 | 442.025 | 5 | 62 |  |  | 40
8 | 104.92 | 104.92 | 52.46 | 6 | 62 |  |  | 48
9 | 71.19 | 71.19 | 35.595 | 4 | 63 |  |  | 32
10 | 83.57 | 167.14 | 83.57 | 10 | 297 |  |  | 80
11 | 87.38 | 174.76 | 87.38 | 10 | 276 |  |  | 80
12 | 75.39 | 75.39 | 37.695 | 4 | 277 |  |  | 32
13 | 105.15 | 105.15 | 52.575 | 6 | 276 |  |  | 48
14 | 83.24 | 166.48 | 83.24 | 10 | 82 |  |  | 80
15 | 74.88 | 149.76 | 74.88 | 9 | 81 |  |  | 72
16 | 64.3 | 128.6 | 64.3 | 8 | 278 |  |  | 64
17 | 90.73 | 181.46 | 90.73 | 11 | 277 |  |  | 88
18 | 96.33 | 96.33 | 48.165 | 6 | 276 |  |  | 48
19 | 139.43 | 139.43 | 69.715 | 8 | 319 |  |  | 64
20 | 78.04 | 78.04 | 39.02 | 4 | 53 |  |  | 32
21 | 92.47 | 92.47 | 46.235 | 5 | 276 |  |  | 40
22 | 87.45 | 174.9 | 87.45 | 10 | 275 |  |  | 80
23 | 93.19 | 93.19 | 46.595 | 5 | 81 |  |  | 40
24 | 70.8 | 141.6 | 70.8 | 8 | 278 |  |  | 64
25 | 102.15 | 204.3 | 102.15 | 12 | 278 |  |  | 96
26 | 89.18 | 178.36 | 89.18 | 11 | 62 |  |  | 88
27 | 63.35 | 126.7 | 63.35 | 7 | 72 |  |  | 56
28 | 93.27 | 186.54 | 93.27 | 11 | 76 |  |  | 88
29 | 91.29 | 182.58 | 91.29 | 11 | 81 |  |  | 88
30 | 100.55 | 201.1 | 100.55 | 12 | 81 |  |  | 96
31 | 76.3 | 152.6 | 76.3 | 9 | 87 |  |  | 72
32a | 76.575 | 153.15 | 76.575 | 9 | 343 |  |  | 72
32b | 76.575 | 153.15 | 76.575 | 9 | 343 |  |  | 72
33a | 83.815 | 167.63 | 83.815 | 10 | 331 |  |  | 80
33b | 83.815 | 167.63 | 83.815 | 10 | 331 |  |  | 80
34 | 73.68 | 147.36 | 73.68 | 9 | 341 |  |  | 72
35 | 69.19 | 138.38 | 69.19 | 8 | 358 |  |  | 64
36 | 71.19 | 142.38 | 71.19 | 8 | 88 |  |  | 64
37 | 72.99 | 145.98 | 72.99 | 9 | 80 |  |  | 72
38 | 77.24 | 154.48 | 77.24 | 9 | 53 |  |  | 72
39 | 92.54 | 92.54 | 46.27 | 5 | 30 |  |  | 40
40 | 74.4 | 74.4 | 37.2 | 4 | -4 |  |  | 32
41 | 88.64 | 177.28 | 88.64 | 11 | -4 |  |  | 88
42 | 82.63 | 165.26 | 82.63 | 10 | 0 |  |  | 80
43 | 60.15 | 120.3 | 60.15 | 7 | 21 |  |  | 56
44 | 60.83 | 121.66 | 60.83 | 7 | 20 |  |  | 56
45 | 81.88 | 163.76 | 81.88 | 10 | 17 |  |  | 80
46 | 62.33 | 124.66 | 62.33 | 7 | 290 |  |  | 56
47 | 64.42 | 128.84 | 64.42 | 8 | 293 |  |  | 64
48 | 144.11 | 144.11 | 72.055 | 9 | 71 |  |  | 72
|  |  | Total panel | 403
|  |  | Total panel area (m²) | 3224
Note on H12: Iain: This is the angle of the PV modules relative to the direction due South. -90 deg. is East, 0 deg. is South and 90 deg. is West.

## Sheet4
House Number | KWh/panel | KWh/year
1 | 90.95 | 454.75
2 | 93.71 | 937.1
3 | 92.65 | 555.9
4 | 92.65 | 926.5
5 | 87 | 609
6 | 87 | 348
7 | 86.3 | 431.5
8 | 86.3 | 517.8
9 | 86.3 | 345.2
10 | 92 | 920
11 | 92 | 920
12 | 92 | 368
13 | 92 | 552
14 | 91.12 | 911.2
15 | 91 | 819
16 | 90.52 | 724.16
17 | 90.5 | 995.5
18 | 89.9 | 539.4
19 | 78 | 624
20 | 77.6 | 310.4
21 | 89.9 | 449.5
22 | 87.5 | 875
23 | 91 | 455
24 | 90.52 | 724.16
25 | 90.52 | 1086.24
26 | 85 | 935
27 | 88 | 616
28 | 88.3 | 971.3
29 | 91 | 1001
30 | 91 | 1092
31 | 90 | 810
32a | 86.8 | 781.2
32b | 86.8 | 781.2
33a | 76.62 | 766.2
33b | 76.62 | 766.2
34 | 87 | 783
35 | 86 | 688
36 | 86 | 688
37 | 91 | 819
38 | 85 | 765
39 | 79 | 395
40 | 90 | 360
41 | 90 | 990
42 | 92 | 920
43 | 81.6 | 571.2
44 | 81.65 | 571.55
45 | 83 | 830
46 | 81.65 | 571.55
47 | 80.1 | 640.8
48 | 87 | 783
35295.51
| 4370.08 | 35295.51 | 8.0766

## Demand per house type
| Pre 83 | [15 empty] | Assumtions
| 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | Air changes | Standard
| Detached | Detached | Detached | Detached | Semi-detached | Semi-detached | Semi-detached | Semi-detached | Detached | Detached | Detached | Detached | Semi-detached | Semi-detached | Semi-detached | Semi-detached | Capacity | High
| Main gas | Electricity | bio-boiler | oil | Main gas | Electricity | bio-boiler | oil | Main gas | Electricity | bio-boiler | oil | Main gas | Electricity | bio-boiler | oil | Window size | Standard
Total electrical demand KWh/m2 per year | 29.3 | 358.7 | 29.3 | 29.3 | 29.3 | 339.3 | 29.3 | 29.3 | 29.3 | 333.2 | 29.3 | 29.3 | 29.3 | 301.6 | 29.3 | 29.3 | Controls | Standard
Total thermal demand KWh/m2 per year | 553.3 | 31.7 | 478.8 | 478.8 | 522.5 | 31.7 | 452.4 | 452.4 | 512.8 | 31.7 | 444.1 | 444.1 | 462.8 | 31.7 | 401.2 | 401.2 | Lights | 100% lel
Kg CO2 emissions/m2 per year | 119.7 | 157 | 31 | 138.3 | 113.7 | 150.6 | 30.3 | 131.3 | 111.9 | 148 | 30.1 | 129.1 | 102.2 | 134.7 | 29 | 117.7 | Ventilation | natural
[17 empty] | Cooling | wet
[17 empty] | Climate | UK standards
| 83-2002 | [15 empty] | Gas boiler | low efficiency
| 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | Electricity | storage ht
| Detached | Detached | Detached | Detached | Semi-detached | Semi-detached | Semi-detached | Semi-detached | Detached | Detached | Detached | Detached | Semi-detached | Semi-detached | Semi-detached | Semi-detached | Bio boiler | m. eff.
| Main gas | Electricity | bio-boiler | oil | Main gas | Electricity | bio-boiler | oil | Main gas | Electricity | bio-boiler | oil | Main gas | Electricity | bio-boiler | oil | Oil boiler | m. eff.
Total electrical demand KWh/m2 per year | 29.3 | 232.2 | 29.3 | 29.3 | 29.3 | 215.2 | 29.3 | 29.3 | 29.3 | 211.6 | 29.3 | 29.3 | 29.3 | 192.1 | 29.3 | 29.3
Total thermal demand KWh/m2 per year | 353 | 31.7 | 307.1 | 307.1 | 326 | 31.7 | 284 | 284 | 320.3 | 31.7 | 279 | 279 | 289.4 | 31.7 | 252.6 | 252.6
Kg CO2 emissions/m2 per year | 80.9 | 105.4 | 26.7 | 92.8 | 75.6 | 98.2 | 26.1 | 86.6 | 72.9 | 96.7 | 26 | 85.3 | 68.5 | 88.5 | 25.3 | 78.3
2003-2007
| 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey
| Detached | Detached | Detached | Detached | Semi-detached | Semi-detached | Semi-detached | Semi-detached | Detached | Detached | Detached | Detached | Semi-detached | Semi-detached | Semi-detached | Semi-detached
| Main gas | Electricity | bio-boiler | oil | Main gas | Electricity | bio-boiler | oil | Main gas | Electricity | bio-boiler | oil | Main gas | Electricity | bio-boiler | oil
Total electrical demand KWh/m2 per year | 29.3 | 141 | 29.3 | 29.3 | 29.3 | 134.9 | 29.3 | 29.3 | 29.3 | 132.5 | 29.3 | 29.3 | 29.3 | 125.2 | 29.3 | 29.3
Total thermal demand KWh/m2 per year | 208.6 | 31.7 | 183.3 | 208.6 | 198.9 | 31.7 | 175 | 175 | 195.1 | 31.7 | 195.1 | 171.7 | 183.5 | 31.7 | 161.8 | 183.5
Kg CO2 emissions/m2 per year | 52.8 | 65.3 | 23.6 | 66.7 | 49.4 | 64.4 | 23.4 | 57.8 | 48.7 | 63.3 | 23.9 | 56.9 | 48 | 60.3 | 23 | 60
Post 2007
| 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 1 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey | 2 Storey
| Detached | Detached | Detached | Detached | Semi-detached | Semi-detached | Semi-detached | Semi-detached | Detached | Detached | Detached | Detached | Semi-detached | Semi-detached | Semi-detached | Semi-detached
| Main gas | Electricity | bio-boiler | oil | Main gas | Electricity | bio-boiler | oil | Main gas | Electricity | bio-boiler | oil | Main gas | Electricity | bio-boiler | oil
Total electrical demand KWh/m2 per year | 29.3 | 119.1 | 29.3 | 29.3 | 29.3 | 114.3 | 29.3 | 29.3 | 29.3 | 115.5 | 29.3 | 29.3 | 29.3 | 107 | 29.3 | 29.3
Total thermal demand KWh/m2 per year | 173.9 | 31.7 | 153.6 | 153.6 | 166.2 | 31.7 | 147 | 147 | 168.1 | 31.7 | 148.6 | 168.1 | 154.6 | 31.7 | 137.1 | 137.1
Kg CO2 emissions/m2 per year | 46.1 | 57.7 | 22.8 | 52.1 | 44.6 | 55.6 | 22.7 | 50.3 | 45 | 54.4 | 22.7 | 55.9 | 42.4 | 52.6 | 22.4 | 47.7

## Sheet1
Cost of panel and installation | kWh | £
100W Panel (Poly)
Electricity produced per year |  | Units (in kWh)
units used directly | 10,4 % of 35295kWh =
units sold to the grid | 89,6% of 35295 kWh =
Total electricity generated
Income generated per year (based on Tariffs from 12 Dec 2011) £
Fit Generation Tariff | y p/kWh for x kWh =
Export income | y p/kWh for x kWh =
Electricity savings | y p/kWh for x kWh =
Total annual income & savings
Investment value
Payback time | cost of panels - annual income and savings(x years) = | years
Profit over 25 years | annual income and savings x 25 years | £
Other things to consider adding:
maintenance
replacement of equipment
additional installation costs
PV panel insurance
tax on FIT payments (applicable to companies who own the property and rent it out

## The Sheet
http://re.jrc.ec.europa.eu/pvgis/apps4/pvest.php
[16 empty] | Daily av kWh | Yearly kWh
[14 empty] | E | -90 | 1.72 | 627.8
[14 empty] | S | 0 | 2.13 | 777.45
720 | [13 empty] | W | 90 | 1.72 | 627.8
[15 empty] | Yearly elec prod | 2189328.4
|  |  | Electrical demand |  | Heating
House Number | Type of House | HEM | KWh /m2 per year | KWh per year | KWh /m2 per year | KWh per year | Total Floor area | Useful area | Panels per roof |  |  | Orientation |  | Azimuth | Yearly kWh m^2 | Yearly kWh | Capital cost |  | MERIT ROOF ORIENTATION | Notes | MERIT | KWh/panel per year | KWh/year
1 | Single Storey |  | 29.3 | 2680.071 | 353 | 32288.91 | 91.47 | 45.735 | 5.7 | 5 | 0 | 100 | SW | -90 | 627.8 | 25112 | 14000 |  | 280 | Ineverter efficiency 0.95 |  | 720 | 3600
2 | Double Storey |  | 29.3 | 5056.008 | 320.3 | 110541.936 | 172.56 | 86.28 | 10.8 | 10 | 0 | 155 | SW | 0 | 777.45 | 62196 | 28000 |  | 335 |  |  | 720 | 7200
3 | Single Storey |  | 29.3 | 2808.698 | 353 | 33838.58 | 95.86 | 47.93 | 6 | 6 | 0 | 154 | SE | 0 | 777.45 | 37317.6 | 16800 |  | 64 |  |  | 720 | 4320
4 | Double Storey |  | 29.3 | 4768.282 | 320.3 | 104251.244 | 162.74 | 81.37 | 10.2 | 10 | 0 | 119 | SW | -90 | 627.8 | 50224 | 28000 |  | 299 |  |  | 720 | 7200
5 | Double Storey |  | 29.3 | 3595.696 | 320.3 | 78614.432 | 122.72 | 61.36 | 7.7 | 7 | 0 | 119 | SW | -90 | 627.8 | 35156.8 | 19600 |  | 299 |  |  | 720 | 5040
6 | Single Storey |  | 29.3 | 2178.455 | 353 | 26245.55 | 74.35 | 37.175 | 4.6 | 4 | 4 | 153 | SE | 0 | 777.45 | 24878.4 | 11200 |  | 63 |  |  | 720 | 2880
7 | Single Storey |  | 29.3 | 2590.2665 | 353 | 31206.965 | 88.405 | 44.2025 | 5.5 | 5 | 0 | 152 | SE | 0 | 777.45 | 31098 | 14000 |  | 62 |  |  | 720 | 3600
8 | Single Storey |  | 29.3 | 3074.156 | 353 | 37036.76 | 104.92 | 52.46 | 6.6 | 6 | 0 | 152 | SE | 0 | 777.45 | 37317.6 | 16800 |  | 62 |  |  | 720 | 4320
9 | Single Storey |  | 29.3 | 2085.867 | 353 | 25130.07 | 71.19 | 35.595 | 4.4 | 4 | 4 | 153 | SE | 0 | 777.45 | 24878.4 | 11200 |  | 63 |  |  | 720 | 2880
10 | Double Storey |  | 29.3 | 4897.202 | 320.3 | 107069.884 | 167.14 | 83.57 | 10.4 | 10 | 0 | 117 | SW | -90 | 627.8 | 50224 | 28000 |  | 297 |  |  | 720 | 7200
11 | Double Storey |  | 29.3 | 5120.468 | 320.3 | 111951.256 | 174.76 | 87.38 | 10.9 | 10 | 0 | 96 | SW | -90 | 627.8 | 50224 | 28000 |  | 276 |  |  | 720 | 7200
12 | Single Storey |  | 29.3 | 2208.927 | 353 | 26612.67 | 75.39 | 37.695 | 4.7 | 4 | 4 | 97 | SW | -90 | 627.8 | 20089.6 | 11200 |  | 277 |  |  | 720 | 2880
13 | Single Storey |  | 29.3 | 3080.895 | 353 | 37117.95 | 105.15 | 52.575 | 6.6 | 6 | 0 | 96 | SW | -90 | 627.8 | 30134.4 | 16800 |  | 276 |  |  | 720 | 4320
14 | Double Storey |  | 29.3 | 4877.864 | 320.3 | 106647.088 | 166.48 | 83.24 | 10.4 | 10 | 0 | 172 | SE | 0 | 777.45 | 62196 | 28000 |  | 82 |  |  | 720 | 7200
15 | Double Storey |  | 29.3 | 4387.968 | 320.3 | 95936.256 | 149.76 | 74.88 | 9.4 | 9 | 0 | 171 | SE | 0 | 777.45 | 55976.4 | 25200 |  | 81 |  |  | 720 | 6480
16 | Double Storey |  | 29.3 | 3767.98 | 320.3 | 82381.16 | 128.6 | 64.3 | 8 | 8 | 0 | 98 | SW | -90 | 627.8 | 40179.2 | 22400 |  | 278 |  |  | 720 | 5760
17 | Double Storey |  | 29.3 | 5316.778 | 320.3 | 116243.276 | 181.46 | 90.73 | 11.3 | 11 | 0 | 97 | SW | -90 | 627.8 | 55246.4 | 30800 |  | 277 |  |  | 720 | 7920
18 | Single Storey |  | 29.3 | 2822.469 | 353 | 34004.49 | 96.33 | 48.165 | 6 | 6 | 0 | 96 | SW | -90 | 627.8 | 30134.4 | 16800 |  | 276 |  |  | 720 | 4320
19 | Single Storey |  | 29.3 | 4085.299 | 353 | 49218.79 | 139.43 | 69.715 | 8.7 | 8 | 0 | 139 | SW | -90 | 627.8 | 40179.2 | 22400 |  | 319 |  |  | 720 | 5760
20 | Single Storey |  | 29.3 | 2286.572 | 353 | 27548.12 | 78.04 | 39.02 | 4.9 | 4 | 4 | 143 | SE | -90 | 627.8 | 20089.6 | 11200 |  | 53 |  |  | 720 | 2880
21 | Single Storey |  | 29.3 | 2709.371 | 353 | 32641.91 | 92.47 | 46.235 | 5.8 | 5 | 0 | 96 | SW | -90 | 627.8 | 25112 | 14000 |  | 276 |  |  | 720 | 3600
22 | Double Storey |  | 29.3 | 5124.57 | 320.3 | 112040.94 | 174.9 | 87.45 | 10.9 | 10 | 0 | 95 | SW | -90 | 627.8 | 50224 | 28000 |  | 275 |  |  | 720 | 7200
23 | Single Storey |  | 29.3 | 2730.467 | 353 | 32896.07 | 93.19 | 46.595 | 5.8 | 5 | 0 | 171 | SE | 0 | 777.45 | 31098 | 14000 |  | 81 |  |  | 720 | 3600
24 | Double Storey |  | 29.3 | 4148.88 | 320.3 | 90708.96 | 141.6 | 70.8 | 8.9 | 8 | 0 | 98 | SW | -90 | 627.8 | 40179.2 | 22400 |  | 278 |  |  | 720 | 5760
25 | Double Storey |  | 29.3 | 5985.99 | 320.3 | 130874.58 | 204.3 | 102.15 | 12.8 | 12 | 0 | 98 | SW | -90 | 627.8 | 60268.8 | 33600 |  | 278 |  |  | 720 | 8640
26 | Double Storey |  | 29.3 | 5225.948 | 320.3 | 114257.416 | 178.36 | 89.18 | 11.1 | 11 | 0 | 152 | SE | 0 | 777.45 | 68415.6 | 30800 |  | 62 |  |  | 720 | 7920
27 | Double Storey |  | 29.3 | 3712.31 | 320.3 | 81164.02 | 126.7 | 63.35 | 7.9 | 7 | 0 | 162 | SE | 0 | 777.45 | 43537.2 | 19600 |  | 72 |  |  | 720 | 5040
28 | Double Storey |  | 29.3 | 5465.622 | 320.3 | 119497.524 | 186.54 | 93.27 | 11.7 | 11 | 0 | 166 | SE | 0 | 777.45 | 68415.6 | 30800 |  | 76 |  |  | 720 | 7920
29 | Double Storey |  | 29.3 | 5349.594 | 320.3 | 116960.748 | 182.58 | 91.29 | 11.4 | 11 | 0 | 171 | SE | 0 | 777.45 | 68415.6 | 30800 |  | 81 |  |  | 720 | 7920
30 | Double Storey |  | 29.3 | 5892.23 | 320.3 | 128824.66 | 201.1 | 100.55 | 12.6 | 12 | 0 | 171 | SE | 0 | 777.45 | 74635.2 | 33600 |  | 81 |  |  | 720 | 8640
31 | Double Storey |  | 29.3 | 4471.18 | 320.3 | 97755.56 | 152.6 | 76.3 | 9.5 | 9 | 0 | 177 | SE | 0 | 777.45 | 55976.4 | 25200 |  | 87 |  |  | 720 | 6480
32a | semi 2storey |  | 29.3 | 2243.6475 | 320.3 | 98107.89 | 153.15 | 76.575 | 9.6 | 9 | 9 | 163 | SW | 0 | 777.45 | 55976.4 | 25200 |  | 343 |  |  | 720 | 6480
32b | semi 2storey |  | 29.3 | 2243.6475 | 320.3 | 98107.89 | 153.15 | 76.575 | 9.6 | 9 | 9 | 163 | SW | 0 | 777.45 | 55976.4 | 25200 |  | 343 |  |  | 720 | 6480
33a | semi 2storey |  | 29.3 | 2455.7795 | 320.3 | 107383.778 | 167.63 | 83.815 | 10.5 | 10 | 10 | 151 | SE | 0 | 777.45 | 62196 | 28000 |  | 331 |  |  | 720 | 7200
33b | semi 2storey |  | 29.3 | 2455.7795 | 320.3 | 107383.778 | 167.63 | 83.815 | 10.5 | 10 | 10 | 151 | SE | 0 | 777.45 | 62196 | 28000 |  | 331 |  |  | 720 | 7200
34 | Double Storey |  | 29.3 | 4317.648 | 320.3 | 94398.816 | 147.36 | 73.68 | 9.2 | 9 | 0 | 161 | SE | 0 | 777.45 | 55976.4 | 25200 |  | 341 |  |  | 720 | 6480
35 | Double Storey |  | 29.3 | 4054.534 | 320.3 | 88646.228 | 138.38 | 69.19 | 8.6 | 8 | 0 | 178 | SW | 0 | 777.45 | 49756.8 | 22400 |  | 358 |  |  | 720 | 5760
36 | Double Storey |  | 29.3 | 4171.734 | 320.3 | 91208.628 | 142.38 | 71.19 | 8.9 | 8 | 0 | 178 | SE | 0 | 777.45 | 49756.8 | 22400 |  | 88 |  |  | 720 | 5760
37 | Double Storey |  | 29.3 | 4277.214 | 320.3 | 93514.788 | 145.98 | 72.99 | 9.1 | 9 | 0 | 170 | SE | 0 | 777.45 | 55976.4 | 25200 |  | 80 |  |  | 720 | 6480
38 | Double Storey |  | 29.3 | 4526.264 | 320.3 | 98959.888 | 154.48 | 77.24 | 9.7 | 9 | 0 | 143 | SE | -90 | 627.8 | 45201.6 | 25200 |  | 53 |  |  | 720 | 6480
39 | Single Storey |  | 29.3 | 2711.422 | 353 | 32666.62 | 92.54 | 46.27 | 5.8 | 5 | 0 | 120 | SE | -90 | 627.8 | 25112 | 14000 |  | 30 |  |  | 720 | 3600
40 | Single Storey |  | 29.3 | 2179.92 | 353 | 26263.2 | 74.4 | 37.2 | 4.7 | 4 | 4 | 86 | SE |  |  |  | 11200 |  | 4 |  |  | 720 | 2880
41 | Double Storey |  | 29.3 | 5194.304 | 320.3 | 113565.568 | 177.28 | 88.64 | 11.1 | 11 | 0 | 86 | SE |  |  |  | 30800 |  | 4 |  |  | 720 | 7920
42 | Double Storey |  | 29.3 | 4842.118 | 320.3 | 105865.556 | 165.26 | 82.63 | 10.3 | 10 | 0 | 90 | SE | -90 | 627.8 | 50224 | 28000 |  | 0 |  |  | 720 | 7200
43 | Double Storey |  | 29.3 | 3524.79 | 320.3 | 77064.18 | 120.3 | 60.15 | 7.5 | 7 | 0 | 111 | SE | -90 | 627.8 | 35156.8 | 19600 |  | 21 |  |  | 720 | 5040
44 | Double Storey |  | 29.3 | 3564.638 | 320.3 | 77935.396 | 121.66 | 60.83 | 7.6 | 7 | 0 | 110 | SE | -90 | 627.8 | 35156.8 | 19600 |  | 20 |  |  | 720 | 5040
45 | Double Storey |  | 29.3 | 4798.168 | 320.3 | 104904.656 | 163.76 | 81.88 | 10.2 | 10 | 0 | 107 | SE | -90 | 627.8 | 50224 | 28000 |  | 17 |  |  | 720 | 7200
46 | Double Storey |  | 29.3 | 3652.538 | 320.3 | 79857.196 | 124.66 | 62.33 | 7.8 | 7 | 0 | 110 | SW | -90 | 627.8 | 35156.8 | 19600 |  | 290 |  |  | 720 | 5040
47 | Double Storey |  | 29.3 | 3775.012 | 320.3 | 82534.904 | 128.84 | 64.42 | 8.1 | 8 | 0 | 113 | SW | -90 | 627.8 | 40179.2 | 22400 |  | 293 |  |  | 720 | 5760
48 | Single Storey |  | 29.3 | 4222.423 | 353 | 50870.83 | 144.11 | 72.055 | 9 | 9 | 0 | 161 | SE | 0 | 777.45 | 55976.4 | 25200 |  | 71 |  |  | 720 | 6480
|  |  |  | 191717.6645 |  | 32288.91 |  |  |  |  | 58 | [11 empty] | 290160
|  |  |  | 2085.867 | [11 empty] | 2189328.4 | 1128400
5985.99
| http://re.jrc.ec.europa.eu/pvgis/apps4/pvest.php | [14 empty] | EMI | 8084.2081 | 97010.4968
[6 empty] | Daily av kWh | Yearly kWh | [8 empty] | EYI | 97010.4968
|  |  |  | E | -90 | 1.72 | 627.8
|  |  |  | S | 0 | 2.13 | 777.45 | [8 empty] | Total electrical profit |  | 82695.6
|  |  |  | W | 90 | 1.72 | 627.8
[16 empty] | Owner savings |  | 13927.68
[16 empty] | Resco profits |  | 66156.48
[5 empty] | Yearly elec prod | 0
[5 empty] | Capital cost per panel£/KWp | 2800
[5 empty] | ROC/MWh | 2
[5 empty] | Price ROC(£) | 50
[5 empty] | Loan term | 20 | term | 12 | months
[5 empty] | Interest rate | 6% | term interest rate | 0.005 | int rate / term

## Final Sheet
FIT Rates | Generation | Savings | Export
0 to 4 kWp | 0.21 | 0.12 | 0.032
4 to 10 kWp | 0.168 | 0.12 | 0.032
10 to 50 kWp | 0.152 | 0.12 | 0.032
Capital Cost of panel / kwp | 5500
% discount on bulk purchase of panels
Total Capital Outlay/panel
% insurance | 0.002
% maintenance | 0.002
Finance Interest Rate
[7 empty] | DEMAND MODEL |  |  |  |  | SUPPLY MODEL | [5 empty] | DEMAND VS SUPPLY ANALYSIS |  |  |  | FINANCE
[7 empty] | Electrical demand | Total Annual Electrical Demand | Approximations | Heating Demand | Total Annual Heating Demand | [17 empty] | Operational Spread
|  |  |  | House Number | Type of House | Total Floor area | KWh /m2 per year | KWh / year |  | KWh / m2 / year | KWh / year | Useful Roof Area (m2) | Orientation (azimuth from South through East Anti-Clockwise - degree angle) | Inclination (degree angle) | Panels per roof (nos. set of 4 panels = 1kWp approx) | kWh / m2 panel / yr | Total Yearly Output (kWh) | Total Renewable PV energy Generated | Total Energy Match (kWh) | Total Energy Surplus (kWh) | Total Energy deficit (kWh) | Capital Outlay | Home Owner Down Payment | Grant (one time) | Annualized Capital Cost (capital outlay - downpayment - grant) | Maintenance (annual) | Insurance (annual) | Total yearly expense | FIT Income for Generation (pounds) | Grid Electricity displacement Savings (Pounds) | Export Income (pounds) | Total yearly Real Net Cashflow = Generation + export | Total yearly perceived net cashflow = generation + export +savings | Payback Period (AG 22) | Payback Period (AG23)
|  |  |  | 1 | Single Storey | 91.47 | 29.3 | 2680.071 | 2750 | 353 | 32288.91 | 45.735 | 280 | 40 | 5 | 720 | 3600 | 3640 | 1610 | 1980 | 2720 | 27500 | 1000 | 500 | 26000 | 55 | 55 | 110 | 611.52 | 193.2 | 63.36 | 564.88 | 758.08 | 71.2972 | 52.4712
|  |  |  | 2 | Double Storey | 172.56 | 29.3 | 5056.008 | 5250 | 320.3 | 55270.968 | 86.28 | 335 | 40 | 10 | 720 | 7200 | 7280 | 2820 | 4350 | 4470 | 55000 | 1000 | 500 | 53500 | 110 | 110 | 220 | 1223.04 | 338.4 | 139.2 | 1142.24 | 1480.64 | 77.2278 | 59.5142
|  |  |  | 3 | Single Storey | 95.86 | 29.3 | 2808.698 | 2750 | 353 | 33838.58 | 47.93 | 64 | 40 | 5 | 720 | 3600 | 3640 | 1610 | 1980 | 2720 | 27500 | 1000 | 500 | 26000 | 55 | 55 | 110 | 611.52 | 193.2 | 63.36 | 564.88 | 758.08 | 71.2972 | 52.4712
|  |  |  | 4 | Double Storey | 162.74 | 29.3 | 4768.282 | 4750 | 320.3 | 52125.622 | 81.37 | 299 | 40 | 10 | 720 | 7200 | 7280 | 2670 | 4500 | 4120 | 55000 | 1000 | 500 | 53500 | 110 | 110 | 220 | 1223.04 | 320.4 | 144 | 1147.04 | 1467.44 | 78.4539 | 61.2059
|  |  |  | 5 | Double Storey | 122.72 | 29.3 | 3595.696 | 3750 | 320.3 | 39307.216 | 61.36 | 299 | 40 | 7 | 720 | 5040 | 5100 | 2180 | 2840 | 3630 | 38500 | 1000 | 500 | 37000 | 77 | 77 | 154 | 856.8 | 261.6 | 90.88 | 793.68 | 1055.28 | 73.6779 | 55.1237
|  |  |  | 6 | Single Storey | 74.35 | 29.3 | 2178.455 | 2250 | 353 | 26245.55 | 37.175 | 63 | 40 | 4 | 720 | 2880 | 2910 | 1510 | 1360 | 2820 | 22000 | 1000 | 500 | 20500 | 44 | 44 | 88 | 611.1 | 181.2 | 43.52 | 566.62 | 747.82 | 53.1884 | 33.03
|  |  |  | 7 | Single Storey | 88.405 | 29.3 | 2590.2665 | 2750 | 353 | 31206.965 | 44.2025 | 62 | 40 | 5 | 720 | 3600 | 3640 | 1610 | 1980 | 2720 | 27500 | 1000 | 500 | 26000 | 55 | 55 | 110 | 611.52 | 193.2 | 63.36 | 564.88 | 758.08 | 71.2972 | 52.4712
|  |  |  | 8 | Single Storey | 104.92 | 29.3 | 3074.156 | 3250 | 353 | 37036.76 | 52.46 | 62 | 40 | 6 | 720 | 4320 | 4370 | 1960 | 2340 | 3350 | 33000 | 1000 | 500 | 31500 | 66 | 66 | 132 | 734.16 | 235.2 | 74.88 | 677.04 | 912.24 | 72.0008 | 53.0379
|  |  |  | 9 | Single Storey | 71.19 | 29.3 | 2085.867 | 2250 | 353 | 25130.07 | 35.595 | 63 | 40 | 4 | 720 | 2880 | 2910 | 1510 | 1360 | 2820 | 22000 | 1000 | 500 | 20500 | 44 | 44 | 88 | 611.1 | 181.2 | 43.52 | 566.62 | 747.82 | 53.1884 | 33.03
|  |  |  | 10 | Double Storey | 167.14 | 29.3 | 4897.202 | 4750 | 320.3 | 53534.942 | 83.57 | 297 | 40 | 10 | 720 | 7200 | 7280 | 2670 | 4500 | 4120 | 55000 | 1000 | 500 | 53500 | 110 | 110 | 220 | 1223.04 | 320.4 | 144 | 1147.04 | 1467.44 | 78.4539 | 61.2059
|  |  |  | 11 | Double Storey | 174.76 | 29.3 | 5120.468 | 5250 | 320.3 | 55975.628 | 87.38 | 276 | 40 | 10 | 720 | 7200 | 7280 | 1610 | 1980 | 2720 | 55000 | 1000 | 500 | 53500 | 110 | 110 | 220 | 1223.04 | 193.2 | 63.36 | 1066.4 | 1259.6 | 129.6149 | 110.7889
|  |  |  | 12 | Single Storey | 75.39 | 29.3 | 2208.927 | 2250 | 353 | 26612.67 | 37.695 | 277 | 40 | 4 | 720 | 2880 | 2910 | 1510 | 1360 | 2820 | 22000 | 1000 | 500 | 20500 | 44 | 44 | 88 | 611.1 | 181.2 | 43.52 | 566.62 | 747.82 | 53.1884 | 33.03
|  |  |  | 13 | Single Storey | 105.15 | 29.3 | 3080.895 | 3250 | 353 | 37117.95 | 52.575 | 276 | 40 | 6 | 720 | 4320 | 4370 | 1960 | 2340 | 3350 | 33000 | 1000 | 500 | 31500 | 66 | 66 | 132 | 734.16 | 235.2 | 74.88 | 677.04 | 912.24 | 72.0008 | 53.0379
|  |  |  | 14 | Double Storey | 166.48 | 29.3 | 4877.864 | 4750 | 320.3 | 53323.544 | 83.24 | 82 | 40 | 10 | 720 | 7200 | 7280 | 2670 | 4500 | 4120 | 55000 | 1000 | 500 | 53500 | 110 | 110 | 220 | 1223.04 | 320.4 | 144 | 1147.04 | 1467.44 | 78.4539 | 61.2059
|  |  |  | 15 | Double Storey | 149.76 | 29.3 | 4387.968 | 4250 | 320.3 | 47968.128 | 74.88 | 81 | 40 | 9 | 720 | 6480 | 6560 | 2460 | 4000 | 3840 | 49500 | 1000 | 500 | 48000 | 99 | 99 | 198 | 1102.08 | 295.2 | 128 | 1032.08 | 1327.28 | 77.4527 | 60.0142
|  |  |  | 16 | Double Storey | 128.6 | 29.3 | 3767.98 | 3750 | 320.3 | 41190.58 | 64.3 | 278 | 40 | 8 | 720 | 5760 | 5830 | 2250 | 3490 | 3560 | 44000 | 1000 | 500 | 42500 | 88 | 88 | 176 | 979.44 | 270 | 111.68 | 915.12 | 1185.12 | 76.4096 | 58.7246
|  |  |  | 17 | Double Storey | 181.46 | 29.3 | 5316.778 | 5250 | 320.3 | 58121.638 | 90.73 | 277 | 40 | 11 | 720 | 7920 | 8010 | 2890 | 5010 | 4410 | 60500 | 1000 | 500 | 59000 | 121 | 121 | 242 | 1217.52 | 346.8 | 160.32 | 1135.84 | 1482.64 | 85.3486 | 68.2521
|  |  |  | 18 | Single Storey | 96.33 | 29.3 | 2822.469 | 2750 | 353 | 34004.49 | 48.165 | 276 | 40 | 6 | 720 | 4320 | 4370 | 1680 | 2630 | 2640 | 33000 | 1000 | 500 | 31500 | 66 | 66 | 132 | 734.16 | 201.6 | 84.16 | 686.32 | 887.92 | 75.189 | 57.5518
|  |  |  | 19 | Single Storey | 139.43 | 29.3 | 4085.299 | 4250 | 353 | 49218.79 | 69.715 | 319 | 40 | 8 | 720 | 5760 | 5830 | 2400 | 3350 | 3910 | 44000 | 1000 | 500 | 42500 | 88 | 88 | 176 | 979.44 | 288 | 107.2 | 910.64 | 1198.64 | 74.9342 | 56.7156
|  |  |  | 20 | Single Storey | 78.04 | 29.3 | 2286.572 | 2250 | 353 | 27548.12 | 39.02 | 53 | 40 | 4 | 720 | 2880 | 2910 | 1510 | 1360 | 2820 | 22000 | 1000 | 500 | 20500 | 44 | 44 | 88 | 611.1 | 181.2 | 43.52 | 566.62 | 747.82 | 53.1884 | 33.03
|  |  |  | 21 | Single Storey | 92.47 | 29.3 | 2709.371 | 2750 | 353 | 32641.91 | 46.235 | 276 | 40 | 5 | 720 | 3600 | 3640 | 1610 | 1980 | 2720 | 27500 | 1000 | 500 | 26000 | 55 | 55 | 110 | 611.52 | 193.2 | 63.36 | 564.88 | 758.08 | 71.2972 | 52.4712
|  |  |  | 22 | Double Storey | 174.9 | 29.3 | 5124.57 | 5250 | 320.3 | 56020.47 | 87.45 | 275 | 40 | 10 | 720 | 7200 | 7280 | 2820 | 4350 | 4470 | 55000 | 1000 | 500 | 53500 | 110 | 110 | 220 | 1223.04 | 338.4 | 139.2 | 1142.24 | 1480.64 | 77.2278 | 59.5142
|  |  |  | 23 | Single Storey | 93.19 | 29.3 | 2730.467 | 2750 | 353 | 32896.07 | 46.595 | 81 | 40 | 5 | 720 | 3600 | 3640 | 1510 | 1360 | 2820 | 27500 | 1000 | 500 | 26000 | 55 | 55 | 110 | 611.52 | 181.2 | 43.52 | 545.04 | 726.24 | 80.0641 | 59.9057
|  |  |  | 24 | Double Storey | 141.6 | 29.3 | 4148.88 | 4250 | 320.3 | 45354.48 | 70.8 | 278 | 40 | 8 | 720 | 5760 | 5830 | 2400 | 3350 | 3910 | 44000 | 1000 | 500 | 42500 | 88 | 88 | 176 | 979.44 | 288 | 107.2 | 910.64 | 1198.64 | 74.9342 | 56.7156
|  |  |  | 25 | Double Storey | 204.3 | 29.3 | 5985.99 | 5750 | 320.3 | 65437.29 | 102.15 | 278 | 40 | 12 | 720 | 8640 | 8740 | 3100 | 5520 | 4690 | 66000 | 1000 | 500 | 64500 | 132 | 132 | 264 | 1328.48 | 372 | 176.64 | 1241.12 | 1613.12 | 86.009 | 69.058
|  |  |  | 26 | Double Storey | 178.36 | 29.3 | 5225.948 | 5250 | 320.3 | 57128.708 | 89.18 | 62 | 40 | 11 | 720 | 7920 | 8010 | 2890 | 5010 | 4410 | 60500 | 1000 | 500 | 59000 | 121 | 121 | 242 | 1217.52 | 346.8 | 160.32 | 1135.84 | 1482.64 | 85.3486 | 68.2521
|  |  |  | 27 | Double Storey | 126.7 | 29.3 | 3712.31 | 3750 | 320.3 | 40582.01 | 63.35 | 72 | 40 | 7 | 720 | 5040 | 5100 | 2180 | 2840 | 3630 | 38500 | 1000 | 500 | 37000 | 77 | 77 | 154 | 856.8 | 261.6 | 90.88 | 793.68 | 1055.28 | 73.6779 | 55.1237
|  |  |  | 28 | Double Storey | 186.54 | 29.3 | 5465.622 | 5250 | 320.3 | 59748.762 | 93.27 | 76 | 40 | 11 | 720 | 7920 | 8010 | 2890 | 5010 | 4410 | 60500 | 1000 | 500 | 59000 | 121 | 121 | 242 | 1217.52 | 346.8 | 160.32 | 1135.84 | 1482.64 | 85.3486 | 68.2521
|  |  |  | 29 | Double Storey | 182.58 | 29.3 | 5349.594 | 5250 | 320.3 | 58480.374 | 91.29 | 81 | 40 | 11 | 720 | 7920 | 8010 | 2890 | 5010 | 4410 | 60500 | 1000 | 500 | 59000 | 121 | 121 | 242 | 1217.52 | 346.8 | 160.32 | 1135.84 | 1482.64 | 85.3486 | 68.2521
|  |  |  | 30 | Double Storey | 201.1 | 29.3 | 5892.23 | 5750 | 320.3 | 64412.33 | 100.55 | 81 | 40 | 12 | 720 | 8640 | 8740 | 3100 | 5520 | 4690 | 66000 | 1000 | 500 | 64500 | 132 | 132 | 264 | 1328.48 | 372 | 176.64 | 1241.12 | 1613.12 | 86.009 | 69.058
|  |  |  | 31 | Double Storey | 152.6 | 29.3 | 4471.18 | 4250 | 320.3 | 48877.78 | 76.3 | 87 | 40 | 9 | 720 | 6480 | 6560 | 2460 | 4000 | 3840 | 49500 | 1000 | 500 | 48000 | 99 | 99 | 198 | 1102.08 | 295.2 | 128 | 1032.08 | 1327.28 | 77.4527 | 60.0142
|  |  |  | 32a | semi 2storey | 153.15 | 29.3 | 4487.295 | 4250 | 320.3 | 49053.945 | 76.575 | 343 | 40 | 9 | 720 | 6480 | 6560 | 2460 | 4000 | 3840 | 49500 | 1000 | 500 | 48000 | 99 | 99 | 198 | 1102.08 | 295.2 | 128 | 1032.08 | 1327.28 | 77.4527 | 60.0142
|  |  |  | 32b | semi 2storey | 153.15 | 29.3 | 4487.295 | 4250 | 320.3 | 49053.945 | 76.575 | 343 | 40 | 9 | 720 | 6480 | 6560 | 2460 | 4000 | 3840 | 49500 | 1000 | 500 | 48000 | 99 | 99 | 198 | 1102.08 | 295.2 | 128 | 1032.08 | 1327.28 | 77.4527 | 60.0142
|  |  |  | 33a | semi 2storey | 167.63 | 29.3 | 4911.559 | 4750 | 320.3 | 53691.889 | 83.815 | 331 | 40 | 10 | 720 | 7200 | 7280 | 2670 | 4500 | 4120 | 55000 | 1000 | 500 | 53500 | 110 | 110 | 220 | 1223.04 | 320.4 | 144 | 1147.04 | 1467.44 | 78.4539 | 61.2059
|  |  |  | 33b | semi 2storey | 167.63 | 29.3 | 4911.559 | 4750 | 320.3 | 53691.889 | 83.815 | 331 | 40 | 10 | 720 | 7200 | 7280 | 2670 | 4500 | 4120 | 55000 | 1000 | 500 | 53500 | 110 | 110 | 220 | 1223.04 | 320.4 | 144 | 1147.04 | 1467.44 | 78.4539 | 61.2059
|  |  |  | 34 | Double Storey | 147.36 | 29.3 | 4317.648 | 4250 | 320.3 | 47199.408 | 73.68 | 341 | 40 | 9 | 720 | 6480 | 6560 | 2460 | 4000 | 3840 | 49500 | 1000 | 500 | 48000 | 99 | 99 | 198 | 1102.08 | 295.2 | 128 | 1032.08 | 1327.28 | 77.4527 | 60.0142
|  |  |  | 35 | Double Storey | 138.38 | 29.3 | 4054.534 | 4250 | 320.3 | 44323.114 | 69.19 | 358 | 40 | 8 | 720 | 5760 | 5830 | 2400 | 3350 | 3910 | 44000 | 1000 | 500 | 42500 | 88 | 88 | 176 | 979.44 | 288 | 107.2 | 910.64 | 1198.64 | 74.9342 | 56.7156
|  |  |  | 36 | Double Storey | 142.38 | 29.3 | 4171.734 | 4250 | 320.3 | 45604.314 | 71.19 | 88 | 40 | 8 | 720 | 5760 | 5830 | 2400 | 3350 | 3910 | 44000 | 1000 | 500 | 42500 | 88 | 88 | 176 | 979.44 | 288 | 107.2 | 910.64 | 1198.64 | 74.9342 | 56.7156
|  |  |  | 37 | Double Storey | 145.98 | 29.3 | 4277.214 | 4250 | 320.3 | 46757.394 | 72.99 | 80 | 40 | 9 | 720 | 6480 | 6560 | 2460 | 4000 | 3840 | 49500 | 1000 | 500 | 48000 | 99 | 99 | 198 | 1102.08 | 295.2 | 128 | 1032.08 | 1327.28 | 77.4527 | 60.0142
|  |  |  | 38 | Double Storey | 154.48 | 29.3 | 4526.264 | 4750 | 320.3 | 49479.944 | 77.24 | 53 | 40 | 9 | 720 | 6480 | 6560 | 2610 | 3850 | 4190 | 49500 | 1000 | 500 | 48000 | 99 | 99 | 198 | 1102.08 | 313.2 | 123.2 | 1027.28 | 1340.48 | 76.1412 | 58.1989
|  |  |  | 39 | Single Storey | 92.54 | 29.3 | 2711.422 | 2750 | 353 | 32666.62 | 46.27 | 30 | 40 | 5 | 720 | 3600 | 3640 | 1610 | 1980 | 2720 | 27500 | 1000 | 500 | 26000 | 55 | 55 | 110 | 611.52 | 193.2 | 63.36 | 564.88 | 758.08 | 71.2972 | 52.4712
|  |  |  | 40 | Single Storey | 74.4 | 29.3 | 2179.92 | 2250 | 353 | 26263.2 | 37.2 | 4 | 40 | 4 | 720 | 2880 | 2910 | 1510 | 1360 | 2820 | 22000 | 1000 | 500 | 20500 | 44 | 44 | 88 | 611.1 | 181.2 | 43.52 | 566.62 | 747.82 | 53.1884 | 33.03
|  |  |  | 41 | Double Storey | 177.28 | 29.3 | 5194.304 | 5250 | 320.3 | 56782.784 | 88.64 | 4 | 40 | 11 | 720 | 7920 | 8010 | 2890 | 5010 | 4410 | 60500 | 1000 | 500 | 59000 | 121 | 121 | 242 | 1217.52 | 346.8 | 160.32 | 1135.84 | 1482.64 | 85.3486 | 68.2521
|  |  |  | 42 | Double Storey | 165.26 | 29.3 | 4842.118 | 4750 | 320.3 | 52932.778 | 82.63 | 0 | 40 | 10 | 720 | 7200 | 7280 | 2670 | 4500 | 4120 | 55000 | 1000 | 500 | 53500 | 110 | 110 | 220 | 1223.04 | 320.4 | 144 | 1147.04 | 1467.44 | 78.4539 | 61.2059
|  |  |  | 43 | Double Storey | 120.3 | 29.3 | 3524.79 | 3750 | 320.3 | 38532.09 | 60.15 | 21 | 40 | 7 | 720 | 5040 | 5100 | 2180 | 2840 | 3630 | 38500 | 1000 | 500 | 37000 | 77 | 77 | 154 | 856.8 | 261.6 | 90.88 | 793.68 | 1055.28 | 73.6779 | 55.1237
|  |  |  | 44 | Double Storey | 121.66 | 29.3 | 3564.638 | 3750 | 320.3 | 38967.698 | 60.83 | 20 | 40 | 7 | 720 | 5040 | 5100 | 2180 | 2840 | 3630 | 38500 | 1000 | 500 | 37000 | 77 | 77 | 154 | 856.8 | 261.6 | 90.88 | 793.68 | 1055.28 | 73.6779 | 55.1237
|  |  |  | 45 | Double Storey | 163.76 | 29.3 | 4798.168 | 4750 | 320.3 | 52452.328 | 81.88 | 17 | 40 | 10 | 720 | 7200 | 7280 | 2670 | 4500 | 4120 | 55000 | 1000 | 500 | 53500 | 110 | 110 | 220 | 1223.04 | 320.4 | 144 | 1147.04 | 1467.44 | 78.4539 | 61.2059
|  |  |  | 46 | Double Storey | 124.66 | 29.3 | 3652.538 | 3750 | 320.3 | 39928.598 | 62.33 | 290 | 40 | 7 | 720 | 5040 | 5100 | 2180 | 2840 | 3630 | 38500 | 1000 | 500 | 37000 | 77 | 77 | 154 | 856.8 | 261.6 | 90.88 | 793.68 | 1055.28 | 73.6779 | 55.1237
|  |  |  | 47 | Double Storey | 128.84 | 29.3 | 3775.012 | 3750 | 320.3 | 41267.452 | 64.42 | 293 | 40 | 8 | 720 | 5760 | 5830 | 2250 | 3490 | 3560 | 44000 | 1000 | 500 | 42500 | 88 | 88 | 176 | 979.44 | 270 | 111.68 | 915.12 | 1185.12 | 76.4096 | 58.7246
|  |  |  | 48 | Single Storey | 144.11 | 29.3 | 4222.423 | 4250 | 353 | 50870.83 | 72.055 | 71 | 40 | 9 | 720 | 6480 | 6560 | 2460 | 4000 | 3840 | 49500 | 1000 | 500 | 48000 | 99 | 99 | 198 | 1102.08 | 295.2 | 128 | 1032.08 | 1327.28 | 77.4527 | 60.0142
[8 empty] | 201116.5185 | [6 empty] | 402 |  |  | 292790 | 114130 | 170070 | 183770 | 2211000 |  |  |  | 4422 | 4422 | 8844 | 48879.34 | 13695.6 | 5442.24 | 45477.58 | 59173.18
Note on M21: fireblade: Mapped roof area in google earth so that there is aproximately 1 / cos(roof angle) fraction of extra space avalable.

## Match Analysis Sheet
[5 empty] | No. of Panels | [10 empty] | no. of panels | Range
Demand models | Merit scale Demand | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Total RESupply (Gen) kWhr | REnergy Delivered (Match) kWhr | RESurplus kWhr | Energy Deficit kWhr | Match Rate
2000 to 2500 | 2250 | [9 empty] | 2912 | 1.51 | 1.36 | 2.82 | 49.66 | 4 | 2000-2500 | bar: 4
| 2250 | [9 empty] | 3640 | 1.61 | 1.98 | 2.72 | 47.67 | 5 | bar: 5
| 2250 | [9 empty] | 4368 | 1.68 | 2.63 | 2.64 | 44.98 | 6 | bar: 6
| 2250 | [9 empty] | 5096 | 1.74 | 3.29 | 2.58 | 42.18 | 7 | bar: No. of Panels 7
| 2250 | [9 empty] | 5824 | 1.78 | 3.96 | 2.54 | 39.5 | 8 | bar: No. of Panels 8
| 2250 | [9 empty] | 6552 | 1.82 | 4.65 | 2.49 | 37.04 | 9 | bar: No. of Panels 9
| 2250 | [9 empty] | 7280 | 1.85 | 5.34 | 2.46 | 34.79 | 10 | bar: No. of Panels 10
| 2250 | [9 empty] | 8008 | 1.88 | 6.03 | 2.43 | 32.77 | 11 | bar: No. of Panels 11
| 2250 | [9 empty] | 8736 | 1.9 | 6.73 | 2.41 | 30.94 | 12 | bar: No. of Panels 12
2500 to 3000 | 2750 | [10 empty] | 1.51 | 1.36 | 2.82 | 49.66 | 4 | 2500-3000 | bar: 4
| 2750 | [10 empty] | 1.61 | 1.98 | 2.72 | 47.67 | 5 | bar: 5
| 2750 | [10 empty] | 1.68 | 2.63 | 2.64 | 44.98 | 6 | bar: 6
| 2750 | [10 empty] | 1.74 | 3.29 | 2.58 | 42.18 | 7 | bar: No. of Panels 7
| 2750 | [10 empty] | 1.78 | 3.96 | 2.54 | 39.5 | 8 | bar: No. of Panels 8
| 2750 | [10 empty] | 1.82 | 4.65 | 2.49 | 37.04 | 9 | bar: No. of Panels 9
| 2750 | [10 empty] | 1.85 | 5.34 | 2.46 | 34.79 | 10 | bar: No. of Panels 10
| 2750 | [10 empty] | 1.88 | 6.03 | 2.43 | 32.77 | 11 | bar: No. of Panels 11
| 2750 | [10 empty] | 1.9 | 6.73 | 2.41 | 30.94 | 12 | bar: No. of Panels 12
3000 to 3500 | 3250 | [10 empty] | 1.74 | 1.13 | 3.59 | 49.93 | 4 | 3000-3500 | bar: 4
| 3250 | [10 empty] | 1.87 | 1.72 | 3.45 | 49.57 | 5 | bar: 5
| 3250 | [10 empty] | 1.96 | 2.34 | 3.35 | 47.96 | 6 | bar: 6
| 3250 | [10 empty] | 2.04 | 2.99 | 3.28 | 45.83 | 7 | bar: No. of Panels 7
| 3250 | [10 empty] | 2.1 | 3.64 | 3.21 | 43.55 | 8 | bar: No. of Panels 8
| 3250 | [10 empty] | 2.15 | 4.31 | 3.16 | 41.3 | 9 | bar: No. of Panels 9
| 3250 | [10 empty] | 2.2 | 4.98 | 3.11 | 39.16 | 10 | bar: No. of Panels 10
| 3250 | [10 empty] | 2.24 | 5.67 | 3.07 | 37.16 | 11 | bar: No. of Panels 11
| 3250 | [10 empty] | 2.27 | 6.36 | 3.03 | 35.31 | 12 | bar: No. of Panels 12
3500 to 4000 | 3750 | [10 empty] | 1.84 | 1.02 | 3.98 | 49.56 | 4 | 3500-4000 | bar: 4
| 3750 | [10 empty] | 1.99 | 1.6 | 3.83 | 49.93 | 5 | bar: 5
| 3750 | [10 empty] | 2.09 | 2.21 | 3.72 | 48.88 | 6 | bar: 6
| 3750 | [10 empty] | 2.18 | 2.84 | 3.63 | 47.14 | 7 | bar: No. of Panels 7
| 3750 | [10 empty] | 2.25 | 3.49 | 3.56 | 45.11 | 8 | bar: No. of Panels 8
| 3750 | [10 empty] | 2.31 | 4.15 | 3.5 | 43.02 | 9 | bar: No. of Panels 9
| 3750 | [10 empty] | 2.36 | 4.82 | 3.44 | 40.97 | 10 | bar: No. of Panels 10
| 3750 | [10 empty] | 2.41 | 5.49 | 3.4 | 39.03 | 11 | bar: No. of Panels 11
| 3750 | [10 empty] | 2.44 | 6.18 | 3.36 | 37.2 | 12 | bar: No. of Panels 12
4000 to 4500 | 4250 | [10 empty] | 1.94 | 0.928 | 4.38 | 48.97 | 4 | 4000-4500 | bar: 4
| 4250 | [10 empty] | 2.1 | 1.48 | 4.22 | 50.01 | 5 | bar: 5
| 4250 | [10 empty] | 2.22 | 2.08 | 4.09 | 49.5 | 6 | bar: 6
| 4250 | [10 empty] | 2.32 | 2.7 | 3.99 | 48.15 | 7 | bar: No. of Panels 7
| 4250 | [10 empty] | 2.4 | 3.35 | 3.91 | 46.4 | 8 | bar: No. of Panels 8
| 4250 | [10 empty] | 2.46 | 4 | 3.84 | 44.5 | 9 | bar: No. of Panels 9
| 4250 | [10 empty] | 2.52 | 4.66 | 3.78 | 42.57 | 10 | bar: No. of Panels 10
| 4250 | [10 empty] | 2.57 | 5.33 | 3.73 | 40.7 | 11 | bar: No. of Panels 11
| 4250 | [10 empty] | 2.61 | 6.01 | 3.68 | 38.92 | 12 | bar: No. of Panels 12
4500to 5000 | 4750 | [10 empty] | 2.03 | 0.838 | 4.79 | 48.22 | 4 | 4500-5000 | bar: 4
| 4750 | [10 empty] | 2.21 | 1.38 | 4.61 | 49.86 | 5 | bar: 5
| 4750 | [10 empty] | 2.34 | 1.96 | 4.47 | 49.86 | 6 | bar: 6
| 4750 | [10 empty] | 2.45 | 2.57 | 4.36 | 48.91 | 7 | bar: No. of Panels 7
| 4750 | [10 empty] | 2.54 | 320 | 4.27 | 47.45 | 8 | bar: No. of Panels 8
| 4750 | [10 empty] | 2.61 | 3.85 | 4.19 | 45.75 | 9 | bar: No. of Panels 9
| 4750 | [10 empty] | 2.67 | 4.5 | 4.12 | 43.97 | 10 | bar: No. of Panels 10
| 4750 | [10 empty] | 2.73 | 5.17 | 4.07 | 42.2 | 11 | bar: No. of Panels 11
| 4750 | [10 empty] | 2.78 | 5.84 | 4.02 | 40.47 | 12 | bar: No. of Panels 12
5000 to 5500 | 5250 | [10 empty] | 2.12 | 0.753 | 5.2 | 47.38 | 4 | 5000-5500 | bar: 4
| 5250 | [10 empty] | 2.31 | 1.27 | 5 | 49.53 | 5 | bar: 5
| 5250 | [10 empty] | 2.46 | 1.84 | 4.85 | 50.01 | 6 | bar: 6
| 5250 | [10 empty] | 2.58 | 2.44 | 4.73 | 49.45 | 7 | bar: No. of Panels 7
| 5250 | [10 empty] | 2.67 | 3.07 | 4.63 | 48.29 | 8 | bar: No. of Panels 8
| 5250 | [10 empty] | 2.75 | 3.7 | 4.54 | 46.81 | 9 | bar: No. of Panels 9
| 5250 | [10 empty] | 2.82 | 4.35 | 4.47 | 45.19 | 10 | bar: No. of Panels 10
| 5250 | [10 empty] | 2.89 | 5.01 | 4.41 | 43.52 | 11 | bar: No. of Panels 11
| 5250 | [10 empty] | 2.94 | 5.68 | 4.35 | 41.87 | 12 | bar: No. of Panels 12
5500 to 6000 | 5750 | [10 empty] | 2.2 | 0.673 | 5.62 | 46.46 | 4 | 5500-6000 | bar: 4
| 5750 | [10 empty] | 2.41 | 1.18 | 5.4 | 49.06 | 5 | bar: 5
| 5750 | [10 empty] | 2.57 | 1.73 | 5.24 | 49.98 | 6 | bar: 6
| 5750 | [10 empty] | 2.7 | 2.32 | 5.1 | 49.79 | 7 | bar: No. of Panels 7
| 5750 | [10 empty] | 2.81 | 2.93 | 4.99 | 48.93 | 8 | bar: No. of Panels 8
| 5750 | [10 empty] | 2.89 | 3.56 | 4.9 | 47.68 | 9 | bar: No. of Panels 9
| 5750 | [10 empty] | 2.97 | 4.21 | 4.82 | 46.23 | 10 | bar: No. of Panels 10
| 5750 | [10 empty] | 3.04 | 4.86 | 4.75 | 44.69 | 11 | bar: No. of Panels 11
| 5750 | [10 empty] | 3.1 | 5.52 | 4.69 | 43.13 | 12 | bar: No. of Panels 12
6000 to 6500 | 6250 | bar: 4
6250 | bar: 5
6250 | bar: 6
6250 | bar: No. of Panels 7
6250 | bar: No. of Panels 8
6250 | bar: No. of Panels 9
6250 | bar: No. of Panels 10
6250 | bar: No. of Panels 11
6250 | bar: No. of Panels 12

## Temporary Storage Sheet
49.8 | 0.03
44.27 | 0.03
45.49 | 0.03