## WT Workflow
WT Workflow
S.No | Description | Implementation |  | Misc Comments
1 | What is the general location(latitude, longitude)? | This can be obtained by using a basic tool such as google earth, or a site maps from the RESCO company. This will help identify the requisite parameters as defined in your wind technology workchart. |  | Main parameter obtained from localization: Wind speed
2 | Year of construction and number of houses and type (detached, semi-detached, mid-terrace)? | Necesary for calculation of demand | Possibly include street lighting.
7 | Type of area? | Communal or domestic. Posibility of instalation of micro -turbines in communal areas or buildings.
3 | Maximum distance from green zones to residencial areas? | Easy to determinate by google earth, or a site maps from the RESCO company.To determinate the possibility of installing medium wind turbines (limited by the visual impact and noise)
8 | Demand | HEM - RETScreen - actual fuel bills from the consumers - Heating , direct hot water demand and electricity - Demand offset due to WT- demand GHG - grid connection | Too dynamic - Possible average usage - can be broken with the introduction of financial schemes that are independent of feed in tariffs and dependent on savings. "Green Deal" | Documentation of HEM to be verified.
9 | Grid connection | Only for the case of medium size turbines | Trasnformers and arragment with the electricity company
10
11 | Permissions | how would you get WT installed on the house? what are the permissions involved? Do we have to review land management agreements? Do we have to get electrical permission from the utility company? what are the HSE issues?
12 | Financial | Capital Cost - Maintenance and operating cost - Subsidies (FIT - Green Deal) - subcontractor costs - demand market and feasibility - Loan
13 | Social | Perceptions? Objections? | Visual impact, noise
14 | Environmental | GHG?... incorporated into the technical tool

## Hoja2
Assumptions
Capital Cost of turbine 15KW | £50000
% insurance | 1.5% of capital cost
% maintenance | 1.5% of capital cost
Price electricity exported | 3p/Kwh
Price electricity imported | 12p/Kwh
FITs | 21p/Kwh
Demand/supply for combination of 5houses
[5 empty] | DEMAND MODEL |  |  |  |  | ENERGY MODEL | [7 empty] | DEMAND VS SUPPLY ANALYSIS |  |  |  | FINANCE
[5 empty] | Electrical demand | Total Annual Electrical Demand | Approximations | Heating Demand | Total Annual Heating Demand |  |  |  |  | Total Annual Electrical Demand |  | Heating Demand | Total Annual Heating Demand | [11 empty] | Operational Spread
|  | House Number | Type of House | Total Floor area | KWh /m2 per year | KWh / year |  | KWh / m2 / year | KWh / year | House Number SELECTED | Type of House | Total Floor area | KWh /m2 per year | KWh / year | Approximations | KWh / m2 / year | KWh / year | Total Renewable Wind turbine energy Generated (MWh) | Total Energy Match (MWh) | Total Energy Surplus (MWh) | Total Energy deficit (MWh) | Capital Outlay(in £) | Home Owner Down Payment | Grant (one time) | Annualized Capital Cost (capital outlay - downpayment - grant) | Maintenance (annual) | Insurance (annual) | Total yearly expense | FIT Income for Generation (pounds) | Grid Electricity displacement Savings (Pounds) | Export Income (pounds) | Total yearly Real Net Cashflow = Generation + export | Total yearly perceived net cashflow = generation + export +savings | Payback Period (AI 14)) | Payback Period (AJ 14)
|  | 1 | Single Storey | 91.47 | 29.3 | 2680.071 | 2750 | 353 | 32288.91 | 26 | Double Storey | 178.36 | 29.3 | 5225.948 | 5250 | 320.3 | 57128.708 | 36.59 | 17.9876 | 20.09 | 9.22 | 50000 | 1000 | 500 | 48500 | 750 | 750 | 1500 | 6675 | 2.16 | 1250 | 6425 | 6427.16 | 6.96 yrs | 6.96 yrs
|  | 2 | Double Storey | 172.56 | 29.3 | 5056.008 | 5250 | 320.3 | 55270.968 | 27 | Double Storey | 126.7 | 29.3 | 3712.31 | 3750 | 320.3 | 40582.01
|  | 3 | Single Storey | 95.86 | 29.3 | 2808.698 | 2750 | 353 | 33838.58 | 28 | Double Storey | 186.54 | 29.3 | 5465.622 | 5250 | 320.3 | 59748.762
|  | 4 | Double Storey | 162.74 | 29.3 | 4768.282 | 4750 | 320.3 | 52125.622 | 29 | Double Storey | 182.58 | 29.3 | 5349.594 | 5250 | 320.3 | 58480.374
|  | 5 | Double Storey | 122.72 | 29.3 | 3595.696 | 3750 | 320.3 | 39307.216 | 30 | Double Storey | 201.1 | 29.3 | 5892.23 | 5750 | 320.3 | 64412.33
|  | 6 | Single Storey | 74.35 | 29.3 | 2178.455 | 2250 | 353 | 26245.55
|  | 7 | Single Storey | 88.405 | 29.3 | 2590.2665 | 2750 | 353 | 31206.965
|  | 8 | Single Storey | 104.92 | 29.3 | 3074.156 | 3250 | 353 | 37036.76
|  | 9 | Single Storey | 71.19 | 29.3 | 2085.867 | 2250 | 353 | 25130.07
|  | 10 | Double Storey | 167.14 | 29.3 | 4897.202 | 4750 | 320.3 | 53534.942
|  | 11 | Double Storey | 174.76 | 29.3 | 5120.468 | 5250 | 320.3 | 55975.628
|  | 12 | Single Storey | 75.39 | 29.3 | 2208.927 | 2250 | 353 | 26612.67
|  | 13 | Single Storey | 105.15 | 29.3 | 3080.895 | 3250 | 353 | 37117.95
|  | 14 | Double Storey | 166.48 | 29.3 | 4877.864 | 4750 | 320.3 | 53323.544
|  | 15 | Double Storey | 149.76 | 29.3 | 4387.968 | 4250 | 320.3 | 47968.128
|  | 16 | Double Storey | 128.6 | 29.3 | 3767.98 | 3750 | 320.3 | 41190.58
|  | 17 | Double Storey | 181.46 | 29.3 | 5316.778 | 5250 | 320.3 | 58121.638
|  | 18 | Single Storey | 96.33 | 29.3 | 2822.469 | 2750 | 353 | 34004.49
|  | 19 | Single Storey | 139.43 | 29.3 | 4085.299 | 4250 | 353 | 49218.79
|  | 20 | Single Storey | 78.04 | 29.3 | 2286.572 | 2250 | 353 | 27548.12
|  | 21 | Single Storey | 92.47 | 29.3 | 2709.371 | 2750 | 353 | 32641.91
|  | 22 | Double Storey | 174.9 | 29.3 | 5124.57 | 5250 | 320.3 | 56020.47
|  | 23 | Single Storey | 93.19 | 29.3 | 2730.467 | 2750 | 353 | 32896.07
|  | 24 | Double Storey | 141.6 | 29.3 | 4148.88 | 4250 | 320.3 | 45354.48
|  | 25 | Double Storey | 204.3 | 29.3 | 5985.99 | 5750 | 320.3 | 65437.29
|  | 26 | Double Storey | 178.36 | 29.3 | 5225.948 | 5250 | 320.3 | 57128.708
|  | 27 | Double Storey | 126.7 | 29.3 | 3712.31 | 3750 | 320.3 | 40582.01
|  | 28 | Double Storey | 186.54 | 29.3 | 5465.622 | 5250 | 320.3 | 59748.762
|  | 29 | Double Storey | 182.58 | 29.3 | 5349.594 | 5250 | 320.3 | 58480.374
|  | 30 | Double Storey | 201.1 | 29.3 | 5892.23 | 5750 | 320.3 | 64412.33
|  | 31 | Double Storey | 152.6 | 29.3 | 4471.18 | 4250 | 320.3 | 48877.78
|  | 32a | semi 2storey | 153.15 | 29.3 | 4487.295 | 4250 | 320.3 | 49053.945
|  | 32b | semi 2storey | 153.15 | 29.3 | 4487.295 | 4250 | 320.3 | 49053.945
|  | 33a | semi 2storey | 167.63 | 29.3 | 4911.559 | 4750 | 320.3 | 53691.889
|  | 33b | semi 2storey | 167.63 | 29.3 | 4911.559 | 4750 | 320.3 | 53691.889
|  | 34 | Double Storey | 147.36 | 29.3 | 4317.648 | 4250 | 320.3 | 47199.408
|  | 35 | Double Storey | 138.38 | 29.3 | 4054.534 | 4250 | 320.3 | 44323.114
|  | 36 | Double Storey | 142.38 | 29.3 | 4171.734 | 4250 | 320.3 | 45604.314
|  | 37 | Double Storey | 145.98 | 29.3 | 4277.214 | 4250 | 320.3 | 46757.394
|  | 38 | Double Storey | 154.48 | 29.3 | 4526.264 | 4750 | 320.3 | 49479.944
|  | 39 | Single Storey | 92.54 | 29.3 | 2711.422 | 2750 | 353 | 32666.62
|  | 40 | Single Storey | 74.4 | 29.3 | 2179.92 | 2250 | 353 | 26263.2
|  | 41 | Double Storey | 177.28 | 29.3 | 5194.304 | 5250 | 320.3 | 56782.784
|  | 42 | Double Storey | 165.26 | 29.3 | 4842.118 | 4750 | 320.3 | 52932.778
|  | 43 | Double Storey | 120.3 | 29.3 | 3524.79 | 3750 | 320.3 | 38532.09
|  | 44 | Double Storey | 121.66 | 29.3 | 3564.638 | 3750 | 320.3 | 38967.698
|  | 45 | Double Storey | 163.76 | 29.3 | 4798.168 | 4750 | 320.3 | 52452.328
|  | 46 | Double Storey | 124.66 | 29.3 | 3652.538 | 3750 | 320.3 | 39928.598
|  | 47 | Double Storey | 128.84 | 29.3 | 3775.012 | 3750 | 320.3 | 41267.452
|  | 48 | Single Storey | 144.11 | 29.3 | 4222.423 | 4250 | 353 | 50870.83
201116.5185