## Sheet1
Location | Building Type | Renewables installed | Extra notes | Reference
Yorkshire | Home (detatched, 3-bed) | Solar PV (south facing) | first year - 70% of home electricity came from panels | 1
Uk- South West | Home (3bed) | Sun-tubes (light and heat), Solar PV |  | 1
Aberdeen | Home (semi-detatched, 3bed) | Solar heating (roof mounted) | £3000 cost of system, ~10year payback period | 1
Sussex | Home (3bed bungalow) | solar thermal, solar PV | Also improved the insulation of the house. In summer thermal system provides 100% of hot water needs | 1
West Glamorgan | Home (detached, 4bed) | solar thermal | system cost £3500 | 1
Wales | Home | Biomass (wood stove for heating) | issues at first with learning how to use stove most efficiently | 1
Kirklees (Yorkshire) | Homes (~224) (community) | solar thermal, solar PV, biomass, SS hydro | 568.14kW installed capacity | 2
Oxford | Home (experimental solar house) | 5m^2 solar thermal collector |  | 3
Leicester | Council Building - 140people | 2m^2 tube solar collector (heating) | used with condensing boiler, preheats water to 45degrees | 3
Leicester | Council Admin Centre - 400staff & restaurant | 10m^2 of flat solar collectors | preheats 400 litres of water from 10-45degrees in summer | 3
Leicester | Sports Centre - 2500 gallons of water | 3m^2 evacuated tube solar collector | heats 2500gallons of water from 1-30degrees in 7 days | 3
Surrey | Home | 3m^2 of collector plates - solar thermal |  | 3
Camarthen | Dairy Farm | 8m^2 of flat plate solar thermal | hot water for domestic and farming purposes | 3
Newcastle | Northumbria University | Solar Pv - 465 crystalline silicon modules orientated 25degrees to the vertical | modules rated at 85Wp, system expected to produce 25,000KWh/year. Contributes to uni electricity supply | 3
Woking | Pay and Display Machines - town centre | Solar PV cells rated at 10W - 30cm by 20cm, 15Ah buffer battery | powers street parking payment machines | 3
Worcestershire | Lights bus stops | Solar PV - 150 units of 75Wp controlled by gel battery | powers 9W flourescent lamps at bus stops | 3
Oxford | Home | Solar PV - capacity for 4KW peak of electricity | 48 BP solar 585 saturn modules | 3
Nationwide | BP Amoco Service Stations | Solar PV - individual daily average of 15-20kW | 220 high efficiency BP solarex solar panels at each station, each panel incorporates 36 BP Solarex Saturn cells. Electricity fed to national grid | 3
Devon | Home - 3 storeys | Heat pump - vertical loop ground source single borehole | used for space heating/cooling and domestic hot water | 3
Berkshire | Home - 2 storeys | Heat pump - horizontal ground loop, 2 coils each 200m long | space heating to 20degrees and domestic hot water | 3
Wiltshire | Home - 2 storeys 288m^2 | heat pump - horizontal single loop 200m long | space heating to 18degrees and domestic hot water | 3
Cornwall | Homes - 4 bungalows 68m^2 | heat pump - horizontal, slinky coils 4kW | space heating to 21degrees and domestic hot water | 3
West Midlands | Multiples homes | heat pump - vertical closed loop, 2 bore holes 50mdeep | under floor heating/cooling | 3
Cornwall | Junior and Infant School (200 pupils) | heat pump - closed loop vertical ground source, 10 boreholes | space heating/cooling | 3
Scilly Isles | Community Centre 400m^2 | heat pump - closed loop vertical ground source, 4 boreholes | under floor heating/cooling, preheating for domestic hot water | 3
Esk Valley | n/a | Hydro - over various sites adding up to 1GWh/year |  | 4
North Yorkshire | Farm Building | Solar thermal, Solar PV, Heat Pump | Also improved insulation | 4
North Yorkshire | Farm Building | Solar PV, small-scale wind, biomass cooker (wood) | 2250kWh/year of solar power, | 4
North Yorkshire | Appleton- Le-Moors and Spaunton (communities) | Biomass (wood boilers), Solar PV, | 57 installations altogether, 24 wood burning stoves, 3000W of solar PV. Also improvements made to insulation/draft exclusion of buildings | 4
Nottingham | 3800 properties, 1/3 victorian terrace, 2/3 80s terrace | Solar PV x55 |  | 5
Isle of Wight | 67 properties, 70s terrace | Solar PV x65, Air source Heat Pumps x65 | heat pumps for radiator heating and hot water | 5