## economic-resizing
INFORMATION | [11 empty] | INVESTMENT RETURN WITH FIT | [26 empty] | INVESTMENT RETURN WITHOUT FIT | [26 empty] | INVESTMENT RETURN PAYING TO THE GRID | [26 empty] | FIGURE
- Equipment costs approximation
PV PANEL COST (£/kW) | WIND TURBINE COST (£/kW) | [11 empty] | SCENARIO 1 | YEAR | [25 empty] | SCENARIO 1 | YEAR | [25 empty] | SCENARIO 3 | YEAR
40 | 1000 | [11 empty] | COSTS | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 |  | COSTS | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 |  | COSTS | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074
[13 empty] | Investment | YEAR 2012: -265920 |  | Investment | -265920 | [25 empty] | Investment | -84420
- Anual maintenance costs assumptions | [12 empty] | Maintenance costs |  | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 |  | Maintenance costs Costs |  | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 | -7920 |  | Maintenance costs Costs |  | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520
PV | WIND | [11 empty] | Deficit | -29818.5728 | -29992.5318 | -30120.5592 | -30202.655 | -30238.8192 | -30229.0518 | -30173.3528 | -30071.7222 | -29924.16 | -29091.3645 | -28870.275 | -28603.0439 | -28289.7054 | -27930.2939 | -27524.8435 | -27073.3884 | -26575.9628 | -26032.6007 | -25443.3361 | -24808.2032 | -24127.2357 | -23400.4677 | -22627.933 | -21809.6653 | -20945.6986 |  | Deficit | -25041.5038 | -25076.6172 | -25089.0862 | -25080.2128 | -25051.2408 | -25003.3585 | -24937.7011 | -24855.3523 | -24757.3469 | -24114.7356 | -24002.0167 | -23875.8352 | -23737.0823 | -23586.608 | -23425.2221 | -23253.6964 | -23072.7662 | -22883.1316 | -22685.4592 | -22480.3831 | -22268.5071 | -22050.4048 | -21826.6221 | -21597.6774 | -21364.0633 |  | Deficit | -15814.8896 | -14476.7689 | -13050.8602 | -11579.4563 | -10062.5571 | -8500.1627 | -6892.273 | -5238.8881 | -3540.008 | -1795.6326 | -5.7619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0% Capital Cost | 3% Capital Cost | [11 empty] | Total costs | -295738.5728 | -37912.5318 | -38040.5592 | -38122.655 | -38158.8192 | -38149.0518 | -38093.3528 | -37991.7222 | -37844.16 | -37011.3645 | -36790.275 | -36523.0439 | -36209.7054 | -35850.2939 | -35444.8435 | -34993.3884 | -34495.9628 | -33952.6007 | -33363.3361 | -32728.2032 | -32047.2357 | -31320.4677 | -30547.933 | -29729.6653 | -28865.6986 |  | Total costs | -290961.5038 | -32996.6172 | -33009.0862 | -33000.2128 | -32971.2408 | -32923.3585 | -32857.7011 | -32775.3523 | -32677.3469 | -32034.7356 | -31922.0167 | -31795.8352 | -31657.0823 | -31506.608 | -31345.2221 | -31173.6964 | -30992.7662 | -30803.1316 | -30605.4592 | -30400.3831 | -30188.5071 | -29970.4048 | -29746.6221 | -29517.6774 | -29284.0633 |  | Payment to the grid (surplus storage) | -7814.4752 | -9703.7898 | -11621.89 | -13589.6734 | -15607.1401 | -17674.29 | -19791.1232 | -21957.6396 | -24173.8392 | -26439.7221 | -28755.2882 | -31120.5376 | -33535.4702 | -36000.0861 | -38514.3852 | -41078.3675 | -43692.0331 | -46355.3819 | -49068.414 | -51831.1293 | -54643.5278 | -57505.6096 | -60417.3746 | -63378.8229 | -66389.9544
[13 empty] | Discount factor (8% per annum) | 1 | 0.92 | 0.8464 | 0.77869 | 0.71639 | 0.65908 | 0.60636 | 0.55785 | 0.51322 | 0.47216 | 0.43439 | 0.39964 | 0.36767 | 0.33825 | 0.31119 | 0.2863 | 0.26339 | 0.24232 | 0.22294 | 0.2051 | 0.18869 | 0.1736 | 0.15971 | 0.14693 | 0.13518 |  | Discount factor (8% per annum) | 1 | 0.92 | 0.8464 | 0.77869 | 0.71639 | 0.65908 | 0.60636 | 0.55785 | 0.51322 | 0.47216 | 0.43439 | 0.39964 | 0.36767 | 0.33825 | 0.31119 | 0.2863 | 0.26339 | 0.24232 | 0.22294 | 0.2051 | 0.18869 | 0.1736 | 0.15971 | 0.14693 | 0.13518 |  | Total costs | -108049.3648 | -26700.5587 | -27192.7502 | -27689.1297 | -28189.6972 | -28694.4527 | -29203.3962 | -29716.5277 | -30233.8472 | -30755.3547 | -31281.0501 | -33640.5376 | -36055.4702 | -38520.0861 | -41034.3852 | -43598.3675 | -46212.0331 | -48875.3819 | -51588.414 | -54351.1293 | -57163.5278 | -60025.6096 | -62937.3746 | -65898.8229 | -68909.9544
- Feed-In tariffs information | [12 empty] | Present value of costs | -295738.5728 | -34879.5293 | -32197.5293 | -29685.654 | -27336.7094 | -25143.3352 | -23098.095 | -21193.5531 | -19422.3372 | -17475.3363 | -15981.2707 | -14595.9735 | -13313.0916 | -12126.4722 | -11030.1812 | -10018.5163 | -9086.0162 | -8227.4663 | -7437.9005 | -6712.6018 | -6047.0996 | -5437.1663 | -4878.8114 | -4368.2758 | -3902.0239 |  | Present value of costs | -290961.5038 | -30356.8878 | -27938.8906 | -25696.8697 | -23620.3648 | -21699.1773 | -19923.4314 | -18283.6189 | -16770.6311 | -15125.5644 | -13866.5555 | -12706.8042 | -11639.2451 | -10657.2071 | -9754.4084 | -8924.9484 | -8163.2966 | -7464.2802 | -6823.0694 | -6235.1625 | -5696.3699 | -5202.7982 | -4750.834 | -4337.1277 | -3958.5779 |  | Discount factor (8% per annum) | 1 | 0.92 | 0.8464 | 0.77869 | 0.71639 | 0.65908 | 0.60636 | 0.55785 | 0.51322 | 0.47216 | 0.43439 | 0.39964 | 0.36767 | 0.33825 | 0.31119 | 0.2863 | 0.26339 | 0.24232 | 0.22294 | 0.2051 | 0.18869 | 0.1736 | 0.15971 | 0.14693 | 0.13518
| FIT INFO | [11 empty] | Cumulative present value of costs | -295738.5728 | -330618.1021 | -362815.6314 | -392501.2853 | -419837.9948 | -444981.3299 | -468079.4249 | -489272.978 | -508695.3152 | -526170.6515 | -542151.9222 | -556747.8957 | -570060.9873 | -582187.4595 | -593217.6407 | -603236.1569 | -612322.1732 | -620549.6394 | -627987.5399 | -634700.1417 | -640747.2413 | -646184.4075 | -651063.2189 | -655431.4947 | -659333.5186 |  | Cumulative present value of costs | -290961.5038 | -321318.3916 | -349257.2822 | -374954.1518 | -398574.5166 | -420273.6939 | -440197.1253 | -458480.7441 | -475251.3753 | -490376.9397 | -504243.4952 | -516950.2994 | -528589.5445 | -539246.7516 | -549001.16 | -557926.1083 | -566089.405 | -573553.6852 | -580376.7547 | -586611.9172 | -592308.2871 | -597511.0853 | -602261.9193 | -606599.0471 | -610557.6249 |  | Present value of costs | -108049.3648 | -24564.514 | -23015.9438 | -21561.193 | -20194.9006 | -18911.9836 | -17707.6254 | -16577.264 | -15516.581 | -14521.4902 | -13588.127 | -13444.0162 | -13256.3845 | -13029.5376 | -12769.6065 | -12482.0994 | -12171.9543 | -11843.5863 | -11500.9329 | -11147.4951 | -10786.3764 | -10420.3175 | -10051.7302 | -9682.727 | -9315.1493
| WIND |  | SOLAR | [9 empty] | BENEFITS | [26 empty] | BENEFITS | [26 empty] | Cumulative present value of costs | -108049.3648 | -132613.8788 | -155629.8226 | -177191.0156 | -197385.9163 | -216297.8999 | -234005.5252 | -250582.7892 | -266099.3702 | -280620.8604 | -294208.9874 | -307653.0036 | -320909.3881 | -333938.9258 | -346708.5322 | -359190.6317 | -371362.586 | -383206.1723 | -394707.1051 | -405854.6003 | -416640.9766 | -427061.2942 | -437113.0244 | -446795.7514 | -456110.9007
From (kW) | 15 | 100 | 0 | 4 | 10 | 50 | [6 empty] | Economic savings | 73743.1721 | 76503.3291 | 79263.4861 | 82023.6431 | 84783.8002 | 87543.9572 | 90304.1142 | 93064.2712 | 95824.4282 | 97328.5718 | 100084.8508 | 102840.427 | 105595.301 | 108349.4736 | 111102.9454 | 113855.7172 | 116607.7896 | 119359.1633 | 122109.839 | 124859.8175 | 127609.0993 | 130357.6852 | 133105.5758 | 135852.7719 | 138599.2741 |  | Economic savings | 45588.9088 | 47013.5622 | 48438.2156 | 49862.869 | 51287.5224 | 52712.1758 | 54136.8292 | 55561.4826 | 56986.136 | 57154.776 | 58575.5514 | 59995.6239 | 61414.9943 | 62833.6633 | 64251.6315 | 65668.8997 | 67085.4685 | 68501.3386 | 69916.5107 | 71330.9855 | 72744.7638 | 74157.846 | 75570.2331 | 76981.9256 | 78392.9242 |  | BENEFITS
To (kW) | 100 | 500 | 4 | 10 | 50 | 150 | [6 empty] | Discount Factor (8% per annum) | 1 | 0.92 | 0.8464 | 0.77869 | 0.71639 | 0.65908 | 0.60636 | 0.55785 | 0.51322 | 0.47216 | 0.43439 | 0.39964 | 0.36767 | 0.33825 | 0.31119 | 0.2863 | 0.26339 | 0.24232 | 0.22294 | 0.2051 | 0.18869 | 0.1736 | 0.15971 | 0.14693 | 0.13518 |  | Discount Factor (8% per annum) | 1 | 0.92 | 0.8464 | 0.77869 | 0.71639 | 0.65908 | 0.60636 | 0.55785 | 0.51322 | 0.47216 | 0.43439 | 0.39964 | 0.36767 | 0.33825 | 0.31119 | 0.2863 | 0.26339 | 0.24232 | 0.22294 | 0.2051 | 0.18869 | 0.1736 | 0.15971 | 0.14693 | 0.13518 |  | Economic savings | 30725.2098 | 31249.458 | 31691.5399 | 32133.6219 | 32575.7038 | 33017.7858 | 33459.8677 | 33901.9496 | 34344.0316 | 34786.1135 | 35228.1955 | 35670.2774 | 36112.3593 | 36554.4413 | 36996.5232 | 37438.6052 | 37880.6871 | 38322.769 | 38764.851 | 39206.9329 | 39649.0149 | 40091.0968 | 40533.1788 | 40975.2607 | 41417.3426
Price (p/kWh) | 24.2 | 19.7 | 39.6 | 34.6 | 30.1 | 17.4 | [6 empty] | Present value of benefits | 73743.1721 | 70383.0628 | 67088.6147 | 63870.8266 | 60738.5176 | 57698.6046 | 54756.3513 | 51915.5874 | 49178.9051 | 45954.7911 | 43475.7036 | 41098.8786 | 38823.8429 | 36649.5428 | 34574.4401 | 32596.5963 | 30713.7468 | 28923.3658 | 27222.7222 | 25608.929 | 24078.9858 | 22629.8155 | 21258.296 | 19961.2867 | 18735.652 |  | Present value of benefits | 45588.9088 | 43252.4772 | 40998.1057 | 38827.6177 | 36742.02 | 34741.6211 | 32826.1371 | 30994.7842 | 29246.3605 | 26986.277 | 25444.5432 | 23976.4938 | 22580.2291 | 21253.6799 | 19994.6471 | 18800.8355 | 17669.8838 | 16599.3898 | 15586.9319 | 14630.0882 | 13726.4517 | 12873.6436 | 12069.3245 | 11311.2031 | 10597.0436 |  | Discount Factor (8% per annum) | 1 | 0.92 | 0.8464 | 0.77869 | 0.71639 | 0.65908 | 0.60636 | 0.55785 | 0.51322 | 0.47216 | 0.43439 | 0.39964 | 0.36767 | 0.33825 | 0.31119 | 0.2863 | 0.26339 | 0.24232 | 0.22294 | 0.2051 | 0.18869 | 0.1736 | 0.15971 | 0.14693 | 0.13518
[13 empty] | Cumulative present value of benefits | 73743.1721 | 144126.2349 | 211214.8496 | 275085.6762 | 335824.1938 | 393522.7984 | 448279.1497 | 500194.7371 | 549373.6421 | 595328.4333 | 638804.1369 | 679903.0155 | 718726.8583 | 755376.4011 | 789950.8412 | 822547.4374 | 853261.1843 | 882184.5501 | 909407.2723 | 935016.2012 | 959095.187 | 981725.0026 | 1002983.2986 | 1022944.5853 | 1041680.2374 |  | Cumulative present value of benefits | 45588.9088 | 88841.386 | 129839.4917 | 168667.1094 | 205409.1294 | 240150.7505 | 272976.8877 | 303971.6719 | 333218.0324 | 360204.3094 | 385648.8526 | 409625.3464 | 432205.5755 | 453459.2555 | 473453.9025 | 492254.7381 | 509924.6219 | 526524.0117 | 542110.9436 | 556741.0318 | 570467.4834 | 583341.127 | 595410.4515 | 606721.6546 | 617318.6981 |  | Present value of benefits | 30725.2098 | 28749.5014 | 26823.7194 | 25022.0657 | 23337.0049 | 21761.4125 | 20288.5581 | 18912.0874 | 17626.0052 | 16424.6588 | 15302.7214 | 14255.1761 | 13277.3007 | 12364.6522 | 11513.0528 | 10718.5755 | 9977.531 | 9286.4547 | 8642.0945 | 8041.3986 | 7481.5046 | 6959.7287 | 6473.5553 | 6020.6274 | 5598.7373
- Scenarios information | [12 empty] | Cumulative present value benfits and costs | -221.9954 | -186.4919 | -151.6008 | -117.4156 | -84.0138 | -51.4585 | -19.8003 | 10.9218 | 40.6783 | 69.1578 | 96.6522 | 123.1551 | 148.6659 | 173.1889 | 196.7332 | 219.3113 | 240.939 | 261.6349 | 281.4197 | 300.3161 | 318.3479 | 335.5406 | 351.9201 | 367.5131 | 382.3467 |  | Cumulative present value benfits and costs | -245.3726 | -232.477 | -219.4178 | -206.287 | -193.1654 | -180.1229 | -167.2202 | -154.5091 | -142.0333 | -130.1726 | -118.5946 | -107.325 | -96.384 | -85.7875 | -75.5473 | -65.6714 | -56.1648 | -47.0297 | -38.2658 | -29.8709 | -21.8408 | -14.17 | -6.8515 | 0.12261 | 6.7611 |  | Cumulative present value of benefits | 30725.2098 | 59474.7112 | 86298.4306 | 111320.4963 | 134657.5012 | 156418.9137 | 176707.4719 | 195619.5592 | 213245.5644 | 229670.2232 | 244972.9446 | 259228.1207 | 272505.4214 | 284870.0736 | 296383.1264 | 307101.7019 | 317079.2329 | 326365.6876 | 335007.7821 | 343049.1807 | 350530.6853 | 357490.4141 | 363963.9694 | 369984.5969 | 375583.3341
| INSTALLED WIND (kW) | INSTALLED SOLAR (kW) | CAPITAL COST (£) | SURPLUS (kWh/day) | DEFICIT (kWh/day) | RENEWLE SUPPLY (kWh/day) | WIND % | SCENARIO FIT (p/kWh) | TOTAL CONSUMPTION (kWh/day) | [57 empty] | Cumulative present value benfits and costs | -77.3242 | -73.1392 | -69.3314 | -65.8705 | -62.7284 | -59.879 | -57.2981 | -54.9632 | -52.8538 | -50.9506 | -49.236 | -48.4249 | -48.404 | -49.0689 | -50.3254 | -52.0889 | -54.2834 | -56.8405 | -59.6993 | -62.8054 | -66.1103 | -69.5709 | -73.1491 | -76.8112 | -80.5276
Present scenario | 264 | 48 | 265920 | 359.015 | 670.86 | 975.79 | 0.84615 | 21.3 | 1725 |  |  |  | SCENARIO 2 | YEAR 2012: YEAR |  | SCENARIO 2 | YEAR
2020 scenario | 216 | 54 | 218160 | 208.555 | 566.68 | 743.14 | 0.8 | 19.24 | 1370.655 |  |  |  | COSTS | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 |  | COSTS | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
2050 scenario | 84 | 10.5 | 84420 | 94.23 | 226.74 | 305.7 | 0.88889 | 24.8556 | 418.35 |  |  |  | Investment | YEAR 2020: -218160 |  | Investment | -218160
[13 empty] | Maintenance costs Costs |  | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 |  | Maintenance costs Costs |  | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480 | -6480
- Earnings with and without FIT. Cost to sell the surplus to the grid (2050 assumption) | [12 empty] | Deficit | -33094.112 | -32270.6974 | -32128.641 | -31940.4039 | -31706.0203 | -31425.5247 | -31098.9512 | -30726.3341 | -30307.7075 | -29843.1056 | -29332.5625 | -28776.1121 | -28173.7885 | -27525.6257 | -26831.6574 | -26091.9176 | -25306.44 | -24475.2585 | -23598.4068 | -22675.9185 | -21707.8272 | -20694.1667 | -19634.9703 | -18530.2716 | -17380.1041 |  | Deficit | -33094.112 | -32270.6974 | -32128.641 | -31940.4039 | -31706.0203 | -31425.5247 | -31098.9512 | -30726.3341 | -30307.7075 | -29843.1056 | -29332.5625 | -28776.1121 | -28173.7885 | -27525.6257 | -26831.6574 | -26091.9176 | -25306.44 | -24475.2585 | -23598.4068 | -22675.9185 | -21707.8272 | -20694.1667 | -19634.9703 | -18530.2716 | -17380.1041
|  | ANNUAL EARNINGS WITH FITS (£) |  |  | ANNUAL EARNINGS WITHOUT FITS (£) | [7 empty] | Total costs | -251254.112 | -38750.6974 | -38608.641 | -38420.4039 | -38186.0203 | -37905.5247 | -37578.9512 | -37206.3341 | -36787.7075 | -36323.1056 | -35812.5625 | -35256.1121 | -34653.7885 | -34005.6257 | -33311.6574 | -32571.9176 | -31786.44 | -30955.2585 | -30078.4068 | -29155.9185 | -28187.8272 | -27174.1667 | -26114.9703 | -25010.2716 | -23860.1041 |  | Total costs | -251254.112 | -38750.6974 | -38608.641 | -38420.4039 | -38186.0203 | -37905.5247 | -37578.9512 | -37206.3341 | -36787.7075 | -36323.1056 | -35812.5625 | -35256.1121 | -34653.7885 | -34005.6257 | -33311.6574 | -32571.9176 | -31786.44 | -30955.2585 | -30078.4068 | -29155.9185 | -28187.8272 | -27174.1667 | -26114.9703 | -25010.2716 | -23860.1041
| ELECTRICITY COST (p/kWh) | SCENARIO 1 | SCENARIO 2 | SCENARIO 3 | SCENARIO 1 | SCENARIO 2 | SCENARIO 3 | SURPLUS SCENARIO 1 (kWh)/day | SURPLUS SCENARIO 2 (kWh)/day | SURPLUS SCENARIO 3 (kWh)/day | ANNUAL PAYMENT TO THE GRID - 2050 (£) |  | Discount factor (8% per annum) | 1 | 0.92 | 0.8464 | 0.77869 | 0.71639 | 0.65908 | 0.60636 | 0.55785 | 0.51322 | 0.47216 | 0.43439 | 0.39964 | 0.36767 | 0.33825 | 0.31119 | 0.2863 | 0.26339 | 0.24232 | 0.22294 | 0.2051 | 0.18869 | 0.1736 | 0.15971 | 0.14693 | 0.13518 |  | Discount factor (8% per annum) | 1 | 0.92 | 0.8464 | 0.77869 | 0.71639 | 0.65908 | 0.60636 | 0.55785 | 0.51322 | 0.47216 | 0.43439 | 0.39964 | 0.36767 | 0.33825 | 0.31119 | 0.2863 | 0.26339 | 0.24232 | 0.22294 | 0.2051 | 0.18869 | 0.1736 | 0.15971 | 0.14693 | 0.13518
2012 | 12.8 | 73743.1721 |  |  | 45588.9088 |  |  | 362.136 |  |  |  |  | Present value of costs | -251254.112 | -35650.6416 | -32678.3537 | -29917.5074 | -27356.1961 | -24982.8309 | -22786.185 | -20755.427 | -18880.1458 | -17150.3671 | -15556.5637 | -14089.6602 | -12741.0333 | -11502.5075 | -10366.3489 | -9325.2554 | -8372.3452 | -7501.144 | -6705.5703 | -5979.921 | -5318.855 | -4717.3773 | -4170.8228 | -3674.84 | -3225.3748 |  | Present value of costs | -251254.112 | -35650.6416 | -32678.3537 | -29917.5074 | -27356.1961 | -24982.8309 | -22786.185 | -20755.427 | -18880.1458 | -17150.3671 | -15556.5637 | -14089.6602 | -12741.0333 | -11502.5075 | -10366.3489 | -9325.2554 | -8372.3452 | -7501.144 | -6705.5703 | -5979.921 | -5318.855 | -4717.3773 | -4170.8228 | -3674.84 | -3225.3748
2013 | 13.2 | 76503.3291 |  |  | 47013.5622 |  |  | 379.314 |  |  |  |  | Cumulative present value of costs | -251254.112 | -286904.7536 | -319583.1074 | -349500.6148 | -376856.8109 | -401839.6418 | -424625.8268 | -445381.2538 | -464261.3996 | -481411.7667 | -496968.3304 | -511057.9906 | -523799.0238 | -535301.5314 | -545667.8803 | -554993.1357 | -563365.481 | -570866.6249 | -577572.1953 | -583552.1163 | -588870.9712 | -593588.3485 | -597759.1713 | -601434.0113 | -604659.3861 |  | Cumulative present value of costs | -251254.112 | -286904.7536 | -319583.1074 | -349500.6148 | -376856.8109 | -401839.6418 | -424625.8268 | -445381.2538 | -464261.3996 | -481411.7667 | -496968.3304 | -511057.9906 | -523799.0238 | -535301.5314 | -545667.8803 | -554993.1357 | -563365.481 | -570866.6249 | -577572.1953 | -583552.1163 | -588870.9712 | -593588.3485 | -597759.1713 | -601434.0113 | -604659.3861
2014 | 13.6 | 79263.4861 |  |  | 48438.2156 |  |  | 396.492 |  |  |  |  | BENEFITS | [26 empty] | BENEFITS
2015 | 14 | 82023.6431 |  |  | 49862.869 |  |  | 413.67 |  |  |  |  | Economic savings | 58045.0083 | 59379.783 | 61668.1562 | 63955.9942 | 66243.2974 | 68530.0664 | 70816.3018 | 73102.0039 | 75387.1735 | 77671.811 | 79955.9169 | 82239.4917 | 84522.5361 | 86805.0504 | 89087.0352 | 91368.4911 | 93649.4186 | 95929.8181 | 98209.6902 | 100489.0354 | 102767.8543 | 105046.1473 | 107323.9149 | 109601.1578 | 111877.8763 |  | Economic savings | 43399.376 | 43527.8085 | 44609.8395 | 45691.3352 | 46772.2962 | 47852.723 | 48932.6161 | 50011.9761 | 51090.8034 | 52169.0986 | 53246.8623 | 54324.0949 | 55400.797 | 56476.9691 | 57552.6117 | 58627.7254 | 59702.3106 | 60776.3679 | 61849.8978 | 62922.9008 | 63995.3774 | 65067.3282 | 66138.7536 | 67209.6542 | 68280.0305
2016 | 14.4 | 84783.8002 |  |  | 51287.5224 |  |  | 430.848 |  |  |  |  | Discount Factor (8% per annum) | 1 | 0.92 | 0.8464 | 0.77869 | 0.71639 | 0.65908 | 0.60636 | 0.55785 | 0.51322 | 0.47216 | 0.43439 | 0.39964 | 0.36767 | 0.33825 | 0.31119 | 0.2863 | 0.26339 | 0.24232 | 0.22294 | 0.2051 | 0.18869 | 0.1736 | 0.15971 | 0.14693 | 0.13518 |  | Discount Factor (8% per annum) | 1 | 0.92 | 0.8464 | 0.77869 | 0.71639 | 0.65908 | 0.60636 | 0.55785 | 0.51322 | 0.47216 | 0.43439 | 0.39964 | 0.36767 | 0.33825 | 0.31119 | 0.2863 | 0.26339 | 0.24232 | 0.22294 | 0.2051 | 0.18869 | 0.1736 | 0.15971 | 0.14693 | 0.13518
2017 | 14.8 | 87543.9572 |  |  | 52712.1758 |  |  | 448.026 |  |  |  |  | Present value of benefits | 58045.0083 | 54629.4004 | 52195.9274 | 49801.7652 | 47456.2319 | 45166.9006 | 42939.8187 | 40779.7044 | 38690.1202 | 36673.6282 | 34731.9271 | 32865.9748 | 31076.0955 | 29362.0754 | 27723.2467 | 26158.5618 | 24666.6586 | 23245.9172 | 21894.5102 | 20610.4463 | 19391.6086 | 18235.7867 | 17140.7061 | 16104.0522 | 15123.4916 |  | Present value of benefits | 43399.376 | 40045.5838 | 37757.7681 | 35579.2944 | 33507.3437 | 31538.8455 | 29670.5365 | 27899.0109 | 26220.7645 | 24632.2327 | 23129.8222 | 21709.9389 | 20369.0109 | 19103.5086 | 17909.9602 | 16784.9656 | 15725.2072 | 14727.4585 | 13788.5906 | 12905.5779 | 12075.5008 | 11295.5491 | 10563.0226 | 9875.3317 | 9229.9971
2018 | 15.2 | 90304.1142 |  |  | 54136.8292 |  |  | 465.204 |  |  |  |  | Cumulative present value of benefits | 58045.0083 | 112674.4087 | 164870.3361 | 214672.1013 | 262128.3332 | 307295.2337 | 350235.0525 | 391014.7569 | 429704.8772 | 466378.5053 | 501110.4325 | 533976.4073 | 565052.5028 | 594414.5782 | 622137.8249 | 648296.3867 | 672963.0453 | 696208.9624 | 718103.4726 | 738713.9189 | 758105.5275 | 776341.3141 | 793482.0202 | 809586.0725 | 824709.5641 |  | Cumulative present value of benefits | 43399.376 | 83444.9598 | 121202.7279 | 156782.0223 | 190289.366 | 221828.2116 | 251498.7481 | 279397.7589 | 305618.5235 | 330250.7562 | 353380.5784 | 375090.5173 | 395459.5282 | 414563.0368 | 432472.9969 | 449257.9625 | 464983.1697 | 479710.6282 | 493499.2189 | 506404.7967 | 518480.2975 | 529775.8467 | 540338.8692 | 550214.2009 | 559444.198
2019 | 15.6 | 93064.2712 |  |  | 55561.4826 |  |  | 482.382 |  |  |  |  | Cumulative present value benfits and costs | -193.2091 | -174.2303 | -154.7128 | -134.8285 | -114.7285 | -94.5444 | -74.3908 | -54.3665 | -34.5565 | -15.0333 | 4.1421 | 22.9184 | 41.2535 | 59.113 | 76.4699 | 93.3033 | 109.5976 | 125.3423 | 140.5313 | 155.1618 | 169.2346 | 182.753 | 195.7228 | 208.1521 | 220.0502 |  | Cumulative present value benfits and costs | -207.8547 | -203.4598 | -198.3804 | -192.7186 | -186.5674 | -180.0114 | -173.1271 | -165.9835 | -158.6429 | -151.161 | -143.5878 | -135.9675 | -128.3395 | -120.7385 | -113.1949 | -105.7352 | -98.3823 | -91.156 | -84.073 | -77.1473 | -70.3907 | -63.8125 | -57.4203 | -51.2198 | -45.2152
2020 | 16 | 95824.4282 | 58045.0083 |  | 56986.136 | 43399.376 |  | 499.56 | 208.55
2021 | 16.0473 | 97328.5718 | 59379.783 |  | 57154.776 | 43527.8085 |  | 516.738 | 225.728 |  |  |  | SCENARIO 3 | YEAR 2020: YEAR |  | SCENARIO 3 | YEAR
2022 | 16.4463 | 100084.8508 | 61668.1562 |  | 58575.5514 | 44609.8395 |  | 533.916 | 242.906 |  |  |  | COSTS | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 |  | COSTS | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074
2023 | 16.845 | 102840.427 | 63955.9942 |  | 59995.6239 | 45691.3352 |  | 551.094 | 260.084 |  |  |  | Investment | YEAR 2050: -84420 |  | Investment | -84420
2024 | 17.2435 | 105595.301 | 66243.2974 |  | 61414.9943 | 46772.2962 |  | 568.272 | 277.262 |  |  |  | Maintenance costs Costs |  | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 |  | Maintenance costs Costs |  | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520
2025 | 17.6418 | 108349.4736 | 68530.0664 |  | 62833.6633 | 47852.723 |  | 585.45 | 294.44 |  |  |  | Deficit | -15814.8896 | -14476.7689 | -13050.8602 | -11579.4563 | -10062.5571 | -8500.1627 | -6892.273 | -5238.8881 | -3540.008 | -1795.6326 | -5.7619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Deficit | -15814.8896 | -14476.7689 | -13050.8602 | -11579.4563 | -10062.5571 | -8500.1627 | -6892.273 | -5238.8881 | -3540.008 | -1795.6326 | -5.7619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 18.0399 | 111102.9454 | 70816.3018 |  | 64251.6315 | 48932.6161 |  | 602.628 | 311.618 |  |  |  | Total costs | -100234.8896 | -16996.7689 | -15570.8602 | -14099.4563 | -12582.5571 | -11020.1627 | -9412.273 | -7758.8881 | -6060.008 | -4315.6326 | -2525.7619 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 |  | Total costs | -100234.8896 | -16996.7689 | -15570.8602 | -14099.4563 | -12582.5571 | -11020.1627 | -9412.273 | -7758.8881 | -6060.008 | -4315.6326 | -2525.7619 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520 | -2520
2027 | 18.4379 | 113855.7172 | 73102.0039 |  | 65668.8997 | 50011.9761 |  | 619.806 | 328.796 |  |  |  | Discount factor (8% per annum) | 1 | 0.92 | 0.8464 | 0.77869 | 0.71639 | 0.65908 | 0.60636 | 0.55785 | 0.51322 | 0.47216 | 0.43439 | 0.39964 | 0.36767 | 0.33825 | 0.31119 | 0.2863 | 0.26339 | 0.24232 | 0.22294 | 0.2051 | 0.18869 | 0.1736 | 0.15971 | 0.14693 | 0.13518 |  | Discount factor (8% per annum) | 1 | 0.92 | 0.8464 | 0.77869 | 0.71639 | 0.65908 | 0.60636 | 0.55785 | 0.51322 | 0.47216 | 0.43439 | 0.39964 | 0.36767 | 0.33825 | 0.31119 | 0.2863 | 0.26339 | 0.24232 | 0.22294 | 0.2051 | 0.18869 | 0.1736 | 0.15971 | 0.14693 | 0.13518
2028 | 18.8356 | 116607.7896 | 75387.1735 |  | 67085.4685 | 51090.8034 |  | 636.984 | 345.974 |  |  |  | Present value of costs | -100234.8896 | -15637.0274 | -13179.1761 | -10979.0774 | -9014.0553 | -7263.1856 | -5707.1788 | -4328.2694 | -3110.1105 | -2037.6749 | -1097.1618 | -1007.0862 | -926.5193 | -852.3978 | -784.2059 | -721.4695 | -663.7519 | -610.6517 | -561.7996 | -516.8556 | -475.5072 | -437.4666 | -402.4693 | -370.2717 | -340.65 |  | Present value of costs | -100234.8896 | -15637.0274 | -13179.1761 | -10979.0774 | -9014.0553 | -7263.1856 | -5707.1788 | -4328.2694 | -3110.1105 | -2037.6749 | -1097.1618 | -1007.0862 | -926.5193 | -852.3978 | -784.2059 | -721.4695 | -663.7519 | -610.6517 | -561.7996 | -516.8556 | -475.5072 | -437.4666 | -402.4693 | -370.2717 | -340.65
2029 | 19.2331 | 119359.1633 | 77671.811 |  | 68501.3386 | 52169.0986 |  | 654.162 | 363.152 |  |  |  | Cumulative present value of costs | -100234.8896 | -115871.917 | -129051.0931 | -140030.1705 | -149044.2258 | -156307.4114 | -162014.5903 | -166342.8596 | -169452.9701 | -171490.6451 | -172587.8069 | -173594.8931 | -174521.4123 | -175373.8101 | -176158.016 | -176879.4855 | -177543.2374 | -178153.8891 | -178715.6888 | -179232.5444 | -179708.0516 | -180145.5182 | -180547.9875 | -180918.2592 | -181258.9092 |  | Cumulative present value of costs | -100234.8896 | -115871.917 | -129051.0931 | -140030.1705 | -149044.2258 | -156307.4114 | -162014.5903 | -166342.8596 | -169452.9701 | -171490.6451 | -172587.8069 | -173594.8931 | -174521.4123 | -175373.8101 | -176158.016 | -176879.4855 | -177543.2374 | -178153.8891 | -178715.6888 | -179232.5444 | -179708.0516 | -180145.5182 | -180547.9875 | -180918.2592 | -181258.9092
2030 | 19.6305 | 122109.839 | 79955.9169 |  | 69916.5107 | 53246.8623 |  | 671.34 | 380.33 |  |  |  | BENEFITS | [26 empty] | BENEFITS
2031 | 20.0276 | 124859.8175 | 82239.4917 |  | 71330.9855 | 54324.0949 |  | 688.518 | 397.508 |  |  |  | Economic savings | 37778.9058 | 39861.5898 | 41862.1077 | 43862.6255 | 45863.1433 | 47863.6611 | 49864.1789 | 51864.6967 | 53865.2146 | 55865.7324 | 57866.2502 | 59866.768 | 61867.2858 | 63867.8037 | 65868.3215 | 67868.8393 | 69869.3571 | 71869.8749 | 73870.3927 | 75870.9106 | 77871.4284 | 79871.9462 | 81872.464 | 83872.9818 | 85873.4996 |  | Economic savings | 30725.2098 | 31249.458 | 31691.5399 | 32133.6219 | 32575.7038 | 33017.7858 | 33459.8677 | 33901.9496 | 34344.0316 | 34786.1135 | 35228.1955 | 35670.2774 | 36112.3593 | 36554.4413 | 36996.5232 | 37438.6052 | 37880.6871 | 38322.769 | 38764.851 | 39206.9329 | 39649.0149 | 40091.0968 | 40533.1788 | 40975.2607 | 41417.3426
2032 | 20.4246 | 127609.0993 | 84522.5361 |  | 72744.7638 | 55400.797 |  | 705.696 | 414.686 |  |  |  | Discount Factor (8% per annum) | 1 | 0.92 | 0.8464 | 0.77869 | 0.71639 | 0.65908 | 0.60636 | 0.55785 | 0.51322 | 0.47216 | 0.43439 | 0.39964 | 0.36767 | 0.33825 | 0.31119 | 0.2863 | 0.26339 | 0.24232 | 0.22294 | 0.2051 | 0.18869 | 0.1736 | 0.15971 | 0.14693 | 0.13518 |  | Discount Factor (8% per annum) | 1 | 0.92 | 0.8464 | 0.77869 | 0.71639 | 0.65908 | 0.60636 | 0.55785 | 0.51322 | 0.47216 | 0.43439 | 0.39964 | 0.36767 | 0.33825 | 0.31119 | 0.2863 | 0.26339 | 0.24232 | 0.22294 | 0.2051 | 0.18869 | 0.1736 | 0.15971 | 0.14693 | 0.13518
2033 | 20.8213 | 130357.6852 | 86805.0504 |  | 74157.846 | 56476.9691 |  | 722.874 | 431.864 |  |  |  | Present value of benefits | 37778.9058 | 36672.6627 | 35432.0879 | 34155.3001 | 32856.033 | 31546.0547 | 30235.3943 | 28932.5448 | 27644.6447 | 26377.6404 | 25136.431 | 23924.9982 | 22746.5215 | 21603.4811 | 20497.7494 | 19430.6725 | 18403.1423 | 17415.6607 | 16468.396 | 15561.2334 | 14693.8191 | 13865.5992 | 13075.854 | 12323.7282 | 11608.2571 |  | Present value of benefits | 30725.2098 | 28749.5014 | 26823.7194 | 25022.0657 | 23337.0049 | 21761.4125 | 20288.5581 | 18912.0874 | 17626.0052 | 16424.6588 | 15302.7214 | 14255.1761 | 13277.3007 | 12364.6522 | 11513.0528 | 10718.5755 | 9977.531 | 9286.4547 | 8642.0945 | 8041.3986 | 7481.5046 | 6959.7287 | 6473.5553 | 6020.6274 | 5598.7373
2034 | 21.2179 | 133105.5758 | 89087.0352 |  | 75570.2331 | 57552.6117 |  | 740.052 | 449.042 |  |  |  | Cumulative present value of benefits | 37778.9058 | 74451.5684 | 109883.6564 | 144038.9565 | 176894.9895 | 208441.0441 | 238676.4384 | 267608.9832 | 295253.6279 | 321631.2683 | 346767.6993 | 370692.6975 | 393439.219 | 415042.7 | 435540.4494 | 454971.1219 | 473374.2643 | 490789.9249 | 507258.3209 | 522819.5542 | 537513.3733 | 551378.9725 | 564454.8265 | 576778.5547 | 588386.8118 |  | Cumulative present value of benefits | 30725.2098 | 59474.7112 | 86298.4306 | 111320.4963 | 134657.5012 | 156418.9137 | 176707.4719 | 195619.5592 | 213245.5644 | 229670.2232 | 244972.9446 | 259228.1207 | 272505.4214 | 284870.0736 | 296383.1264 | 307101.7019 | 317079.2329 | 326365.6876 | 335007.7821 | 343049.1807 | 350530.6853 | 357490.4141 | 363963.9694 | 369984.5969 | 375583.3341
2035 | 21.6142 | 135852.7719 | 91368.4911 |  | 76981.9256 | 58627.7254 |  | 757.23 | 466.22 |  |  |  | Cumulative present value benfits and costs | -62.456 | -41.4203 | -19.1674 | 4.0088 | 27.8508 | 52.1336 | 76.6618 | 101.2661 | 125.8007 | 150.1406 | 174.1799 | 197.0978 | 218.9178 | 239.6689 | 259.3824 | 278.0916 | 295.831 | 312.636 | 328.5426 | 343.587 | 357.8053 | 371.2335 | 383.9068 | 395.8603 | 407.1279 |  | Cumulative present value benfits and costs | -69.5097 | -56.3972 | -42.7527 | -28.7097 | -14.3867 | 0.1115 | 14.6929 | 29.2767 | 43.7926 | 58.1796 | 72.3851 | 85.6332 | 97.984 | 109.4963 | 120.2251 | 130.2222 | 139.536 | 148.2118 | 156.2921 | 163.8166 | 170.8226 | 177.3449 | 183.416 | 189.0663 | 194.3244
2036 | 22.0104 | 138599.2741 | 93649.4186 |  | 78392.9242 | 59702.3106 |  | 774.408 | 483.398
2037 | 22.4064 | 141345.0831 | 95929.8181 |  | 79803.2296 | 60776.3679 |  | 791.586 | 500.576
2038 | 22.8021 | 144090.1996 | 98209.6902 |  | 81212.8425 | 61849.8978 |  | 808.764 | 517.754
2039 | 23.1977 | 146834.6243 | 100489.0354 |  | 82621.7635 | 62922.9008 |  | 825.942 | 534.932
2040 | 23.5931 | 149578.3578 | 102767.8543 |  | 84029.9934 | 63995.3774 |  | 843.12 | 552.11
2041 | 23.9883 | 152321.4009 | 105046.1473 |  | 85437.5329 | 65067.3282 |  | 860.298 | 569.288
2042 | 24.3833 | 155063.7541 | 107323.9149 |  | 86844.3825 | 66138.7536 |  | 877.476 | 586.466
2043 | 24.7781 | 157805.4182 | 109601.1578 |  | 88250.543 | 67209.6542 |  | 894.654 | 603.644
2044 | 25.1727 | 160546.3939 | 111877.8763 |  | 89656.015 | 68280.0305 |  | 911.832 | 620.822
2045 | 25.5671 | 163286.6818 | 114154.0711 |  | 91060.7993 | 69349.8831 |  | 929.01 | 638
2046 | 25.9614 | 166026.2825 | 116429.7425 |  | 92464.8965 | 70419.2123 |  | 946.188 | 655.178
2047 | 26.3554 | 168765.1969 | 118704.8912 |  | 93868.3072 | 71488.0187 |  | 963.366 | 672.356
2048 | 26.7493 | 171503.4255 | 120979.5176 |  | 95271.0322 | 72556.3029 |  | 980.544 | 689.534
2049 | 27.1429 | 174240.9689 | 123253.6223 |  | 96673.0721 | 73624.0654 |  | 997.722 | 706.712
2050 | 27.5364 | 176977.828 | 125527.2057 | 37778.9058 | 98074.4275 | 74691.3066 | 30725.2098 | 1014.9 | 723.89 | 77.75 | 7814.4752
2051 | 28.0062 | 179986.7242 | 128007.9666 | 39861.5898 | 99747.8201 | 75965.7253 | 31249.458 | 1032.078 | 741.068 | 94.928 | 9703.7898
2052 | 28.4024 | 182733.347 | 130288.9859 | 41862.1077 | 101158.9393 | 77040.4023 | 31691.5399 | 1049.256 | 758.246 | 112.106 | 11621.89
2053 | 28.7986 | 185479.9698 | 132570.0052 | 43862.6255 | 102570.0585 | 78115.0794 | 32133.6219 | 1066.434 | 775.424 | 129.284 | 13589.6734
2054 | 29.1948 | 188226.5926 | 134851.0245 | 45863.1433 | 103981.1777 | 79189.7564 | 32575.7038 | 1083.612 | 792.602 | 146.462 | 15607.1401
2055 | 29.591 | 190973.2154 | 137132.0437 | 47863.6611 | 105392.2969 | 80264.4335 | 33017.7858 | 1100.79 | 809.78 | 163.64 | 17674.29
2056 | 29.9872 | 193719.8383 | 139413.063 | 49864.1789 | 106803.4161 | 81339.1105 | 33459.8677 | 1117.968 | 826.958 | 180.818 | 19791.1232
2057 | 30.3834 | 196466.4611 | 141694.0823 | 51864.6967 | 108214.5353 | 82413.7875 | 33901.9496 | 1135.146 | 844.136 | 197.996 | 21957.6396
2058 | 30.7796 | 199213.0839 | 143975.1016 | 53865.2146 | 109625.6545 | 83488.4646 | 34344.0316 | 1152.324 | 861.314 | 215.174 | 24173.8392
2059 | 31.1758 | 201959.7067 | 146256.1208 | 55865.7324 | 111036.7737 | 84563.1416 | 34786.1135 | 1169.502 | 878.492 | 232.352 | 26439.7221
2060 | 31.572 | 204706.3295 | 148537.1401 | 57866.2502 | 112447.8929 | 85637.8187 | 35228.1955 | 1186.68 | 895.67 | 249.53 | 28755.2882
2061 | 31.9682 | 207452.9523 | 150818.1594 | 59866.768 | 113859.0121 | 86712.4957 | 35670.2774 | 1203.858 | 912.848 | 266.708 | 31120.5376
2062 | 32.3644 | 210199.5751 | 153099.1787 | 61867.2858 | 115270.1312 | 87787.1728 | 36112.3593 | 1221.036 | 930.026 | 283.886 | 33535.4702
2063 | 32.7606 | 212946.1979 | 155380.1979 | 63867.8037 | 116681.2504 | 88861.8498 | 36554.4413 | 1238.214 | 947.204 | 301.064 | 36000.0861
2064 | 33.1568 | 215692.8207 | 157661.2172 | 65868.3215 | 118092.3696 | 89936.5269 | 36996.5232 | 1255.392 | 964.382 | 318.242 | 38514.3852
2065 | 33.553 | 218439.4435 | 159942.2365 | 67868.8393 | 119503.4888 | 91011.2039 | 37438.6052 | 1272.57 | 981.56 | 335.42 | 41078.3675
2066 | 33.9492 | 221186.0663 | 162223.2558 | 69869.3571 | 120914.608 | 92085.881 | 37880.6871 | 1289.748 | 998.738 | 352.598 | 43692.0331
2067 | 34.3454 | 223932.6891 | 164504.275 | 71869.8749 | 122325.7272 | 93160.558 | 38322.769 | 1306.926 | 1015.916 | 369.776 | 46355.3819
2068 | 34.7416 | 226679.3119 | 166785.2943 | 73870.3927 | 123736.8464 | 94235.2351 | 38764.851 | 1324.104 | 1033.094 | 386.954 | 49068.414
2069 | 35.1378 | 229425.9347 | 169066.3136 | 75870.9106 | 125147.9656 | 95309.9121 | 39206.9329 | 1341.282 | 1050.272 | 404.132 | 51831.1293
2070 | 35.534 | 232172.5575 | 171347.3329 | 77871.4284 | 126559.0848 | 96384.5892 | 39649.0149 | 1358.46 | 1067.45 | 421.31 | 54643.5278
2071 | 35.9302 | 234919.1803 | 173628.3522 | 79871.9462 | 127970.204 | 97459.2662 | 40091.0968 | 1375.638 | 1084.628 | 438.488 | 57505.6096
2072 | 36.3264 | 237665.8031 | 175909.3714 | 81872.464 | 129381.3232 | 98533.9433 | 40533.1788 | 1392.816 | 1101.806 | 455.666 | 60417.3746
2073 | 36.7226 | 240412.4259 | 178190.3907 | 83872.9818 | 130792.4424 | 99608.6203 | 40975.2607 | 1409.994 | 1118.984 | 472.844 | 63378.8229
2074 | 37.1188 | 243159.0487 | 180471.41 | 85873.4996 | 132203.5616 | 100683.2974 | 41417.3426 | 1427.172 | 1136.162 | 490.022 | 66389.9544
- Surplus evolution approximation | SCENARIO 1 | SCENARIO 2 | SCENARIO 3
| SURPLUS (kWh)/day | SURPLUS (kWh)/day | SURPLUS (kWh)/day
2012 | 359.015 | - | -
2020 | 503.23 | 208.555 | -
2050 | 1013.97 | - | 77.75
Scenario 2: | y=17.178x-34491.01
Scenario 3: | y=17.178x-35137.15
- Expenses - electricity bouught to the grid (deficit)
| ELECTRICITY COST (p/kWh) | DEFICIT SCENARIO 1 (kWh/day) | DEFICIT SCENARIO 2 (kWh/day) | DEFICIT SCENARIO 3 (kWh/day) | ANNUAL DEFICIT COST - SCENARIO 1 (£) | ANNUAL DEFICIT COST - SCENARIO 2 (£) | ANNUAL DEFICIT COST - SCENARIO 3 (£)
2012 | 12.8 | 638.24 |  |  | 29818.5728
2013 | 13.2 | 622.51 |  |  | 29992.5318
2014 | 13.6 | 606.78 |  |  | 30120.5592
2015 | 14 | 591.05 |  |  | 30202.655
2016 | 14.4 | 575.32 |  |  | 30238.8192
2017 | 14.8 | 559.59 |  |  | 30229.0518
2018 | 15.2 | 543.86 |  |  | 30173.3528
2019 | 15.6 | 528.13 |  |  | 30071.7222
2020 | 16 | 512.4 | 566.68 |  | 29924.16 | 33094.112
2021 | 16.0473 | 496.67 | 550.95 |  | 29091.3645 | 32270.6974
2022 | 16.4463 | 480.94 | 535.22 |  | 28870.275 | 32128.641
2023 | 16.845 | 465.21 | 519.49 |  | 28603.0439 | 31940.4039
2024 | 17.2435 | 449.48 | 503.76 |  | 28289.7054 | 31706.0203
2025 | 17.6418 | 433.75 | 488.03 |  | 27930.2939 | 31425.5247
2026 | 18.0399 | 418.02 | 472.3 |  | 27524.8435 | 31098.9512
2027 | 18.4379 | 402.29 | 456.57 |  | 27073.3884 | 30726.3341
2028 | 18.8356 | 386.56 | 440.84 |  | 26575.9628 | 30307.7075
2029 | 19.2331 | 370.83 | 425.11 |  | 26032.6007 | 29843.1056
2030 | 19.6305 | 355.1 | 409.38 |  | 25443.3361 | 29332.5625
2031 | 20.0276 | 339.37 | 393.65 |  | 24808.2032 | 28776.1121
2032 | 20.4246 | 323.64 | 377.92 |  | 24127.2357 | 28173.7885
2033 | 20.8213 | 307.91 | 362.19 |  | 23400.4677 | 27525.6257
2034 | 21.2179 | 292.18 | 346.46 |  | 22627.933 | 26831.6574
2035 | 21.6142 | 276.45 | 330.73 |  | 21809.6653 | 26091.9176
2036 | 22.0104 | 260.72 | 315 |  | 20945.6986 | 25306.44
2037 | 22.4064 | 244.99 | 299.27 |  | 20036.0664 | 24475.2585
2038 | 22.8021 | 229.26 | 283.54 |  | 19080.8025 | 23598.4068
2039 | 23.1977 | 213.53 | 267.81 |  | 18079.9405 | 22675.9185
2040 | 23.5931 | 197.8 | 252.08 |  | 17033.5141 | 21707.8272
2041 | 23.9883 | 182.07 | 236.35 |  | 15941.5567 | 20694.1667
2042 | 24.3833 | 166.34 | 220.62 |  | 14804.1019 | 19634.9703
2043 | 24.7781 | 150.61 | 204.89 |  | 13621.1831 | 18530.2716
2044 | 25.1727 | 134.88 | 189.16 |  | 12392.8338 | 17380.1041
2045 | 25.5671 | 119.15 | 173.43 |  | 11119.0873 | 16184.5012
2046 | 25.9614 | 103.42 | 157.7 |  | 9799.977 | 14943.4962
2047 | 26.3554 | 87.69 | 141.97 |  | 8435.5362 | 13657.1225
2048 | 26.7493 | 71.96 | 126.24 |  | 7025.798 | 12325.4134
2049 | 27.1429 | 56.23 | 110.51 |  | 5570.7958 | 10948.402
2050 | 27.5364 | 40.5 | 94.78 | 157.35 | 4070.5626 | 9526.1216 | 15814.8896
2051 | 28.0062 | 24.77 | 79.05 | 141.62 | 2532.0545 | 8080.6989 | 14476.7689
2052 | 28.4024 | 9.04 | 63.32 | 125.89 | 937.1656 | 6564.3059 | 13050.8602
2053 | 28.7986 | 0 | 47.59 | 110.16 | 0 | 5002.4176 | 11579.4563
2054 | 29.1948 | 0 | 31.86 | 94.43 | 0 | 3395.0341 | 10062.5571
2055 | 29.591 | 0 | 16.13 | 78.7 | 0 | 1742.1553 | 8500.1627
2056 | 29.9872 | 0 | 0.4 | 62.97 | 0 | 43.7813 | 6892.273
2057 | 30.3834 | 0 | 0 | 47.24 | 0 | 0 | 5238.8881
2058 | 30.7796 | 0 | 0 | 31.51 | 0 | 0 | 3540.008
2059 | 31.1758 | 0 | 0 | 15.78 | 0 | 0 | 1795.6326
2060 | 31.572 | 0 | 0 | 0.05 | 0 | 0 | 5.7619
2061 | 31.9682 | 0 | 0 | 0 | 0 | 0 | 0
2062 | 32.3644 | 0 | 0 | 0 | 0 | 0 | 0
2063 | 32.7606 | 0 | 0 | 0 | 0 | 0 | 0
2064 | 33.1568 | 0 | 0 | 0 | 0 | 0 | 0
2065 | 33.553 | 0 | 0 | 0 | 0 | 0 | 0
2066 | 33.9492 | 0 | 0 | 0 | 0 | 0 | 0
2067 | 34.3454 | 0 | 0 | 0 | 0 | 0 | 0
2068 | 34.7416 | 0 | 0 | 0 | 0 | 0 | 0
2069 | 35.1378 | 0 | 0 | 0 | 0 | 0 | 0
2070 | 35.534 | 0 | 0 | 0 | 0 | 0 | 0
2071 | 35.9302 | 0 | 0 | 0 | 0 | 0 | 0
2072 | 36.3264 | 0 | 0 | 0 | 0 | 0 | 0
2073 | 36.7226 | 0 | 0 | 0 | 0 | 0 | 0
2074 | 37.1188 | 0 | 0 | 0 | 0 | 0 | 0
- Deficit evolution approximation | SCENARIO 1 | SCENARIO 2 | SCENARIO 3
| DEFICIT (kWh/day) | DEFICIT (kWh/day) | DEFICIT (kWh/day)
2012 | 670.86 | - | -
2020 | 469.25 | 566.68 | -
2050 | 48.59 | - | 157.35
Scenario 2: | y=-15.73x+32341.28
Scenario 3: | y=-15.73x+32403.85