## No Shading
Month | Week | Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h) | T max | T min | T av | PPD av (%)
January | week 1 | 0 | 0 | -18.9 | 43 | 24 | 17.591 | 21.462 | 11.169
| week 2 | 0.16 | 4 | -19.16 | 44 | 24 | 16.661 | 20.878 | 10.966
| week 3 | 0 | 0 | -27.6 | 48 | 24.077 | 17.708 | 21.696 | 10.545
| week 4 | 0.61 | 8 | -3.67 | 19 | 24 | 16.551 | 20.192 | 8.1733
February | week 5 | 0.71 | 4 | -21.48 | 38 | 24.025 | 15.296 | 20.915 | 9.9952
| week 6 | 0 | 0 | -35.21 | 56 | 26.733 | 17.532 | 22.091 | 12.155
| week 7 | 0.21 | 2 | -27.91 | 51 | 24 | 16.966 | 21.411 | 11.485
| week 8 | 0 | 0 | -46.73 | 57 | 24.613 | 18.263 | 22.425 | 13.236
March | week 9 | 0 | 0 | -42.68 | 57 | 25.14 | 16.387 | 22.294 | 12.633
| week 10 | 0 | 0 | -24.12 | 44 | 24.345 | 17.152 | 21.702 | 11.496
| week 11 | 0 | 0 | -49.42 | 59 | 25.506 | 19.1 | 22.913 | 15.938
| week 12 | 0 | 0 | -85.74 | 77 | 29.479 | 18.014 | 23.415 | 16.547
April | week 13 | 0 | 0 | -76.01 | 71 | 26.794 | 21.871 | 24.052 | 21.175
| week 14 | 0 | 0 | -63.65 | 64 | 27.171 | 20.783 | 23.518 | 15.281
| week 15 | 0 | 0 | -133.28 | 105 | 30 | 20.882 | 24.938 | 18.539
| week 16 | 0 | 0 | -136.28 | 97 | 30 | 23.069 | 24.952 | 19.008
| week 17 | 0 | 0 | -120.13 | 97 | 27.439 | 22.845 | 24.722 | 21.961
May | week 18 | 0 | 0 | -184.59 | 125 | 30 | 20.985 | 25.539 | 23.936
| week 19 | 0 | 0 | -179.73 | 126 | 29.947 | 24 | 25.518 | 23.71
| week 20 | 0 | 0 | -168.73 | 111 | 30 | 22.995 | 25.39 | 20.883
| week 21 | 0 | 0 | -167.18 | 122 | 30 | 23.231 | 25.284 | 21.791
June | week 22 | 0 | 0 | -207.25 | 141 | 30 | 24 | 25.902 | 28.551
| week 23 | 0 | 0 | -223.26 | 147 | 30 | 24 | 25.76 | 30.047
| week 24 | 0 | 0 | -226.16 | 161 | 30 | 24 | 25.91 | 28.324
| week 25 | 0 | 0 | -218.01 | 154 | 30 | 24 | 25.827 | 31.344
July | week 26 | 0 | 0 | -219.92 | 154 | 30 | 24 | 25.871 | 30.924
| week 27 | 0 | 0 | -225.63 | 157 | 30 | 24 | 25.863 | 33.006
| week 28 | 0 | 0 | -234.67 | 159 | 30 | 24 | 25.905 | 30.437
| week 29 | 0 | 0 | -269.36 | 162 | 30 | 24 | 26.122 | 38.166
| week 30 | 0 | 0 | -301.02 | 163 | 30 | 24 | 26.551 | 37.616
August | week 31 | 0 | 0 | -270.44 | 161 | 30 | 24 | 26.253 | 39.179
| week 32 | 0 | 0 | -294.14 | 162 | 30 | 24 | 26.301 | 36.469
| week 33 | 0 | 0 | -254.76 | 161 | 30 | 24 | 25.991 | 35.509
| week 34 | 0 | 0 | -259.46 | 160 | 30 | 24 | 26.191 | 36.654
September | week 35 | 0 | 0 | -261.24 | 159 | 30 | 24 | 26.14 | 34.39
| week 36 | 0 | 0 | -253.44 | 161 | 30 | 24 | 26.035 | 35.457
| week 37 | 0 | 0 | -242.14 | 159 | 30 | 24 | 25.956 | 34.379
| week 38 | 0 | 0 | -225.25 | 156 | 30 | 24 | 25.814 | 31.904
| week 39 | 0 | 0 | -209.11 | 152 | 30 | 24 | 25.788 | 33.708
October | week 40 | 0 | 0 | -201.1 | 156 | 30 | 24 | 25.737 | 32.245
| week 41 | 0 | 0 | -181.91 | 134 | 30 | 24 | 25.515 | 24.931
| week 42 | 0 | 0 | -153.07 | 110 | 30 | 23.148 | 25.284 | 25.553
| week 43 | 0 | 0 | -134.33 | 95 | 30 | 22.983 | 25.037 | 26.654
November | week 44 | 0 | 0 | -123.92 | 87 | 30 | 21.806 | 24.74 | 23.126
| week 45 | 0 | 0 | -111.43 | 81 | 28.55 | 22.428 | 24.675 | 24.009
| week 46 | 0 | 0 | -99.55 | 73 | 27.415 | 21.942 | 24.235 | 22.69
| week 47 | 0 | 0 | -78.99 | 62 | 27.477 | 20.981 | 23.728 | 20.712
December | week 48 | 0 | 0 | -63.79 | 59 | 27.042 | 20.047 | 23.212 | 18.638
| week 49 | 0 | 0 | -36.1 | 54 | 24.298 | 18.378 | 22.07 | 12.346
| week 50 | 0 | 0 | -27.42 | 48 | 24 | 16.203 | 21.29 | 11.271
| week 51 | 0 | 0 | -54.43 | 56 | 24.574 | 17.408 | 22.585 | 14.679
| week 52 | 0 | 0 | -43.48 | 67 | 24.72 | 19.812 | 22.674 | 15.423
Average values |  | 0.0325 | 0.34615 | -141.0958 | 104.2692 | 28.0643 | 21.4042 | 24.3129 | 23.2493
Summary
Energy delivered in a year (kWh) | 7338.67
Total hours in a year | 5440
PPD av (%) in a year | 23.2493
Energy delivered in summer (kWh) | 3204.08
Total hours in summer (h) | 2060
PPD av (%) in summer | 26.0344
Energy delivered in winter (kWh) | 427.57
Total hours in winter (h) | 658
PPD av (%) in winter | 12.314
Note on J1: Percentage of people dissatisfied (average)

## Steady Horizontal
Month | Week | Overhang depth | Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h) | T max | T min | T av | PPD av (%)
January | week 1 | 1m | 0 | 0 | -9.48 | 36 | 24 | 17.144 | 21.019 | 9.3804
| week 2 | 1m | 0.96 | 10 | -8.08 | 37 | 24 | 16.128 | 20.386 | 9.2882
| week 3 | 1m | 0 | 0 | -17.7 | 45 | 24 | 17.135 | 21.313 | 9.1184
| week 4 | 1m | 1.45 | 10 | -1.58 | 6 | 24 | 16.059 | 19.735 | 6.901
February | week 5 | 1m | 1.51 | 9 | -12.24 | 26 | 24 | 15 | 20.339 | 8.4111
| week 6 | 1m | 0 | 2 | -23.03 | 49 | 25.82 | 16.951 | 21.644 | 10.308
| week 7 | 1m | 0.5 | 2 | -16.85 | 47 | 24 | 16.335 | 21 | 9.8674
| week 8 | 1m | 0 | 0 | -36.61 | 56 | 24.087 | 17.926 | 22.093 | 11.573
March | week 9 | 1m | 0.02 | 2 | -30.74 | 51 | 24.763 | 15.88 | 21.912 | 10.757
| week 10 | 1m | 0.06 | 2 | -14.86 | 40 | 24.094 | 16.529 | 21.265 | 9.6995
| week 11 | 1m | 0 | 0 | -36.83 | 55 | 25.062 | 18.591 | 22.556 | 13.523
| week 12 | 1m | 0 | 0 | -72.59 | 72 | 28.464 | 17.612 | 23.105 | 14.587
April | week 13 | 1m | 0 | 0 | -67.22 | 69 | 26.154 | 21.702 | 23.865 | 19.557
| week 14 | 1m | 0 | 0 | -54.38 | 64 | 26.431 | 20.476 | 23.269 | 13.644
| week 15 | 1m | 0 | 0 | -121.37 | 99 | 30 | 20.557 | 24.795 | 16.938
| week 16 | 1m | 0 | 0 | -126.23 | 92 | 30 | 22.829 | 24.832 | 17.678
| week 17 | 1m | 0 | 0 | -112.88 | 97 | 27.243 | 22.691 | 24.637 | 20.891
May | week 18 | 1m | 0 | 0 | -176.68 | 124 | 30 | 20.801 | 25.458 | 22.486
| week 19 | 1m | 0 | 0 | -171.92 | 125 | 29.617 | 23.971 | 25.456 | 22.688
| week 20 | 1m | 0 | 0 | -161.93 | 107 | 29.842 | 22.835 | 25.327 | 20.003
| week 21 | 1m | 0 | 0 | -161.09 | 115 | 30 | 23.118 | 25.239 | 20.984
June | week 22 | 1m | 0 | 0 | -201.75 | 139 | 30 | 24 | 25.845 | 27.216
| week 23 | 1m | 0 | 0 | -217.73 | 144 | 30 | 24 | 25.719 | 28.908
| week 24 | 1m | 0 | 0 | -220.33 | 156 | 30 | 24 | 25.867 | 27.081
| week 25 | 1m | 0 | 0 | -212.65 | 154 | 30 | 24 | 25.788 | 30.212
July | week 26 | 1m | 0 | 0 | -214.68 | 152 | 30 | 24 | 25.833 | 29.826
| week 27 | 1m | 0 | 0 | -219.69 | 157 | 30 | 24 | 25.821 | 31.687
| week 28 | 1m | 0 | 0 | -228.7 | 158 | 30 | 24 | 24.474 | 29.121
| week 29 | 1m | 0 | 0 | -263.32 | 162 | 30 | 24 | 26.062 | 36.271
| week 30 | 1m | 0 | 0 | -295.52 | 163 | 30 | 24 | 26.483 | 35.65
August | week 31 | 1m | 0 | 0 | -263.7 | 160 | 30 | 24 | 26.162 | 36.62
| week 32 | 1m | 0 | 0 | -287.21 | 162 | 30 | 24 | 26.213 | 34.027
| week 33 | 1m | 0 | 0 | -245.44 | 161 | 30 | 24 | 25.934 | 33.422
| week 34 | 1m | 0 | 0 | -249.71 | 159 | 30 | 24 | 26.078 | 33.549
September | week 35 | 1m | 0 | 0 | -249.83 | 158 | 30 | 24 | 25.994 | 30.642
| week 36 | 1m | 0 | 0 | -240.52 | 158 | 30 | 24 | 25.897 | 31.44
| week 37 | 1m | 0 | 0 | -226.83 | 156 | 30 | 24 | 25.794 | 30.008
| week 38 | 1m | 0 | 0 | -206.39 | 153 | 30 | 24 | 25.683 | 28.043
| week 39 | 1m | 0 | 0 | -187.7 | 146 | 30 | 24 | 25.644 | 29.507
October | week 40 | 1m | 0 | 0 | -181.63 | 148 | 30 | 24 | 25.656 | 29.663
| week 41 | 1m | 0 | 0 | -164.12 | 124 | 30 | 24 | 25.383 | 22.454
| week 42 | 1m | 0 | 0 | -134.6 | 98 | 30 | 22.796 | 25.091 | 22.98
| week 43 | 1m | 0 | 0 | -115.92 | 81 | 29.272 | 22.579 | 24.768 | 23.821
November | week 44 | 1m | 0 | 0 | -106.96 | 77 | 29.228 | 21.343 | 24.445 | 20.41
| week 45 | 1m | 0 | 0 | -96.34 | 75 | 27.694 | 22.053 | 24.406 | 21.423
| week 46 | 1m | 0 | 0 | -84.4 | 65 | 26.573 | 21.541 | 23.924 | 19.967
| week 47 | 1m | 0 | 0 | -66.04 | 60 | 26.499 | 20.554 | 23.391 | 18.104
December | week 48 | 1m | 0 | 0 | -51.5 | 58 | 26.047 | 19.615 | 22.854 | 16.066
| week 49 | 1m | 0 | 0 | -26.12 | 52 | 24 | 17.909 | 21.76 | 10.777
| week 50 | 1m | 0.39 | 4 | -14.82 | 45 | 24 | 15.701 | 20.851 | 9.5706
| week 51 | 1m | 0.02 | 2 | -43.62 | 53 | 24.256 | 16.957 | 22.302 | 12.86
| week 52 | 1m | 0 | 0 | -31.05 | 63 | 24.267 | 19.352 | 22.352 | 13.357
Average values |  |  | 0.094423 | 0.82692 | -130.4444 | 100.1731 | 27.8349 | 21.1667 | 24.0715 | 21.2109
Summary
Energy delivered in a year (kWh) | 6788.02
Total hours in a year | 5252
PPD av (%) in a year | 21.2109
Energy delivered in summer (kWh) | 3120.43
Total hours in summer (h) | 2064
PPD av (%) in summer | 25.8676
Energy delivered in winter (kWh) | 297.51
Total hours in winter (h) | 612
PPD av (%) in winter | 10.5752
Note on K1: Percentage of people dissatisfied (average)

## Dynamic Horizontal
Month | Week | Overhang depth | Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h) | T max | T min | T av | PPD av (%)
January | week 1 | 1m | 0 | 0 | -9.48 | 36 | 24 | 17.144 | 21.019 | 9.3804
| week 2 | 1m | 0.96 | 10 | -8.08 | 37 | 24 | 16.128 | 20.386 | 9.2882
| week 3 | 1m | 0 | 0 | -17.7 | 45 | 24 | 17.135 | 21.313 | 9.1184
| week 4 | 1m | 1.45 | 10 | -1.58 | 6 | 24 | 16.059 | 19.735 | 6.901
February | week 5 | 1m | 1.51 | 9 | -12.24 | 26 | 24 | 15 | 20.339 | 8.4111
| week 6 | 1m | 0 | 2 | -23.03 | 49 | 25.82 | 16.951 | 21.644 | 10.308
| week 7 | 1m | 0.5 | 2 | -16.85 | 47 | 24 | 16.335 | 21 | 9.8674
| week 8 | 1m | 0 | 0 | -36.61 | 56 | 24.087 | 17.926 | 22.093 | 11.573
March | week 9 | 1m | 0.02 | 2 | -30.74 | 51 | 24.763 | 15.88 | 21.912 | 10.757
| week 10 | 0.9m | 0.06 | 2 | -14.99 | 40 | 24.097 | 16.539 | 21.272 | 9.7239
| week 11 | 0.8m | 0 | 0 | -37.43 | 55 | 25.092 | 18.614 | 22.575 | 13.638
| week 12 | 0.7m | 0 | 0 | -75.96 | 73 | 28.753 | 17.706 | 23.176 | 15.087
April | week 13 | 0.6m | 0 | 0 | -69.18 | 69 | 26.324 | 21.739 | 23.91 | 19.929
| week 14 | 0.5m | 0 | 0 | -55.48 | 64 | 26.508 | 20.521 | 23.304 | 13.852
| week 15 | 0.5m | 0 | 0 | -122.76 | 99 | 30 | 20.595 | 24.814 | 17.115
| week 16 | 0.4m | 0 | 0 | -128.27 | 94 | 30 | 22.882 | 24.858 | 17.937
| week 17 | 0.3m | 0 | 0 | -115.6 | 97 | 27.302 | 22.75 | 24.669 | 21.285
May | week 18 | 0.3m | 0 | 0 | -179.03 | 125 | 30 | 20.871 | 25.485 | 22.904
| week 19 | 0.2m | 0 | 0 | -174.65 | 125 | 29.73 | 24 | 25.478 | 23.002
| week 20 | 0.2m | 0 | 0 | -164.47 | 109 | 29.926 | 22.904 | 25.354 | 20.328
| week 21 | 0.1m | 0 | 0 | -164.49 | 119 | 30 | 23.189 | 25.267 | 21.417
June | week 22 | 0.1m | 0 | 0 | -204.89 | 141 | 30 | 24 | 25.878 | 27.934
| week 23 | 0.1m | 0 | 0 | -220.92 | 146 | 30 | 24 | 25.742 | 29.495
| week 24 | 0.1m | 0 | 0 | -223.81 | 159 | 30 | 24 | 25.892 | 27.744
| week 25 | 0.1m | 0 | 0 | -215.79 | 154 | 30 | 24 | 25.81 | 30.801
July | week 26 | 0.1m | 0 | 0 | -217.76 | 153 | 30 | 24 | 25.854 | 30.395
| week 27 | 0.1m | 0 | 0 | -223.23 | 157 | 30 | 24 | 25.844 | 32.371
| week 28 | 0.1m | 0 | 0 | -232.2 | 158 | 30 | 24 | 25.884 | 29.795
| week 29 | 0.1m | 0 | 0 | -266.81 | 162 | 30 | 24 | 26.092 | 37.217
| week 30 | 0.2m | 0 | 0 | -297.66 | 163 | 30 | 24 | 26.506 | 36.301
August | week 31 | 0.2m | 0 | 0 | -266.52 | 161 | 30 | 24 | 26.197 | 37.573
| week 32 | 0.3m | 0 | 0 | -289.28 | 162 | 30 | 24 | 26.237 | 34.688
| week 33 | 0.3m | 0 | 0 | -248.01 | 161 | 30 | 24 | 25.946 | 33.919
| week 34 | 0.4m | 0 | 0 | -251.37 | 160 | 30 | 24 | 26.096 | 34.014
September | week 35 | 0.5m | 0 | 0 | -251.34 | 158 | 30 | 24 | 26.014 | 31.177
| week 36 | 0.5m | 0 | 0 | -244.21 | 159 | 30 | 24 | 25.939 | 32.689
| week 37 | 0.6m | 0 | 0 | -230.14 | 156 | 30 | 24 | 25.832 | 31.069
| week 38 | 0.7m | 0 | 0 | -207.78 | 153 | 30 | 24 | 25.69 | 28.25
| week 39 | 0.8m | 0 | 0 | -188.68 | 146 | 30 | 24 | 25.649 | 29.65
October | week 40 | 0.9m | 0 | 0 | -182.39 | 148 | 30 | 24 | 25.659 | 29.725
| week 41 | 1m | 0 | 0 | -164.12 | 124 | 30 | 24 | 25.383 | 22.454
| week 42 | 1m | 0 | 0 | -134.6 | 98 | 30 | 22.796 | 25.091 | 22.98
| week 43 | 1m | 0 | 0 | -115.92 | 81 | 29.272 | 22.579 | 24.768 | 23.821
November | week 44 | 1m | 0 | 0 | -106.96 | 77 | 29.228 | 21.343 | 24.445 | 20.41
| week 45 | 1m | 0 | 0 | -96.34 | 75 | 27.694 | 22.053 | 24.406 | 21.423
| week 46 | 1m | 0 | 0 | -84.4 | 65 | 26.573 | 21.541 | 23.924 | 19.967
| week 47 | 1m | 0 | 0 | -66.04 | 60 | 26.499 | 20.554 | 23.391 | 18.104
December | week 48 | 1m | 0 | 0 | -51.5 | 58 | 26.047 | 19.615 | 22.854 | 16.066
| week 49 | 1m | 0 | 0 | -26.12 | 52 | 24 | 17.909 | 21.76 | 10.777
| week 50 | 1m | 0.39 | 4 | -14.82 | 45 | 24 | 15.701 | 20.851 | 9.5706
| week 51 | 1m | 0.02 | 2 | -43.62 | 53 | 24.256 | 16.957 | 22.302 | 12.86
| week 52 | 1m | 0 | 0 | -31.05 | 63 | 24.267 | 19.352 | 22.352 | 13.357
Average values |  |  | 0.094423 | 0.82692 | -131.8635 | 100.5769 | 27.8507 | 21.1782 | 24.1133 | 21.5081
Summary
Energy delivered in a year (kWh) | 6861.81
Total hours in a year | 5273
PPD av (%) in a year | 21.5081
Energy delivered in summer (kWh) | 3158.25
Total hours in summer (h) | 2074
PPD av (%) in summer | 25.9983
Energy delivered in winter (kWh) | 297.51
Total hours in winter (h) | 612
PPD av (%) in winter | 10.5752
Note on K1: Percentage of people dissatisfied (average)

## Steady Tilt
Month | Week | Tilt | Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h) | T max | T min | T av | PPD av (%)
January | week 1 | 60 | 0 | 0 | -8.06 | 36 | 24 | 17.019 | 20.921 | 9.1431
| week 2 | 60 | 1.3 | 10 | -6.45 | 33 | 24 | 15.977 | 20.263 | 9.0516
| week 3 | 60 | 0 | 0 | -16.16 | 44 | 24 | 16.985 | 21.227 | 8.9393
| week 4 | 60 | 1.64 | 10 | -1.34 | 6 | 24 | 15.942 | 19.647 | 6.7747
February | week 5 | 60 | 1.8 | 9 | -9.16 | 23 | 24 | 15 | 20.163 | 7.9249
| week 6 | 60 | 0.1 | 2 | -17.31 | 45 | 25.394 | 16.725 | 21.44 | 9.3624
| week 7 | 60 | 0.6 | 2 | -11.74 | 41 | 24 | 16.104 | 20.822 | 9.0696
| week 8 | 60 | 0 | 0 | -31.96 | 53 | 24 | 17.809 | 21.968 | 10.857
March | week 9 | 60 | 0.1 | 2 | -27.64 | 50 | 24.623 | 15.684 | 21.819 | 10.336
| week 10 | 60 | 0.08 | 2 | -14.3 | 40 | 24.083 | 16.484 | 21.231 | 9.5945
| week 11 | 60 | 0 | 0 | -36.03 | 54 | 25.03 | 18.553 | 22.527 | 13.375
| week 12 | 60 | 0 | 0 | -71.69 | 72 | 28.409 | 17.576 | 23.081 | 14.462
April | week 13 | 60 | 0 | 0 | -66.48 | 69 | 26.101 | 21.676 | 23.843 | 19.409
| week 14 | 60 | 0 | 0 | -53.74 | 64 | 26.386 | 20.448 | 23.247 | 13.524
| week 15 | 60 | 0 | 0 | -120.45 | 96 | 30 | 20.529 | 24.781 | 16.822
| week 16 | 60 | 0 | 0 | -125.31 | 91 | 30 | 22.796 | 24.816 | 17.556
| week 17 | 60 | 0 | 0 | -112.12 | 97 | 27.211 | 22.669 | 24.626 | 20.787
May | week 18 | 60 | 0 | 0 | -175.79 | 124 | 30 | 20.776 | 25.448 | 22.341
| week 19 | 60 | 0 | 0 | -170.91 | 125 | 29.578 | 23.945 | 25.447 | 22.587
| week 20 | 60 | 0 | 0 | -161.03 | 104 | 29.811 | 22.81 | 25.315 | 19.897
| week 21 | 60 | 0 | 0 | -160.27 | 114 | 30 | 23.096 | 25.231 | 20.89
June | week 22 | 60 | 0 | 0 | -200.93 | 139 | 30 | 24 | 25.836 | 27.05
| week 23 | 60 | 0 | 0 | -216.86 | 144 | 30 | 24 | 25.713 | 28.769
| week 24 | 60 | 0 | 0 | -219.39 | 156 | 30 | 24 | 25.861 | 26.92
| week 25 | 60 | 0 | 0 | -211.79 | 153 | 30 | 24 | 25.783 | 30.076
July | week 26 | 60 | 0 | 0 | -213.83 | 152 | 30 | 24 | 25.828 | 29.685
| week 27 | 60 | 0 | 0 | -218.69 | 157 | 30 | 24 | 25.816 | 31.535
| week 28 | 60 | 0 | 0 | -227.73 | 157 | 30 | 24 | 25.855 | 28.978
| week 29 | 60 | 0 | 0 | -262.32 | 162 | 30 | 24 | 26.055 | 36.053
| week 30 | 60 | 0 | 0 | -294.75 | 163 | 30 | 24 | 26.476 | 35.45
August | week 31 | 60 | 0 | 0 | -262.77 | 160 | 30 | 24 | 26.153 | 36.364
| week 32 | 60 | 0 | 0 | -286.35 | 162 | 30 | 24 | 26.205 | 33.811
| week 33 | 60 | 0 | 0 | -244.41 | 161 | 30 | 24 | 25.929 | 33.257
| week 34 | 60 | 0 | 0 | -248.72 | 159 | 30 | 24 | 26.07 | 33.331
September | week 35 | 60 | 0 | 0 | -248.82 | 157 | 30 | 24 | 25.984 | 30.414
| week 36 | 60 | 0 | 0 | -239.45 | 158 | 30 | 24 | 25.889 | 31.222
| week 37 | 60 | 0 | 0 | -225.66 | 155 | 30 | 24 | 25.786 | 29.805
| week 38 | 60 | 0 | 0 | -205.13 | 153 | 30 | 24 | 25.678 | 27.894
| week 39 | 60 | 0 | 0 | -186.39 | 146 | 30 | 24 | 25.638 | 29.338
October | week 40 | 60 | 0 | 0 | -175.42 | 148 | 30 | 24 | 25.637 | 28.796
| week 41 | 60 | 0 | 0 | -157.31 | 120 | 30 | 24 | 25.34 | 21.498
| week 42 | 60 | 0 | 0 | -127.4 | 95 | 29.982 | 22.705 | 25.031 | 21.947
| week 43 | 60 | 0 | 0 | -108.24 | 81 | 28.81 | 22.469 | 24.684 | 22.583
November | week 44 | 60 | 0 | 0 | -101.99 | 75 | 29.068 | 21.217 | 24.367 | 19.57
| week 45 | 60 | 0 | 0 | -93.96 | 73 | 27.569 | 21.94 | 24.337 | 20.991
| week 46 | 60 | 0 | 0 | -82.2 | 65 | 26.439 | 21.423 | 23.843 | 19.515
| week 47 | 60 | 0 | 0 | -64.14 | 60 | 24.819 | 21.789 | 23.848 | 17.67
December | week 48 | 60 | 0 | 0 | -49.53 | 58 | 25.907 | 19.49 | 22.767 | 15.64
| week 49 | 60 | 0 | 0 | -24.31 | 52 | 24 | 17.777 | 21.682 | 10.535
| week 50 | 60 | 0.53 | 4 | -12.53 | 45 | 24 | 15.538 | 20.733 | 9.3356
| week 51 | 60 | 0.08 | 2 | -42.07 | 53 | 24.225 | 16.816 | 22.229 | 12.592
| week 52 | 60 | 0 | 0 | -28.95 | 62 | 24.234 | 19.202 | 22.267 | 13.007
Average values |  |  | 0.11981 | 0.82692 | -128.4612 | 99.2692 | 27.7631 | 21.134 | 24.0612 | 20.8911
Summary
Energy delivered in a year (kWh) | 6686.21
Total hours in a year | 5205
PPD av (%) in a year | 20.8911
Energy delivered in summer (kWh) | 3108.54
Total hours in summer (h) | 2062
PPD av (%) in summer | 25.9677
Energy delivered in winter (kWh) | 265.62
Total hours in winter (h) | 590
PPD av (%) in winter | 10.1717
Note on K1: Percentage of people dissatisfied (average)

## Dynamic Tilt
Month | Week | Tilt | Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h) | T max | T min | T av | PPD av (%)
January | week 1 | 60 | 0 | 0 | -8.06 | 36 | 24 | 17.019 | 20.921 | 9.1431
| week 2 | 66.4218 | 1.25 | 10 | -6.68 | 34 | 24 | 15.998 | 20.28 | 9.0862
| week 3 | 66.4218 | 0 | 0 | -16.38 | 44 | 24 | 17.006 | 21.239 | 8.9656
| week 4 | 72.5424 | 1.58 | 10 | -1.42 | 6 | 24 | 15.979 | 19.674 | 6.8122
February | week 5 | 78.463 | 1.65 | 9 | -11.16 | 26 | 24 | 15 | 20.268 | 8.2414
| week 6 | 84.2608 | 0.02 | 2 | -22.56 | 48 | 25.774 | 16.914 | 21.62 | 10.241
| week 7 | 90 | 0.5 | 2 | -16.85 | 47 | 24 | 16.335 | 21 | 9.8674
| week 8 | 90 | 0 | 0 | -36.61 | 56 | 24.087 | 17.926 | 22.093 | 11.573
March | week 9 | 90 | 0.02 | 2 | -30.74 | 51 | 24.763 | 15.88 | 21.912 | 10.757
| week 10 | 90 | 0.06 | 2 | -14.86 | 40 | 24.094 | 16.529 | 21.265 | 9.6995
| week 11 | 90 | 0 | 0 | -36.83 | 55 | 25.062 | 18.591 | 22.556 | 13.523
| week 12 | 90 | 0 | 0 | -72.59 | 72 | 28.464 | 17.612 | 23.105 | 14.587
April | week 13 | 90 | 0 | 0 | -67.22 | 69 | 26.154 | 21.702 | 23.865 | 19.557
| week 14 | 90 | 0 | 0 | -54.38 | 64 | 26.431 | 20.476 | 23.269 | 13.644
| week 15 | 90 | 0 | 0 | -121.37 | 99 | 30 | 20.557 | 24.795 | 16.938
| week 16 | 90 | 0 | 0 | -126.23 | 92 | 30 | 22.829 | 24.832 | 17.678
| week 17 | 90 | 0 | 0 | -112.88 | 97 | 27.243 | 22.691 | 24.637 | 20.891
May | week 18 | 90 | 0 | 0 | -176.68 | 124 | 30 | 20.801 | 25.458 | 22.486
| week 19 | 90 | 0 | 0 | -171.92 | 125 | 29.617 | 23.971 | 25.456 | 22.688
| week 20 | 90 | 0 | 0 | -161.93 | 107 | 29.842 | 22.835 | 25.327 | 20.003
| week 21 | 90 | 0 | 0 | -161.09 | 115 | 30 | 23.118 | 25.239 | 20.984
June | week 22 | 90 | 0 | 0 | -201.75 | 139 | 30 | 24 | 25.845 | 27.216
| week 23 | 90 | 0 | 0 | -217.73 | 144 | 30 | 24 | 25.719 | 28.908
| week 24 | 90 | 0 | 0 | -220.33 | 156 | 30 | 24 | 25.867 | 27.081
| week 25 | 90 | 0 | 0 | -212.65 | 154 | 30 | 24 | 25.788 | 30.212
July | week 26 | 90 | 0 | 0 | -214.68 | 152 | 30 | 24 | 25.833 | 29.826
| week 27 | 90 | 0 | 0 | -219.69 | 157 | 30 | 24 | 25.821 | 31.687
| week 28 | 90 | 0 | 0 | -228.7 | 158 | 30 | 24 | 24.474 | 29.121
| week 29 | 90 | 0 | 0 | -263.32 | 162 | 30 | 24 | 26.062 | 36.271
| week 30 | 90 | 0 | 0 | -295.52 | 163 | 30 | 24 | 26.483 | 35.65
August | week 31 | 90 | 0 | 0 | -263.7 | 160 | 30 | 24 | 26.162 | 36.62
| week 32 | 90 | 0 | 0 | -287.21 | 162 | 30 | 24 | 26.213 | 34.027
| week 33 | 90 | 0 | 0 | -245.44 | 161 | 30 | 24 | 25.934 | 33.422
| week 34 | 90 | 0 | 0 | -249.71 | 159 | 30 | 24 | 26.078 | 33.549
September | week 35 | 90 | 0 | 0 | -249.83 | 158 | 30 | 24 | 25.994 | 30.642
| week 36 | 90 | 0 | 0 | -240.52 | 158 | 30 | 24 | 25.897 | 31.44
| week 37 | 90 | 0 | 0 | -226.83 | 156 | 30 | 24 | 25.794 | 30.008
| week 38 | 90 | 0 | 0 | -206.39 | 153 | 30 | 24 | 25.683 | 28.043
| week 39 | 90 | 0 | 0 | -187.7 | 146 | 30 | 24 | 25.644 | 29.507
October | week 40 | 90 | 0 | 0 | -181.63 | 148 | 30 | 24 | 25.656 | 29.663
| week 41 | 90 | 0 | 0 | -164.12 | 124 | 30 | 24 | 25.383 | 22.454
| week 42 | 90 | 0 | 0 | -134.6 | 98 | 30 | 22.796 | 25.091 | 22.98
| week 43 | 84.2608 | 0 | 0 | -110.3 | 81 | 28.896 | 22.515 | 24.715 | 22.928
November | week 44 | 78.463 | 0 | 0 | -103.37 | 77 | 29.136 | 21.254 | 24.396 | 19.811
| week 45 | 72.5424 | 0 | 0 | -94.69 | 73 | 27.608 | 21.976 | 24.359 | 21.127
| week 46 | 72.5424 | 0 | 0 | -82.86 | 65 | 26.481 | 21.46 | 23.868 | 19.655
| week 47 | 66.4218 | 0 | 0 | -64.43 | 60 | 26.371 | 20.446 | 23.321 | 17.732
December | week 48 | 60 | 0 | 0 | -49.53 | 58 | 25.907 | 19.49 | 22.767 | 15.64
| week 49 | 60 | 0 | 0 | -24.31 | 52 | 24 | 17.777 | 21.682 | 10.535
| week 50 | 60 | 0.53 | 4 | -12.53 | 45 | 24 | 15.538 | 20.733 | 9.3356
| week 51 | 60 | 0.08 | 2 | -42.07 | 53 | 24.225 | 16.816 | 22.229 | 12.592
| week 52 | 60 | 0 | 0 | -28.95 | 62 | 24.234 | 19.202 | 22.267 | 13.007
Average values |  |  | 0.10942 | 0.82692 | -129.8756 | 100.0192 | 27.8152 | 21.1354 | 24.0494 | 21.1164
Summary
Energy delivered in a year (kWh) | 6759.22
Total hours in a year | 5244
PPD av (%) in a year | 21.1164
Energy delivered in summer (kWh) | 3120.43
Total hours in summer (h) | 2064
PPD av (%) in summer | 25.8676
Energy delivered in winter (kWh) | 282.72
Total hours in winter (h) | 606
PPD av (%) in winter | 10.3877
Note on K1: Percentage of people dissatisfied (average)

## Comparison
| Energy delivered in a year (kWh) | Energy delivered in winter (kWh) | Energy delivered in summer (kWh) | Energy reduction compared to base case model
No shading | 7338.67 | 427.57 | 3204.08
Steady horizontal | 6788.02 | 297.51 | 3120.43 | 7.5034
Dynamic horizontal | 6861.81 | 297.51 | 3158.25 | 6.4979
Steady tilt | 6686.21 | 265.62 | 3108.54 | 8.8907
Dynamic tilt | 6759.22 | 282.72 | 3120.43 | 7.8958