## Dbl_glaz
Results for the double glazing without any change
[6 empty] | Summer week | 20-26 Jan
| Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h) |  | Winter week | 4-10 August
January | 0 | 0 | -32.09 | 54
February | 0.09 | 2 | -184.4 | 223 |  |  | Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h)
March | 0 | 0 | -272.45 | 287 |  | Summer week | 0 | 0 | -315.36 | 162
April | 0 | 0 | -523.12 | 413 |  | Winter week | 0.09 | 2 | -14.08 | 31
May | 0 | 0 | -866.21 | 596
June | 0 | 0 | -996.3 | 663
July | 0 | 0 | -1211.07 | 714
August | 0 | 0 | -1230.51 | 710
September | 0 | 0 | -1071.13 | 682
October | 0 | 0 | -792.27 | 575
November | 0 | 0 | -443.33 | 320
December | 0 | 0 | -212.27 | 257
Sum | 0.09 | 2 | -7835.15 | 5494
Energy delivered in a year | 7835.24
Total hours in a year | 5496 |  | Total energy delivered by a yearly simulation
|  |  |  | Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h)
Energy delivered in summer (kWh) | 3437.88 |  | Office | 0.34 | 6 | -8061.39 | 5672
Total hours in summer (h) | 2087
Energy delivered in autumn (kWh) | 2306.73
Total hours in autumn (h) | 1577
Energy delivered in winter (kWh) | 428.76
Total hours in winter (h) | 534
Energy delivered in spring (kWh) | 1661.78
Total hours in spring (h) | 1296
Glazing characteristic:
U-value: 2.80
Solar absorbance: 0.36
Solar reflectance: 0.32
Visible transmittance: 0.69
Solar transmittance: 0.32
24 mm thick:
6 mm plate glass
12 mm air gap
6 mm plate glass

## Dbl_glaz change1
Results for the double glazing with active materials (same optical properties as double glazing)
Optical parameters
| Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h) |  |  | range of switching T
January | 0.28 | 6 | -90.83 | 185 |  |  | 25 | 75
February | 0.11 | 2 | -178.64 | 223
March | 0 | 0 | -268.84 | 284 |  |  | % of transmission
April | 0 | 0 | -519.59 | 411 |  |  | 12
May | 0 | 0 | -862.93 | 591
June | 0 | 0 | -993.16 | 663
July | 0 | 0 | -1183.13 | 714
August | 0 | 0 | -1198.35 | 706
September | 0 | 0 | -1019.11 | 676
October | 0 | 0 | -695.36 | 542
November | 0 | 0 | -351.55 | 296
December | 0 | 0 | -204 | 257
Sum | 0.39 | 8 | -7565.49 | 5548
Energy delivered in a year | 7565.88
Total hours in a year | 5556 |  | Total energy delivered by a yearly simulation
|  |  |  | Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h) | % of improvement
Energy delivered in summer (kWh) | 3374.64 |  | Office | 0.38 | 8 | -7980.75 | 5647 | 1.0104
Total hours in summer (h) | 2083
Energy delivered in autumn (kWh) | 2066.02
Total hours in autumn (h) | 1514
Energy delivered in winter (kWh) | 473.47
Total hours in winter (h) | 665
Energy delivered in spring (kWh) | 1651.36
Total hours in spring (h) | 1286

## Dbl_glaz_change2
Results for the double glazing with active materials (same optical properties as double glazing)
Optical parameters
| Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h) |  |  | range of switching T
January | 0.51 | 8 | -71.23 | 171 |  |  | 19 | 27
February | 0.19 | 2 | -155.92 | 217
March | 0 | 0 | -249.59 | 283 |  |  | % of transmission
April | 0 | 0 | -502.66 | 406 |  |  | 12
May | 0 | 0 | -848.08 | 582
June | 0 | 0 | -980.48 | 663
July | 0 | 0 | -1194.76 | 714
August | 0 | 0 | -1212.07 | 707
September | 0 | 0 | -1042.97 | 680
October | 0 | 0 | -741.13 | 551
November | 0 | 0 | -399.08 | 307
December | 0 | 0 | -177.19 | 252
Sum | 0.7 | 10 | -7575.16 | 5533
Energy delivered in a year | 7575.86
Total hours in a year | 5543 |  | Total energy delivered by a yearly simulation
|  |  |  | Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h) | % of improvement
Energy delivered in summer (kWh) | 3387.31 |  | Office | 0.69 | 10 | -7731.07 | 5573 | 4.0976
Total hours in summer (h) | 2084
Energy delivered in autumn (kWh) | 2183.18
Total hours in autumn (h) | 1538
Energy delivered in winter (kWh) | 404.34
Total hours in winter (h) | 640
Energy delivered in spring (kWh) | 1600.33
Total hours in spring (h) | 1271

## Low E
Results for low-E double glazing
| Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h)
January | 0.51 | 8 | -70.09 | 169
February | 0.17 | 2 | -155.4 | 216
March | 0 | 0 | -250.7 | 281
April | 0 | 0 | -504.7 | 408
May | 0 | 0 | -848.25 | 583
June | 0 | 0 | -978.6 | 663
July | 0 | 0 | -1191.14 | 714
August | 0 | 0 | -1208.98 | 707
September | 0 | 0 | -1043.48 | 680
October | 0 | 0 | -747.55 | 555
November | 0 | 0 | -402.8 | 311
December | 0 | 0 | -177.36 | 249
Sum | 0.68 | 10 | -7579.05 | 5536
Energy delivered in a year | 7579.73
Total hours in a year | 5546 |  | Total energy delivered by a yearly simulation
|  |  |  | Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h)
Energy delivered in summer (kWh) | 3378.72 |  | Office | 0.67 | 10 | -7738.36 | 5576
Total hours in summer (h) | 2084
Energy delivered in autumn (kWh) | 2193.83
Total hours in autumn (h) | 1546
Energy delivered in winter (kWh) | 402.85
Total hours in winter (h) | 634
Energy delivered in spring (kWh) | 1603.65
Total hours in spring (h) | 1272
Glazing characteristic:
U-value: 1.27
Solar absorbance: 0.359
Solar reflectance: 0.321
Visible transmittance: 0.685
Solar transmittance: 0.3202
25 mm thick:
7 mm low e glass,
12 mm gap (10% air, 90% argon)
6 mm plate glass

## Triple glaz
Results with triple glazing and window 7 properties
Total energy delivered by a yearly simulation
| Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h)
Office | 0.83 | 10 | -7709.05 | 55569
Glazing characteristic:
U-value: 1.744
Solar absorbance: 0.28
Solar reflectance: 0.194
Visible transmittance: 0.703
Solar transmittance: 0.4863
42 mm thick:
6mm clear float
12 mm gap
6mm clear float
12 mm gap
6mm clear float

## Comparison
Comparison between all the glazing systems
| Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h) | Winter week Cooling | Winter week Cooling h | Summer week Cooling | Summer week cooling h | Total annual energy (Kwh) | TC energy improvement (%)
Base case model | 0.34 | 6 | -8061.39 | 5672 | -14.08 | 31 | -315.36 | 162 | 8061.73
Low E | 0.67 | 10 | -7738.36 | 5576 |  |  |  |  | 7739.03 | 4.0029
Triple glaz | 0.83 | 10 | -7709.05 | 5569 |  |  |  |  | 7709.88 | 4.3644
TC1 | 0.57 | 10 | -7818.76 | 5601 | -11.14 | 31 | -312.39 | 162 | 7819.33 | 3.0068
TC2 | 0.71 | 10 | -7711.48 | 5571 | -9.87 | 30 | -311.18 | 162 | 7712.19 | 4.3358
TC3 | 0.76 | 10 | -7675.3 | 5569 | -9.44 | 30 | -310.78 | 162 | 7676.06 | 4.784
TC4 | 0.7 | 10 | -7715.8 | 5574 | -9.9 | 30 | -311 | 162 | 7716.5 | 4.2823
TC5 | 0.6 | 10 | -7782.6 | 5583 | -10.68 | 31 | -311.84 | 162 | 7783.2 | 3.455 | 7896.32 | 0% | TC9
TC6 | 0.45 | 10 | -7909.3 | 5630 | -12.31 | 31 | -313.49 | 162 | 7909.75 | 1.8852 | 7909.75 | 10% | TC6
TC7 | 0.4 | 8 | -7949.23 | 5646 | -12.82 | 31 | -313.85 | 162 | 7949.63 | 1.3905 | 7949.63 | 42% | TC7
TC8 | 0.4 | 8 | -7969.6 | 5651 | -13.1 | 31 | -314.05 | 162 | 7970 | 1.1378 | 7970 | 60% | TC8
TC9 | 0.47 | 10 | -7895.85 | 5627 | -12.14 | 31 | -313.37 | 162 | 7896.32 | 2.0518
TC10 | 0.6 | 10 | -7811.78 | 5594 | -10.93 | 30 | -312.39 | 162 | 7812.38 | 3.093
TC11 | 0.81 | 10 | -7663.35 | 5567 | -9.07 | 30 | -310.78 | 162 | 7664.16 | 4.9316
EC1 | 0.48 | 10 | -7945.35 | 5646 | -12.25 | 31 | -314.39 | 162 | 7945.83 | 1.4377 | 7896.32 | TC9 | [24-76]
EC2 | 0.55 | 10 | -7931.3 | 5635 | -11.74 | 31 | -314.18 | 162 | 7931.85 | 1.6111 | 7716.5 | TC4 | [19-35]
EC3 | 0.81 | 10 | -7722.96 | 5583 | -8.37 | 29 | -312.7 | 162 | 7723.77 | 4.1922 | 7676.06 | TC3 | [19-24]
[11 empty] | 7664.16 | TC11 | [19-20]
Best result
Typical commercialised TC
Better than low-e
[6 empty] | Commercialised TC | 1.3905
[6 empty] | Low e | 4.0029
[6 empty] | EC | 4.1922
[6 empty] | Triple | 4.3644
[6 empty] | TC | 4.9316

## TC prop
Results for TC glazing with properties from window 7
Optical parameters
Double glazing with TC properties |  |  | Winter week | 20-26 Jan
|  |  | Summer week | 4-10 August
Total energy delivered by a yearly simulation
| Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h) | Tmin | T max | % trn | Winter week Cooling | Winter week Cooling h | Summer week Cooling | Summer week cooling h
TC1 | 0.57 | 10 | -7818.76 | 5601 | 19 | 24 | 42 | -11.14 | 31 | -312.39 | 162
TC2 | 0.71 | 10 | -7711.48 | 5571 | 19 | 24 | 10 | -9.87 | 30 | -311.18 | 162
TC3 | 0.76 | 10 | -7675.3 | 5569 | 19 | 24 | 0 | -9.44 | 30 | -310.78 | 162
TC4 | 0.7 | 10 | -7715.8 | 5574 | 19 | 35 | 0 | -9.9 | 30 | -311 | 162
TC5 | 0.6 | 10 | -7782.6 | 5583 | 19 | 45 | 10 | -10.68 | 31 | -311.84 | 162
TC6 | 0.45 | 10 | -7909.3 | 5630 | 24 | 76 | 10 | -12.31 | 31 | -313.49 | 162
TC7 | 0.4 | 8 | -7949.23 | 5646 | 24 | 76 | 42 | -12.82 | 31 | -313.85 | 162
TC8 | 0.4 | 8 | -7969.6 | 5651 | 24 | 76 | 60 | -13.1 | 31 | -314.05 | 162
TC9 | 0.47 | 10 | -7895.85 | 5627 | 24 | 76 | 0 | -12.14 | 31 | -313.37 | 162
TC10 | 0.6 | 10 | -7811.78 | 5594 | 19 | 20 | 42 | -10.93 | 30 | -312.39 | 162
TC11 | 0.81 | 10 | -7663.35 | 5567 | 19 | 20 | 0 | -9.07 | 30 | -310.78 | 162
Baseline (dle glaz yearly energy requirement) | -8061.39
Glazing characteristics in the clear state:
U-value: 2.61
Solar absorbance: 0.606
Solar reflectance: 0.117
Visible transmittance: 0.65
Solar transmittance: 0.526
25 mm thick:
7 mm plate glass,
12 mm gap (10% air, 90% argon)
6 mm clear float
Glazing characteristics of the double glazing
U-value: 2.80
Solar absorbance: 0.36
Solar reflectance: 0.32
Visible transmittance: 0.69
Solar transmittance: 0.32
24 mm thick:
6 mm plate glass
12 mm air gap
6 mm plate glass

## EC1
| Summer week | 4-10 August
| Winter week | 20-26 Jan
|  | Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h)
| Summer week | 0 | 0 | -314.39 | 162
| Winter week | 0 | 0 | -12.25 | 31
| Annual energy | Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h)
| Office | 0.48 | 10 | -7945.35 | 5646
http://sageglass.com/story/how-sageglass-works/
EC1 optical control:
Optical control loop defined by time control : 3 periods with two different set of optical properties (Double glazing, Tint 1)
0-8 am: optics control off: optical properties of the clear state glass (double glazing)
8-18 pm: optics control on: optical properties of the dark state (Tint 1)
18-24 am: optics control off: optical properties of the clear state (double glazing)
Active control is on during working hours according to the schedule for heating and cooling of the base case model
Alternative optical properties to be used based on a sensed parameter: time
Periods: defined according to the level of solar radiation at different moments of the day
Thermal comfort controlled by heating and cooling setpoints of the base case model
Visual comfort controlled by the incident radiation setpoint: 150 W/m2 (incident radiation is above this value between 8 and 18 which justifies period definition)
EC1 Glazing characteristic:
24 mm thick:
6 mm plate glass + electrochromic coating
12 mm air gap
6 mm plate glass

## EC2 (2)
| Summer week | 4-10 August
| Winter week | 20-26 Jan
|  | Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h)
| Summer week | 0 | 0 | -314.18 | 162
| Winter week | 0 | 0 | -11.74 | 31
| Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h)
Office | 0.55 | 10 | -7931.3 | 5635
http://sageglass.com/story/how-sageglass-works/
Time control : 5 periods: 0-8, 8-10 (EC1),10-16 (EC2),16-18 EC(1), 18-24
Glazing characteristic:
24 mm thick:
6 mm plate glass + electrocrhomic coating
12 mm air gap
6 mm plate glass
EC2 optical control:
Optical control loop defined by time control : 5 periods with 3 different sets of optical properties (double glazing, Tint 1, Tint 2)
0-8 am: optics control off: optical properties of the clear state (double glazing)
8-10 am: optics control on: optical properties of the intermediate state (Tint 1)
10-16 pm: optics control on: optical properties of the dark state (Tint 2)
16-18 pm: optics control off: optical properties of the intermediate state (Tint 1)
18-24 am: optics control off: optical properties of the clear state (double glazing)
Active control is on during working hours according to the schedule for heating and cooling of the base case model
Alternative optical properties to be used based on a sensed parameter: time
Periods: defined according to the level of solar radiation at different moments of the day
Thermal comfort controlled by heating and cooling setpoints of the base case model
Visual comfort controlled by the 2 incident radiation setpoints: 150 W/m2 (incident radiation is above this value between 8 and 10 and 16-18 which justifies period definition) and 500 W/m2 (incident radiation above during 10-16)

## EC3 (3)
| Summer week | 4-10 August
| Winter week | 20-26 Jan
|  | Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h)
| Summer week | 0 | 0 | -312.7 | 162
| Winter week | 0 | 0 | -8.37 | 29
| Heating demand (kWh) | Heating time (h) | Cooling demand (kWh) | Cooling time (h)
Office | 0.81 | 10 | -7722.96 | 5583
http://sageglass.com/story/how-sageglass-works/
Time control : 5 periods: 0-8, 8-11 (EC2),11-16 (EC3),16-18 EC(2), 18-24
Glazing characteristic:
24 mm thick:
6 mm plate glass + electrocrhomic coating
12 mm air gap
6 mm plate glass
EC3 optical control:
Optical control loop defined by time control : 5 periods with 3 different sets of optical properties (double glazing, Tint 2, Tint 3)
0-8 am: optics control off: optical properties of the clear state (double glazing)
8-10 am: optics control on: optical properties of the intermediate state (Tint 2)
10-16 pm: optics control on: optical properties of the dark state (Tint 3)
16-18 pm: optics control off: optical properties of the intermediate state (Tint 2)
18-24 am: optics control off: optical properties of the clear state (double glazing)
Active control is on during working hours according to the schedule for heating and cooling of the base case model
Alternative optical properties to be used based on a sensed parameter: time
Periods: defined according to the level of solar radiation at different moments of the day
Thermal comfort controlled by heating and cooling setpoints of the base case model
Visual comfort controlled by the 2 incident radiation setpoints: 150 W/m2 (incident radiation is above this value between 8 and 10 and 16-18 which justifies period definition) and 500 W/m2 (incident radiation above during 10-16)