## Slide 1: Technical and Economic Analysis for Far Offshore Wind Farm Accommodation
Nick Chung
Ioannis Karakitsos
Godstime Martins
Pablo Morato Dominguez
Olga Uflewska
Source: http://pixshark.com/offshore-wind-farm-sunset.htm

## Slide 2: Outline
  Project Overview
  Methodology
  Our Work
  Conclusion

## Slide 3
Determine the best maintenance support solution leading to a reduction of O&M costs for Far Offshore Wind Farms
Achieved by:
  Examining Technical Feasibility and Economical Viability
  Creating a Interactive Tool
  Analysing Costs (O&M) of each Solution
  Comparing the Solutions
Objective

## Slide 4
Round 3
  More Wind Potential
    More Energy
  Wind Technologies
Problems
  Weather Conditions
  Deeper Waters
  More Expensive
Our Scope
  Focus on O&M
Source: https://www.ewea.org/fileadmin/files/library/publications/statistics/European_offshore_statistics_2012.pdf
  2002 to 2012, Consented and Planned
600
to
0
MW
  0 to 50m, Water Depth
120
to
0
km
Source: http://www.ewea.org/fileadmin/files/library/publications/reports/Deep_Water.pdf
Why Far Offshore?

## Slide 5
Why Offshore Accommodation?
Advantages
  Travelling less
  Comfort for technicians
  More time to work
  Downtimes reduced
Disadvantage
  Cost of Vessels
Chart: Workshift of 12 hours (speed 20 kn)
15 miles | 0.75 | 2 | 3.5
40 miles | 10.5 | 8 | 5
70 miles | 0.75 | 2 | 3.5

## Slide 6: Solutions
Source: http://www.renewableenergyfocus.com/view/15310/offshore-wind-farm-maintenance-vessel-designed/
Source: http://soefart.dk/?art=5987
Source: http://www.hssb.dk/en/news/two-new-semi-swath-catamarans.asp
Crew Transfer Vessel
Mothership
Jack-Up

## Slide 7: No Offshore Accommodation
Advantages
  Fast
  Cost to Charter
Disadvantages
  Cannot Travel Far
  Number of CTVs Required
  No Major Maintenance

## Slide 8: Mothership and CTV
Advantages
  Accommodation
  Possible to Access Turbine
  Room for Storage
Disadvantages
  No Large Replacements
  Cost

## Slide 9: Jack-up and CTV
Advantages
  Large Replacements
  Storage
Disadvantages
  Slow Moving
  Set-up time
  Cost

## Slide 10: Methodology
Corrective Maintenance
O&M breaks to

## Slide 11
O&M breaks to
Downtimes due to failures
Decrease in power production
Preventive Maintenance
Corrective Maintenance
Methodology
Major concern:
Working hours

## Slide 12
O&M breaks to
Downtimes due to failures
Decrease in power production
Preventive Maintenance
Corrective Maintenance
Methodology
Major concern:
Working hours
Small repairs
Large repairs
CTV
Jack-up
Required to access site

## Slide 13: Methodology (Corrective Analysis)
Failures categorised per severity
(Failures per year per turbine)
Repair, cleaning, replacement of consumables
Small Parts
Large Parts> 50 tonnes
Rotor, nacelle, yaw, main bearing replacement
Cleaning, No replacements
Small Repairs
Large Repairs

## Slide 14: Methodology (Corrective Analysis)
Failures categorised per severity
(Failures per year per turbine)
Repair, cleaning, replacement of consumables
Small Parts
Large Parts> 50 tonnes
Rotor, nacelle, yaw, main bearing replacement
Cleaning, No replacements
Times spent in each category (h)
*
Small Repairs
Large Repairs
Travel Time
Logistic Time
Weather delay
Repair time

## Slide 15: Methodology (Corrective Analysis)
Failures categorised per severity
(Failures per year per turbine)
Repair, cleaning, replacement of consumables
Small Parts
Large Parts> 50 tonnes
Rotor, nacelle, yaw, main bearing replacement
Cleaning, No replacements
Total Downtimes
Small and large repairs
(days per year)
&
Times spent in each category (h)
*
=
Small Repairs
Large Repairs
Travel Time
Logistic Time
Weather delay
Repair time

## Slide 16: Methodology (Preventive Analysis)
Total days required within limit?
Increase CTV number
YES
NO
Inputs:
-Travel time from shore
-Time among turbines
-Technicians
-Total days required per turbine
Outputs:
-Working hours
-Days per year required
-CTV needed
Example:
150 turbines 150 km with 2 CTVs would take 282 days to complete
Instead 4 CTVs have to be used

## Slide 17: Methodology
Solution | Preventive and small replacements | Large Replacements | Other parameters
No Offshore Accommodation | Travelling with CTV from shore. | Jack-up on the spot-market | Larger vessel needed for distance > 60 nm
Mothership | Travel time ≈ 0, & less number of CTV used | Jack-up on the spot-market | More flexible (less weather delay time) Cheaper than jack-up
Jack-up | Travel time ≈ 0, & less number of CTV used | Decreased downtimes since logistic times ≈ 0 | Cost reduction comparing when rented in spot market

## Slide 18: Environmental Impacts
Vessel Type | CTV | Mothership | Jack-up
*CO2 Emissions (kg/day) | 2238 | 1678 | 5476
Seabed Disturbance | Low | Low | Major
*CTV: Transit speed condition,
Mother-ship & Jack-Up: Standby condition
Jack-up operation
Source:http://www.maritimejournal.com/news101/marine-civils/port,-harbour-and-marine-construction/dutch_jv_begins_installation_work_on_offshore_wind_turbine_project

## Slide 19
Vessel Type | CTV | Mothership | Jack-up
Noise | Depends | Depends | Depends
Vibration | Low | Low | Low
Accidental pollution of sea caused by collisions | Depends on the number of CTVs | Major | Major
Source:http://www.safety4sea.com/pcg-and-crew-response-to-bunker-spill-in-the-philippines-13447
Environmental Impacts

## Slide 20
Main purpose
To choose the best support solution for each analysis performed

## Slide 21
Features
Flexible
Large range of options
User friendly
Modify Inputs

## Slide 22: FOWIT O&M Tool
Inputs

## Slide 23
Main Outputs
Minimum cost solution
Maximum cost solution
Selection 2 solutions
FOWIT O&M Tool

## Slide 24
Main Outputs
Cost Analysis Graph
Cumulative cost over the years
FOWIT O&M Tool

## Slide 25
Detailed Outputs for each solution
Indicative graph
FOWIT O&M Tool

## Slide 26
Intermediate results
Specific figures
Detailed Outputs for each solution
FOWIT O&M Tool

## Slide 27
(1) Introduce inputs
FOWIT O&M Tool

## Slide 28
(2) Click Calculate
FOWIT O&M Tool

## Slide 29
(3) Choose potential solutions
FOWIT O&M Tool

## Slide 30
(4) Cost Analysis Graph is displayed
* Lifetime: 25 years
FOWIT O&M Tool

## Slide 31
(5) Graph is automatically updated
* Lifetime: 10 years
FOWIT O&M Tool

## Slide 32: Sensitivity Analysis
No of Wind Turbines
Distance
Logistic Times
Fatigue Rates
Vessel Costs
Weather Delays
Lifetime of the project
Sharing
Turbine capacity
Days limit per year

## Slide 33
No of Wind Turbines
Distance
Logistic Times
Fatigue Rates
Vessel Costs
Weather Delays
Sharing
Turbine capacity
Days limit per year
Lifetime of the project
Sensitivity Analysis

## Slide 34
NOA-No Offshore Accommodation MS- Mother-ship JU- Jack
 | 20 | 50 | 100 | 150
40 | NOA | NOA | NOA | MS
100 | NOA | NOA | MS | MS
200 | NOA | JU | JU | JU
Turbines
Distance from shore
Sensitivity Analysis (1)

## Slide 35
No of Wind Turbines | 200
Distance | 20
Base Case | NOA
Lifetime increases | Jack-up
No of Wind Turbines | 100
Distance | 50
Base Case | NOA
Failure Rates Increase | Jack-up
Sensitivity Analysis (2)

## Slide 36
No of Wind Turbines | 200
Distance | 50
Base Case | Jack up
Higher WT Capacity | Mother-ship
No of Wind Turbines | 100
Distance | 50
Option without sharing | NOA
Sharing Option (50%) | Jack-up
Sensitivity Analysis (3)

## Slide 37: Website

## Slide 38: Conclusions
  No ‘ultimate’ solution
  Technical parameters of a wind farm changes
  choice of a solution will change
  FOWIT - a valuable addition to the decision making process

## Slide 39: Thank you !
Academic Supervisor:
Dr. Mahdi Khorasanchi
Technical and Economic Analysis for Far Offshore Wind Farm Accommodation
Source: http://pixshark.com/offshore-wind-farm-sunset.htm