## Region
Region
Latitude (degrees north)

## System Data
Collector Technical Data
Aperture area, Aap (m2)
Zero-loss efficiency, η0
1st order heat loss coefficient, a1
2nd order heat loss coefficient, a2
System Configuration Data
Collector Orientation
Tilt
Overshading
Storage Tank Data
Total volume of cylinder, litres
Solar storage volume, litres
Dedicated solar storage?
Manufacturers declared loss factor, kWh/day
Insulation type
Insulation thickness, mm

## Financial Data
Financial Data (Optional)
System cost
Installation cost
Annual maintenance cost
Lifespan (years)
RHI Tarrif (p/kWh)

## Hot Water Use
Enter total monthly hot water demand, if known. Otherwise leave blank. |  | Enter values if monthly hot water demand is not known.
Month | Hot Water Demand, kWh | Water Usage Data
January |  | Annual average hot water use, litres per day
February |  | Number of dwelling occupants
March |  | Total floor area of dwelling, m2
April |  | 125 litre water use target
May |  | Shower use*
June
July |  | *Electric showers refers to showers which heat the water as it runs. All showers which are supplied from a storage tank are classed as non-electric showers, regardless of how the water is heated.
August
September
October
November
December

## Results
Total hot water demand, kWh
Total solar energy available, kWh
Annual solar contribution to hot water, kWh
Solar fraction
Cost per kWh without RHI
Cost per kWh with RHI

## Monthly Results
Month | Demand, kWh | Solar Fraction
January
February
March
April
May
June
July
August
September
October
November
December

## Results 2 (hidden)
Solar energy available (kWh)
Month | January | February | March | April | May | June | July | August | September | October | November | December
Solar energy | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Total heating requirement (kWh)
Month | January | February | March | April | May | June | July | August | September | October | November | December
Energy | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Heat loss (kWh)
Month | January | February | March | April | May | June | July | August | September | October | November | December
Energy loss | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Solar contribution (kWh)
Month | January | February | March | April | May | June | July | August | September | October | November | December
Energy | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Additional Heat Required (kWh)
Month | January | February | March | April | May | June | July | August | September | October | November | December
Energy | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Water heating requirement (kWh)
Month | January | February | March | April | May | June | July | August | September | October | November | December
Energy | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Solar fraction | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A

## Calculations (hidden)
Monthly mean solar irradiance on vertical and inclined surfaces | [12 empty] | Orientation Constants
Month | January | February | March | April | May | June | July | August | September | October | November | December | k1 | #N/A
Column number | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
Days in month | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | k2 | #N/A
Mean external temperature | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Mean collector temperature | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
Solar declination - δ | -20.7 | -12.8 | -1.8 | 9.8 | 18.8 | 23.1 | 21.2 | 13.7 | 2.9 | -8.7 | -18.4 | -23 | k3 | #N/A
Horizontal solar flux - Sh,m | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | k4 | #N/A
Rh-inc(orient, p, m) | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | k5 | #N/A
[13 empty] | k6 | #N/A
Monthly mean solar irradiance (W/m2) | [12 empty] | k7 | #N/A
Month | January | February | March | April | May | June | July | August | September | October | November | December | k8 | #N/A
Solar irradiance | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | k9 | #N/A
Monthly solar energy (kWh/m2) | [12 empty] | Rh-inc(orient, p, m) constants
Month | January | February | March | April | May | June | July | August | September | October | November | December | X | #N/A
Solar energy | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | Y | #N/A
[13 empty] | Z | #N/A
Monthly solar energy available (kWh)
Month | January | February | March | April | May | June | July | August | September | October | November | December
Solar energy | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Monthly solar energy available collector performance corrected (kWh)
Month | January | February | March | April | May | June | July | August | September | October | November | December
Solar energy | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Monthly solar energy available collector performance and utilisation corrected (kWh)
Month | January | February | March | April | May | June | July | August | September | October | November | December
Solar energy | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Monthly solar contribution to domestic hot water (kWh)
Month | January | February | March | April | May | June | July | August | September | October | November | December
Solar energy | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Experimental Correction Factor
Month | January | February | March | April | May | June | July | August | September | October | November | December
UF | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
f2 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
UF*f2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Correction factor | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Estimated monthly contribution | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Hot Water Use Calculations
Monthly average hot water use (litres/day)
Month | January | February | March | April | May | June | July | August | September | October | November | December
Hot water use | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Water energy content (kWh)
Month | January | February | March | April | May | June | July | August | September | October | November | December
Energy content of water used | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Average energy content of water used | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Energy content of water used shower adjusted | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Losses (kWh)
Month | January | February | March | April | May | June | July | August | September | October | November | December
Distribution loss | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Storage loss | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Primary circuit loss | 23.2624 | 21.0112 | 21.8667 | 15.7584 | 10.4681 | 9.9053 | 10.2355 | 11.166 | 17.1091 | 21.8667 | 22.512 | 23.2624
Total heating requirement (kWh/month)
Month | January | February | March | April | May | June | July | August | September | October | November | December
Total heat required for water heating | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Solar hot water input | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Water heater output | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Calculated System Configuration Data
Overshading factor, Zpanel
Assumed loss factor, kWh/day
Solar storage volume factor | January: #VALUE!
Effective solar volume | January: 0
Cylinder volume factor | January: #DIV/0!
Solar to load ratio | January: #VALUE!
Utilisation factor | January: #VALUE!
Volume ratio | January: #VALUE!
Energy lost from water storage, kWh/day | January: #VALUE!
a* | January: 0
Performance ratio, a*/η0 | January: #DIV/0!
Performance factor, f1 | January: #DIV/0!
Assumed number of occupants
Average hot water use, litres per day | January: #VALUE!

## Tables (hidden)
Table U3: Mean global solar radiation on a horizontal plane (W/m2) | [12 empty] | Table U4: Representative Latitude (°N) |  | Table U5: Constants for calculation of solar flux on vertical and inclined surfaces | [9 empty] | Table H1: Default collector parameters |  |  |  | Table H2: Overshading factor |  |  | Table H3: Hot water use adjustment factor |  | Yes | Monthly factors for hot water use | [11 empty] | Temperature rise of hot water drawn off (K) | [11 empty] | Cylinder loss factors |  | Primary circuit loss reduction factors for solar water heating
Region | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Region | Latitude | Orientation | k1 | k2 | k3 | k4 | k5 | k6 | k7 | k8 | k9 | Collector type | ɳ0 | a* | Aperture area/ gross area | Overshading | % sky blocked | Factor | Shower usage | Factor | No | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Insulation type | Loss factor | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - UK average | 26 | 54 | 96 | 150 | 192 | 200 | 189 | 157 | 115 | 66 | 33 | 21 | 0 - UK average | 53.5 | North | 26.3 | -38.5 | 14.8 | -16.5 | 27.3 | -11.9 | -1.06 | 0.0872 | -0.191 | Evacuated tube | 0.6 | 3 | 0.72 | Heavy | >80% | 0.5 | Non-electric shower(s) only | 1.29 |  | 1.1 | 1.06 | 1.02 | 0.98 | 0.94 | 0.9 | 0.9 | 0.94 | 0.98 | 1.02 | 1.06 | 1.1 | 41.2 | 41 | 40.1 | 37.6 | 36.4 | 33.9 | 30.4 | 33.4 | 33.5 | 36.3 | 39.4 | 39.9 | Loose jacket | 0.1425 | 1 | 1 | 0.94 | 0.7 | 0.45 | 0.44 | 0.44 | 0.48 | 0.76 | 0.94 | 1 | 1
1 - Thames | 30 | 56 | 98 | 157 | 195 | 217 | 203 | 173 | 127 | 73 | 39 | 24 | 1 - Thames | 51.6 | NE/NW | 0.165 | -3.68 | 3 | 6.38 | -4.53 | -0.405 | -4.38 | 4.89 | -1.99 | Flat plate, glazed | 0.75 | 6 | 0.9 | Significant | 60% - 80% | 0.65 | Electric shower(s) only* | 0.64 | [25 empty] | Factory insulated | 0.1425
2 - South East England | 32 | 59 | 104 | 170 | 208 | 231 | 216 | 182 | 133 | 77 | 41 | 25 | 2 - South East England | 51.1 | East/West | 1.44 | -2.36 | 1.07 | -0.514 | 1.89 | -1.64 | -0.542 | -0.757 | 0.604 | Unglazed | 0.9 | 20 | 1 | Modest | 20% - 60% | 0.8 | Both electric and non-electric showers | 1
3 - Southern England | 35 | 62 | 109 | 172 | 209 | 235 | 217 | 185 | 138 | 80 | 44 | 27 | 3 - Southern England | 50.9 | SE/SW | -2.95 | 2.89 | 1.17 | 5.67 | -3.54 | -4.28 | -2.72 | -0.25 | 3.07 |  |  |  |  | None or very little | < 20% | 1 | No shower (bath only) | 1.09
4 - South West England | 36 | 63 | 111 | 174 | 210 | 233 | 204 | 182 | 136 | 78 | 44 | 28 | 4 - South West England | 50.5 | South | -0.66 | -0.106 | 2.93 | 3.63 | -0.374 | -7.4 | -2.71 | -0.991 | 4.59
5 - Severn Wales/Severn England | 32 | 59 | 105 | 167 | 201 | 226 | 206 | 175 | 130 | 74 | 40 | 25 | 5 - Severn Wales/Severn England | 51.5
6 - Midlands | 28 | 55 | 97 | 153 | 191 | 208 | 194 | 163 | 121 | 69 | 35 | 23 | 6 - Midlands | 52.6
7 - West Pennines Wales/West Pennines England | 24 | 51 | 95 | 152 | 191 | 203 | 186 | 152 | 115 | 65 | 31 | 20 | 7 - West Pennines Wales/West Pennines England | 53.5
8 - North West England | 23 | 51 | 95 | 157 | 200 | 203 | 194 | 156 | 113 | 62 | 30 | 19 | 8 - North West England | 54.6
9 - Border Scotland | 23 | 50 | 92 | 151 | 200 | 196 | 187 | 153 | 111 | 61 | 30 | 18 | 9 - Border Scotland | 55.2
10 - North East England | 25 | 51 | 95 | 152 | 196 | 198 | 190 | 156 | 115 | 64 | 32 | 20 | 10 - North East England | 54.4
11 - East Pennines | 26 | 54 | 96 | 150 | 192 | 200 | 189 | 157 | 115 | 66 | 33 | 21 | 11 - East Pennines | 53.5
12 - East Anglia | 30 | 58 | 101 | 165 | 203 | 220 | 206 | 173 | 128 | 74 | 39 | 24 | 12 - East Anglia | 52.1
13 - Wales | 29 | 57 | 104 | 164 | 205 | 220 | 199 | 167 | 120 | 68 | 35 | 22 | 13 - Wales | 52.6
14 - West Scotland | 19 | 46 | 88 | 148 | 196 | 193 | 185 | 150 | 101 | 55 | 25 | 15 | 14 - West Scotland | 55.9
15 - East Scotland | 21 | 46 | 89 | 146 | 198 | 191 | 183 | 150 | 106 | 57 | 27 | 15 | 15 - East Scotland | 56.2
16 - North East Scotland | 19 | 45 | 89 | 143 | 194 | 188 | 177 | 144 | 101 | 54 | 25 | 14 | 16 - North East Scotland | 57.3
17 - Highland | 17 | 43 | 85 | 145 | 189 | 185 | 170 | 139 | 98 | 51 | 22 | 12 | 17 - Highland | 57.5
18 - Western Isles | 16 | 41 | 87 | 155 | 205 | 206 | 185 | 148 | 101 | 51 | 21 | 11 | 18 - Western Isles | 57.7
19 - Orkney | 14 | 39 | 84 | 143 | 205 | 201 | 178 | 145 | 100 | 50 | 19 | 9 | 19 - Orkney | 59
20 - Shetland | 12 | 34 | 79 | 135 | 196 | 190 | 168 | 144 | 90 | 46 | 16 | 7 | 20 - Shetland | 60.1
21 - Northern Ireland | 24 | 52 | 96 | 155 | 201 | 198 | 183 | 150 | 107 | 61 | 30 | 18 | 21 - Northern Ireland | 54.6
Table U1: Mean external temperature (degC)
Region | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - UK average | 4.3 | 4.9 | 6.5 | 8.9 | 11.7 | 14.6 | 16.6 | 16.4 | 14.1 | 10.6 | 7.1 | 4.2
1 - Thames | 5.1 | 5.6 | 7.4 | 9.9 | 13 | 16 | 17.9 | 17.8 | 15.2 | 11.6 | 8 | 5.1
2 - South East England | 5 | 5.4 | 7.1 | 9.5 | 12.6 | 15.4 | 17.4 | 17.5 | 15 | 11.7 | 8.1 | 5.2
3 - Southern England | 5.4 | 5.7 | 7.3 | 9.6 | 12.6 | 15.4 | 17.3 | 17.3 | 15 | 11.8 | 8.4 | 5.5
4 - South West England | 6.1 | 6.4 | 7.5 | 9.3 | 11.9 | 14.5 | 16.2 | 16.3 | 14.6 | 11.8 | 9 | 6.4
5 - Severn Wales/Severn England | 4.9 | 5.3 | 7 | 9.3 | 12.2 | 15 | 16.7 | 16.7 | 14.4 | 11.1 | 7.8 | 4.9
6 - Midlands | 4.3 | 4.8 | 6.6 | 9 | 11.8 | 14.8 | 16.6 | 16.5 | 14 | 10.5 | 7.1 | 4.2
7 - West Pennines Wales/West Pennines England | 4.7 | 5.2 | 6.7 | 9.1 | 12 | 14.7 | 16.4 | 16.3 | 14.1 | 10.7 | 7.5 | 4.6
8 - North West England | 3.9 | 4.3 | 5.6 | 7.9 | 10.7 | 13.2 | 14.9 | 14.8 | 12.8 | 9.7 | 6.6 | 3.7
9 - Border Scotland | 4 | 4.5 | 5.8 | 7.9 | 10.4 | 13.3 | 15.2 | 15.1 | 13.1 | 9.7 | 6.6 | 3.7
10 - North East England | 4 | 4.6 | 6.1 | 8.3 | 10.9 | 13.8 | 15.8 | 15.6 | 13.5 | 10.1 | 6.7 | 3.8
11 - East Pennines | 4.3 | 4.9 | 6.5 | 8.9 | 11.7 | 14.6 | 16.6 | 16.4 | 14.1 | 10.6 | 7.1 | 4.2
12 - East Anglia | 4.7 | 5.2 | 7 | 9.5 | 12.5 | 15.4 | 17.6 | 17.6 | 15 | 11.4 | 7.7 | 4.7
13 - Wales | 5 | 5.3 | 6.5 | 8.5 | 11.2 | 13.7 | 15.3 | 15.3 | 13.5 | 10.7 | 7.8 | 5.2
14 - West Scotland | 4 | 4.4 | 5.6 | 7.9 | 10.4 | 13 | 14.5 | 14.4 | 12.5 | 9.3 | 6.5 | 3.8
15 - East Scotland | 3.6 | 4 | 5.4 | 7.7 | 10.1 | 12.9 | 14.6 | 14.5 | 12.5 | 9.2 | 6.1 | 3.2
16 - North East Scotland | 3.3 | 3.6 | 5 | 7.1 | 9.3 | 12.2 | 14 | 13.9 | 12 | 8.8 | 5.7 | 2.9
17 - Highland | 3.1 | 3.2 | 4.4 | 6.6 | 8.9 | 11.4 | 13.2 | 13.1 | 11.3 | 8.2 | 5.4 | 2.7
18 - Western Isles | 5.2 | 5 | 5.8 | 7.6 | 9.7 | 11.8 | 13.4 | 13.6 | 12.1 | 9.6 | 7.3 | 5.2
19 - Orkney | 4.4 | 4.2 | 5 | 7 | 8.9 | 11.2 | 13.1 | 13.2 | 11.7 | 9.1 | 6.6 | 4.3
20 - Shetland | 4.6 | 4.1 | 4.7 | 6.5 | 8.3 | 10.5 | 12.4 | 12.8 | 11.4 | 8.8 | 6.5 | 4.6
21 - Northern Ireland | 4.8 | 5.2 | 6.4 | 8.4 | 10.9 | 13.5 | 15 | 14.9 | 13.1 | 10 | 7.2 | 4.7