## COMPARISON WITH BIOMASS
BIOMASS |  |  | NPC (£) | Capital (£) | Excess Elec (kWh/year)
Upgraded, ASHP |  |  | 736255 | 575559 | 652039
3 x Vestas | 33 Strings | 130kW
Upgraded, GSHP |  |  | 568720 | 438141 | 760460
3 x Vestas | 18 Strings | 90kW
NOTU, ASHP |  |  | 936762 | 741942 | 542964
3 x Vestas | 52 Strings | 170kW
NOTU, GSHP |  |  | 637393 | 496030 | 694924
3 x Vestas | 25 Strings | 100kW
Assuming we are going to go ahead with electriication, is it worth upgrading the housing?
Housing: | 201252 |  | ASHP: | 182000 |  | GSHP: | 1040000 | (52x20000)
ASHP
Total Upgraded Cost |  | 776811 |  | Savings per year: |  | 8020.28 | (on average)
Not Upgraded Cost |  | 741942 |  | Extra Cost: |  | 34869 |  |  | LOOKS LIKE THE WINNER IS ASHP IN UPGRADED HOMES
|  |  |  | Years to pay back: |  | 4.3476 | WORTH IT? |  | (AS PREDICTED)
GSHP
Total Upgraded Cost |  | 639393 |  | Savings per year: |  | 2746.92
Not Upgraded Cost |  | 496030 |  | Extra Cost: |  | 143363
|  |  |  | Years to pay back: |  | 52.1905 | WORTH UPGRADING IF USING GSHP?
For the upgraded buildings then, are ASHP or GSHP more cost effective? | [5 empty] | (No point including housing cost in comparison)
Total ASHP Cost |  | 757559 |  | Savings in capital using ASHP |  |  | 720582
Total GSHP Cost |  | 1478141 |  | Savings per year using GSHP |  |  | 6701.4 | on average
|  |  |  | Years to pay back GSHP investment |  |  | 107.5271 | WORTH INSTALLING GSHP OVER ASHP?

## COMPARISON WITHOUT BIOMASS
|  |  | NPC (£) | Capital (£) | Excess Elec (kWh/year)
Upgraded, ASHP |  |  | 1011289 | 804400 | 590522
3 x Vestas | 46 batt | 150kW
Upgraded, GSHP |  |  | 678359 | 529757 | 728902
3 x Vestas | 22 batt | 90kW
NOTU, ASHP |  |  | 1300009 | 1049044 | 480710
3 x Vestas | 70 batt | 180kW
NOTU, GSHP |  |  | 768960 | 603417 | 672287
3 x Vestas | 28 batt | 110kW | [6 empty] | LOOKS LIKE THE WINNER IS ASHP IN UPGRADED HOMES
(AS PREDICTED)
Assuming we are going to go ahead with electriication, is it worth upgrading the housing?
Housing: | 201252 |  | ASHP: | 182000 |  | GSHP: | 1040000 | (52x20000)
ASHP
Total Upgraded Cost |  | 1005652 | Upgraded is less so worthwhile! | Savings per year: | N/A
Not Upgraded Cost |  | 1049044 |  | Extra Cost: | N/A
|  |  |  | Years to pay back: | N/A
GSHP
Total Upgraded Cost |  | 731009 |  | Savings per year: | 3624.04
Not Upgraded Cost |  | 603417 |  | Extra Cost: | 127592
|  |  |  | Years to pay back: | 35.2071 | Maybe not worth upgrading if using GSHP
For the upgraded buildings then, are ASHP or GSHP more cost effective? |  |  |  | (No point including housing cost in comparison)
Total ASHP Cost |  | 986400 |  | Savings in capital using ASHP |  | 583357
Total GSHP Cost |  | 1569757 |  | Savings per year using GSHP |  | 13317.2
|  |  |  | Years to pay back GSHP investment |  | 43.8048 | Probably not worth installing GSHP over ASHP

## COSTS WITH BIOMASS
ACTUAL CAPITAL COST FOR THE 'WINNER' WILL BE DIFFERENT
Need to take account of batteries and converter that were there before
Batteries | [7 empty] | Converter
One battery costs: |  | 745.29 | Wind and Sun website RB-4KS25PS |  |  |  |  | One converter costs: |  | 1000 | BARTOLO | per kW
Soln has 396 so need: |  | 300 | extra batteries |  |  |  |  | Soln has 130kW: |  | 70 | kW is needed
Total cost then of: |  | 223587 | [5 empty] | Total cost of them: |  | 70000
Cost per batt in HOMER: |  | 564.6136 | [5 empty] | Cost per kW in HOMER: |  | 538.4615 |  |  | REPLACEMENTS STAY AS THEY ARE
|  |  | These were put into HOMER and along with the WTs gives: | [5 empty] | 536585 | Which is the same as 3WTs + Batt + Conv so makes sense
Solution Costs
| HW Cost | 44200 |  | Network | 100000 | for every 25% increase
| Housing: | 201252 |  | Generation | Old | 196.4 | kW
| ASHP: | 182000 |  |  | New | 373.4 | kW
| Increased Tech | 536585
| Network | 1777155.465 |  |  | 25% of old | 49.1
| TOTAL | 2741192.465 |  |  | Increase | 3.6049
| Biomass too | 2863192.465 |  |  | One is free | 2.6049
[5 empty] | Cost | 260488.7984
| O+M over 25 years | 117989 |  | Batteries | Old | 96
| O+M per year | 4719.56 |  |  | New | 396
[5 empty] | 25% of old | 24
| Total OM | 32719.56 |  |  | Increase | 12.5
| OM 100% elec | 5629.68 |  |  | One is free | 11.5
| OM Savings | 27089.88 |  |  | Cost | 1150000
| Extra total | 797598.535 |  | Converters | Old | 60
| Payback years | 29.4427 |  |  | New | 130
[5 empty] | 25% of old | 15
[5 empty] | Increase | 4.6667
[5 empty] | One is free | 3.6667
[5 empty] | Cost | 366666.6667

## COSTS WITHOUT BIOMASS
ACTUAL CAPITAL COST FOR THE 'WINNER' WILL BE DIFFERENT
Need to take account of batteries and converter that were there before
Batteries | [6 empty] | Converter
One battery costs: | 745.29 | Wind and Sun website RB-4KS25PS |  |  |  |  | One converter costs: | 1000 | per kW | BARTOLO
Soln has 552 so need: | 456 | [5 empty] | Soln has 150kW: | 90
Total cost then of: | 339852.24 | [5 empty] | Total cost of them: | 90000
Cost per batt in HOMER: | 615.6743 | [5 empty] | Cost per kW in HOMER: | 600
|  |  | These were put into HOMER and along with the WTs gives: |  |  |  |  | 672850 | Which is the same as 3WTs + Batt + Conv so makes sense
Solution Costs
HW Cost | 44200 |  | Network | 100000 | per 25% increase
Housing: | 201252 |  | Generation | Old | 196.4 | kW
ASHP: | 182000 |  |  | New | 373.4 | kW
Increased Tech | 672850
Network | 2560488.7984 |  |  | 25% of old | 49.1
TOTAL | 3660790.7984 |  |  | Increase | 3.6049
|  |  |  | One is free | 2.6049
OM over 25 years | 140742 |  |  | Cost | 260488.7984
per year on average | 5629.68 |  | Batteries | Old | 96
|  |  |  | New | 552
|  |  |  | 25% of old | 24
|  |  |  | Increase | 19
|  |  |  | One is free | 18
|  |  |  | Cost | 1800000
|  |  | Converters | Old | 60
|  |  |  | New | 150
|  |  |  | 25% of old | 15
|  |  |  | Increase | 6
|  |  |  | One is free | 5
|  |  |  | Cost | 500000