## Transmission Costs
Number of Extra Systems | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Inter-array cables length (m) | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Inter-array cables - 33kV 3 Core
Distance to shore (m) | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000
Substation Capital Cost(33:132) | 1625000 | 1625000 | 1625000 | 1625000 | 1625000 | 1625000 | 1625000 | 1625000 | 1625000 | 1625000
Substation Operating Cost/year | 168000 | 336000 | 504000 | 672000 | 840000 | 1008000 | 1176000 | 1344000 | 1512000 | 1680000
Trasmission Line Capital Cost | 3430226.6625 | 3716078.8844 | 4001931.1063 | 4287783.3282 | 4573635.55 | 4859487.7719 | 5145339.9938 | 5431192.2157 | 5717044.4375 | 6002896.6594
Tranmsission Line Operating Cost/year | 3040000 | 3085000 | 3130000 | 3175000 | 3220000 | 3265000 | 3310000 | 3355000 | 3400000 | 3445000
Total rated power capacity (MW) | 7 | 14 | 21 | 28 | 35 | 42 | 49 | 56 | 63 | 70
2014 GBP:USD | 0.639 | 0.639 | 0.639 | 0.639 | 0.639 | 0.639 | 0.639 | 0.639 | 0.639 | 0.639
mile:km | 1.609 | 1.609 | 1.609 | 1.609 | 1.609 | 1.609 | 1.609 | 1.609 | 1.609 | 1.609
Estimated Terrain Multiplier | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
Substation Multiplier as offshore | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25
Transmission capital cost reference: | https://www.wecc.biz/Reliability/2014_TEPPC_Transmission_CapCost_Report_B+V.pdf
Transmission Operating cost reference: | https://ore.catapult.org.uk/wp-content/uploads/2016/05/Transmission-Costs-for-Offshore-Wind.pdf

## Tidal Turbine Costs
Capital cost of normal Tidal turbine ($/kW) | 5880
Applying exchange rate (£/MW) | 3704400
Applying Cost Reductions (£/MW) | 2370816
Capital Cost for 2MW System | 4741632
Annual Operating Cost ($/kW) | 198
Applying exchange rate (£/MW) | 124740
Annual Operating Cost for 2MW system | 249480
Lifetime Operational Cost | 4989600
Cost reduction factor | 0.64
2011 GBP:USD | 0.63
Assumed operational lifetime (years) | 20
Cost Reduction Assumptions (Applied to pie chart): | No need to account for electrical as separate analysis (-13%)
Reduction in structural cost (-15%)
Shared installation costs (-8%)
Applying these reductions to results in a total Tidal cost of 61%
References: | https://www.bv.com/docs/reports-studies/nrel-cost-report.pdf
https://www.carbontrust.com/media/173551/capital-operating-and-maintenance-costs.pdf

## Foundation costing
|  | 70mm | 80mm | 85mm | Inner Radius (m) | 2.93 | 2.925
[5 empty] | Monopile Radius (m) | 3 |  | 1498.5397
Installation |  |  |  |  | Monopile |  |  | 1429.4237
Capital Cost/tonne (Monopile) | 1300 | 1300 | 1300 | 1300 | Diameter (m) | 6 | 6 | 1498.54
Capital Cost/tonne Transition piece | 1800 | 1800 | 1800 | 1800 | thickness (m) | 0.07 | 0.075 | 1429.42
Monopile Capital Cost | 0 | 723240.8 | 825233.17 | 876069.7 | Height (m) | 53 | 53
Transition Piece Capital Cost | 450000 | 450000 | 450000 | 450000 | Approximate mass (t) |  |  | 556.416
Total Capital Cost | 450000 | 1173240.8 | 1275233.17 | 1326069.7 | Reinforced Mass monopile (t)
Increase in Cost (%) | 0.13026 |  |  |  | Transition Piece Mass (t) | 250 |  | 250
[5 empty] | Volume | 69.12 |  | 595.6227
Wall Thickness | 0.08 | 0.085 |  |  | Density of steel (kg/m^3) | 8050 | 8.05
Cylindrical volume | 1498.5397 | 1498.5397
Tubular volume | 1419.6832 | 1414.8254
Volume | 78.8565 | 83.7143
Mass (tonnes) | 634.7947 | 673.8998
Monopile Cost | 825233.1561 | 876069.6792
[8 empty] | Increased foundation cost | 152828.9

## Wind Turbine Costs
Nacelle | 2500000
Nacelle Bedplate | £100,000 - £120,000 | Using this data the wind turbine was estimated to cost: £5,000,000 |  |  | 5000000
Main Bearing | £60,000 - £80,000
Main Shaft | 100000 | Operating Costs |  | 410000
Gearbox | £700,000 - £1,000,000 |  |  |  |  | Capital Cost Ref: | https://www.thecrownestate.co.uk/media/5408/ei-a-guide-to-an-offshore-wind-farm.pdf
Generator | £200,000 - £250,000 | annual | £82,000/MW |  |  | Operating Cost Ref: | http://www.nrel.gov/docs/fy16osti/64281.pdf
Power take-off | 400000
Control System | 70000
Yaw System | 100000
Yaw Bearing | £40,000 - £50,000
Nacelle Auxiliary Systems | A few% of larger costs
Nacelle Cover | £60,000 - £90,000
Small Engineering components | Small
Fasteners | £10,000 - £15,000
Condition Monitoring System | £10,000 - £20,000
Rotor | £1,200,000 - £1,500,000
Blades | £250,000 - £350,000
Structural Composite Materials | Half the cost of blade
Blade Root | 20% Blade cost
Lightning Protection | Low Cost (approximated)
Hub Casting | 80000
Blade Bearings | £40,000 - £50,000
Pitch System (electric or hydraulic) | £100,000 - £150,000
Spinner | £20,000 - £30,000
Rotor Auxiliary Systems | £3,000 - £10,000
Fabricated Steel Components | £100's to £20-000
Tower | 1000000

## 1 turbine Payback
Yearly Generation | 22565.76 | Yearly Generation | 225657.6 |  | Year
Yearly Income £ | 3294600.96 | Yearly Income £ | 32946009.6 |  | Expenses
Total Income £ | 65892019.2 | Total Income £ | 658920192 |  | Income
Strike Price | 146 | Strike Price | 146 |  | Cashflow
Availability | 0.92 | Availability | 0.92 |  | Net
Yearly OPEX | -841470 | Yearly OPEX | -8414700 |  | Present Value Factor
Lifetime OPEX | -16829400 | Lifetime OPEX | -168294000 |  | Net Present Value
NET income per year | 4136070.96 | NET income per year | 41360709.6 |  | Discounted cash flow
CAPEX/MW | 3423930 | CAPEX/MW | 2688000 |  | Cumulative Discounted cash flow
Total CAPEX | -23967510 | Total CAPEX | -188160000
|  | discount rate | 10%
|  | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
|  | Expenses | -23967510 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470 | -841470
|  | Income | 0 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96 | 3294600.96
|  | Cashflow | -23967510 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96 | 2453130.96
|  | Net | -23967510 | -20672909.04 | -18219778.08 | -15766647.12 | -13313516.16 | -10860385.2 | -8407254.24 | -5954123.28 | -3500992.32 | -1047861.36 | 1405269.6 | 3858400.56 | 6311531.52 | 8764662.48 | 11217793.44 | 13670924.4 | 16124055.36 | 18577186.32 | 21030317.28 | 23483448.24 | 25936579.2
|  | Present Value Factor | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333 | 0.23939 | 0.21763 | 0.19784 | 0.17986 | 0.16351 | 0.14864
Net Present Value
|  | Discounted cash flow | -23967510 | 2230119.0545 | 2027380.9587 | 1843073.5988 | 1675521.4535 | 1523201.3213 | 1384728.4739 | 1258844.0672 | 1144403.6975 | 1040366.9977 | 945788.1797 | 859807.4361 | 781643.1237 | 710584.6579 | 645986.0527 | 587260.0479 | 533872.7708 | 485338.8825 | 441217.166 | 401106.5145 | 364642.2859
|  | Cumulative Discounted cash flow | -23967510 | -21737390.9455 | -19710009.9868 | -17866936.388 | -16191414.9345 | -14668213.6132 | -13283485.1393 | -12024641.0721 | -10880237.3746 | -9839870.3769 | -8894082.1972 | -8034274.7611 | -7252631.6374 | -6542046.9794 | -5896060.9267 | -5308800.8789 | -4774928.108 | -4289589.2255 | -3848372.0595 | -3447265.545 | -3082623.2591

## 10 turbine payback
Yearly Generation | 225657.6
Yearly Income £ | 32946009.6
Total Income £ | 658920192
Strike Price | 146
Availability | 0.92
Yearly OPEX | -8414700
Lifetime OPEX | -168294000
NET income per year | 41360709.6
CAPEX/MW | 2688000
Total CAPEX | -188160000
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Expenses | -188160000 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700 | -8414700
Income | 0 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6 | 32946009.6
Cashflow | -188160000 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6 | 24531309.6
Net | -188160000 | -163628690.4 | -139097380.8 | -114566071.2 | -90034761.6 | -65503452 | -40972142.4 | -16440832.8 | 8090476.8 | 32621786.4 | 57153096 | 81684405.6 | 106215715.2 | 130747024.8 | 155278334.4 | 179809644 | 204340953.6 | 228872263.2 | 253403572.8 | 277934882.4 | 302466192
Present Value Factor | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333 | 0.23939 | 0.21763 | 0.19784 | 0.17986 | 0.16351 | 0.14864
Net Present Value
Discounted cash flow | -188160000 | 22301190.5455 | 20273809.5868 | 18430735.988 | 16755214.5345 | 15232013.2132 | 13847284.7393 | 12588440.6721 | 11444036.9746 | 10403669.9769 | 9457881.7972 | 8598074.3611 | 7816431.2374 | 7105846.5794 | 6459860.5267 | 5872600.4789 | 5338727.708 | 4853388.8255 | 4412171.6595 | 4011065.145 | 3646422.8591
Cumulative Discounted cash flow | -188160000 | -165858809.4545 | -145584999.8678 | -127154263.8798 | -110399049.3453 | -95167036.1321 | -81319751.3928 | -68731310.7207 | -57287273.7461 | -46883603.7692 | -37425721.972 | -28827647.6109 | -21011216.3735 | -13905369.7941 | -7445509.2674 | -1572908.7885 | 3765818.9195 | 8619207.745 | 13031379.4046 | 17042444.5496 | 20688867.4087
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Year

## Total System Cost
Tidal Capital Cost | 4741632
Wind Turbine Capital Cost | 5000000
Foundation Capital Cost | 1326069.7
Transmission Capital Cost | 5055226.6625
Misc. Costs factor | 1.2
Total Capital Cost | 19347514.035
Annual Tidal Operating Cost | 249480
Annual Wind Operating Cost | 410000
Annual Transmission Operation Costs | 3208000
Total Operating Costs | 3867480
Lifetime Operating Costs (20 years) | 77349600

## LCOE
LCO
Hybrid System has reductions of 36% of tidal capital costs
| Annual Energy Output (MWh) | Strike Price (£.MWh) |  |  | Total CAPEX increased by 5% to account for miscellaneous extra costs
| 6447 | 300 |  |  | (Assumed 20 year project lifetime)
| 23652 | 105
| 30108 | 146.7238
| Wind |  | Tidal
| CAPEX (£/kW) | 3000 | CAPEX (£/MW) | 3722
| OPEX £/kW-yr | 82 | OPEX £/MW-yr | 125.3
| Yearly Energy Generation (MWh) | 23652 | Yearly Energy Generation (MWh) | 6447.36
| Capacity Factor | 0.54 | Capacity Factor | 36.8
| Discount Rate | 0.1 | Discount Rate (%) | 0.1
| FCR (%) | 0.098 | FCR (%) | 0.098
| AEPnet (MWh/MW/yr) | 4351.968 | AEPnet (MWh/MW/yr) | 2965.7856
| Availability | 0.95 | Availability | 0.92
[7 empty] | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
[6 empty] | 10km | 3815.9565 | 3211.14 | 3009.5345 | 2908.7318 | 2848.2501 | 2807.929 | 2779.1282 | 2757.5276 | 2740.7272 | 2727.2868
[6 empty] | 20km | 4796.0212 | 3701.1724 | 3336.2228 | 3153.748 | 3044.2631 | 2971.2731 | 2919.1375 | 2880.0357 | 2849.6233 | 2825.2933
| LCOE £/MWh | 86.3977 | LCOE £/MWh | 165.2365
| p/kWh | 8.6398 | p/kWh | 16.5236
| Strike Price (£/MWh) | 105 | Strike Price (£/MWh) | 300 |  | Hybrid | CAPEX from Iains array | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 10 | 10 | 10 | 10
| Strike Price (p/kWh) | 10 | Strike Price (p/kWh) | 30p/kWh |  | CAPEX (£/kW) | 3423.93 | 3015.1271 | 2878.8592 | 2810.7253 | 2769.8449 | 2742.5914 | 2723.1245 | 2708.5244 | 2697.1688 | 2688.0842 | 2688.0842 | 2688.0842 | 2688.0842 | 2688.0842
| Profit (strike price-LCOE) (£/MWh) | 18.6023 | Profit (strike price-LCOE) (£/MWh) | 134.7635 |  | OPEX £/kW-yr | 120.21 | 120.21 | 120.21 | 120.21 | 120.21 | 120.21 | 120.21 | 120.21 | 120.21 | 120.21 | 120.21 | 120.21 | 120.21 | 120.21
[6 empty] | Yearly Energy Generation (MWh) | 24528 | 24528 | 24528 | 24528 | 24528 | 24528 | 24528 | 24528 | 24528 | 24528 | 18396 | 21462 | 24528 | 27594
[6 empty] | Capacity Factor | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.35 | 0.4 | 0.45 | Capacity Factor | 0.3 | 0.35 | 0.4 | 0.45
| 21759.84 |  |  |  |  | Discount Rate (%) | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
[6 empty] | FCR (%) | 0.098 | 0.098 | 0.098 | 0.098 | 0.098 | 0.098 | 0.098 | 0.098 | 0.098 | 0.098 | 0.098 | 0.098 | 0.098 | 0.098 | LCOE | 188.5 | 161.57 | 141.38 | 125.67
[6 empty] | AEPnet (MWh/MW/yr) | 3223.68 | 3223.68 | 3223.68 | 3223.68 | 3223.68 | 3223.68 | 3223.68 | 3223.68 | 3223.68 | 3223.68 | 2417.76 | 2820.72 | 3223.68 | 3626.64
[6 empty] | Availability | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92
[21 empty] | Fixed Charge Rate | 9.5% | 9.85% | 10% | 10.5%
[21 empty] | LCOE | 138.19 | 141.38 | 143.5 | 148.82
[6 empty] | 6km to shore | 141.3773 | 128.9497 | 124.8071 | 122.7358 | 121.4931 | 120.6646 | 120.0728 | 119.6289 | 119.2837 | 119.0075 | 158.6767 | 136.0086 | 119.0075 | 105.7845
[6 empty] | 10km to shore | 153.2949 | 134.9085 | 128.7797 | 125.7152 | 123.8766 | 122.6508 | 121.7753 | 121.1186 | 120.6079 | 120.1993
[6 empty] | 20km to shore | 183.0889 | 149.8055 | 138.711 | 133.1637 | 129.8354 | 127.6165 | 126.0316 | 124.8429 | 123.9183 | 123.1787
No. of turbines
[7 empty] | Wind | Hybrid
[6 empty] | Strike Price | 105 | 105
[6 empty] | LCOE | 86.4 | 141.4

## Array Analysis
No. of Systems | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Tidal Capital Cost | 4741632 | 4741632 | 4741632 | 4741632 | 4741632 | 4741632 | 4741632 | 4741632 | 4741632 | 4741632
Wind Turbine Capital Cost | 5000000 | 5000000 | 5000000 | 5000000 | 5000000 | 5000000 | 5000000 | 5000000 | 5000000 | 5000000
Foundation Capital Cost | 1326069.7 | 1326069.7 | 1326069.7 | 1326069.7 | 1326069.7 | 1326069.7 | 1326069.7 | 1326069.7 | 1326069.7 | 1326069.7
Transmission Capital Cost | 5055226.6625 | 5341078.8844 | 5626931.1063 | 5912783.3282 | 6198635.55 | 6484487.7719 | 6770339.9938 | 7056192.2157 | 7342044.4375 | 7627896.6594
Misc. Costs factor | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2
Total Capital Cost | 19347514.035 | 32971778.7413 | 46596043.4475 | 60220308.1538 | 73844572.86 | 87468837.5663 | 101093102.2725 | 114717366.9788 | 128341631.685 | 141965896.3913
Cost Per Turbine | 19347514.035 | 16485889.3706 | 15532014.4825 | 15055077.0384 | 14768914.572 | 14578139.5944 | 14441871.7532 | 14339670.8723 | 14260181.2983 | 14196589.6391
Annual Tidal Operating Cost | 249480 | 498960 | 748440 | 997920 | 1247400 | 1496880 | 1746360 | 1995840 | 2245320 | 2494800
Annual Wind Operating Cost | 410000 | 820000 | 1230000 | 1640000 | 2050000 | 2460000 | 2870000 | 3280000 | 3690000 | 4100000
Annual Transmission Operation Costs | 3040000 | 6170000 | 9390000 | 12700000 | 16100000 | 19590000 | 23170000 | 26840000 | 30600000 | 34450000
Total Operating Costs | 3699480 | 7488960 | 11368440 | 15337920 | 19397400 | 23546880 | 27786360 | 32115840 | 36535320 | 41044800
Operating Cost Per Turbine | 3699480 | 3744480 | 3789480 | 3834480 | 3879480 | 3924480 | 3969480 | 4014480 | 4059480 | 4104480
Lifetime Operating Costs (20 years) | 73989600 | 149779200 | 227368800 | 306758400 | 387948000 | 470937600 | 555727200 | 642316800 | 730706400 | 820896000
Installation (estimated 8%) | 1250000 | 1250000 | 1250000 | 1250000 | 1250000 | 1250000 | 1250000 | 1250000 | 1250000 | 1250000
Misc (decomissioning, engineering & management, development) (8%) | 1250000 | 1250000 | 1250000 | 1250000 | 1250000 | 1250000 | 1250000 | 1250000 | 1250000 | 1250000
Contingency (9%) | 1350000 | 1350000 | 1350000 | 1350000 | 1350000 | 1350000 | 1350000 | 1350000 | 1350000 | 1350000
Additional Costs Added:
Total Capital cost (£) | 23967514.035 | 42211778.7413 | 60456043.4475 | 78700308.1538 | 96944572.86 | 115188837.5663 | 133433102.2725 | 151677366.9788 | 169921631.685 | 188165896.3913
| 3423930.5764 | 3015127.0529 | 2878859.2118 | 2810725.2912 | 2769844.9389 | 2742591.3706 | 2723124.5362 | 2708524.4103 | 2697168.7569 | 2688084.2342
| 2763930.5764 | 2355127.0529 | 2218859.2118 | 2150725.2912 | 2109844.9389 | 2082591.3706 | 2063124.5362 | 2048524.4103 | 2037168.7569 | 2028084.2342