## Slide 1
Andrzej Gruszczynski
Duncan
Hambrey
Emilio
Romero Jiménez
Iain
Sagan
Shahzaib
Sheaikh
Lucia
Urra Viana

## Slide 2
Introducing
HOWaT
The Hybrid Offshore Wind and Tidal System

## Slide 3
The HOWaT Concept
+
=
?
[wind-energy-market.com]
[alternative-energy-news.info]

## Slide 4
Why?
Predictable Renewable Energy Generation
Increased output from one location
Reduced costs through shared transmission infrastructure and foundations
Shared maintenance costs
Real future potential?

## Slide 5
Challenges
Immature technology
Increased structural loads
Vibration
Costs
Future technology?

## Slide 6
Aims and Objectives
Aims
Investigate the feasibility of HOWaT
Objectives
Possibility of attachment to existing wind turbines
Suitable location
HOWaT concept
Structural Analysis of foundation
Environmental Impact Assessment
Estimation of costs and energy output

## Slide 7
How to design and implement such a system?
1. Create an attachment for existing offshore windfarms
2. Manufacture the complete hybrid system for new arrays
1. Create an attachment for existing offshore windfarms

## Slide 8
Selected Wind Turbine
NREL’s Baseline 5MW Wind Turbine
8MW Wind Turbine?
Necessary data.
[Senu Sirnivas/NREL]

## Slide 9
Selected Tidal Stream Turbine
Atlantis’ SeaGen-S 2MW
[Marine Current Turbines]

## Slide 10
Analysis of existing wind farms
Combination of Wind and Tidal resources, and appropriate depth
Studied with QGIS
Isle of Islay
Planned tidal and wind farms
Better environmental conditions
Location

## Slide 11
Wind data from Port Ellen
Steps to obtain wind distribution:
  Transport data to our location
  Fit to a statistical distribution
  Calculate generated power and capacity coefficient
Wind resource
[Islayinfo.com]

## Slide 12
Yearly energy generation | Capacity coefficient
23890 MWh | 54%
Cut-in speed | Rated speed | Cut-out speed
3 m/s | 11.4 m/s | 25 m/s
Wind resource

## Slide 13: Tidal Resource Analysis
Chart: Current Speed Throughout Lunar Cycle
Peak Spring Current Speed | 3.05 m/s
Peak Neap Current Speed | 1.69 m/s
Tidal Graph

## Slide 14: Tidal Resource Analysis
Seagen –S 2MW chosen to carry out analysis
[Marine Current Turbines]

## Slide 15: Tidal Resource Analysis
Chart: Power Output Throughout Lunar Cycle
Chart: Turbine Power Output
Lunar Cycle Energy: 521 MWh
Mean Power Output = 737 kW
Estimated Annual Energy Output: 6.45 GWh
Capacity Factor = 36.8%

## Slide 16
Wind Turbine Installation & Retrieval
A jack up vessel is used for installation.
[Dong Energy, 2017]

## Slide 17
Support Structure
The tidal turbine support structure is welded to the TS
This provides the ease of installation.

## Slide 18
Tidal Turbine Installation & Retrieval
A Dynamic Positioning (DP) vessel is used for installation.

## Slide 20: Operation

## Slide 21: Operation

## Slide 22
Maintenance
27m clearance from the tip of the wind turbine blade to the sea surface
A 4m clearance area from the tip of the tidal turbine to the sea surface.

## Slide 23: Maintenance

## Slide 24: Biofouling
Consequences
Increase the weight of the structures
Increase the drag resistance
Loss of efficiency
Protection
Chemically active antifouling paints
Non stick, fouling release coating
[Racerocks, 2017]

## Slide 25: Supporting Structure
Offshore wind turbine (OWT)
Tidal current turbine
Structural Analysis
Monopile Foundation
Stress comparison
Vibration - Natural Frequency

## Slide 26: Structural Analysis - Loads
Drag (structure)
Thrust (rotor)
Aerodynamic load
Wind turbine
Tower
Tidal current turbine & structure
Monopile
Dead Load
Drag (structure)
Thrust (rotor)
Waves (structure)
Hydrodynamic load
26
+

## Slide 27: Structural Analysis – Soil-monopile interaction
Offshore Code Comparison Collaboration (OC3) – Phase II
27
[J. Jonkman and W. Musial ,2010]

## Slide 28: Structural Analysis – Model
Monopile &Tower
Beam elements
BEAM188
Non-linear springs
COMBIN39
Soil interaction
28

## Slide 29: Structural Analysis – Load cases
LC 0 – Offshore Wind Turbine
Without Current Drag
+ Current Drag
+Tidal Drag, thrust, dead load
LC 1 – Offshore Wind Turbine
LC 2 – Hybrid Offshore Wind & Tidal
29

## Slide 30: Structural Analysis - Von Mises Stress
Load case | Stress [MPa]
LC0 | 106
LC1 | 114
LC2 | 126
19%
11%
30
Notes: Explain Von Mises Stress

## Slide 31: Structural Analysis – Modification
Load case | Stress [MPa] | Thickness [mm]
LC0 | 106 | 70
LC1 | 114 | 70
LC2 | 126 | 70
LC2_A1 | 112 | 80
LC2_A0 | 106 | 85
LC1
LC0
Thickness modification
LC2_A1,A2– Hybrid Offshore Wind & Tidal - modified
31
Notes: Design iteration

## Slide 32: Vibration - Natural Frequency
Beam elements
BEAM188
Non-linear springs
COMBIN39
Load case | Description | Natural Frequency [Hz]
LC0 | OWT | 0.2167
LC1 | OWT | 0.2167
LC2 | HOWT | 0.2178
LC2_A1 | HOWT | 0.2246
LC2_A0 | HOWT | 0.2276
32

## Slide 33: Vibrations
Beam elements
BEAM188
Non-linear springs
COMBIN39
Turbine | Lower Rotor Speed [rpm] | Higher Rotor Speed [rpm]
Wind | 6.9 | 12.1
Tidal | 4 | 11.5
Turbine | Lower Rotor Speed [rpm] | Higher Rotor Speed [rpm]
Wind | 6.9 | 12.1
Tidal | 6 | 11.5
33

## Slide 34
Transmission Line
[Tennet, 2016]

## Slide 35
AC vs. DC
35
Losses, line and terminal costs included in cable cost
[Electrical Engineering Portal, 2014]
8 km

## Slide 36
Environmental Impact Assessment
+
=
?
[SSE Islay Ofshore
Wind Proposal, 2009]
[DP Marine Islay Tidal Project Scoping Report, 2009]

## Slide 37
Baseline Risk Assessment
Baseline Risk Assessment - Marine | Project Phases |  | 
 | Construction | Operation | Decommissioning
Physical |  |  | 
Geology |  |  | 
Marine & Coastal Processes |  |  | 
Contamination & Water Quality |  |  | 
Biological |  |  | 
Protected Sites and Species |  |  | 
Benthic Ecology & Intertidal Habitats |  |  | 
Fish and Shellfish |  |  | 
Marine Birds |  |  | 
Marine Mammals |  |  | 

## Slide 38
Marine Birds and Mammals
Environmentally
Protected Areas
[Crown Estate, 2009]

## Slide 39
Benthic Ecology & Intertidal Habitats
Seabed Type
[Crown Estate, 2009]

## Slide 40
Nursery Grounds [Crown Estate, 2009]
Spawning Grounds [Crown Estate, 2009]
Fish and Shellfish

## Slide 41
Expected Outcomes

## Slide 42
Financial Analysis
Target Levelised Cost of Energy
Comparison with Existing Technology
Sensitivity Analysis

## Slide 43
Contracts For Difference
Offshore Wind - 10.5p/kWh (2015 ~11.8/kWh)
Tidal Current – 30p/kWh
15 year Period (Assumed over 20 years)

## Slide 44
LCOE
Energy output: 80% wind, 20% tidal
Strike Price = £14.6p/KWh
Lifetime project expenditure must be lower than this
[Siemens,2013]

## Slide 45: System Cost Estimation
Tidal
Wind
36% Saving
Savings:
Structure = 15%
Offboard Electrical Equipment = 13%
Installation = 8%
[NREL,2014]
[Carbon Trust,2012]

## Slide 46
Offshore Wind Vs Hybrid
Chart: Wind vs Hybrid
| Wind | Hybrid
Strike Price | 105 | 146
LCOE | 86.4 | 141.4

## Slide 47
Sensitivity Analysis – Increasing Array Size
Chart: LCOE for Increasing Array Size
LCOE £/MWh | 141.3773 | 128.9497 | 124.8071 | 122.7358 | 121.4931 | 120.6646 | 120.0728 | 119.6289 | 119.2837 | 119.0075
No. of turbines

## Slide 48
Financial Conclusions
Offshore wind currently a better option
Government incentives pivotal
Tidal cost reductions decisive
Costs
Foundation reinforcement
Technology development
Savings
Shared cable and foundation costs

## Slide 49
Project Conclusions
Technically feasible thanks to current incentives
Limited locations
Promising power generation output
Unlikely significant environmental impacts
Structurally sound, possible vibration issues
Significant savings from shared costs

## Slide 50
Future Potential
Tidal technologies more developed
Application of energy storage
Baseload generation possible

## Slide 51: Thank You For Listening Any Questions?