## Introduction
Profile Library: | The Profile Library contains and provides information on various buildings and renewable technologies along with their associated Profiles.
Chart Information: | The Illustrated Charts, linked via building-type headings, show the Daily Average Energy Consumption Rate of a building over an annual period. These Charts can be edited by altering the source data in the 'Graph Data' Excel file.
Demand Profiles: | To view each Demand Profile from the Profile Library, click on the Half-Hourly or Monthly links in the Electrical/Gas Data Resolution columns. Alternatively, scroll through the Worksheet Tabs in each building-type Excel file (e.g. CARE HOME.xls).
Supply Profiles: | To view each Supply Profile from the Profile Library, click on the Hourly links in the Supply Data Resolution column. Alternatively, scroll through the Worksheet Tabs in each renewable technology-type Excel file (e.g. WIND TURBINE.xls).
Export Instructions: | To export the required Profile, right-click on the Worksheet Tab and select 'Move or Copy'. In the 'To Book:' option, select '(new book)' and tick the 'Create a Copy' box. Save the new Excel file as a Comma Delimited Excel file (.csv). The new Excel file can now be immediately imported into Merit.
Generic Calculator: | The Generic Electricity Consumption Calculator estimates the annual electrical consumption for various types of buildings.
Acknowledgements: | I would like to thank the following Councils/Organisations for providing me with their data and, if mentioned, their representatives with whom I had contact:
Aberdeenshire City Council - Brian Smith
Angus City Council
Argyle & Bute Council
BAA - Peter Chalmers
data.gov.uk
Dumfries & Galloway Council - David Moss
East Renfrewshire Council - Hamish Campbell
Edinburgh City Council - Alastair Maclean
Fife Council - Janet Archibald, Helen McLaren, Laura Murray & Steven Lyzcak
Glasgow City Council - Gavin Slater
Highland Council - Murdo MacLeod
Inverclyde Council
NHS Greater Glasgow & Clyde
North Lanarkshire Council
South Ayrshire Council
University of Strathclyde Estates - Ross Simpson
West Lothian Council
The Housing Data was accessed through the UK Energy Research Centre Energy Data Centre (UKERC-EDC). Our acknowledgments to the Building Research Establishment, which provided access to the original 1990 data set from Milton Keynes Energy Park, and to Bartlett School of Graduate Studies, University College London for processing and cleaning the raw data.

## Demand Profile - Buildings
Building Type: | Period of Data: | Electrical Data Resolution: | Gas Data Resolution: | Annual Electrical Consumption (kWh/y): | Annual Gas Consumption (kWh/y): | Annual Electrical Consumption per Floor Area (kWh/m2y): | Annual Gas Consumption per Floor Area (kWh/m2y): | Floor Area (m2): | Average Occupancy: | Area/Council (if applicable): | Year of Build: | Energy Performance Certificate (EPC) Rating: | Display Energy Certificate (DEC) Rating:
CARE HOME:
GENERIC CARE HOME | 2011 | Half-Hourly | Half-Hourly | 307058.822 | 573216.848 | 129.7468 | 242.2111 | 2366.6 | 40 | SCOTLAND | - | - | -
Bonnyton House Care Home | Apr 2011 - Mar 2012 | Monthly | Monthly | 257464.56 | 802173.984 | 178.7948 | 557.0653 | 1440 | 34 | East Renfrewshire | 1996 | - | -
Clermiston Care Home | 2011 | Half-Hourly | - | 735664 | - | 294.0304 | - | 2502 | 36 | Edinburgh | 1960 | - | -
Hillend House Care Home | Apr 2011 - Mar 2012 | Half-Hourly | - | 230023.6 | - | 379.5769 | - | 606 | 50 | Inverclyde | 2004 | - | -
Marrionville Court Care Home | 2011 | Half-Hourly | - | 390780.7 | - | 94.0734 | - | 4154 | 60 | Edinburgh | 2008 | D | -
Muirpark Care Home | Apr 2011 - Mar 2012 | Half-Hourly | Half-Hourly | 65970.2 | 388689 | 46.5891 | 274.4979 | 1416 | 40 | North Lanarkshire | - | - | -
Silverlea Care Home | 2011 | Half-Hourly | - | 327149.4 | - | 161.6351 | - | 2024 | 38 | Edinburgh | 1961 | E | -
South Parks Care Home | 2011 | Monthly | Monthly | 146336.112 | 528787.56 | 85.4268 | 308.6909 | 1713 | 32 | Fife | 1984 | - | -
COMMUNITY CENTRE:
GENERIC COMMUNITY CENTRE | 2011 | Half-Hourly | - | 69171.8376 | - | 65.5285 | - | 1055.6 | 97 | SCOTLAND | - | - | -
Albertslund Community Centre | Apr 2011 - Mar 2012 | Monthly | Monthly | 5948 | 54000 | 21.8676 | 198.5294 | 272 | 80 | East Renfrewshire | - | - | -
Burdiehouse Community Centre | 2011 | Half-Hourly | - | 81341.2999 | - | 77.4679 | - | 1050 | 80 | Edinburgh | 2010 | - | -
Cameron House Community Centre | 2011 | Half-Hourly | - | 44580.6999 | - | 37.4313 | - | 1191 | 150 | Edinburgh | 2009 | - | -
Garrel Vale Community Centre | Apr 2011 - Mar 2012 | Half-Hourly | - | 72318.4 | - | 82.18 | - | 880 | 100 | North Lanarkshire | 1977 | - | -
Inch Community Education Centre | 2011 | Half-Hourly | - | 140709.6 | - | 74.647 | - | 1885 | 75 | Edinburgh | 1890 | G | -
EMERGENCY SERVICES:
Fire Station | Apr 2011 - Mar 2012 | Monthly | Monthly | 278323 | 382842 | 116.9916 | 160.9256 | 2379 | 76 | Dumfries & Galloway | 1990 | C | -
Glasgow Royal Infirmary | Apr 2011 - Mar 2012 | Half-Hourly | - | 23714156 | - | 118.8084 | - | 199600 | 918 | Glasgow | 1794 | - | -
Police Station | Apr 2011 - Mar 2012 | Monthly | Monthly | 476990 | 908208 | 133.5358 | 254.2576 | 3572 | 253 | Dumfries & Galloway | 1948 | - | -
HALL/VENUE:
GENERIC HALL | 2011 | Half-Hourly | - | 613066.088 | - | 134.8781 | - | 4545.3333 | 858.3333 | SCOTLAND | - | - | -
Adam Smith Theatre | 2011 | Monthly | Monthly | 267417.864 | 629891.664 | 92.3723 | 217.5792 | 2895 | 475 | Fife | 1899 | - | -
Corran Hall | Jun 2011 - May 2012 | Half-Hourly | - | 199744.4 | - | 106.247 | - | 1880 | 600 | Argyll & Bute | 1960s | - | -
Ushar Hall | 2011 | Half-Hourly | - | 1371909.8002 | - | 154.8256 | - | 8861 | 1500 | Edinburgh | 1890 | - | -
HIGH/SECONDARY SCHOOL:
(LOW) GENERIC HIGH SCHOOL | 2011 | Half-Hourly | - | 393956.1946 | - | 35.1264 | - | 11215.375 | 742.2857 | SCOTLAND | - | - | -
Boroughmuir High School | 2011 | Half-Hourly | - | 402513.7999 | - | 37.7664 | - | 10658 | 1089 | Edinburgh | 1913 | E | -
Castlebrae High School | 2011 | Half-Hourly | - | 337089.5 | - | 34.2849 | - | 9832 | 281 | Edinburgh | 1975 | F+ | -
Currie High School | 2011 | Half-Hourly | - | 526484.7001 | - | 43.2715 | - | 12167 | 921 | Edinburgh | 1966 | D | -
Highland School | 2011 | Half-Hourly | - | 464027.8 | - | 39.8239 | - | 11652 | 476 | Highland | - | - | -
James Gillespie's High School | 2011 | Half-Hourly | - | 492974.8 | - | 43.1299 | - | 11430 | 1129 | Edinburgh | 1966 | G | -
Liberton High School | 2011 | Half-Hourly | - | 446282.4999 | - | 33.9507 | - | 13145 | 697 | Edinburgh | 1958 | E | -
Mearns Academy | 2011 | Half-Hourly | Half-Hourly | 56090.1 | 1710.925 | 7.4174 | 0.22625 | 7562 | 603 | Aberdeenshire | 1895 | - | -
Secondary School | 2011 | Half-Hourly | Half-Hourly | 424628.9 | 1646941.05 | 31.9823 | 124.0447 | 13277 | - | Angus | - | - | -
(MEDIUM) GENERIC HIGH SCHOOL | 2011 | Half-Hourly | - | 709971.8375 | - | 52.5603 | - | 13507.75 | 983.375 | SCOTLAND | - | - | -
Balerno High School | 2011 | Half-Hourly | - | 600408.1001 | - | 60.1792 | - | 9977 | 779 | Edinburgh | 1983 | D+ | -
Bannerman Scondary School | Apr 2011 - Mar 2012 | Half-Hourly | - | 783551.5 | - | 49.8887 | - | 15706 | 1342 | Glasgow | 1973 | - | -
Broughton High School | 2011 | Half-Hourly | - | 974471.6998 | - | 53.9097 | - | 18076 | 895 | Edinburgh | 2009 | - | -
Holly Rood High School | 2011 | Half-Hourly | - | 967585.6997 | - | 58.6771 | - | 16490 | 975 | Edinburgh | 2009 | - | -
Portobello High School | 2011 | Half-Hourly | - | 702475.7003 | - | 45.7103 | - | 15368 | 1421 | Edinburgh | 1964 | E+ | -
South Queensferry High School | 2011 | Half-Hourly | - | 562916.0001 | - | 48.8007 | - | 11535 | 786 | Edinburgh | 1970 | E | -
St Thomas of Aquins High School | 2011 | Half-Hourly | - | 531973.0999 | - | 58.025 | - | 9168 | 764 | Edinburgh | 2002 | D+ | -
Trinity Academy | 2011 | Half-Hourly | - | 554530.4002 | - | 47.2262 | - | 11742 | 905 | Edinburgh | 1892 | E | -
(HIGH) GENERIC HIGH SCHOOL | 2011 | Half-Hourly | - | 996083.5954 | - | 71.0765 | - | 14014.25 | 747.25 | SCOTLAND | - | - | -
Craigroyston High School | 2011 | Half-Hourly | - | 932050.2998 | - | 68.9539 | - | 13517 | 366 | Edinburgh | 2009 | - | -
Ellon Academy | Apr 2011 - Mar 2012 | Half-Hourly | Half-Hourly | 1225027.6 | 38686.0787 | 74.1542 | 2.3418 | 16520 | 1061 | Aberdeenshire | 1876 | - | -
Forrester & St Augustines High School | 2011 | Half-Hourly | - | 1732354.2004 | - | 62.1695 | - | 27865 | 1352 | Edinburgh | 2009 | - | -
Glenwood High School | 2011 | Monthly | Monthly | 623022.768 | 2417333.568 | 60.9432 | 236.4603 | 10223 | 1221 | Fife | 1962 | - | -
Leith Academy | 2011 | Half-Hourly | - | 811069.4998 | - | 65.679 | - | 12349 | 912 | Edinburgh | 1991 | D | -
Tiree School | Jun 2011 - May 2012 | Half-Hourly | - | 399164.6 | - | 184.7984 | - | 2160 | 83 | Argyll & Bute | 1936 | - | -
Tynecastle High School | 2011 | Half-Hourly | - | 825032.4 | - | 63.0566 | - | 13084 | 576 | Edinburgh | 2009 | - | -
Wester Hailes Education Centre | 2011 | Half-Hourly | - | 1356104.7999 | - | 82.7095 | - | 16396 | 407 | Edinburgh | 1975 | G | -
LEISURE CENTRE:
GENERIC LEISURE CENTRE | 2011 | Half-Hourly | Half-Hourly | 508991.9291 | 1587156.0811 | 145.1153 | 452.5035 | 3507.5 | 503.3333 | SCOTLAND | - | - | -
Barrhead Leisure Centre | Apr 2011 - Mar 2012 | Monthly | Monthly | 805844 | 2837415 | 160.815 | 566.2373 | 5011 | 1000 | East Renfrewshire | - | - | -
Beacon Leisure Centre | 2011 | Monthly | Monthly | 561097.128 | 1513026.648 | 191.7625 | 517.0973 | 2926 | 400 | Fife | 1997 | - | -
Benmore Outdoor Centre | 2011 | Half-Hourly | - | 435181.5 | - | 166.7362 | - | 2610 | 110 | Edinburgh | 1862 | G | -
Leisure Centre | 2011 | Half-Hourly | Half-Hourly | 233160.78 | 407257.02 | 66.9425 | 116.9271 | 3483 | - | Angus | - | - | -
LIBRARY:
GENERIC LIBRARY | 2011 | Half-Hourly | - | 155111.258 | - | 60.6219 | - | 2558.6667 | 557.5 | SCOTLAND | - | - | -
Edinburgh Central Library | 2011 | Half-Hourly | - | 366411.6001 | - | 56.371 | - | 6500 | 875 | Edinburgh | 1890 | D | -
Glenwood Library | 2011 | Monthly | - | 44623.32 | - | 127.8605 | - | 349 | 240 | Fife | 1896 | - | -
Library | 2011 | Half-Hourly | Half-Hourly | 53968.78 | 118450.61 | 65.2585 | 143.2293 | 827 | - | Angus | - | - | -
MAINTENANCE SERVICES:
Community Equipment Services | 2011 | Half-Hourly | - | 189937.9999 | - | 64.7369 | - | 2934 | - | Edinburgh | - | - | -
Edinburgh Building Services | 2011 | Half-Hourly | - | 725032.2995 | - | 68.7039 | - | 10553 | - | Edinburgh | 1965 | D | -
Powerderhall Depot | 2011 | Half-Hourly | - | 1062922.3997 | - | 230.4689 | - | 4612 | - | Edinburgh | 1990 | G | -
Russel Road Depot | 2011 | Half-Hourly | - | 530520.5999 | - | - | - | - | - | Edinburgh | 1970 | D | -
Sighthill Roads Depot | 2011 | Half-Hourly | - | 294630.8 | - | 42.9428 | - | 6861 | - | Edinburgh | 2008 | - | -
MUSEUM/ART GALLERY:
City Arts Centre | 2011 | Half-Hourly | - | 506631.9998 | - | 196.065 | - | 2584 | - | Edinburgh | 1900 | D | -
NURSERY/PRIMARY SCHOOL:
(LOW) GENERIC NURSERY/PRIMARY SCHOOL | 2011 | Half-Hourly | Half-Hourly | 79921.1938 | 499826.6255 | 24.4536 | 152.9324 | 3268.2857 | 395.3333 | SCOTLAND | - | - | -
Braidbar Primary School | Apr 2011 - Mar 2012 | Monthly | Monthly | 106471 | 276266 | 42.1 | 109.2392 | 2529 | 252 | East Renfrewshire | - | - | -
Buckhaven Primary School | 2011 | Monthly | Monthly | 83093.304 | 420620.016 | 34.1667 | 172.9523 | 2432 | 383 | Fife | 1916 | - | -
Carolside Primary School | Apr 2011 - Mar 2012 | Monthly | Monthly | 202890 | 845619 | 35.0839 | 146.225 | 5783 | 751 | East Renfrewshire | - | - | -
Crookfur Primary School | Apr 2011 - Mar 2012 | Monthly | Monthly | 85140 | 469816 | 36.5565 | 201.7243 | 2329 | 246 | East Renfrewshire | - | - | -
Gylemuir Primary School | 2011 | Half-Hourly | - | 141959.5 | - | 35.481 | - | 4001 | 383 | Edinburgh | 1968 | E | -
Primary School | 2011 | Half-Hourly | Half-Hourly | 85573.27 | 578797.5 | 24.768 | 167.5246 | 3455 | - | Angus | - | - | -
St Joseph's Primary School | Apr 2011 - Mar 2012 | Monthly | Monthly | 94905 | 372240 | 40.4023 | 158.4674 | 2349 | 357 | East Renfrewshire | - | - | -
(MEDIUM) GENERIC NURSERY/PRIMARY SCHOOL | 2011 | Half-Hourly | - | 169714.82 | - | 44.6471 | - | 3801.25 | 421.5714 | SCOTLAND | - | - | -
Bonaly Primary School (New) | 2011 | Half-Hourly | - | 202056.4 | - | 50.1879 | - | 4026 | 380 | Edinburgh | 2008 | - | -
Brunstane Primary School | 2011 | Half-Hourly | - | 153753.7 | - | 51.4915 | - | 2986 | 196 | Edinburgh | 1960 | B | -
Canal View Primary School | 2011 | Half-Hourly | - | 159621.8 | - | 44.8754 | - | 3557 | 229 | Edinburgh | 1976 | C+ | -
Carricknowe Nursery | 2011 | Half-Hourly | - | 208222.2001 | - | 49.0396 | - | 4246 | 504 | Edinburgh | 1954 | E+ | -
Firhill Daycare Centre | 2011 | Half-Hourly | - | 67304.7 | - | 45.7855 | - | 1470 | - | Edinburgh | 1868 | F | -
Carricknowe Primary School | 2011 | Half-Hourly | - | 208223.2001 | - | 49.0398 | - | 4246 | 504 | Edinburgh | 1954 | E+ | -
Mearns Primary School | Apr 2011 - Mar 2012 | Monthly | Monthly | 311572 | 828826 | 49.645 | 132.0628 | 6276 | 808 | East Renfrewshire | - | - | -
Pentland Primary School | 2011 | Half-Hourly | - | 166057.7 | - | 46.0887 | - | 3603 | 330 | Edinburgh | 2005 | D | -
(HIGH) GENERIC NURSERY/PRIMARY SCHOOL | 2011 | Half-Hourly | - | 295853.5925 | - | 106.2836 | - | 2783.625 | 274.875 | SCOTLAND | - | - | -
Ashpark Primary School | Apr 2011 - Mar 2012 | Half-Hourly | - | 270007.7 | - | 90.0026 | - | 3000 | 287 | Glasgow | - | - | -
Blackfriars Primary School | Apr 2011 - Mar 2012 | Monthly | - | 532080.1 | - | 224.5064 | - | 2370 | 225 | Glasgow | - | - | -
Juniper Green Primary School | 2011 | Half-Hourly | - | 200031.2999 | - | 53.6277 | - | 3730 | 395 | Edinburgh | 2009 | - | -
Niddrie/St Francis Primary School | 2011 | Half-Hourly | - | 387233.2 | - | 55.4775 | - | 6980 | 780 | Edinburgh | 2008 | C+ | -
Parsons Primary School | 2011 | Half-Hourly | - | 422627.9999 | - | 168.0429 | - | 2515 | 288 | Edinburgh | 1961 | F+ | -
Pikeman Nursery | Apr 2011 - Mar 2012 | Monthly | - | 36531.097 | - | 59.4002 | - | 615 | 115 | Glasgow | - | - | -
Redhall Primary School | 2011 | Half-Hourly | - | 128307.7999 | - | 59.4293 | - | 2159 | 65 | Edinburgh | 2009 | B | -
St Joseph's School | 2011 | Half-Hourly | - | 233989.4 | - | 259.9882 | - | 900 | 44 | Argyll & Bute | 1977 | - | -
OFFICE:
(LOW) GENERIC OFFICE | 2011 | Half-Hourly | - | 2485850.916 | - | 79.9935 | - | 31075.6667 | 1205 | SCOTLAND/ENGLAND | - | - | -
Department for Environment, Food and Rural Affairs | 2011 | Half-Hourly | Half-Hourly | 1242709.6 | 1422974.09 | 73.5723 | - | 16891 | 1154 | Westminster | 1926 | - | E
Foreign and Commonwealth Office | 2011 | Half-Hourly | Half-Hourly | 5531964.2 | 25545.2739 | 72.5951 | 0.33523 | 76203 | 1815 | Westminster | 1862 | - | D
Gordon House | 2011 | Half-Hourly | Half-Hourly | 466662.9 | 375458.4525 | 89.8985 | 72.3287 | 5191 | 301 | Aberdeenshire | 1881 | - | -
HM Revenue & Customs | 2011 | Half-Hourly | Half-Hourly | 4332264.6 | 1858346 | 88.4768 | - | 48965 | 2000 | Westminster | 1898 | - | D
North Edinburgh Local Office | 2011 | Half-Hourly | - | 263156.2 | - | 95.4848 | - | 2756 | 160 | Edinburgh | 1960 | C | -
Waverley Court Offices | 2011 | Half-Hourly | - | 3114083.4002 | - | 85.4391 | - | 36448 | 1800 | Edinburgh | 2005 | C | -
(MEDIUM) GENERIC OFFICE | 2011 | Half-Hourly | Half-Hourly | 1664246.3976 | 261060.3002 | 123.254 | 19.3341 | 13502.5714 | 615.6667 | SCOTLAND/ENGLAND | - | - | -
Department of Energy & Climate Change | 2011 | Half-Hourly | Half-Hourly | 1304643.973 | 138397.287 | 115.7728 | 12.2812 | 11269 | 924 | Westminster | 1951 | - | D
Edinburgh City Chambers | 2011 | Half-Hourly | - | 1878321.1998 | - | 101.8226 | - | 18447 | 500 | Edinburgh | 1800 | E+ | -
Highland Council Office | 2011 | Half-Hourly | - | 1317269.2 | - | 112.4238 | - | 11717 | 200 | Highland | - | - | -
HM Treasury | 2011 | Half-Hourly | Half-Hourly | 5737682 | 59168.1707 | 139.5826 | 1.4394 | 41106 | 1670 | Westminster | 1898 | - | E
Kirkcaldy Town House | 2011 | Monthly | Monthly | 350182.224 | 519519.024 | 113.4745 | 168.3471 | 3086 | 180 | Fife | 1937 | - | -
Office | 2011 | Half-Hourly | Half-Hourly | 559738.6 | 269972.44 | 115.4576 | 55.6874 | 4848 | - | Angus | - | - | -
Westwood House | 2011 | Half-Hourly | - | 457759.7 | - | 113.1668 | - | 4045 | 220 | Edinburgh | 1985 | E+ | -
(HIGH) GENERIC OFFICE | 2011 | Half-Hourly | - | 1947870.5968 | - | 184.8162 | - | 10539.5 | 597.8 | SCOTLAND/ENGLAND | - | - | -
Cabinet Office | 2011 | Half-Hourly | Half-Hourly | 2060506 | 433403 | 142.3001 | 29.9311 | 14480 | 430 | Westminster | Pre 1900s | - | E
Chesser House Offices | 2011 | Half-Hourly | - | 2265365.8003 | - | 157.9863 | - | 14339 | 1269 | Edinburgh | 1967 | E | -
Department for Culture, Media & Sport | 2011 | Half-Hourly | Half-Hourly | 1856606.5 | 408618.1856 | 146.8718 | 32.3248 | 12641 | 611 | Westminster | 1927 | - | -
Finance Office, Campbeltown | Jun 2011 - May 2012 | Half-Hourly | - | 301997 | - | 273.0533 | - | 1106 | 71 | Argyll & Bute | - | - | -
PM's Office - 10 Downing Street | 2011 | Half-Hourly | Half-Hourly | 1050946.1 | 400069.2982 | 155.8111 | - | 6745 | - | Westminster | 1732 | - | D
Woodhill House | 2011 | Half-Hourly | Half-Hourly | 4153710.7 | 1566542.816 | 298.2702 | 112.4905 | 13926 | 608 | Aberdeenshire | 1908 | - | -
SPECIALIST SCHOOL:
GENERIC SPECIALIST SCHOOL | 2011 | Half-Hourly | - | 182077.58 | - | 69.6548 | - | 2614 | 64.8 | SCOTLAND | - | - | -
Gorgie Mills School | 2011 | Half-Hourly | - | 164542.3 | - | 59.7033 | - | 2756 | 54 | Edinburgh | 2008 | C | -
Kaimes Special School | 2011 | Half-Hourly | - | 145748.3 | - | 49.9651 | - | 2917 | 98 | Edinburgh | 1976 | E | -
Oaklands Special School | 2011 | Half-Hourly | - | 298716.3001 | - | 80.9968 | - | 3688 | 44 | Edinburgh | 2007 | B | -
St Crispins Special School | 2011 | Half-Hourly | - | 164150.3 | - | 116.833 | - | 1405 | 50 | Edinburgh | 1952 | E | -
Woodlands School | 2011 | Half-Hourly | - | 136097.7 | - | 59.0702 | - | 2304 | 78 | Edinburgh | 2008 | C+ | -
TRANSPORT:
BAA Airport | 2009 | Half-Hourly | - | 32410265.2 | - | 595.9851 | - | 54381 | - | UK | - | - | -
BAA Airport | 2010 | Half-Hourly | - | 31205064.5 | - | 573.8229 | - | 54381 | - | UK | - | - | -
BAA Airport | 2011 | Half-Hourly | - | 30039622.2 | - | 552.3919 | - | 54381 | - | UK | - | - | -
Bus Station (New) | 2011 | Half-Hourly | - | 836816.5001 | - | - | - | - | - | Edinburgh | - | - | -
UNIVERSITY OF STRATHCLYDE:
JOHN ANDERSON CAMPUS | 2011 | Half-Hourly | Monthly | 33683435.9 | 35886288.3226 | 115.1429 | 122.6731 | 292536 | 26188 | Glasgow | 1796 | - | -
JORDANHILL CAMPUS | 2011 | Half-Hourly | Monthly | 3964814.4 | 11697015.5546 | 82.1264 | 242.2896 | 48277 | 6088 | Glasgow | 1837 | - | -
Birkbeck Court | 2011 | Half-Hourly | - | 639060 | - | 100.0094 | - | 6390 | 384 | Glasgow | 1972 | - | -
Colville Building | 2011 | Half-Hourly | - | 1351230 | - | 95.0098 | - | 14222 | 1499 | Glasgow | 1967 | - | -
Curran Building | 2011 | Half-Hourly | - | 3656555 | - | 128.5076 | - | 28454 | 882 | Glasgow | 1961 | - | -
Forbes Hall | 2011 | Half-Hourly | - | 130170 | - | 48.3006 | - | 2695 | 104 | Glasgow | 1987 | - | -
James Goold Hall | 2011 | Half-Hourly | - | 217305 | - | 60.4465 | - | 3595 | 66 | Glasgow | 1997 | - | -
James Weir Building | 2011 | Half-Hourly | - | 2714884.9335 | - | 120.1968 | - | 22587 | 3357 | Glasgow | 1957 | - | -
James Young Hall | 2011 | Half-Hourly | - | 56101 | - | 31.2366 | - | 1796 | 66 | Glasgow | 1992 | - | -
John Anderson Building | 2011 | Half-Hourly | - | 1266497.1898 | - | 120.2181 | - | 10535 | 1544 | Glasgow | 1971 | - | -

## Demand Profile - Houses
Dwelling Type: | Period of Data: | Electrical Data Resolution: | Gas Data Resolution: | Annual Electrical Consumption (kWh/y): | Annual Gas Consumption (kWh/y): | Annual Electrical Consumption per Floor Area (kWh/ym2): | Annual Gas Consumption per Floor Area (kWh/ym2): | Floor Area (m2): | Maximum Occupancy: | Depth of Floor Insulation: | U-Value of Floor: | U-Value of Roof: | U-Value of External Wall: | Glazing: | Year of Build: | Area/Council (if applicable):
HOUSE (GENERIC):
2-Bed Mid-Terrace | 1989 | Hourly | Hourly | 1936.4094 | 9350.1991 | 32.1129 | 155.0613 | 60.3 | 4 | 50 | 0.45 | 0.27 | 0.3 | Double | 1987 | Milton Keynes
2-Bed Semi-Detached (A) | 1989 | Hourly | Hourly | 4887.3528 | 10879.0102 | 77.8241 | 173.2326 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
2-Bed Semi-Detached (B) | 1989 | Hourly | Hourly | 2237.7221 | 9325.6626 | 34.5327 | 143.9145 | 64.8 | 4 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
3-Bed Detached (A) | 1989 | Hourly | Hourly | 3120.956 | 13006.1742 | 36.4172 | 151.764 | 85.7 | 5 | 66.66 | 0.39 | 0.25 | 0.4 | Double | 1987 | Milton Keynes
3-Bed Detached (B) | 1989 | Hourly | - | 14397.1758 | - | 137.6403 | - | 104.6 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
3-Bed End-Terrace | 1989 | Hourly | - | 8792.6454 | - | 110.7386 | - | 79.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
3-Bed Semi-Detached (A) | 1989 | Hourly | Hourly | 2607.77 | 11297.1863 | 35.0978 | 152.0483 | 74.3 | 5 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
3-Bed Semi-Detached (B) | 1989 | Hourly | - | 12050.3175 | - | 137.8755 | - | 87.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
4-Bed Detached | 1989 | Hourly | Hourly | 4019.4726 | 16393.6214 | 31.3531 | 127.8754 | 128.2 | 6 | 58.3 | 0.42 | 0.26 | 0.41 | Double | 1987 | Milton Keynes
2-BED MID-TERRACE:
MK0822 | 1989 | Hourly | Hourly | 1572.193 | 9114.799 | 26.0729 | 151.1575 | 60.3 | 4 | 50 | 0.45 | 0.27 | 0.3 | Double | 1987 | Milton Keynes
MK0825 | 1989 | Hourly | Hourly | 3042.764 | 10533.978 | 50.4604 | 174.6928 | 60.3 | 4 | 50 | 0.45 | 0.27 | 0.3 | Double | 1987 | Milton Keynes
MK0826 | 1989 | Hourly | Hourly | 2048.01 | 11674.512 | 33.9637 | 193.6072 | 60.3 | 4 | 50 | 0.45 | 0.27 | 0.3 | Double | 1987 | Milton Keynes
MK0827 | 1989 | Hourly | Hourly | 1869.937 | 8212.015 | 31.0106 | 136.186 | 60.3 | 4 | 50 | 0.45 | 0.27 | 0.3 | Double | 1987 | Milton Keynes
MK0830 | 1989 | Hourly | Hourly | 1140.954 | 7174.337 | 18.9213 | 118.9774 | 60.3 | 4 | 50 | 0.45 | 0.27 | 0.3 | Double | 1987 | Milton Keynes
2-BED SEMI-DETACHED (A):
MK0819 | 1989 | Hourly | Hourly | 43475.645 | 8537.97 | 692.2873 | 135.9549 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
MK0820 | 1989 | Hourly | Hourly | 3335.111 | 12864.18 | 53.1069 | 204.8436 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
MK0832 | 1989 | Hourly | Hourly | 3640.413 | 18853.73 | 57.9684 | 300.2186 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
MK0833 | 1989 | Hourly | Hourly | 1476.845 | 10057.256 | 23.5166 | 160.1474 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
MK0834 | 1989 | Hourly | Hourly | 575.15 | 8913.976 | 9.1584 | 141.9423 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
MK0837 | 1989 | Hourly | Hourly | 2893.286 | 10225.726 | 46.0714 | 162.83 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
MK0838 | 1989 | Hourly | Hourly | 1450.4 | 9022.628 | 23.0955 | 143.6724 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
MK0839 | 1989 | Hourly | Hourly | 2820.097 | 12439.951 | 44.906 | 198.0884 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
MK0840 | 1989 | Hourly | Hourly | 2400.764 | 14209.808 | 38.2287 | 226.2708 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
MK0841 | 1989 | Hourly | Hourly | 2523.593 | 9676.976 | 40.1846 | 154.092 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
MK0842 | 1989 | Hourly | Hourly | 1159.422 | 6700.666 | 18.4621 | 106.6985 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
MK0843 | 1989 | Hourly | Hourly | 3787.017 | 12495.5 | 60.3028 | 198.9729 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
MK0844 | 1989 | Hourly | Hourly | 1289.994 | 9972.413 | 20.5413 | 158.7964 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
MK0845 | 1989 | Hourly | Hourly | 467.163 | 6324.964 | 7.4389 | 100.716 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
MK0846 | 1989 | Hourly | Hourly | 1973.113 | 12810.77 | 31.419 | 203.9932 | 62.8 | 4 | - | - | - | - | - | 1987 | Milton Keynes
2-BED SEMI-DETACHED (B):
MK0805 | 1989 | Hourly | Hourly | 1928.189 | 13449.858 | 29.756 | 207.5595 | 64.8 | 4 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
MK0811 | 1989 | Hourly | Hourly | 1261.225 | 4255.099 | 19.4633 | 65.6651 | 64.8 | 4 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
MK0812 | 1989 | Hourly | Hourly | 1849.464 | 10596.543 | 28.5411 | 163.5269 | 64.8 | 4 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
MK0871 | 1989 | Hourly | Hourly | 3327.327 | 9220.399 | 51.3476 | 142.2901 | 64.8 | 4 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
MK0872 | 1989 | Hourly | Hourly | 2388.802 | 9473.41 | 36.8642 | 146.1946 | 64.8 | 4 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
MK0873 | 1989 | Hourly | Hourly | 1472.011 | 9808.214 | 22.7162 | 151.3613 | 64.8 | 4 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
MK0874 | 1989 | Hourly | Hourly | 2574.715 | 10751.586 | 39.7333 | 165.9195 | 64.8 | 4 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
MK0875 | 1989 | Hourly | Hourly | 2034.684 | 8388.728 | 31.3994 | 129.4557 | 64.8 | 4 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
MK0876 | 1989 | Hourly | Hourly | 3297.712 | 7974.572 | 50.8906 | 123.0644 | 64.8 | 4 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
3-BED DETACHED (A):
MK0883 | 1989 | Hourly | Hourly | 5567.862 | 18267.135 | 73.0691 | 239.7262 | 76.2 | 5 | 50 | 0.45 | 0.27 | 0.44 | Double | 1987 | Milton Keynes
MK0884 | 1989 | Hourly | Hourly | 2731.973 | 9451.129 | 35.8527 | 124.0306 | 76.2 | 5 | 50 | 0.45 | 0.27 | 0.44 | Double | 1987 | Milton Keynes
MK0885 | 1989 | Hourly | Hourly | 2880.622 | 12187.857 | 37.8034 | 159.9456 | 76.2 | 5 | 50 | 0.45 | 0.27 | 0.44 | Double | 1987 | Milton Keynes
MK0886 | 1989 | Hourly | Hourly | 2304.851 | 14033.706 | 30.2474 | 184.1694 | 76.2 | 5 | 50 | 0.45 | 0.27 | 0.44 | Double | 1987 | Milton Keynes
MK0881 | 1989 | Hourly | Hourly | 2554.156 | 11938.204 | 24.3717 | 113.9142 | 104.8 | 5 | 100 | 0.28 | 0.2 | 0.31 | Triple | 1987 | Milton Keynes
MK0882 | 1989 | Hourly | Hourly | 2550.168 | 12063.334 | 24.3337 | 115.1081 | 104.8 | 5 | 100 | 0.28 | 0.2 | 0.31 | Triple | 1987 | Milton Keynes
3-BED DETACHED (B):
MK0750 | 1989 | Hourly | - | 14275.693 | - | 136.4789 | - | 104.6 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0754 | 1989 | Hourly | - | 14278.379 | - | 136.5046 | - | 104.6 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0755 | 1989 | Hourly | - | 8366.135 | - | 79.9822 | - | 104.6 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0756 | 1989 | Hourly | - | 22424.405 | - | 214.3825 | - | 104.6 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0757 | 1989 | Hourly | - | 14114.79 | - | 134.9406 | - | 104.6 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0764 | 1989 | Hourly | - | 12836.944 | - | 122.7241 | - | 104.6 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
3-BED END-TERRACE:
MK0751 | 1989 | Hourly | - | 6705.155 | - | 84.4478 | - | 79.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0753 | 1989 | Hourly | - | 7830.904 | - | 98.626 | - | 79.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0767 | 1989 | Hourly | - | 12079.481 | - | 152.1345 | - | 79.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0769 | 1989 | Hourly | - | 8202.773 | - | 103.3095 | - | 79.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0770 | 1989 | Hourly | - | 10594.652 | - | 133.4339 | - | 79.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0772 | 1989 | Hourly | - | 7289.51 | - | 91.8074 | - | 79.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
3-BED SEMI-DETACHED (A):
MK0802 | 1989 | Hourly | Hourly | 2971.616 | 10514.142 | 39.9948 | 141.5093 | 74.3 | 5 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
MK0803 | 1989 | Hourly | Hourly | 3407.421 | 11993.748 | 45.8603 | 161.4233 | 74.3 | 5 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
MK0806 | 1989 | Hourly | Hourly | 2714.426 | 11869.533 | 36.5333 | 159.7515 | 74.3 | 5 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
MK0808 | 1989 | Hourly | Hourly | 1402.761 | 7107.497 | 18.8797 | 95.6594 | 74.3 | 5 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
MK0809 | 1989 | Hourly | Hourly | 1873.366 | 12407.296 | 25.2135 | 166.9892 | 74.3 | 5 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
MK0878 | 1989 | Hourly | Hourly | 2902.016 | 13870.424 | 39.0581 | 186.6813 | 74.3 | 5 | 50 | 0.45 | 0.26 | 0.34 | Double | 1987 | Milton Keynes
3-BED SEMI-DETACHED (B):
MK0758 | 1989 | Hourly | - | 7553.87 | - | 86.4287 | - | 87.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0761 | 1989 | Hourly | - | 12195.075 | - | 139.5318 | - | 87.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0762 | 1989 | Hourly | - | 16461.829 | - | 188.3504 | - | 87.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0763 | 1989 | Hourly | - | 13224.142 | - | 151.306 | - | 87.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0765 | 1989 | Hourly | - | 11001.487 | - | 125.8751 | - | 87.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0766 | 1989 | Hourly | - | 11514.41 | - | 131.7438 | - | 87.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0773 | 1989 | Hourly | - | 11923.267 | - | 136.4218 | - | 87.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
MK0774 | 1989 | Hourly | - | 12500.226 | - | 143.0232 | - | 87.4 | 5 | 100 | 0.31 | 0.2 | 0.34 | - | 1987 | Milton Keynes
4-BED DETACHED:
MK0890 | 1989 | Hourly | Hourly | 6519.374 | 19413.771 | 46.8683 | 139.567 | 139.1 | 6 | 100 | 0.28 | 0.2 | 0.31 | Triple | 1987 | Milton Keynes
MK0892 | 1989 | Hourly | Hourly | 4562.851 | 13016.169 | 32.8027 | 93.5742 | 139.1 | 6 | 100 | 0.28 | 0.2 | 0.31 | Triple | 1987 | Milton Keynes
MK0893 | 1989 | Hourly | Hourly | 4772.397 | 22923.573 | 34.3091 | 164.7992 | 139.1 | 6 | 100 | 0.28 | 0.2 | 0.31 | Triple | 1987 | Milton Keynes
MK0848 | 1989 | Hourly | Hourly | 3266.237 | 11644.906 | 28.2546 | 100.7345 | 115.6 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes
MK0849 | 1989 | Hourly | Hourly | 4279.014 | 14990.813 | 33.4298 | 117.1157 | 128 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes
MK0851 | 1989 | Hourly | Hourly | 3492.888 | 16534.82 | 27.2882 | 129.1783 | 128 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes
MK0852 | 1989 | Hourly | Hourly | 4715.145 | 24010.389 | 36.1591 | 184.1287 | 130.4 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes
MK0853 | 1989 | Hourly | Hourly | 4343.496 | 22500.565 | 37.5735 | 194.6416 | 115.6 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes
MK0854 | 1989 | Hourly | Hourly | 3456.187 | 19163.202 | 25.6584 | 142.2658 | 134.7 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes
MK0855 | 1989 | Hourly | Hourly | 3884.696 | 14567.501 | 30.3492 | 113.8086 | 128 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes
MK0856 | 1989 | Hourly | Hourly | 4133.966 | 17491.623 | 31.7022 | 134.1382 | 130.4 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes
MK0857 | 1989 | Hourly | Hourly | 1124.397 | 6284.374 | 8.3474 | 46.6546 | 134.7 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes
MK0858 | 1989 | Hourly | Hourly | 4041.945 | 19272.77 | 31.5777 | 150.5685 | 128 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes
MK0859 | 1989 | Hourly | Hourly | 3108 | 11991.613 | 26.8858 | 103.7337 | 115.6 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes
MK0860 | 1989 | Hourly | Hourly | 4459.007 | 20393.159 | 34.836 | 159.3216 | 128 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes
MK0861 | 1989 | Hourly | Hourly | 3879.24 | 11546.021 | 29.7488 | 88.5431 | 130.4 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes
MK0862 | 1989 | Hourly | Hourly | 3893.576 | 12129.258 | 33.6815 | 104.9244 | 115.6 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes
MK0864 | 1989 | Hourly | Hourly | 4230.352 | 15167.218 | 33.0496 | 118.4939 | 128 | 6 | 50 | 0.45 | 0.27 | 0.43 | Double | 1987 | Milton Keynes

## Supply Profile - Renewables
Name & No. of Renewable Technology: | Supply Data Resolution: | Manufacturer: | Annual Supply Generation (kWh/y): | Turbine Hub Height (m): | Turbine Nominal Power (kW): | Surrounding Surface Type: | Power Factor: | Blade Swept Area (m2): | Reference Air Density (kg/m3):
WIND TURBINE:
Proven WT600 | Hourly | Proven | 729.088 | 10 | 0.6 | Larger City with Tall Buildings | 0.8 | 2.55 | 1.23
Proven WT600 x2 | Hourly | Proven | 1459.738 | " | " | " | " | " | "
Proven WT600 x3 | Hourly | Proven | 2189.164 | " | " | " | " | " | "
Proven WT600 x4 | Hourly | Proven | 2918.142 | " | " | " | " | " | "
Proven WT600 x5 | Hourly | Proven | 3648.881 | " | " | " | " | " | "
Proven WT600 x6 | Hourly | Proven | 4378.334 | " | " | " | " | " | "
Proven WT600 x7 | Hourly | Proven | 5108.229 | " | " | " | " | " | "
Proven WT600 x8 | Hourly | Proven | 5837.434 | " | " | " | " | " | "
Proven WT600 x9 | Hourly | Proven | 6567.613 | " | " | " | " | " | "
Proven WT600 x10 | Hourly | Proven | 7296.972 | " | " | " | " | " | "
Name & No. of Renewable Technology: | Supply Data Resolution: | Manufacturer: | Annual Supply Generation (kWh/y): | Cell Type: | Angle of Tilt (degrees): | Azimuth Angle (degrees): | Orientation (S:0, E:90, N:180, W:270): | Current at Max. Power Point (A): | Voltage at Max. Power Point (V): | Nominal Power Output (W): | Standard Test Conditions (STC): | Short Circuit Current @ STC (A): | Open Circuit Voltage @ STC (V): | Panel Area (m2): | Panel Height (m): | Panel Width (m): | No. of Cells in Parallel: | No. of Cells in Series:
SOLAR PV (without Tilt Tracking):
165 W Sharp Poly | Hourly | Sharp | 179.122 | Polycrystalline | 40 | 0 | 0 | 4.77 | 34.6 | 165 | 1000.00 W/m2 & 25.00 deg C | 5.46 | 43.1 | 1.31 | 1.58 | 0.83 | 1 | 72
165 W Sharp Poly x2 | Hourly | Sharp | 358.284 | " | " | " | " | " | " | " | " | " | " | " | " | " | " | "
165 W Sharp Poly x3 | Hourly | Sharp | 537.356 | " | " | " | " | " | " | " | " | " | " | " | " | " | " | "
165 W Sharp Poly x4 | Hourly | Sharp | 716.519 | " | " | " | " | " | " | " | " | " | " | " | " | " | " | "
165 W Sharp Poly x5 | Hourly | Sharp | 895.637 | " | " | " | " | " | " | " | " | " | " | " | " | " | " | "
165 W Sharp Poly x6 | Hourly | Sharp | 1074.789 | " | " | " | " | " | " | " | " | " | " | " | " | " | " | "
165 W Sharp Poly x7 | Hourly | Sharp | 1253.907 | " | " | " | " | " | " | " | " | " | " | " | " | " | " | "
165 W Sharp Poly x8 | Hourly | Sharp | 1433.007 | " | " | " | " | " | " | " | " | " | " | " | " | " | " | "
165 W Sharp Poly x9 | Hourly | Sharp | 1612.519 | " | " | " | " | " | " | " | " | " | " | " | " | " | " | "
165 W Sharp Poly x10 | Hourly | Sharp | 1791.718 | " | " | " | " | " | " | " | " | " | " | " | " | " | " | "
SOLAR PV (with Double-Axis Tilt Tracking):
165 W Sharp Poly | Hourly | Sharp | 210.457 | " | " | " | " | " | " | " | " | " | " | 1.3 | " | " | " | "
165 W Sharp Poly x2 | Hourly | Sharp | 420.777 | " | " | " | " | " | " | " | " | " | " | 1.3 | " | " | " | "
165 W Sharp Poly x3 | Hourly | Sharp | 631.152 | " | " | " | " | " | " | " | " | " | " | 1.3 | " | " | " | "
165 W Sharp Poly x4 | Hourly | Sharp | 841.566 | " | " | " | " | " | " | " | " | " | " | 1.3 | " | " | " | "
165 W Sharp Poly x5 | Hourly | Sharp | 1052.533 | " | " | " | " | " | " | " | " | " | " | 1.3 | " | " | " | "
165 W Sharp Poly x6 | Hourly | Sharp | 1263.057 | " | " | " | " | " | " | " | " | " | " | 1.3 | " | " | " | "
165 W Sharp Poly x7 | Hourly | Sharp | 1472.679 | " | " | " | " | " | " | " | " | " | " | 1.3 | " | " | " | "
165 W Sharp Poly x8 | Hourly | Sharp | 1683.051 | " | " | " | " | " | " | " | " | " | " | 1.3 | " | " | " | "
165 W Sharp Poly x9 | Hourly | Sharp | 1893.42 | " | " | " | " | " | " | " | " | " | " | 1.3 | " | " | " | "
165 W Sharp Poly x10 | Hourly | Sharp | 2103.841 | " | " | " | " | " | " | " | " | " | " | 1.3 | " | " | " | "

## Generic Calculator
GENERIC ELECTRICITY CONSUMPTION CALCULATOR
Generic building type |  | Generic AECFA* |  | Generic daily occupancy | Enter floor area (m2) | Enter average daily occupancy | Estimated annual electrical consumption (kWh)
Please Select Building --> |  | - |  | - |  |  | 0
*Annual electricical consumption per floor area
| Generic Building | Generic AECFA | Generic Average Occupancy
| Care Home | 129.7468 | 40
| Community Centre | 65.5285 | 97
| Hall/Venue | 134.8781 | 858.3333
| (LOW) High/Secondary School | 35.1264 | 742.2857
| (MEDIUM) High/Secondary School | 52.5603 | 983.375
| (HIGH) High/Secondary School | 71.0765 | 747.25
| Leisure Centre | 145.1153 | 503.3333
| Library | 60.6219 | 557.5
| (LOW) Nursery/Primary School | 24.4536 | 395.3333
| (MEDIUM) Nursery/Primary School | 45.4178 | 406
| (HIGH) Nursery/Primary School | 103.8766 | 288.5
| (LOW) Office | 79.9935 | 1205
| (MEDIUM) Office | 123.254 | 615.6667
| (HIGH) Office | 184.8162 | 597.8
| Specialist School | 69.6548 | 64.8