## ESCO results - escolator
ESCOlator
year/measure | 8x wind turbines 50% | 100m2 PV 50% | chp pwire lo off | absorption cooling | lighting | plant setback | thermal wheel | HVAC motors | HWS insulation | 48x wind turbines | 48x wind turbines | 9 | 10 | total (k£)
0 | -19000 | -17000 | -991905 | [10 empty] | -1027905
1 | -19715.9091 | -17831.8182 | -787370.8348 | [10 empty] | -824918.5621
2 | -20316.2707 | -18547.2107 | -593298.2171 | [10 empty] | -632161.6985
3 | -20815.7436 | -19160.1827 | -409327.8451 | [10 empty] | -449303.7713
4 | -21227.3059 | -19683.1744 | -235089.347 | [10 empty] | -275999.8273
5 | -21562.4374 | -20127.2295 | -70205.5772 | [10 empty] | -111895.244
6 | -21831.2827 | -20502.144 | 85703.7307 | [10 empty] | 43370.304
7 | -22042.7977 | -20816.6014 | 233018.875 | [10 empty] | 190159.4759
8 | -22204.8798 | -21078.2926 | 372117.5923 |  | -196000 | [8 empty] | 132834.4199
9 | -22324.4852 | -21294.0235 | 503372.8979 |  | -173636.3636 | -37000 | -25000 | -9000 | -4000 |  |  |  |  | 211118.0255
10 | -22407.7332 | -21469.8117 | 627151.304 |  | -152797.5207 | -33272.7273 | -20340.9091 | -1825 | -3440.9091 |  |  |  |  | 371596.693
11 | -22459.9996 | -21610.9724 | 743811.3686 |  | -133379.5079 | -29799.5868 | -15999.4835 | 4860.7955 | -2919.938 | -192000 |  |  |  | 330502.676
12 | -22485.9999 | -21722.1958 | 853702.5311 |  | -115285.4505 | -26563.2513 | -11954.0641 | 11090.7412 | -2434.4877 | -186968.1818 |  |  |  | 477379.6411
13 | -22489.864 | -21807.6159 | 957164.1966 |  | -98425.0789 | -23547.5751 | -8184.4689 | 16895.918 | -1982.1363 | -182279.4421 |  |  |  | 615343.9333
14 | -22475.2027 | -21870.8722 | 1054525.0361 |  | -82714.2781 | -20737.5132 | -4671.8914 | 22305.2872 | -1560.627 | -177910.3893 |  |  |  | 744889.5495
15 | -22445.1665 | -21915.1648 | 154588.8321 |  | -68074.6682 | -18119.0463 | -1398.8079 | 27345.8358 | -1167.857 | -173839.2264 |  |  |  | -125025.2692
16 | -22402.4992 | -21943.3035 | 240688.6809 |  | -54433.2136 | -15679.1114 | 1651.1108 | 32042.7106 | -801.8667 | -170045.6428 |  |  |  | -10923.1348
17 | -22349.5844 | -21957.7519 | 321604.9364 |  | -41721.8581 | -13405.5356 | 4493.0805 | 36419.344 | -460.8303 | -166510.7126 |  |  |  | 96111.088
18 | -22288.4877 | -21960.6665 | 397619.6642 |  | -29877.1859 | -11286.9763 | 7141.2796 | 40497.5705 | -143.0465 | -163216.8003 | -192000 |  |  | 4485.3511
19 | -22220.994 | -21953.9316 | 469002.9966 |  | -18840.1051 | -9312.8643 | 9608.9196 | 44297.7362 | 153.0704 | -160147.473 | -186968.1818 |  |  | 103619.1729
20 | -22148.641 | -21939.1906 | 536013.2089 |  | -8555.5525 | -7473.3508 | 11908.3114 | 47838.7996 | 428.9974 | -157287.4181 | -182279.4421 |  |  | 196505.7221
21 | -22072.7485 | -21917.8739 | 598896.864 |  | 1027.7807 | -5759.2587 | 14050.9266 | 51138.4269 | 686.1112 | -154622.3668 | -177910.3893 |  |  | 283517.4722
22 | -21994.4447 | -21891.2233 | 657889.0148 |  | 9957.7047 | -4162.0366 | 16047.4543 | 54213.0796 | 925.6945 | -152139.0236 | -173839.2264 |  |  | 365006.9933
23 | -21914.6898 | -21860.3146 | 713213.4506 |  | 18278.7703 | -2673.7159 | 17907.8551 | 57078.0969 | 1148.9426 | -149824.9993 | -170045.6428 |  |  | 441307.7533
24 | -21834.2964 | -21826.0765 | 765082.9826 |  | 26032.4905 | -1286.8716 | 19641.4105 | 59747.7721 | 1356.9693 | -147668.7494 | -166510.7126 |  |  | 512734.9185
25 | -21753.9481 | -21789.3089 | 813699.7571 |  | 33257.548 | 5.4151 | 21256.7689 | 62235.424 | 1550.8123 | -145659.5164 | -163216.8003 |  |  | 579586.1515

## Financiator CHP
Financial Summary - based on RETScreen
Annual Energy/CO2 Balance | [7 empty] | Yearly Anlysis
| electricity |  |  | gas |  |  | CO2 emissions | Year | net Profit | Debt payment | Discounted cashflow | Cum cashflow
| grid (kWh) | chp (kWh) | surplus | boiler (kWh) | chp (kWh) | surplus | total
base case | 5582346.2432 | 0 | 0 | 6439862.2156 | 0 | 0 | 3839.9075 | 0 |  |  | -991905 | -991905
alternative | -8378903.7568 | 13961250 | 0 | 698654.4387 | 16796159.375 | 11054951.5981 | 4497.5898 | 1 | 314259.0317 | 89271.45 | 204534.1652 | -787370.8348
balance | 13961250 | -13961250 | 0 | 5741207.7769 | -16796159.375 | -11054951.5981 | -657.6823 | 2 | 322115.5075 | 87287.64 | 194072.6177 | -593298.2171
[8 empty] | 3 | 330168.3952 | 85303.83 | 183970.372 | -409327.8451
Capital Costs | [7 empty] | 4 | 338422.605 | 83320.02 | 174238.4981 | -235089.347
[8 empty] | 5 | 346883.1702 | 81336.21 | 164883.7698 | -70205.5772
Initial Costs |  |  |  | Periodic Costs |  |  |  | 6 | 355555.2494 | 79352.4 | 155909.3079 | 85703.7307
Feasibility study |  |  | 0 | 5 yr |  |  | - | 7 | 364444.1306 | 77368.59 | 147315.1442 | 233018.875
Development |  |  | 0 | 10 yr |  |  | - | 8 | 373555.2339 | 75384.78 | 139098.7173 | 372117.5923
Engineering |  |  | 0 | 15 yr |  | engine replacem | 800000 | 9 | 382894.1148 | 73400.97 | 131255.3056 | 503372.8979
RE equipment |  |  | 0 | 20 yr |  |  | - | 10 | 392466.4676 | 71417.16 | 123778.4061 | 627151.304
Balance of equipment |  |  | 0 | 25 yr |  |  | - | 11 | 402278.1293 | 69433.35 | 116660.0646 | 743811.3686
Miscellaneous |  |  | 0 | end of project life |  |  | - | 12 | 412335.0826 | 67449.54 | 109891.1624 | 853702.5311
CHP Plant capital |  |  | 1653175 |  |  |  |  | 13 | 422643.4596 | 65465.73 | 103461.6655 | 957164.1966
Total |  |  | 1653175 |  |  |  |  | 14 | 433209.5461 | 63481.92 | 97360.8395 | 1054525.0361
Incentives/Grants |  | 40% | 661270 | b |  |  |  | 15 | -355960.2152 | 61498.11 | -99936.204 | 154588.8321
Own capital |  |  | 0 |  |  |  |  | 16 | 455140.7794 | 59514.3 | 86099.8488 | 240688.6809
Bank debt |  |  | 991905 |  |  |  |  | 17 | 466519.2989 | 57530.49 | 80916.2555 | 321604.9364
[8 empty] | 18 | 478182.2813 | 55546.68 | 76014.7278 | 397619.6642
Financial Parameters | [7 empty] | 19 | 490136.8384 | 53562.87 | 71383.3324 | 469002.9966
[8 empty] | 20 | 502390.2593 | 51579.06 | 67010.2122 | 536013.2089
Inflation | 2.5% |  |  | Debt ratio |  | 60% |  | 21 | 514950.0158 | 49595.25 | 62883.6552 | 598896.864
Discount rate | 10% |  |  | Debt interest rate |  | 5% |  | 22 | 527823.7662 | 47611.44 | 58992.1507 | 657889.0148
Project life | 25 |  |  | Debt term |  | 25 |  | 23 | 541019.3604 | 45627.63 | 55324.4358 | 713213.4506
|  |  |  | Avg debt payment |  | 89271.45 |  | 24 | 554544.8444 | 43643.82 | 51869.532 | 765082.9826
[8 empty] | 25 | 568408.4655 | 41660.01 | 48616.7745 | 813699.7571
income tax | n.a. |  |  | Depreciation rate |  | n.a.
VAT | 6% |  |  | Depreciation period |  | n.a.
|  |  |  | Annual depreciation |  | n.a.
Project Costs and Savings
Income |  |  |  | Costs
| CHP therm |  | 0 | Operation |  | 0
| CHP elect |  | 209547.6973 | Maintenance |  | 111690
| Pwire elec |  | 418708.5527 | Gas (extra) (minus VAT) |  | 193654.8312
| Dist. Heating |  | 0 | Electricity |  | 0
| other1 |  | 0 | Insurance |  | 1000
| other2 |  | 0 | contingencies | 5% | 15317.2416
Total |  |  | 628256.25 | Total |  | 321662.0728
Financial Feasibility
Simple Payback |  |  | 3.2352
Year-to-positive cash flow |  |  | 14
Annual Life Cycle Savings |  |  | 7664854.4311
Net Present Value @15y |  |  | 154588.8321
Note on A27: migueltrms: high risk; higher interest rate

## Financiator 8xwind
Financial Summary - based on RETScreen
Annual Energy/CO2 Balance | [7 empty] | Yearly Anlysis
| electricity |  |  | gas |  |  | CO2 emissions | Year | net Profit | Debt payment | Discounted cashflow | Cum cashflow
| grid (kWh) | chp (kWh) | surplus | boiler (kWh) | chp (kWh) | surplus | total
base case | - | - | - | - | - | - | - | 0 |  |  | -19000 | -19000
alternative | - | - | - | - | - | - | - | 1 | 922.5 | 1710 | -715.9091 | -19715.9091
balance | - | - | - | - | - | - | - | 2 | 945.5625 | 1672 | -600.3616 | -20316.2707
[8 empty] | 3 | 969.2016 | 1634 | -499.4729 | -20815.7436
Capital Costs | [7 empty] | 4 | 993.4316 | 1596 | -411.5623 | -21227.3059
[8 empty] | 5 | 1018.2674 | 1558 | -335.1315 | -21562.4374
Initial Costs |  |  |  | Periodic Costs |  |  |  | 6 | 1043.7241 | 1520 | -268.8453 | -21831.2827
Feasibility study |  |  | n.a. | 5 yr |  |  | - | 7 | 1069.8172 | 1482 | -211.515 | -22042.7977
Development |  |  | n.a. | 10 yr |  |  | - | 8 | 1096.5626 | 1444 | -162.0821 | -22204.8798
Engineering |  |  | n.a. | 15 yr |  |  | - | 9 | 1123.9767 | 1406 | -119.6054 | -22324.4852
RE equipment |  |  | n.a. | 20 yr |  |  | - | 10 | 1152.0761 | 1368 | -83.248 | -22407.7332
Balance of equipment |  |  | n.a. | 25 yr |  |  | - | 11 | 1180.878 | 1330 | -52.2664 | -22459.9996
Miscellaneous |  |  | n.a. | end of project life |  |  | - | 12 | 1210.3999 | 1292 | -26.0003 | -22485.9999
Total |  |  | 38000 |  |  |  |  | 13 | 1240.6599 | 1254 | -3.8641 | -22489.864
[8 empty] | 14 | 1271.6764 | 1216 | 14.6613 | -22475.2027
Incentives/Grants |  | 50% | 19000 |  |  |  |  | 15 | 1303.4683 | 1178 | 30.0361 | -22445.1665
Own capital |  |  | 0 |  |  |  |  | 16 | 1336.0551 | 1140 | 42.6673 | -22402.4992
Bank debt |  |  | 19000 |  |  |  |  | 17 | 1369.4564 | 1102 | 52.9148 | -22349.5844
[8 empty] | 18 | 1403.6928 | 1064 | 61.0967 | -22288.4877
Financial Parameters | [7 empty] | 19 | 1438.7852 | 1026 | 67.4937 | -22220.994
[8 empty] | 20 | 1474.7548 | 988 | 72.353 | -22148.641
Inflation | 2.5% |  |  | Debt ratio |  | 50% |  | 21 | 1511.6237 | 950 | 75.8925 | -22072.7485
Discount rate | 10% |  |  | Debt interest rate |  | 5% |  | 22 | 1549.4143 | 912 | 78.3038 | -21994.4447
Project life | 25 |  |  | Debt term |  | 25 |  | 23 | 1588.1496 | 874 | 79.7549 | -21914.6898
|  |  |  | Avg debt payment |  | 1710 |  | 24 | 1627.8534 | 836 | 80.3934 | -21834.2964
[8 empty] | 25 | 1668.5497 | 798 | 80.3483 | -21753.9481
income tax | n.a. |  |  | Depreciation rate |  | n.a.
VAT | 6% |  |  | Depreciation period |  | n.a.
|  |  |  | Annual depreciation |  | n.a.
Project Costs and Savings
Income |  |  |  | Costs
| therm |  | 0 | Operation |  | 0
| elect |  | 900 | Maintenance |  | 0
| Pwire elec |  | 0 | Gas (extra) (minus VAT) |  | 0
| Dist. Heating |  | 0 | Electricity |  | 0
| other1 |  | 0 | Insurance |  | 0
| other2 |  | 0 | contingencies | 5% | 0
Total |  |  | 900 | Total |  | 0
Financial Feasibility
Simple Payback |  |  | 21.1111
Year-to-positive cash flow |  |  | 14
Annual Life Cycle Savings |  |  | 22500
Net Present Value @15y |  |  | -22445.1665
Note on A27: migueltrms: high risk; higher interest rate

## Financiator 100m2PV
Financial Summary - based on RETScreen
Annual Energy/CO2 Balance | [7 empty] | Yearly Anlysis
| electricity |  |  | gas |  |  | CO2 emissions | Year | net Profit | Debt payment | Discounted cashflow | Cum cashflow
| grid (kWh) | chp (kWh) | surplus | boiler (kWh) | chp (kWh) | surplus | total
base case | - | - | - | - | - | - | - | 0 |  |  | -17000 | -17000
alternative | - | - | - | - | - | - | - | 1 | 615 | 1530 | -831.8182 | -17831.8182
balance | - | - | - | - | - | - | - | 2 | 630.375 | 1496 | -715.3926 | -18547.2107
[8 empty] | 3 | 646.1344 | 1462 | -612.9719 | -19160.1827
Capital Costs | [7 empty] | 4 | 662.2877 | 1428 | -522.9918 | -19683.1744
[8 empty] | 5 | 678.8449 | 1394 | -444.055 | -20127.2295
Initial Costs |  |  |  | Periodic Costs |  |  |  | 6 | 695.8161 | 1360 | -374.9145 | -20502.144
Feasibility study |  |  | n.a. | 5 yr |  |  | - | 7 | 713.2115 | 1326 | -314.4574 | -20816.6014
Development |  |  | n.a. | 10 yr |  |  | - | 8 | 731.0417 | 1292 | -261.6912 | -21078.2926
Engineering |  |  | n.a. | 15 yr |  |  | - | 9 | 749.3178 | 1258 | -215.7309 | -21294.0235
RE equipment |  |  | n.a. | 20 yr |  |  | - | 10 | 768.0507 | 1224 | -175.7882 | -21469.8117
Balance of equipment |  |  | n.a. | 25 yr |  |  | - | 11 | 787.252 | 1190 | -141.1607 | -21610.9724
Miscellaneous |  |  | n.a. | end of project life |  |  | - | 12 | 806.9333 | 1156 | -111.2234 | -21722.1958
Total |  |  | 34000 |  |  |  |  | 13 | 827.1066 | 1122 | -85.4201 | -21807.6159
[8 empty] | 14 | 847.7843 | 1088 | -63.2563 | -21870.8722
Incentives/Grants |  | 50% | 17000 |  |  |  |  | 15 | 868.9789 | 1054 | -44.2926 | -21915.1648
Own capital |  |  | 0 |  |  |  |  | 16 | 890.7034 | 1020 | -28.1387 | -21943.3035
Bank debt |  |  | 17000 |  |  |  |  | 17 | 912.971 | 986 | -14.4484 | -21957.7519
[8 empty] | 18 | 935.7952 | 952 | -2.9146 | -21960.6665
Financial Parameters | [7 empty] | 19 | 959.1901 | 918 | 6.7349 | -21953.9316
[8 empty] | 20 | 983.1699 | 884 | 14.741 | -21939.1906
Inflation | 2.5% |  |  | Debt ratio |  | 50% |  | 21 | 1007.7491 | 850 | 21.3167 | -21917.8739
Discount rate | 10% |  |  | Debt interest rate |  | 5% |  | 22 | 1032.9428 | 816 | 26.6506 | -21891.2233
Project life | 25 |  |  | Debt term |  | 25 |  | 23 | 1058.7664 | 782 | 30.9088 | -21860.3146
|  |  |  | Avg debt payment |  | 1530 |  | 24 | 1085.2356 | 748 | 34.238 | -21826.0765
[8 empty] | 25 | 1112.3665 | 714 | 36.7676 | -21789.3089
income tax | n.a. |  |  | Depreciation rate |  | n.a.
VAT | 6% |  |  | Depreciation period |  | n.a.
|  |  |  | Annual depreciation |  | n.a.
Project Costs and Savings
Income |  |  |  | Costs
| therm |  | 0 | Operation |  | 0
| elect |  | 600 | Maintenance |  | 0
| Pwire elec |  | 0 | Gas (extra) (minus VAT) |  | 0
| Dist. Heating |  | 0 | Electricity |  | 0
| other1 |  | 0 | Insurance |  | 0
| other2 |  | 0 | contingencies | 5% | 0
Total |  |  | 600 | Total |  | 0
Financial Feasibility
Simple Payback |  |  | 28.3333
Year-to-positive cash flow |  |  | 14
Annual Life Cycle Savings |  |  | 15000
Net Present Value @15y |  |  | -21915.1648
Note on A27: migueltrms: high risk; higher interest rate

## Financiator lighting
Financial Summary - based on RETScreen
Annual Energy/CO2 Balance | [7 empty] | Yearly Anlysis
| electricity |  |  | gas |  |  | CO2 emissions | Year | net Profit | Debt payment | Discounted cashflow | Cum cashflow
| grid (kWh) | chp (kWh) | surplus | boiler (kWh) | chp (kWh) | surplus | total
base case | - | - | - | - | - | - | - | 0 |  |  | -196000 | -196000
alternative | - | - | - | - | - | - | - | 1 | 24600 | 0 | 22363.6364 | -173636.3636
balance | - | - | - | - | - | - | - | 2 | 25215 | 0 | 20838.843 | -152797.5207
[8 empty] | 3 | 25845.375 | 0 | 19418.0128 | -133379.5079
Capital Costs | [7 empty] | 4 | 26491.5094 | 0 | 18094.0574 | -115285.4505
[8 empty] | 5 | 27153.7971 | 0 | 16860.3716 | -98425.0789
Initial Costs |  |  |  | Periodic Costs |  |  |  | 6 | 27832.642 | 0 | 15710.8008 | -82714.2781
Feasibility study |  |  | n.a. | 5 yr |  |  | - | 7 | 28528.4581 | 0 | 14639.6099 | -68074.6682
Development |  |  | n.a. | 10 yr |  |  | - | 8 | 29241.6695 | 0 | 13641.4547 | -54433.2136
Engineering |  |  | n.a. | 15 yr |  |  | - | 9 | 29972.7113 | 0 | 12711.3555 | -41721.8581
RE equipment |  |  | n.a. | 20 yr |  |  | - | 10 | 30722.0291 | 0 | 11844.6721 | -29877.1859
Balance of equipment |  |  | n.a. | 25 yr |  |  | - | 11 | 31490.0798 | 0 | 11037.0809 | -18840.1051
Miscellaneous |  |  | n.a. | end of project life |  |  | - | 12 | 32277.3318 | 0 | 10284.5526 | -8555.5525
Total |  |  | 196000 |  |  |  |  | 13 | 33084.2651 | 0 | 9583.3331 | 1027.7807
[8 empty] | 14 | 33911.3717 | 0 | 8929.924 | 9957.7047
Incentives/Grants |  | 0% | 0 |  |  |  |  | 15 | 34759.156 | 0 | 8321.0656 | 18278.7703
Own capital |  |  | 196000 |  |  |  |  | 16 | 35628.1349 | 0 | 7753.7202 | 26032.4905
Bank debt |  |  | 0 |  |  |  |  | 17 | 36518.8383 | 0 | 7225.0575 | 33257.548
[8 empty] | 18 | 37431.8092 | 0 | 6732.4399 | 39989.9879
Financial Parameters | [7 empty] | 19 | 38367.6045 | 0 | 6273.4099 | 46263.3978
[8 empty] | 20 | 39326.7946 | 0 | 5845.6774 | 52109.0752
Inflation | 2.5% |  |  | Debt ratio |  | 0% |  | 21 | 40309.9644 | 0 | 5447.1085 | 57556.1837
Discount rate | 10% |  |  | Debt interest rate |  | 5% |  | 22 | 41317.7135 | 0 | 5075.7147 | 62631.8985
Project life | 25 |  |  | Debt term |  | 25 |  | 23 | 42350.6564 | 0 | 4729.6433 | 67361.5418
|  |  |  | Avg debt payment |  | 0 |  | 24 | 43409.4228 | 0 | 4407.1676 | 71768.7094
[8 empty] | 25 | 44494.6584 | 0 | 4106.6789 | 75875.3883
income tax | n.a. |  |  | Depreciation rate |  | n.a.
VAT | 6% |  |  | Depreciation period |  | n.a.
|  |  |  | Annual depreciation |  | n.a.
Project Costs and Savings
Income |  |  |  | Costs
| therm |  | 0 | Operation |  | 0
| elect |  | 24000 | Maintenance |  | 0
| Pwire elec |  | 0 | Gas (extra) (minus VAT) |  | 0
| Dist. Heating |  | 0 | Electricity |  | 0
| other1 |  | 0 | Insurance |  | 0
| other2 |  | 0 | contingencies | 5% | 0
Total |  |  | 24000 | Total |  | 0
Financial Feasibility
Simple Payback |  |  | 8.1667
Year-to-positive cash flow |  |  | 14
Annual Life Cycle Savings |  |  | 600000
Net Present Value @15y |  |  | 18278.7703
Note on A27: migueltrms: high risk; higher interest rate

## Financiator plant
Financial Summary - based on RETScreen
Annual Energy/CO2 Balance | [7 empty] | Yearly Anlysis
| electricity |  |  | gas |  |  | CO2 emissions | Year | net Profit | Debt payment | Discounted cashflow | Cum cashflow
| grid (kWh) | chp (kWh) | surplus | boiler (kWh) | chp (kWh) | surplus | total
base case | - | - | - | - | - | - | - | 0 |  |  | -37000 | -37000
alternative | - | - | - | - | - | - | - | 1 | 4100 | 0 | 3727.2727 | -33272.7273
balance | - | - | - | - | - | - | - | 2 | 4202.5 | 0 | 3473.1405 | -29799.5868
[8 empty] | 3 | 4307.5625 | 0 | 3236.3355 | -26563.2513
Capital Costs | [7 empty] | 4 | 4415.2516 | 0 | 3015.6762 | -23547.5751
[8 empty] | 5 | 4525.6329 | 0 | 2810.0619 | -20737.5132
Initial Costs |  |  |  | Periodic Costs |  |  |  | 6 | 4638.7737 | 0 | 2618.4668 | -18119.0463
Feasibility study |  |  | n.a. | 5 yr |  |  | - | 7 | 4754.743 | 0 | 2439.935 | -15679.1114
Development |  |  | n.a. | 10 yr |  |  | - | 8 | 4873.6116 | 0 | 2273.5758 | -13405.5356
Engineering |  |  | n.a. | 15 yr |  |  | - | 9 | 4995.4519 | 0 | 2118.5592 | -11286.9763
RE equipment |  |  | n.a. | 20 yr |  |  | - | 10 | 5120.3382 | 0 | 1974.112 | -9312.8643
Balance of equipment |  |  | n.a. | 25 yr |  |  | - | 11 | 5248.3466 | 0 | 1839.5135 | -7473.3508
Miscellaneous |  |  | n.a. | end of project life |  |  | - | 12 | 5379.5553 | 0 | 1714.0921 | -5759.2587
Total |  |  | 37000 |  |  |  |  | 13 | 5514.0442 | 0 | 1597.2222 | -4162.0366
[8 empty] | 14 | 5651.8953 | 0 | 1488.3207 | -2673.7159
Incentives/Grants |  | 0% | 0 |  |  |  |  | 15 | 5793.1927 | 0 | 1386.8443 | -1286.8716
Own capital |  |  | 37000 |  |  |  |  | 16 | 5938.0225 | 0 | 1292.2867 | 5.4151
Bank debt |  |  | 0 |  |  |  |  | 17 | 6086.473 | 0 | 1204.1762 | 1209.5913
[8 empty] | 18 | 6238.6349 | 0 | 1122.0733 | 2331.6646
Financial Parameters | [7 empty] | 19 | 6394.6007 | 0 | 1045.5683 | 3377.233
[8 empty] | 20 | 6554.4658 | 0 | 974.2796 | 4351.5125
Inflation | 2.5% |  |  | Debt ratio |  | 0% |  | 21 | 6718.3274 | 0 | 907.8514 | 5259.364
Discount rate | 10% |  |  | Debt interest rate |  | 5% |  | 22 | 6886.2856 | 0 | 845.9525 | 6105.3164
Project life | 25 |  |  | Debt term |  | 25 |  | 23 | 7058.4427 | 0 | 788.2739 | 6893.5903
|  |  |  | Avg debt payment |  | 0 |  | 24 | 7234.9038 | 0 | 734.5279 | 7628.1182
[8 empty] | 25 | 7415.7764 | 0 | 684.4465 | 8312.5647
income tax | n.a. |  |  | Depreciation rate |  | n.a.
VAT | 6% |  |  | Depreciation period |  | n.a.
|  |  |  | Annual depreciation |  | n.a.
Project Costs and Savings
Income |  |  |  | Costs
| therm |  | 0 | Operation |  | 0
| elect |  | 4000 | Maintenance |  | 0
| Pwire elec |  | 0 | Gas (extra) (minus VAT) |  | 0
| Dist. Heating |  | 0 | Electricity |  | 0
| other1 |  | 0 | Insurance |  | 0
| other2 |  | 0 | contingencies | 5% | 0
Total |  |  | 4000 | Total |  | 0
Financial Feasibility
Simple Payback |  |  | 9.25
Year-to-positive cash flow
Annual Life Cycle Savings |  |  | 100000
Net Present Value @15y |  |  | -1286.8716
Note on A27: migueltrms: high risk; higher interest rate

## Financiator thwheel
Financial Summary - based on RETScreen
Annual Energy/CO2 Balance | [7 empty] | Yearly Anlysis
| electricity |  |  | gas |  |  | CO2 emissions | Year | net Profit | Debt payment | Discounted cashflow | Cum cashflow
| grid (kWh) | chp (kWh) | surplus | boiler (kWh) | chp (kWh) | surplus | total
base case | - | - | - | - | - | - | - | 0 |  |  | -25000 | -25000
alternative | - | - | - | - | - | - | - | 1 | 5125 | 0 | 4659.0909 | -20340.9091
balance | - | - | - | - | - | - | - | 2 | 5253.125 | 0 | 4341.4256 | -15999.4835
[8 empty] | 3 | 5384.4531 | 0 | 4045.4193 | -11954.0641
Capital Costs | [7 empty] | 4 | 5519.0645 | 0 | 3769.5953 | -8184.4689
[8 empty] | 5 | 5657.0411 | 0 | 3512.5774 | -4671.8914
Initial Costs |  |  |  | Periodic Costs |  |  |  | 6 | 5798.4671 | 0 | 3273.0835 | -1398.8079
Feasibility study |  |  | n.a. | 5 yr |  |  | - | 7 | 5943.4288 | 0 | 3049.9187 | 1651.1108
Development |  |  | n.a. | 10 yr |  |  | - | 8 | 6092.0145 | 0 | 2841.9697 | 4493.0805
Engineering |  |  | n.a. | 15 yr |  |  | - | 9 | 6244.3148 | 0 | 2648.1991 | 7141.2796
RE equipment |  |  | n.a. | 20 yr |  |  | - | 10 | 6400.4227 | 0 | 2467.64 | 9608.9196
Balance of equipment |  |  | n.a. | 25 yr |  |  | - | 11 | 6560.4333 | 0 | 2299.3918 | 11908.3114
Miscellaneous |  |  | n.a. | end of project life |  |  | - | 12 | 6724.4441 | 0 | 2142.6151 | 14050.9266
Total |  |  | 25000 |  |  |  |  | 13 | 6892.5552 | 0 | 1996.5277 | 16047.4543
[8 empty] | 14 | 7064.8691 | 0 | 1860.4008 | 17907.8551
Incentives/Grants |  | 0% | 0 |  |  |  |  | 15 | 7241.4908 | 0 | 1733.5553 | 19641.4105
Own capital |  |  | 25000 |  |  |  |  | 16 | 7422.5281 | 0 | 1615.3584 | 21256.7689
Bank debt |  |  | 0 |  |  |  |  | 17 | 7608.0913 | 0 | 1505.2203 | 22761.9892
[8 empty] | 18 | 7798.2936 | 0 | 1402.5916 | 24164.5808
Financial Parameters | [7 empty] | 19 | 7993.2509 | 0 | 1306.9604 | 25471.5412
[8 empty] | 20 | 8193.0822 | 0 | 1217.8495 | 26689.3907
Inflation | 2.5% |  |  | Debt ratio |  | 0% |  | 21 | 8397.9093 | 0 | 1134.8143 | 27824.2049
Discount rate | 10% |  |  | Debt interest rate |  | 5% |  | 22 | 8607.857 | 0 | 1057.4406 | 28881.6455
Project life | 25 |  |  | Debt term |  | 25 |  | 23 | 8823.0534 | 0 | 985.3424 | 29866.9879
|  |  |  | Avg debt payment |  | 0 |  | 24 | 9043.6297 | 0 | 918.1599 | 30785.1478
[8 empty] | 25 | 9269.7205 | 0 | 855.5581 | 31640.7059
income tax | n.a. |  |  | Depreciation rate |  | n.a.
VAT | 6% |  |  | Depreciation period |  | n.a.
|  |  |  | Annual depreciation |  | n.a.
Project Costs and Savings
Income |  |  |  | Costs
| therm |  | 0 | Operation |  | 0
| elect |  | 5000 | Maintenance |  | 0
| Pwire elec |  | 0 | Gas (extra) (minus VAT) |  | 0
| Dist. Heating |  | 0 | Electricity |  | 0
| other1 |  | 0 | Insurance |  | 0
| other2 |  | 0 | contingencies | 5% | 0
Total |  |  | 5000 | Total |  | 0
Financial Feasibility
Simple Payback |  |  | 5
Year-to-positive cash flow |  |  | 14
Annual Life Cycle Savings |  |  | 125000
Net Present Value @15y |  |  | 19641.4105
Note on A27: migueltrms: high risk; higher interest rate

## Financiator HVACmot
Financial Summary - based on RETScreen
Annual Energy/CO2 Balance | [7 empty] | Yearly Anlysis
| electricity |  |  | gas |  |  | CO2 emissions | Year | net Profit | Debt payment | Discounted cashflow | Cum cashflow
| grid (kWh) | chp (kWh) | surplus | boiler (kWh) | chp (kWh) | surplus | total
base case | - | - | - | - | - | - | - | 0 |  |  | -9000 | -9000
alternative | - | - | - | - | - | - | - | 1 | 7892.5 | 0 | 7175 | -1825
balance | - | - | - | - | - | - | - | 2 | 8089.8125 | 0 | 6685.7955 | 4860.7955
[8 empty] | 3 | 8292.0578 | 0 | 6229.9458 | 11090.7412
Capital Costs | [7 empty] | 4 | 8499.3593 | 0 | 5805.1767 | 16895.918
[8 empty] | 5 | 8711.8432 | 0 | 5409.3692 | 22305.2872
Initial Costs |  |  |  | Periodic Costs |  |  |  | 6 | 8929.6393 | 0 | 5040.5486 | 27345.8358
Feasibility study |  |  | n.a. | 5 yr |  |  | - | 7 | 9152.8803 | 0 | 4696.8748 | 32042.7106
Development |  |  | n.a. | 10 yr |  |  | - | 8 | 9381.7023 | 0 | 4376.6334 | 36419.344
Engineering |  |  | n.a. | 15 yr |  |  | - | 9 | 9616.2449 | 0 | 4078.2265 | 40497.5705
RE equipment |  |  | n.a. | 20 yr |  |  | - | 10 | 9856.651 | 0 | 3800.1656 | 44297.7362
Balance of equipment |  |  | n.a. | 25 yr |  |  | - | 11 | 10103.0673 | 0 | 3541.0634 | 47838.7996
Miscellaneous |  |  | n.a. | end of project life |  |  | - | 12 | 10355.6439 | 0 | 3299.6273 | 51138.4269
Total |  |  | 9000 |  |  |  |  | 13 | 10614.535 | 0 | 3074.6527 | 54213.0796
[8 empty] | 14 | 10879.8984 | 0 | 2865.0173 | 57078.0969
Incentives/Grants |  | 0% | 0 |  |  |  |  | 15 | 11151.8959 | 0 | 2669.6752 | 59747.7721
Own capital |  |  | 9000 |  |  |  |  | 16 | 11430.6933 | 0 | 2487.6519 | 62235.424
Bank debt |  |  | 0 |  |  |  |  | 17 | 11716.4606 | 0 | 2318.0393 | 64553.4633
[8 empty] | 18 | 12009.3721 | 0 | 2159.9911 | 66713.4544
Financial Parameters | [7 empty] | 19 | 12309.6064 | 0 | 2012.719 | 68726.1735
[8 empty] | 20 | 12617.3466 | 0 | 1875.4882 | 70601.6616
Inflation | 2.5% |  |  | Debt ratio |  | 0% |  | 21 | 12932.7803 | 0 | 1747.614 | 72349.2756
Discount rate | 10% |  |  | Debt interest rate |  | 5% |  | 22 | 13256.0998 | 0 | 1628.4585 | 73977.7341
Project life | 25 |  |  | Debt term |  | 25 |  | 23 | 13587.5023 | 0 | 1517.4272 | 75495.1613
|  |  |  | Avg debt payment |  | 0 |  | 24 | 13927.1898 | 0 | 1413.9663 | 76909.1276
[8 empty] | 25 | 14275.3696 | 0 | 1317.5595 | 78226.6871
income tax | n.a. |  |  | Depreciation rate |  | n.a.
VAT | 6% |  |  | Depreciation period |  | n.a.
|  |  |  | Annual depreciation |  | n.a.
Project Costs and Savings
Income |  |  |  | Costs
| therm |  | 0 | Operation |  | 0
| elect |  | 7700 | Maintenance |  | 0
| Pwire elec |  | 0 | Gas (extra) (minus VAT) |  | 0
| Dist. Heating |  | 0 | Electricity |  | 0
| other1 |  | 0 | Insurance |  | 0
| other2 |  | 0 | contingencies | 5% | 0
Total |  |  | 7700 | Total |  | 0
Financial Feasibility
Simple Payback |  |  | 1.1688
Year-to-positive cash flow
Annual Life Cycle Savings |  |  | 192500
Net Present Value @15y |  |  | 59747.7721
Note on A27: migueltrms: high risk; higher interest rate

## Financiator HWSins
Financial Summary - based on RETScreen
Annual Energy/CO2 Balance | [7 empty] | Yearly Anlysis
| electricity |  |  | gas |  |  | CO2 emissions | Year | net Profit | Debt payment | Discounted cashflow | Cum cashflow
| grid (kWh) | chp (kWh) | surplus | boiler (kWh) | chp (kWh) | surplus | total
base case | - | - | - | - | - | - | - | 0 |  |  | -4000 | -4000
alternative | - | - | - | - | - | - | - | 1 | 615 | 0 | 559.0909 | -3440.9091
balance | - | - | - | - | - | - | - | 2 | 630.375 | 0 | 520.9711 | -2919.938
[8 empty] | 3 | 646.1344 | 0 | 485.4503 | -2434.4877
Capital Costs | [7 empty] | 4 | 662.2877 | 0 | 452.3514 | -1982.1363
[8 empty] | 5 | 678.8449 | 0 | 421.5093 | -1560.627
Initial Costs |  |  |  | Periodic Costs |  |  |  | 6 | 695.8161 | 0 | 392.77 | -1167.857
Feasibility study |  |  | n.a. | 5 yr |  |  | - | 7 | 713.2115 | 0 | 365.9902 | -801.8667
Development |  |  | n.a. | 10 yr |  |  | - | 8 | 731.0417 | 0 | 341.0364 | -460.8303
Engineering |  |  | n.a. | 15 yr |  |  | - | 9 | 749.3178 | 0 | 317.7839 | -143.0465
RE equipment |  |  | n.a. | 20 yr |  |  | - | 10 | 768.0507 | 0 | 296.1168 | 153.0704
Balance of equipment |  |  | n.a. | 25 yr |  |  | - | 11 | 787.252 | 0 | 275.927 | 428.9974
Miscellaneous |  |  | n.a. | end of project life |  |  | - | 12 | 806.9333 | 0 | 257.1138 | 686.1112
Total |  |  | 4000 |  |  |  |  | 13 | 827.1066 | 0 | 239.5833 | 925.6945
[8 empty] | 14 | 847.7843 | 0 | 223.2481 | 1148.9426
Incentives/Grants |  | 0% | 0 |  |  |  |  | 15 | 868.9789 | 0 | 208.0266 | 1356.9693
Own capital |  |  | 4000 |  |  |  |  | 16 | 890.7034 | 0 | 193.843 | 1550.8123
Bank debt |  |  | 0 |  |  |  |  | 17 | 912.971 | 0 | 180.6264 | 1731.4387
[8 empty] | 18 | 935.7952 | 0 | 168.311 | 1899.7497
Financial Parameters | [7 empty] | 19 | 959.1901 | 0 | 156.8352 | 2056.5849
[8 empty] | 20 | 983.1699 | 0 | 146.1419 | 2202.7269
Inflation | 2.5% |  |  | Debt ratio |  | 0% |  | 21 | 1007.7491 | 0 | 136.1777 | 2338.9046
Discount rate | 10% |  |  | Debt interest rate |  | 5% |  | 22 | 1032.9428 | 0 | 126.8929 | 2465.7975
Project life | 25 |  |  | Debt term |  | 25 |  | 23 | 1058.7664 | 0 | 118.2411 | 2584.0385
|  |  |  | Avg debt payment |  | 0 |  | 24 | 1085.2356 | 0 | 110.1792 | 2694.2177
[8 empty] | 25 | 1112.3665 | 0 | 102.667 | 2796.8847
income tax | n.a. |  |  | Depreciation rate |  | n.a.
VAT | 6% |  |  | Depreciation period |  | n.a.
|  |  |  | Annual depreciation |  | n.a.
Project Costs and Savings
Income |  |  |  | Costs
| therm |  | 600 | Operation |  | 0
| elect |  | - | Maintenance |  | 0
| Pwire elec |  | 0 | Gas (extra) (minus VAT) |  | 0
| Dist. Heating |  | 0 | Electricity |  | 0
| other1 |  | 0 | Insurance |  | 0
| other2 |  | 0 | contingencies | 5% | 0
Total |  |  | 600 | Total |  | 0
Financial Feasibility
Simple Payback |  |  | 6.6667
Year-to-positive cash flow
Annual Life Cycle Savings |  |  | 15000
Net Present Value @15y |  |  | 1356.9693
Note on A27: migueltrms: high risk; higher interest rate

## Financiator 48xWind
Financial Summary - based on RETScreen
Annual Energy/CO2 Balance | [7 empty] | Yearly Anlysis
| electricity |  |  | gas |  |  | CO2 emissions | Year | net Profit | Debt payment | Discounted cashflow | Cum cashflow
| grid (kWh) | chp (kWh) | surplus | boiler (kWh) | chp (kWh) | surplus | total
base case | - | - | - | - | - | - | - | 0 |  |  | -192000 | -192000
alternative | - | - | - | - | - | - | - | 1 | 5535 | 0 | 5031.8182 | -186968.1818
balance | - | - | - | - | - | - | - | 2 | 5673.375 | 0 | 4688.7397 | -182279.4421
[8 empty] | 3 | 5815.2094 | 0 | 4369.0529 | -177910.3893
Capital Costs | [7 empty] | 4 | 5960.5896 | 0 | 4071.1629 | -173839.2264
[8 empty] | 5 | 6109.6043 | 0 | 3793.5836 | -170045.6428
Initial Costs |  |  |  | Periodic Costs |  |  |  | 6 | 6262.3445 | 0 | 3534.9302 | -166510.7126
Feasibility study |  |  | n.a. | 5 yr |  |  | - | 7 | 6418.9031 | 0 | 3293.9122 | -163216.8003
Development |  |  | n.a. | 10 yr |  |  | - | 8 | 6579.3756 | 0 | 3069.3273 | -160147.473
Engineering |  |  | n.a. | 15 yr |  |  | - | 9 | 6743.86 | 0 | 2860.055 | -157287.4181
RE equipment |  |  | n.a. | 20 yr |  |  | - | 10 | 6912.4565 | 0 | 2665.0512 | -154622.3668
Balance of equipment |  |  | n.a. | 25 yr |  |  | - | 11 | 7085.268 | 0 | 2483.3432 | -152139.0236
Miscellaneous |  |  | n.a. | end of project life |  |  | - | 12 | 7262.3997 | 0 | 2314.0243 | -149824.9993
Total |  |  | 192000 |  |  |  |  | 13 | 7443.9596 | 0 | 2156.25 | -147668.7494
[8 empty] | 14 | 7630.0586 | 0 | 2009.2329 | -145659.5164
Incentives/Grants |  | 0% | 0 |  |  |  |  | 15 | 7820.8101 | 0 | 1872.2398 | -143787.2767
Own capital |  |  | 192000 |  |  |  |  | 16 | 8016.3304 | 0 | 1744.587 | -142042.6896
Bank debt |  |  | 0 |  |  |  |  | 17 | 8216.7386 | 0 | 1625.6379 | -140417.0517
[8 empty] | 18 | 8422.1571 | 0 | 1514.799 | -138902.2527
Financial Parameters | [7 empty] | 19 | 8632.711 | 0 | 1411.5172 | -137490.7355
[8 empty] | 20 | 8848.5288 | 0 | 1315.2774 | -136175.4581
Inflation | 2.5% |  |  | Debt ratio |  | 0% |  | 21 | 9069.742 | 0 | 1225.5994 | -134949.8587
Discount rate | 10% |  |  | Debt interest rate |  | 5% |  | 22 | 9296.4855 | 0 | 1142.0358 | -133807.8228
Project life | 25 |  |  | Debt term |  | 25 |  | 23 | 9528.8977 | 0 | 1064.1697 | -132743.6531
|  |  |  | Avg debt payment |  | 0 |  | 24 | 9767.1201 | 0 | 991.6127 | -131752.0404
[8 empty] | 25 | 10011.2981 | 0 | 924.0028 | -130828.0376
income tax | n.a. |  |  | Depreciation rate |  | n.a.
VAT | 6% |  |  | Depreciation period |  | n.a.
|  |  |  | Annual depreciation |  | n.a.
Project Costs and Savings
Income |  |  |  | Costs
| therm |  | 0 | Operation |  | 0
| elect |  | 5400 | Maintenance |  | 0
| Pwire elec |  | 0 | Gas (extra) (minus VAT) |  | 0
| Dist. Heating |  | 0 | Electricity |  | 0
| other1 |  | 0 | Insurance |  | 0
| other2 |  | 0 | contingencies | 5% | 0
Total |  |  | 5400 | Total |  | 0
Financial Feasibility
Simple Payback |  |  | 35.5556
Year-to-positive cash flow |  |  | 14
Annual Life Cycle Savings |  |  | 135000
Net Present Value @15y |  |  | -143787.2767
Note on A27: migueltrms: high risk; higher interest rate