## Hot Water Demand
Hot Water Consumption Per Person Per day (l) | 50 |  | Specific Heat Capacity of Water (Wh/kgK) | 1.16
Dishwashing (l) | 20 |  | Cold Water Temp. (oC) | 10
Washing Machine (l) | 30 |  | Hot Water Temp. (oC) | 50
| Days in Month | People/Visitors per week | People/Visitors per month | Dishwasher usage per week | Dishwasher usage per month | Washing machine usage per week | Washing machine usage per month | Monthly Hot Water Consumption (l) | Dishwasher Monthly Hot Water Consumption (l) | Washing machine Monthly Hot Water Consumption (l) | Total Monthly Hot Water Consumption (l) | Monthly Hot Water Heat Requirement (kWh)
January | 31 | 14 | 61.6 | 3 | 13.2 | 3 | 13.2 | 3080 | 264 | 396 | 3740 | 173.536
February | 28 | 14 | 56 | 3 | 12 | 3 | 12 | 2800 | 240 | 360 | 3400 | 157.76
March | 31 | 14 | 61.6 | 3 | 13.2 | 3 | 13.2 | 3080 | 264 | 396 | 3740 | 173.536
April | 30 | 14 | 60.004 | 3 | 12.858 | 3 | 12.858 | 3000.2 | 257.16 | 385.74 | 3643.1 | 169.0398
May | 31 | 14 | 61.6 | 3 | 13.2 | 3 | 13.2 | 3080 | 264 | 396 | 3740 | 173.536
June | 30 | 14 | 60.004 | 3 | 12.858 | 3 | 12.858 | 3000.2 | 257.16 | 385.74 | 3643.1 | 169.0398
July | 31 | 14 | 61.6 | 3 | 13.2 | 3 | 13.2 | 3080 | 264 | 396 | 3740 | 173.536
August | 31 | 14 | 61.6 | 3 | 13.2 | 3 | 13.2 | 3080 | 264 | 396 | 3740 | 173.536
September | 30 | 14 | 60.004 | 3 | 12.858 | 3 | 12.858 | 3000.2 | 257.16 | 385.74 | 3643.1 | 169.0398
October | 31 | 14 | 61.6 | 3 | 13.2 | 3 | 13.2 | 3080 | 264 | 396 | 3740 | 173.536
November | 30 | 14 | 60.004 | 3 | 12.858 | 3 | 12.858 | 3000.2 | 257.16 | 385.74 | 3643.1 | 169.0398
December | 31 | 14 | 61.6 | 3 | 13.2 | 3 | 13.2 | 3080 | 264 | 396 | 3740 | 173.536
[11 empty] | Annual Total = | 2048.6714

## Solar Thermal Supply
| Annual Hot Water Heat Requirement (kWh) | 2048.6714
| Solar Collector Area (m2) | 3.3602 |  | Specific Heat Capacity of Water (Wh/kgK) | 1.16
| Solar Fraction | 0.6 |  | Cold Water Temp. (oC) | 10
| Average System Efficiency | 0.35 |  | Hot Water Temp. (oC) | 50
| Days in Month | Average Daily Solar Irradiation @ 40o Inclination (kWh/m2/day) | Average Monthly Solar Irradiation @ 40o Inclination (kWh/m2) | Solar Fraction | Average System Efficiency | Monthly heat generated by solar collector (kWh)
January | 31 | 0.994 | 30.814 | 0.6 | 0.35 | 60.3999
February | 28 | 1.736 | 48.608 | 0.6 | 0.35 | 95.2787
March | 31 | 2.68 | 83.08 | 0.6 | 0.35 | 162.8489
April | 30 | 4.067 | 122.01 | 0.6 | 0.35 | 239.1573
May | 31 | 4.813 | 149.203 | 0.6 | 0.35 | 292.4596
June | 30 | 4.633 | 138.99 | 0.6 | 0.35 | 272.4406
July | 31 | 4.559 | 141.329 | 0.6 | 0.35 | 277.0254
August | 31 | 3.817 | 118.327 | 0.6 | 0.35 | 231.9381
September | 30 | 3.053 | 91.59 | 0.6 | 0.35 | 179.5297
October | 31 | 2.003 | 62.093 | 0.6 | 0.35 | 121.7113
November | 30 | 1.238 | 37.14 | 0.6 | 0.35 | 72.7998
December | 31 | 0.709 | 21.979 | 0.6 | 0.35 | 43.082
|  | Annual Total = | 1045.163 |  | Annual Total = | 2048.6714