## Summary
Results Summary | Total Dwellings | [6 empty] | IGZ gas consumption for area | 40344496.759 | GWh
Realistic Base Case
| Carbon Savings kgCO2 p.a | Carbon Savings tonnesCO2 p.a | Carbon Savings kgCO2 for 20 years | Carbon Savings tonnesCO2 for 20 years | Total Upgrade Cost | £/kgCO2 per annum | £/tonnesCO2 per annum | £/tonnesCO2 for 20 years | Gas Savings from EDEM | Electricity Savings from EDEM | Gas Savings from EDEM
Best Scheme | 6705652.6 | 6705.6526 | 134113052 | 134113.052 | 36033644 | 3.9765 | 5373.6222 | 268.6811 | 36493500 | 4333982 | 26163077.759
Realistic Scheme | 5197595.4 | 5197.5954 | 103951908 | 103951.908 | 25098447.2 | 3.3227 | 4828.8574 | 241.4429 | 31736386.8 | 3292497.2 | 21405964.559
Without Double Glazing of Realistic scheme as example | 3547595.4 | 3547.5954 | 70951908 | 70951.908 | 12000000 | 3.3826 | 3382.5729 | 169.1286
Worst Base Case
| Carbon Savings kgCO2 p.a | Carbon Savings tonnesCO2 p.a | Carbon Savings kgCO2 for 20 years | Carbon Savings tonnesCO2 for 20 years | Total Upgrade Cost | £/kgCO2 per annum | £/tonnesCO2 per annum | £/tonnesCO2 for 20 years | Gas Savings | Electricity Savings
Best Scheme | 13895437.4 | 13895.4374 | 277908748 | 277908.748 | 41083539.4 | 2.7149 | 2956.6208 | 147.831 | 60208028.6 | 6788764.4
Realistic Scheme | 12334272.8 | 12334.2728 | 246685456 | 246685.456 | 30400527 | 2.24 | 2464.7198 | 123.236 | 55450915.4 | 5747279.6
Note on L5: Andy: These savings are produced by biomass CHP
Note on L12: Andy: These savings are produced by biomass CHP

## Consumption Sensitivity
Consumption sensitivity study
Housing | Tenement flats (3) | Tenement flats (4) | Council flats (3) | Council flat (4) | Detatched | Modern Flats (6) | Modern Flats (4) | Modern Flats (3) | Semi- Detatched | Mid terraced |  | Totals for area
Base
Gas (base) | 5822085.2 | 62000466 | 0 | 0 | 1568408.8 |  |  |  | 1970315.2 | 3028172.4 |  | 74389447.6 | kWh
Electricity (base) | 386935.8 | 4360308.8 | 7861120 | 2171094.8 | 77117.6 |  |  |  | 104659.6 | 181777.2 |  | 15143013.8 | kWh
Carbon Footprint (base) | 1292470.6 | 13864935.2 | 3317107.2 | 916126.4 | 424970 |  |  |  | 535104.6 | 862633.2 |  | 21213347.2 | kgCO2 p.a
Standard base
Gas (base) | 4999791.6 | 52758992.4 | 0 | 0 | 1421543.2 |  |  |  | 1729562.4 | 2562252 |  | 63472141.6 | kWh
Electricity (base) | 386935.8 | 4360308.8 | 6787827.2 | 1858978.8 | 77117.6 |  |  |  | 104659.6 | 181777.2 |  | 13757605 | kWh
Carbon Footprint (base) | 1132926 | 12071702.4 | 2864588.8 | 784481.6 | 382485.6 |  |  |  | 490260.8 | 776404.2 |  | 18502849.4 | kgCO2 p.a
Std and med base
Gas (base) | 1467186.6 | 46002746 | 0 | 0 | 1097544 |  |  |  | 1383435.6 | 724006.8 |  | 50674919 | kWh
Electricity (base) | 386935.8 | 4360308.8 | 5914470.4 | 1662962 | 77117.6 |  |  |  | 104659.6 | 181777.2 |  | 12688231.4 | kWh
Carbon Footprint (base) | 809980.4 | 8707727.2 | 2864588.8 | 784481.6 | 355345.2 |  |  |  | 0 | 0 |  | 13522123.2 | kgCO2 p.a
Insulation only
Gas (best) | 1726904.6 | 19078211.2 | 0 | 0 | 422962.4 |  |  |  | 557232 | 939285.6 |  | 22724595.8 | kWh
Electricity (best) | 386935.8 | 4360308.8 | 2521011.2 | 722439.2 | 77117.6 |  |  |  | 104659.6 | 181777.2 |  | 8354249.4 | kWh
Carbon Footprint (best) | 498064.6 | 5538470.4 | 1063910.4 | 304864 | 114609.6 |  |  |  | 152338.2 | 259023.6 |  | 7931280.8 | kgCO2 p.a
Insulation and boiler
Gas (best) | 1015541.4 | 11168640.8 | 0 | 0 | 393220.8 |  |  |  | 697611.6 | 906404.4 |  | 14181419 | kWh
Electricity (best) | 386935.8 | 4360308.8 | 798835.2 | 722439.2 | 77117.6 |  |  |  | 104659.6 | 181777.2 |  | 6632073.4 | kWh
Carbon Footprint (best) | 360034 | 4003779.2 | 1063910.4 | 304864 | 108872.4 |  |  |  | 101015.4 | 170438.4 |  | 6112913.8 | kgCO2 p.a
Cost from 1st base case | 2738794.2 | 30565339.2 | 3925324.8 | 1128982.4 | 749375.2 |  |  |  | 836471.2 | 1139252.4 |  | 41083539.4 | £
[12 empty] | 6.7208 | £/kgCO2 p.a
Realistic base
Gas (base) | 1467186.6 | 15915871.2 | 0 | 0 | 365321.6 |  |  |  | 466146 | 724006.8 |  | 18938532.2 | kWh
Electricity (base) | 386935.8 | 4360308.8 | 798835.2 | 945095.2 | 77117.6 |  |  |  | 104659.6 | 181777.2 |  | 6854729.4 | kWh
Carbon Footprint (base) | 447664.8 | 4924552 | 1409139.2 | 398753.6 | 103462.8 |  |  |  | 134645.4 | 217173 |  | 7635390.8 | kgCO2 p.a
[9 empty] | Not taking into account council houses electrical demand is: |  | 6088540 | kWh
Note on D5: Andy: These savings are produced by biomass CHP

## Detailed Results
Detailed Results
Realistic Base
Scheme | Boiler | Tenement flats (3) | Tenement flats (4) | Council flats (3) | Council flat (4) | Detatched | Semi- Detatched | Mid terraced
|  | 31 | 262 | 64 | 14 | 28 | 38 | 66 | Total Cost | kgCO2 p.a | £/kgCO2 saved | Running cost
Standard | Med | 74400 | 838400 | 153600 | 44800 | 11200 | 15200 | 26400 | 1164000 | 13015700.6 | 2.2985 | 4699983.6041
Standard | High | 372000 | 4192000 | 153600 | 44800 | 56000 | 76000 | 132000 | 5026400 | 11686951.2 | 2.7389 | 3955722.5429
Standard | Cond | 446400 | 5030400 | 153600 | 44800 | 67200 | 91200 | 158400 | 5992000 | 10412250.4 | 1.9268 | 3501854.5937
Medium | Med | 1280529.4 | 14268834.4 | 2643673.6 | 762456.8 | 355073.6 | 401644.8 | 558234.6 | 20270447.2 | 9634800.2 | 5.2145 | 3797766.4916
Medium | High | 1578129.4 | 17622434.4 | 2643673.6 | 762456.8 | 399873.6 | 462444.8 | 663834.6 | 24132847.2 | 8743081.2 | 5.0497 | 3742136.4524
Medium | Cond | 1652529.4 | 18460834.4 | 2643673.6 | 762456.8 | 411073.6 | 477644.8 | 690234.6 | 25098447.2 | 7818105.2 | 4.4001 | 3444469.1068
Good | Med | 1534239.6 | 17065841.6 | 3167462.4 | 911915.2 | 441873.6 | 489360.2 | 658317 | 24269009.6 | 8924233.4 | 5.2783 | 2942202.3278
Good | High | 1831839.6 | 20419441.6 | 3167462.4 | 911915.2 | 486673.6 | 550160.2 | 763917 | 28131409.6 | 8124461.4 | 5.2118 | 3330472.9138
Good | Cond | 1906239.6 | 21257841.6 | 3167462.4 | 911915.2 | 497873.6 | 565360.2 | 790317 | 29097009.6 | 7272844.6 | 4.6561 | 3068385.4242
Super | Med | 1971835.6 | 21947425.6 | 4070886.4 | 1172763.2 | 557040.4 | 625594 | 860098.8 | 31205644 | 7668670 | 5.3312 | 2600218.6878
Super | High | 2269435.6 | 25301025.6 | 4070886.4 | 1172763.2 | 601840.4 | 686394 | 965698.8 | 35068044 | 7031357.6 | 5.4028 | 2789364.0222
Super | Cond | 2343835.6 | 26139425.6 | 4070886.4 | 1172763.2 | 613040.4 | 701594 | 992098.8 | 36033644 | 6310048 | 4.9963 | 2585477.6138
[8 empty] | CO2 saved | Best scheme | 6705652.6
[9 empty] | Realistic scheme | 5197595.4 |  | 1255514.4973
Worst Case | [11 empty] | 25110289.9456
11842.7456
Scheme | Boiler | Tenement flats (3) | Tenement flats (4) | Council flats (3) | Council flat (4) | Detatched | Semi- Detatched | Mid terraced |  |  |  | 592.1373
|  | 31 | 262 | 64 | 14 | 28 | 38 | 66 | Total Cost | kgCO2 p.a | £/kgCO2 saved
Poor | Low | 74400 | 838400 | 153600 | 44800 | 11200 | 15200 | 26400 | 1164000 | 19976036.4 | 0.94075
Poor | Medium | 357120 | 4024320 | 153600 | 44800 | 53760 | 72960 | 126720 | 4833280 | 17951347.8 | 1.4817
Poor | High | 372000 | 4192000 | 153600 | 44800 | 56000 | 76000 | 132000 | 5026400 | 15926492.4 | 0.95074
Poor | Cond | 446400 | 5030400 | 153600 | 44800 | 67200 | 91200 | 158400 | 5992000 | 14087775.2 | 0.84091
Standard | Low | 714283.4 | 7987122.4 | 1047526.4 | 302215.2 | 231705.6 | 234216.8 | 267438.6 | 10784508.4 | 14398237 | 1.5824
Standard | Medium | 997003.4 | 11173042.4 | 1047526.4 | 302215.2 | 274265.6 | 291976.8 | 367758.6 | 14453788.4 | 13015700.6 | 1.7632
Standard | High | 1011883.4 | 11340722.4 | 1047526.4 | 302215.2 | 276505.6 | 295016.8 | 373038.6 | 14646908.4 | 11633095.2 | 1.5289
Standard | Cond | 1086283.4 | 12179122.4 | 1047526.4 | 302215.2 | 287705.6 | 310216.8 | 52661.4 | 15265731.2 | 10307977 | 1.3998
Medium | Low | 1675506.6 | 18694957.6 | 2765030.4 | 796527.2 | 491408.4 | 536522 | 705394.8 | 25665347 | 10449514.8 | 2.3844
Medium | Medium | 1958226.6 | 21880877.6 | 2765030.4 | 796527.2 | 533968.4 | 594282 | 805714.8 | 29334627 | 9522738.8 | 2.5092
Medium | High | 1973106.6 | 22048557.6 | 2765030.4 | 796527.2 | 547408.4 | 597322 | 810994.8 | 29538947 | 8578633 | 2.3379
Medium | Cond | 2047506.6 | 22886957.6 | 2765030.4 | 796527.2 | 454588.4 | 612522 | 837394.8 | 30400527 | 7641763.6 | 2.24
Good | Low | 1929216.8 | 21491964.8 | 3128691.2 | 899281.6 | 578208.4 | 624233.6 | 805477.2 | 29457073.6 | 9619361.6 | 2.5407
Good | Medium | 2211936.8 | 24677884.8 | 3128691.2 | 899281.6 | 620768.4 | 681993.6 | 905797.2 | 33126353.6 | 8788332.8 | 2.6661
Good | High | 2226816.8 | 24845564.8 | 3128691.2 | 899281.6 | 623008.4 | 685033.6 | 911077.2 | 33319473.6 | 7957356 | 2.5135
Good | Cond | 2301216.8 | 25683964.8 | 3128691.2 | 899281.6 | 634208.4 | 700233.6 | 937477.2 | 34285073.6 | 7073438.8 | 2.4247
Super | Low | 2366794.2 | 26373339.2 | 3925324.8 | 1128982.4 | 693375.2 | 760471.2 | 1007252.4 | 36255539.4 | 8150980.4 | 2.7756
Super | Medium | 2649514.2 | 29559259.2 | 3925324.8 | 1128982.4 | 735935.2 | 818231.2 | 1107572.4 | 39924819.4 | 7489849.6 | 2.9092
Super | High | 2664394.2 | 29726939.2 | 3925324.8 | 1128982.4 | 738175.2 | 821271.2 | 1112852.4 | 40117939.4 | 6828486.8 | 2.7889
Super | Cond | 2738794.2 | 30565339.2 | 3925324.8 | 1128982.4 | 749375.2 | 836471.2 | 1139252.4 | 41083539.4 | 6080599 | 2.7149
[8 empty] | CO2 saved | Best scheme | 13895437.4
[9 empty] | Realistic scheme | 12334272.8