## Individual Building
Ground floor tenement |  |  |  |  | Assuming tight air tightness unless stated otherwise | [6 empty] | Elec cost | 0.1296 | p/kWh | Gas | 0.038 | p/kWh
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor at | Med | E | 5864.5 | 82.6 | 0 | 945.5 | 0 | 29.3 | 362.1 | 0 | 0 |  |  | 1246.5527 | 0
Standard | Med | E | 4855 | 68.4 | 400 | 815.4 | 3.1 | 29.3 | 288.8 | 37.7572 | 5.8043 |  |  | 1048.7893 | 2.0226
Standard | High | D | 4191.9 | 59 | 2000 | 730 | 9.3 | 29.3 | 240.7 | 188.7859 | 17.5207 |  |  | 919.0155 | 6.1062
Standard | Cond | D | 3571.9 | 50.3 | 2400 | 650.1 | 8.1 | 29.3 | 195.7 | 226.543 | 15.3381 |  |  | 797.6055 | 5.3458
Medium | Med | C | 3354.3 | 47.2 | 6931.9 | 622 | 21.4 | 29.3 | 179.9 | 654.3223 | 40.4527 |  |  | 754.9771 | 14.1014
Medium | High | C | 2941.3 | 41.4 | 8531.9 | 568.8 | 22.6 | 29.3 | 149.9 | 805.351 | 42.7582 |  |  | 674.0371 | 14.9025
Medium | Cond | C | 2521.4 | 35.5 | 8931.9 | 514.7 | 20.7 | 29.3 | 119.4 | 843.1082 | 39.1415 |  |  | 591.7481 | 13.6406
Good | Med | C | 3108.7 | 43.8 | 8390.6 | 590.4 | 23.6 | 29.3 | 162.1 | 792.0133 | 44.6079 |  |  | 706.9527 | 15.5497
Good | High | C | 2736.7 | 38.5 | 9990.6 | 542.4 | 24.8 | 29.3 | 135 | 943.042 | 46.7895 |  |  | 633.8369 | 16.3054
Good | Cond | B | 2349.5 | 33.1 | 10390.6 | 492.5 | 22.9 | 29.3 | 106.9 | 980.7991 | 43.3024 |  |  | 558.0231 | 15.091
Super | Med | C | 2590.3 | 36.5 | 10932.6 | 523.6 | 25.9 | 29.3 | 124.4 | 1031.9601 | 48.9197 |  |  | 605.2381 | 17.0472
Super | High | B | 2304.6 | 32.5 | 12532.6 | 486.7 | 27.3 | 29.3 | 103.7 | 1182.9888 | 51.5688 |  |  | 549.3895 | 17.9766
Super | Cond | B | 1986.6 | 28 | 12932.6 | 445.8 | 25.9 | 29.3 | 80.6 | 1220.746 | 48.8592 |  |  | 487.0657 | 17.0281
0
0
Middle floor tenement |  |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor a.t | Med | D | 4609.4 | 64.9 | 0 | 783.8 | 0 | 29.3 | 271 | 0 | 0 |  |  | 1000.7649 | 0
Standard | Med | D | 3681.7 | 51.9 | 400 | 664.2 | 3.3 | 29.3 | 203.7 | 37.7572 | 6.3139 |  |  | 819.1895 | 2.2029
Standard | High | C | 3214.2 | 45.3 | 2000 | 604 | 11.1 | 29.3 | 169.7 | 188.7859 | 20.9995 |  |  | 727.4575 | 7.3178
Standard | Cond | C | 2750.6 | 38.7 | 2400 | 544.2 | 10 | 29.3 | 136.1 | 226.543 | 18.9101 |  |  | 636.8047 | 6.5941
Medium | Med | C | 2863.1 | 40.3 | 6576.9 | 558.7 | 29.2 | 29.3 | 144.2 | 620.8128 | 55.1588 |  |  | 658.6585 | 19.2247
Medium | High | C | 2532 | 35.7 | 8176.9 | 516.1 | 30.5 | 29.3 | 120.2 | 771.8415 | 57.6647 |  |  | 593.9065 | 20.0977
Medium | Cond | B | 2177.6 | 30.7 | 8576.9 | 470.4 | 27.4 | 29.3 | 94.5 | 809.5987 | 51.6655 |  |  | 524.5679 | 18.0112
Good | Med | C | 2699.4 | 38 | 7822.6 | 537.6 | 31.8 | 29.3 | 132.3 | 738.3981 | 59.9836 |  |  | 626.5523 | 20.9042
Good | High | C | 2395.6 | 33.7 | 9422.6 | 498.5 | 33 | 29.3 | 110.3 | 889.4268 | 62.3503 |  |  | 567.1963 | 21.7327
Good | Cond | B | 2063 | 29.1 | 9822.6 | 455.6 | 29.9 | 29.3 | 86.1 | 927.184 | 56.5012 |  |  | 501.9047 | 19.6901
Super | Med | C | 2372 | 33.4 | 10080.6 | 495.4 | 35 | 29.3 | 108.6 | 951.5373 | 65.9873 |  |  | 562.6097 | 23.0069
Super | High | B | 2122.7 | 29.9 | 11680.6 | 463.3 | 36.4 | 29.3 | 90.5 | 1102.566 | 68.8029 |  |  | 513.7759 | 23.9853
Super | Cond | B | 1833.8 | 25.8 | 12080.6 | 426.1 | 33.8 | 29.3 | 69.5 | 1140.3232 | 63.7586 |  |  | 457.1179 | 22.2214
Top floor tenement |  |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor a.t | Med | E | 5455.3 | 76.8 | 0 | 892.8 | 0 | 29.3 | 332.4 | 0 | 0 |  |  | 1166.4221 | 0
Standard | Med | D | 4527.5 | 63.8 | 400 | 773.2 | 3.3 | 29.3 | 265.1 | 37.7572 | 6.3139 |  |  | 984.8467 | 2.2029
Standard | High | D | 3919 | 55.2 | 2000 | 694.8 | 10.1 | 29.3 | 220.9 | 188.7859 | 19.0693 |  |  | 865.5951 | 6.6483
Standard | Cond | C | 3342.7 | 47.1 | 2400 | 620.5 | 8.8 | 29.3 | 179 | 226.543 | 16.6392 |  |  | 752.5489 | 5.7989
Medium | Med | C | 3354.3 | 47.2 | 7144.9 | 622 | 26.4 | 29.3 | 179.9 | 674.428 | 49.81 |  |  | 754.9771 | 17.3654
Medium | High | C | 2941.3 | 41.4 | 8744.9 | 568.8 | 27 | 29.3 | 149.9 | 825.4567 | 50.9541 |  |  | 674.0371 | 17.7603
Medium | Cond | C | 2521.4 | 35.5 | 9144.9 | 514.7 | 24.2 | 29.3 | 119.4 | 863.2139 | 45.6606 |  |  | 591.7481 | 15.9132
Good | Med | C | 3026.8 | 42.6 | 8532.6 | 579.8 | 27.3 | 29.3 | 156.1 | 805.4171 | 51.4644 |  |  | 690.7647 | 17.9385
Good | High | C | 2668.5 | 37.6 | 10132.6 | 533.6 | 28.2 | 29.3 | 130.1 | 956.4458 | 53.2542 |  |  | 620.6167 | 18.5645
Good | Cond | B | 2292.2 | 32.3 | 10532.6 | 485.1 | 25.8 | 29.3 | 102.8 | 994.2029 | 48.7713 |  |  | 546.9613 | 17.0029
Super | Med | C | 2590.3 | 36.5 | 10790.6 | 523.6 | 29.2 | 29.3 | 124.4 | 1018.5563 | 55.1764 |  |  | 605.2381 | 19.2283
Super | High | B | 2304.6 | 32.5 | 12390.6 | 486.7 | 30.5 | 29.3 | 103.7 | 1169.585 | 57.6008 |  |  | 549.3895 | 20.0809
Super | Cond | B | 1986.6 | 28 | 12790.6 | 445.8 | 28.6 | 29.3 | 80.6 | 1207.3422 | 54.0198 |  |  | 487.0657 | 18.8275
Detached |  |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor a.t | Med | F | 8768.2 | 93.3 | 0 | 1350.7 | 0 | 29.3 | 417 | 0 | 0 |  |  | 1394.6729 | 0
Standard | Med | E | 7395.5 | 78.7 | 400 | 1173.8 | 2.3 | 29.3 | 341.8 | 37.7572 | 4.2688 |  |  | 1191.7833 | 1.9715
Standard | High | E | 6356.8 | 67.6 | 2000 | 1039.9 | 6.4 | 29.3 | 284.8 | 188.7859 | 12.1484 |  |  | 1037.9973 | 5.6073
Standard | Cond | D | 5414.6 | 57.6 | 2400 | 918.5 | 5.6 | 29.3 | 233.1 | 226.543 | 10.4832 |  |  | 898.5107 | 4.8371
Medium | Med | D | 4939 | 52.5 | 12681.2 | 857.2 | 25.7 | 29.3 | 207.1 | 1197.0156 | 48.5113 |  |  | 828.3627 | 22.3927
Medium | High | D | 4309.7 | 45.8 | 14281.2 | 776.1 | 24.9 | 29.3 | 172.5 | 1348.0443 | 46.9211 |  |  | 735.0119 | 21.6493
Medium | Cond | C | 3695.1 | 39.3 | 14681.2 | 696.9 | 22.5 | 29.3 | 138.8 | 1385.8014 | 42.3922 |  |  | 644.0893 | 19.5597
Good | Med | D | 4433.3 | 47.2 | 15781.2 | 792 | 28.2 | 29.3 | 179.3 | 1489.6336 | 53.325 |  |  | 753.3583 | 24.6076
Good | High | C | 3888.3 | 41.4 | 17381.2 | 721.8 | 27.6 | 29.3 | 149.4 | 1640.6623 | 52.1756 |  |  | 672.6881 | 24.0742
Good | Cond | C | 3341 | 35.5 | 17781.2 | 651.3 | 25.4 | 29.3 | 119.4 | 1678.4195 | 47.996 |  |  | 591.7481 | 22.1455
Super | Med | C | 3566.3 | 37.9 | 19894.3 | 680.3 | 29.7 | 29.3 | 131.8 | 1877.8812 | 56.0227 |  |  | 625.2033 | 25.8546
Super | High | C | 3165.8 | 33.7 | 21494.3 | 628.7 | 29.8 | 29.3 | 109.8 | 2028.9099 | 56.2025 |  |  | 565.8473 | 25.9334
Super | Cond | B | 2734.2 | 29.1 | 21894.3 | 573.1 | 28.2 | 29.3 | 86.1 | 2066.667 | 53.155 |  |  | 501.9047 | 24.5241
Semi Detached |  |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor a.t | Med | F | 8226.3 | 87.5 | 0 | 1280.8 | 0 | 29.3 | 387.3 | 0 | 0 |  |  | 1314.5423 | 0
Standard | Med | E | 6781.4 | 72.1 | 400 | 1094.6 | 2.1 | 29.3 | 308.1 | 37.7572 | 4.0555 |  |  | 1100.8607 | 1.8719
Standard | High | E | 5845 | 62.2 | 2000 | 974 | 6.5 | 29.3 | 256.7 | 188.7859 | 12.3068 |  |  | 962.1835 | 5.676
Standard | Cond | D | 4984.7 | 53 | 2400 | 863.1 | 5.7 | 29.3 | 209.6 | 226.543 | 10.8472 |  |  | 835.1077 | 5.0059
Medium | Med | D | 4722.3 | 50.2 | 10569.6 | 829.3 | 23.4 | 29.3 | 195.2 | 997.6955 | 44.1947 |  |  | 796.2565 | 20.3934
Medium | High | D | 4129.1 | 43.9 | 12169.6 | 752.8 | 23 | 29.3 | 162.6 | 1148.7241 | 43.5123 |  |  | 708.3017 | 20.0739
Medium | Cond | C | 3543.3 | 37.7 | 12569.6 | 677.4 | 20.8 | 29.3 | 130.5 | 1186.4813 | 39.3265 |  |  | 621.6959 | 18.142
Good | Med | D | 4216.5 | 44.9 | 12877.9 | 764.1 | 24.9 | 29.3 | 167.4 | 1215.5827 | 47.0518 |  |  | 721.2521 | 21.7059
Good | High | C | 3707.6 | 39.4 | 14477.9 | 698.5 | 24.9 | 29.3 | 139.5 | 1366.6113 | 46.9384 |  |  | 645.9779 | 21.6552
Good | Cond | C | 3189.3 | 33.9 | 14877.9 | 631.7 | 22.9 | 29.3 | 111.1 | 1404.3685 | 43.2713 |  |  | 569.3547 | 19.9653
Super | Med | C | 3457.9 | 36.8 | 16463 | 666.3 | 26.8 | 29.3 | 125.8 | 1553.9907 | 50.5774 |  |  | 609.0153 | 23.3343
Super | High | C | 3075.4 | 32.7 | 18063 | 617.1 | 27.2 | 29.3 | 104.9 | 1705.0194 | 51.3792 |  |  | 552.6271 | 23.7074
Super | Cond | B | 2658.3 | 28.3 | 18463 | 563.3 | 25.7 | 29.3 | 82 | 1742.7766 | 48.5791 |  |  | 490.8429 | 22.4147
Mid Terraced |  |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor a.t | Med | E | 7540 | 80.2 | 0 | 1192.4 | 0 | 29.3 | 349.7 | 0 | 0 |  |  | 1213.0975 | 0
Standard | Med | E | 6058.9 | 64.5 | 400 | 1001.5 | 2.1 | 29.3 | 268.5 | 37.7572 | 3.9557 |  |  | 994.0199 | 1.8258
Standard | High | D | 5242.9 | 55.8 | 2000 | 896.4 | 6.8 | 29.3 | 223.7 | 188.7859 | 12.7558 |  |  | 873.1495 | 5.8833
Standard | Cond | D | 4479 | 47.6 | 2400 | 797.9 | 6.1 | 29.3 | 181.8 | 226.543 | 11.4851 |  |  | 760.1033 | 5.2981
Medium | Med | D | 4361 | 46.4 | 8458.1 | 782.7 | 20.6 | 29.3 | 175.4 | 798.3848 | 38.9741 |  |  | 742.8361 | 17.986
Medium | High | C | 3828 | 40.7 | 10058.1 | 714 | 21 | 29.3 | 146.1 | 949.4135 | 39.6912 |  |  | 663.7847 | 18.3103
Medium | Cond | C | 3290.5 | 35 | 10458.1 | 644.8 | 19.1 | 29.3 | 116.7 | 987.1707 | 36.0544 |  |  | 584.4635 | 16.6362
Good | Med | C | 3999.8 | 42.6 | 9974.5 | 736.2 | 21.9 | 29.3 | 155.5 | 941.5222 | 41.2767 |  |  | 689.1459 | 19.0371
Good | High | C | 3527 | 37.5 | 11574.5 | 675.3 | 22.4 | 29.3 | 129.6 | 1092.5509 | 42.2569 |  |  | 619.2677 | 19.4913
Good | Cond | C | 3037.6 | 32.3 | 11974.5 | 612.2 | 20.6 | 29.3 | 102.8 | 1130.3081 | 38.9627 |  |  | 546.9613 | 17.9761
Super | Med | C | 3349.5 | 35.6 | 13031.8 | 652.4 | 24.1 | 29.3 | 119.9 | 1230.1097 | 45.5596 |  |  | 593.0971 | 21.019
Super | High | C | 2985.1 | 31.8 | 14631.8 | 605.4 | 24.9 | 29.3 | 99.9 | 1381.1384 | 47.0575 |  |  | 539.1371 | 21.7102
Super | Cond | B | 2582.4 | 27.5 | 15031.8 | 553.5 | 23.5 | 29.3 | 77.8 | 1418.8956 | 44.4168 |  |  | 479.5113 | 20.4908
Ground Council Flat |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  |  |  | Current Cost | Current Payback
[6 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor a.t | 7241.2 | 102 | 0 | 1765.9 | 0 | 241.7 | 0 | 0 | 0 |  |  |  |  | 2224.0267 | 0
Standard | 5892.7 | 83 | 400 | 1446.4 | 1.3 | 196.7 | 0 | 37.7572 | 2.3635 |  |  |  |  | 1809.9547 | 0.96602
Medium | 3888.3 | 54.8 | 5819.6 | 971.4 | 7.3 | 129.8 | 0 | 549.3291 | 13.8283 |  |  |  |  | 1194.3677 | 5.652
Good | 3560.3 | 50.1 | 6861.2 | 893.7 | 7.9 | 118.8 | 0 | 647.6487 | 14.8509 |  |  |  |  | 1093.1501 | 6.0672
Super | 2867.8 | 40.4 | 9125.1 | 729.6 | 8.8 | 95.7 | 0 | 861.3449 | 16.6235 |  |  |  |  | 880.5931 | 6.7924
Middle Council Flat |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  |  |  | Current Cost | Current Payback
[6 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor a.t | 5564.7 | 78.4 | 0 | 1368.7 | 0 | 185.7 | 0 | 0 | 0 |  |  |  |  | 1708.7371 | 0
Standard | 4325.6 | 60.9 | 400 | 1075 | 1.4 | 144.4 | 0 | 37.7572 | 2.5711 |  |  |  |  | 1328.711 | 1.0526
Medium | 3232.3 | 45.5 | 5464.6 | 815.9 | 9.9 | 107.9 | 0 | 515.8196 | 18.6621 |  |  |  |  | 992.8526 | 7.6334
Good | 3013.6 | 42.4 | 6293.2 | 764.1 | 10.4 | 100.6 | 0 | 594.0336 | 19.6505 |  |  |  |  | 925.681 | 8.0367
Super | 2576.2 | 36.3 | 8273.1 | 660.5 | 11.7 | 86 | 0 | 780.9221 | 22.0537 |  |  |  |  | 791.3376 | 9.018
Top Council Flat |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  |  |  | Current Cost | Current Payback
[6 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor a.t | 6694.5 | 94.3 | 0 | 1636.4 | 0 | 223.4 | 0 | 0 | 0 |  |  |  |  | 2055.6374 | 0
Standard | 5455.4 | 76.8 | 400 | 1342.7 | 1.4 | 182.1 | 0 | 37.7572 | 2.5711 |  |  |  |  | 1675.6114 | 1.0526
Medium | 3888.3 | 54.8 | 6032.6 | 971.4 | 9.1 | 129.8 | 0 | 569.4348 | 17.1259 |  |  |  |  | 1194.3677 | 7.0043
Good | 3450.9 | 48.6 | 7003.2 | 867.8 | 9.1 | 115.2 | 0 | 661.0525 | 17.2015 |  |  |  |  | 1060.0243 | 7.0341
Super | 2867.8 | 40.4 | 8983.1 | 729.6 | 9.9 | 95.7 | 0 | 847.9411 | 18.7018 |  |  |  |  | 880.5931 | 7.6449

## Whole Building
3 Storey tenement |  |  |  | Assuming tight air tightness unless stated otherwise |  |  |  |  | Elec cost | 0.1296 | p/kWh | Gas | 0.038 | p/kWh
Insulation Type | Boiler Type | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  |  |  | Current Cost | Current Payback
[6 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor at | Med | 31858.4 | 448.6 | 0 | 5244.2 | 175.8 | 1931 | 0 | 0 |  |  |  |  | 6827.4793 | 0
Standard | Med | 26128.4 | 368.2 | 2400 | 4505.6 | 175.8 | 1515.2 | 226.543 | 6.1344 |  |  |  |  | 5705.6509 | 2.1394
Standard | High | 22650.2 | 319 | 12000 | 4057.6 | 175.8 | 1262.6 | 1132.7151 | 19.0918 |  |  |  |  | 5024.1361 | 6.6543
Standard | Cond | 19330.4 | 272.2 | 14400 | 3629.6 | 175.8 | 1021.6 | 1359.2581 | 16.8371 |  |  |  |  | 4373.9181 | 5.869
Medium | Med | 19143.4 | 269.4 | 41307.4 | 3605.4 | 175.8 | 1008 | 3899.1263 | 47.5851 |  |  |  |  | 4337.2253 | 16.5876
Medium | High | 16829.2 | 237 | 50907.4 | 3307.4 | 175.8 | 840 | 4805.2984 | 49.621 |  |  |  |  | 3883.9613 | 17.2947
Medium | Cond | 14440.8 | 203.4 | 53307.4 | 2999.6 | 175.8 | 666.6 | 5031.8414 | 44.8351 |  |  |  |  | 3416.1281 | 15.6265
Good | Med | 17669.8 | 248.8 | 49491.6 | 3415.6 | 175.8 | 901 | 4671.6569 | 51.0954 |  |  |  |  | 4048.5393 | 17.8095
Good | High | 15601.6 | 219.6 | 59091.6 | 3149 | 175.8 | 750.8 | 5577.829 | 53.2439 |  |  |  |  | 3643.2997 | 18.5579
Good | Cond | 13409.4 | 189 | 61491.6 | 2866.4 | 175.8 | 591.6 | 5804.372 | 48.8214 |  |  |  |  | 3213.7781 | 17.0162
Super | Med | 15105.2 | 212.8 | 63607.6 | 3085.2 | 175.8 | 714.8 | 6004.1075 | 55.6193 |  |  |  |  | 3546.1717 | 19.3848
Super | High | 13463.8 | 189.8 | 73207.6 | 2873.4 | 175.8 | 595.8 | 6910.2796 | 58.2949 |  |  |  |  | 3225.1097 | 20.3221
Super | Cond | 11614 | 163.6 | 75607.6 | 2635.4 | 175.8 | 461.4 | 7136.8226 | 54.7135 |  |  |  |  | 2862.4985 | 19.0688
|  | 20244.4 |  | 3.7347 | £/kgCO2 p.a
|  | 17417.6 |  | 3.0605 | £/kgCO2 p.a
4 Storey tenement |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  |  |  | Current Cost | Current Payback
[6 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor at | Med | 41077.2 | 578.4 | 0 | 6811.8 | 234.4 | 2473 | 0 | 0 |  |  |  |  | 8829.009 | 0
Standard | Med | 33491.8 | 472 | 3200 | 5834 | 234.4 | 1922.6 | 302.0574 | 6.1783 |  |  |  |  | 7344.0298 | 2.1549
Standard | High | 29078.6 | 409.6 | 16000 | 5265.6 | 234.4 | 1602 | 1510.2868 | 19.5355 |  |  |  |  | 6479.051 | 6.8086
Standard | Cond | 24831.6 | 349.6 | 19200 | 4718 | 234.4 | 1293.8 | 1812.3442 | 17.3115 |  |  |  |  | 5647.5274 | 6.0349
Medium | Med | 24869.6 | 350 | 54461.2 | 4722.8 | 234.4 | 1296.4 | 5140.752 | 49.2173 |  |  |  |  | 5654.5422 | 17.156
Medium | High | 21893.2 | 308.4 | 67261.2 | 4339.6 | 234.4 | 1080.4 | 6348.9815 | 51.363 |  |  |  |  | 5071.7742 | 17.9018
Medium | Cond | 18796 | 264.8 | 70461.2 | 3940.4 | 234.4 | 855.6 | 6651.0388 | 46.3261 |  |  |  |  | 4465.2638 | 16.147
Good | Med | 23068.6 | 324.8 | 65136.8 | 4490.8 | 234.4 | 1165.6 | 6148.4531 | 52.9811 |  |  |  |  | 5301.6438 | 18.4661
Good | High | 20392.8 | 287 | 77936.8 | 4146 | 234.4 | 971.4 | 7356.6826 | 55.1931 |  |  |  |  | 4777.6922 | 19.2374
Good | Cond | 17535.4 | 247.2 | 81136.8 | 3777.6 | 234.4 | 763.8 | 7658.7399 | 50.4828 |  |  |  |  | 4217.5874 | 17.5947
Super | Med | 19849.2 | 279.6 | 83768.8 | 4076 | 234.4 | 932 | 7907.1821 | 57.8053 |  |  |  |  | 4671.391 | 20.1483
Super | High | 17709.2 | 249.6 | 96568.8 | 3800 | 234.4 | 776.8 | 9115.4116 | 60.5313 |  |  |  |  | 4252.6614 | 21.1017
Super | Cond | 15281.6 | 215.2 | 99768.8 | 3487.6 | 234.4 | 600.4 | 9417.4689 | 56.6601 |  |  |  |  | 3776.7342 | 19.7473
| 1 | 25795.6 |  | 3.8677 | £/kgCO2 p.a
| 2 | 22281.2 |  | 3.1624 | £/kgCO2 p.a
Detached |  |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor a.t | Med | F | 8768.2 | 93.3 | 0 | 1350.7 | 0 | 29.3 | 417 | 0 | 0 |  |  | 1846.4683 | 0
Standard | Med | E | 7395.5 | 78.7 | 400 | 1173.8 | 2.3 | 29.3 | 341.8 | 37.7572 | 4.2688 |  |  | 1577.8539 | 1.4891
Standard | High | E | 6356.8 | 67.6 | 2000 | 1039.9 | 6.4 | 29.3 | 284.8 | 188.7859 | 12.1484 |  |  | 1374.2499 | 4.2353
Standard | Cond | D | 5414.6 | 57.6 | 2400 | 918.5 | 5.6 | 29.3 | 233.1 | 226.543 | 10.4832 |  |  | 1189.5775 | 3.6536
Medium | Med | D | 4939 | 52.5 | 12681.2 | 857.2 | 25.7 | 29.3 | 207.1 | 1197.0156 | 48.5113 |  |  | 1096.7055 | 16.9136
Medium | High | D | 4309.7 | 45.8 | 14281.2 | 776.1 | 24.9 | 29.3 | 172.5 | 1348.0443 | 46.9211 |  |  | 973.1143 | 16.3521
Medium | Cond | C | 3695.1 | 39.3 | 14681.2 | 696.9 | 22.5 | 29.3 | 138.8 | 1385.8014 | 42.3922 |  |  | 852.7379 | 14.7738
Good | Med | D | 4433.3 | 47.2 | 15781.2 | 792 | 28.2 | 29.3 | 179.3 | 1489.6336 | 53.325 |  |  | 997.4039 | 18.5866
Good | High | C | 3888.3 | 41.4 | 17381.2 | 721.8 | 27.6 | 29.3 | 149.4 | 1640.6623 | 52.1756 |  |  | 890.6011 | 18.1837
Good | Cond | C | 3341 | 35.5 | 17781.2 | 651.3 | 25.4 | 29.3 | 119.4 | 1678.4195 | 47.996 |  |  | 783.4411 | 16.7269
Super | Med | C | 3566.3 | 37.9 | 19894.3 | 680.3 | 29.7 | 29.3 | 131.8 | 1877.8812 | 56.0227 |  |  | 827.7339 | 19.5284
Super | High | C | 3165.8 | 33.7 | 21494.3 | 628.7 | 29.8 | 29.3 | 109.8 | 2028.9099 | 56.2025 |  |  | 749.1499 | 19.588
Super | Cond | B | 2734.2 | 29.1 | 21894.3 | 573.1 | 28.2 | 29.3 | 86.1 | 2066.667 | 53.155 |  |  | 664.4935 | 18.5235
|  |  | 6034 |  | 3.6285 | £/kgCO2 p.a
|  |  | 5073.1 |  | 2.8939 | £/kgCO2 p.a
Semi Detached |  |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor a.t | Med | F | 8226.3 | 87.5 | 0 | 1280.8 | 0 | 29.3 | 387.3 | 0 | 0 |  |  | 1740.3799 | 0
Standard | Med | E | 6781.4 | 72.1 | 400 | 1094.6 | 2.1 | 29.3 | 308.1 | 37.7572 | 4.0555 |  |  | 1457.4775 | 1.4139
Standard | High | E | 5845 | 62.2 | 2000 | 974 | 6.5 | 29.3 | 256.7 | 188.7859 | 12.3068 |  |  | 1273.8767 | 4.2872
Standard | Cond | D | 4984.7 | 53 | 2400 | 863.1 | 5.7 | 29.3 | 209.6 | 226.543 | 10.8472 |  |  | 1105.6355 | 3.781
Medium | Med | D | 4722.3 | 50.2 | 10569.6 | 829.3 | 23.4 | 29.3 | 195.2 | 997.6955 | 44.1947 |  |  | 1054.1987 | 15.4035
Medium | High | D | 4129.1 | 43.9 | 12169.6 | 752.8 | 23 | 29.3 | 162.6 | 1148.7241 | 43.5123 |  |  | 937.7515 | 15.1622
Medium | Cond | C | 3543.3 | 37.7 | 12569.6 | 677.4 | 20.8 | 29.3 | 130.5 | 1186.4813 | 39.3265 |  |  | 823.0903 | 13.703
Good | Med | D | 4216.5 | 44.9 | 12877.9 | 764.1 | 24.9 | 29.3 | 167.4 | 1215.5827 | 47.0518 |  |  | 954.8971 | 16.3949
Good | High | C | 3707.6 | 39.4 | 14477.9 | 698.5 | 24.9 | 29.3 | 139.5 | 1366.6113 | 46.9384 |  |  | 855.2383 | 16.3566
Good | Cond | C | 3189.3 | 33.9 | 14877.9 | 631.7 | 22.9 | 29.3 | 111.1 | 1404.3685 | 43.2713 |  |  | 753.7935 | 15.0802
Super | Med | C | 3457.9 | 36.8 | 16463 | 666.3 | 26.8 | 29.3 | 125.8 | 1553.9907 | 50.5774 |  |  | 806.3019 | 17.6249
Super | High | C | 3075.4 | 32.7 | 18063 | 617.1 | 27.2 | 29.3 | 104.9 | 1705.0194 | 51.3792 |  |  | 731.6471 | 17.9066
Super | Cond | B | 2658.3 | 28.3 | 18463 | 563.3 | 25.7 | 29.3 | 82 | 1742.7766 | 48.5791 |  |  | 649.8483 | 16.9303
|  |  | 5568 |  | 3.3159 | £/kgCO2 p.a
|  |  | 4683 |  | 2.6841 | £/kgCO2 p.a
Mid Terraced |  |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor a.t | Med | E | 7540 | 80.2 | 0 | 1192.4 | 0 | 29.3 | 349.7 | 0 | 0 |  |  | 1606.0727 | 0
Standard | Med | E | 6058.9 | 64.5 | 400 | 1001.5 | 2.1 | 29.3 | 268.5 | 37.7572 | 3.9557 |  |  | 1316.0263 | 1.3791
Standard | High | D | 5242.9 | 55.8 | 2000 | 896.4 | 6.8 | 29.3 | 223.7 | 188.7859 | 12.7558 |  |  | 1156.0007 | 4.4437
Standard | Cond | D | 4479 | 47.6 | 2400 | 797.9 | 6.1 | 29.3 | 181.8 | 226.543 | 11.4851 |  |  | 1006.3339 | 4.0017
Medium | Med | D | 4361 | 46.4 | 8458.1 | 782.7 | 20.6 | 29.3 | 175.4 | 798.3848 | 38.9741 |  |  | 983.4731 | 13.5851
Medium | High | C | 3828 | 40.7 | 10058.1 | 714 | 21 | 29.3 | 146.1 | 949.4135 | 39.6912 |  |  | 878.8135 | 13.8301
Medium | Cond | C | 3290.5 | 35 | 10458.1 | 644.8 | 19.1 | 29.3 | 116.7 | 987.1707 | 36.0544 |  |  | 773.7967 | 12.5657
Good | Med | C | 3999.8 | 42.6 | 9974.5 | 736.2 | 21.9 | 29.3 | 155.5 | 941.5222 | 41.2767 |  |  | 912.3903 | 14.3791
Good | High | C | 3527 | 37.5 | 11574.5 | 675.3 | 22.4 | 29.3 | 129.6 | 1092.5509 | 42.2569 |  |  | 819.8755 | 14.7221
Good | Cond | C | 3037.6 | 32.3 | 11974.5 | 612.2 | 20.6 | 29.3 | 102.8 | 1130.3081 | 38.9627 |  |  | 724.1459 | 13.5777
Super | Med | C | 3349.5 | 35.6 | 13031.8 | 652.4 | 24.1 | 29.3 | 119.9 | 1230.1097 | 45.5596 |  |  | 785.2271 | 15.8761
Super | High | C | 2985.1 | 31.8 | 14631.8 | 605.4 | 24.9 | 29.3 | 99.9 | 1381.1384 | 47.0575 |  |  | 713.7871 | 16.3981
Super | Cond | B | 2582.4 | 27.5 | 15031.8 | 553.5 | 23.5 | 29.3 | 77.8 | 1418.8956 | 44.4168 |  |  | 634.8459 | 15.4771
|  |  | 4957.6 |  | 3.0321 | £/kgCO2 p.a
|  |  | 4249.5 |  | 2.461 | £/kgCO2 p.a
3 Storey Council Flat |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  |  |  | Current Cost | Current Payback
[6 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor a.t | 39000.8 | 549.4 | 0 | 9542 | 0 | 1301.6 | 0 | 0 | 0 |  |  |  |  | 11976.8026 | 0
Standard | 31347.4 | 441.4 | 2400 | 7728.2 | 8.2 | 1046.4 | 0 | 226.543 | 2.498 |  |  |  |  | 9628.5542 | 1.022
Medium | 22017.8 | 310.2 | 34633.6 | 5517.4 | 52.6 | 735 | 0 | 3269.1668 | 16.2459 |  |  |  |  | 6763.176 | 6.6429
Good | 20049.6 | 282.2 | 40315.2 | 5051.2 | 54.8 | 669.2 | 0 | 3805.4697 | 16.9478 |  |  |  |  | 6157.7107 | 6.9281
Super | 16623.6 | 234.2 | 52762.6 | 4239.4 | 60.8 | 554.8 | 0 | 4980.4162 | 18.7848 |  |  |  |  | 5105.0477 | 7.6782
| 22377.2 |  | 2.3579 | £/kgCO2 p.a
| 16983 |  | 2.0393 | £/kgCO2 p.a
3 Storey Council Flat |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  |  |  | Current Cost | Current Payback
[6 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Standard poor a.t | 50130.2 | 706.2 | 0 | 12279.4 | 0 | 1673 | 0 | 0 | 0 |  |  |  |  | 15394.2768 | 0
Standard | 39998.6 | 563.2 | 3200 | 9878.2 | 11 | 1335.2 | 0 | 302.0574 | 2.5159 |  |  |  |  | 12285.9763 | 1.0295
Medium | 28482.4 | 401.2 | 45562.8 | 7149.2 | 72.4 | 950.8 | 0 | 4300.806 | 16.7666 |  |  |  |  | 8748.8813 | 6.8563
Good | 26076.8 | 367 | 52901.6 | 6579.4 | 75.6 | 870.4 | 0 | 4993.5368 | 17.5212 |  |  |  |  | 8009.0726 | 7.1632
Super | 21776 | 306.8 | 69308.8 | 5560.4 | 84.2 | 726.8 | 0 | 6542.2604 | 19.4739 |  |  |  |  | 6687.7229 | 7.9605
| 28354.2 |  | 2.4444 | £/kgCO2 p.a
| 21647.8 |  | 2.1047 | £/kgCO2 p.a