## Individual Dwellings
Ground floor Council flat (Gas) |  |  |  |  | Assuming tight air tightness unless stated otherwise | [6 empty] | Elec cost | 0.1296 | p/kWh | Gas | 0.038 | p/kWh
Insulation Type | Boiler Type |  | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Base | Low |  | 6913.4 | 97.4 | 0 | 1080.7 | 0 | 29.3 | 438.3 | 0 | 0 |  |  | 1452.1403 | 0
Poor | Low |  | 5878.8 | 82.8 | 0 | 947.3 | 0 | 29.3 | 363.2 | 0 | 0 |  |  | 1249.5205 | 0
Poor | Medium |  | 5164.2 | 72.7 | 1520 | 855.2 | 16.5 | 29.3 | 311.3 | 178.5386 | 15.8349 |  |  | 1109.4943 | 4.4361
Poor | High |  | 4449.6 | 62.7 | 1600 | 763.2 | 8.7 | 29.3 | 259.4 | 187.9354 | 11.8385 |  |  | 969.4681 | 3.3149
Standard | Low |  | 4950.3 | 69.7 | 2209.6 | 827.7 | 18.5 | 29.3 | 295.8 | 259.5388 | 20.5169 |  |  | 1067.6753 | 5.7472
Standard | Medium |  | 4368.4 | 61.5 | 3729.6 | 752.7 | 19.2 | 29.3 | 253.5 | 438.0774 | 26.712 |  |  | 953.5499 | 7.4803
Standard | High |  | 3786.4 | 53.3 | 3809.6 | 677.7 | 14.1 | 29.3 | 211.3 | 447.4742 | 22.2072 |  |  | 839.6943 | 6.2203
Medium | Low |  | 3491.3 | 49.2 | 6800.6 | 639.7 | 22.1 | 29.3 | 189.8 | 798.7959 | 36.2266 |  |  | 781.6873 | 10.1433
Medium | Medium |  | 3117.8 | 43.9 | 8320.6 | 591.5 | 23.4 | 29.3 | 162.7 | 977.3346 | 39.9564 |  |  | 708.5715 | 11.1901
Medium | High |  | 2744.2 | 38.7 | 8400.6 | 543.4 | 20.8 | 29.3 | 135.6 | 986.7313 | 36.7293 |  |  | 635.4557 | 10.2862
Good | Low |  | 3252.6 | 45.8 | 7842.3 | 608.9 | 23.2 | 29.3 | 172.5 | 921.1536 | 39.0485 |  |  | 735.0119 | 10.9357
Good | Medium |  | 2913.1 | 41 | 9362.3 | 565.2 | 24.5 | 29.3 | 147.9 | 1099.6922 | 42.6651 |  |  | 668.6411 | 11.9493
Good | High |  | 2573.7 | 36.2 | 9442.3 | 521.4 | 22.2 | 29.3 | 123.2 | 1109.089 | 39.6599 |  |  | 602.0005 | 11.1068
Super | Low |  | 2748.5 | 38.7 | 10106.2 | 544 | 25.1 | 29.3 | 135.9 | 1187.0705 | 44.2359 |  |  | 636.2651 | 12.3869
Super | Medium |  | 2481.1 | 34.9 | 11626.2 | 509.5 | 26.6 | 29.3 | 116.5 | 1365.6091 | 47.8154 |  |  | 583.9239 | 13.3909
Super | High |  | 2213.7 | 31.2 | 11706.2 | 475 | 24.8 | 29.3 | 97.1 | 1375.0059 | 45.4022 |  |  | 531.5827 | 12.7164
Middle floor Council flat (Gas) |  |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type |  | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Base | Low |  | 5613.5 | 79.1 | 0 | 913.2 | 0 | 29.3 | 343.9 | 0 | 0 |  |  | 1197.4491 | 0
Poor | Low |  | 4764.6 | 67.1 | 400 | 803.8 | 3.7 | 29.3 | 282.3 | 46.9838 | 8.5894 |  |  | 1031.2523 | 2.4068
Poor | Medium |  | 4209.2 | 59.3 | 1920 | 732.2 | 10.6 | 29.3 | 242 | 225.5225 | 24.9196 |  |  | 922.5229 | 6.9837
Poor | High |  | 3653.8 | 51.5 | 2000 | 660.6 | 7.9 | 29.3 | 201.6 | 234.9192 | 18.6001 |  |  | 813.5237 | 5.2093
Standard | Low |  | 3809.7 | 53.7 | 2609.6 | 680.7 | 11.2 | 29.3 | 212.9 | 306.5226 | 26.3675 |  |  | 844.0111 | 7.3835
Standard | Medium |  | 3390.6 | 47.8 | 4129.6 | 626.7 | 14.4 | 29.3 | 182.5 | 485.0613 | 33.8612 |  |  | 761.9919 | 9.4834
Standard | High |  | 2971.6 | 41.9 | 4209.6 | 572.7 | 12.4 | 29.3 | 152.1 | 494.458 | 29.0431 |  |  | 679.9727 | 8.1349
Medium | Low |  | 3013.8 | 42.4 | 6845.6 | 578.1 | 20.4 | 29.3 | 155.2 | 804.0816 | 47.9905 |  |  | 688.3365 | 13.4461
Medium | Medium |  | 2708.5 | 38.1 | 8365.6 | 538.8 | 22.3 | 29.3 | 133 | 982.6202 | 52.4904 |  |  | 628.4409 | 14.7021
Medium | High |  | 2403.2 | 33.8 | 8445.6 | 499.4 | 20.4 | 29.3 | 110.8 | 992.017 | 47.9467 |  |  | 568.5453 | 13.4291
Good | Low |  | 2854.7 | 40.2 | 7674.3 | 557.6 | 21.6 | 29.3 | 143.6 | 901.4204 | 50.6986 |  |  | 657.0397 | 14.2009
Good | Medium |  | 2572.1 | 36.2 | 9194.3 | 521.2 | 23.5 | 29.3 | 123.1 | 1079.959 | 55.1 |  |  | 601.7307 | 15.434
Good | High |  | 2289.5 | 32.2 | 9274.3 | 484.8 | 21.6 | 29.3 | 102.6 | 1089.3558 | 50.8569 |  |  | 546.4217 | 14.2456
Super | Low |  | 2536.3 | 35.7 | 9654.2 | 516.6 | 24.3 | 29.3 | 120.5 | 1133.9787 | 57.185 |  |  | 594.7159 | 16.0174
Super | Medium |  | 2299.2 | 32.4 | 11174.2 | 486 | 26.2 | 29.3 | 103.3 | 1312.5173 | 61.4474 |  |  | 548.3103 | 17.2139
Super | High |  | 2062.1 | 29 | 11254.2 | 455.5 | 24.6 | 29.3 | 86.1 | 1321.9141 | 57.7633 |  |  | 501.9047 | 16.1804
Top floor Council flat (Gas) |  |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type |  | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Base | Low |  | 8319.4 | 117.2 | 0 | 1261.8 | 0 | 29.3 | 540.4 | 0 | 0 |  |  | 1727.6061 | 0
Poor | Low |  | 7629.6 | 107.5 | 400 | 1173 | 4.5 | 29.3 | 490.3 | 46.9838 | 10.5819 |  |  | 1592.4363 | 2.9592
Poor | Medium |  | 6664.9 | 93.9 | 1920 | 1048.6 | 9 | 29.3 | 420.2 | 225.5225 | 21.156 |  |  | 1403.3065 | 5.9205
Poor | High |  | 5700.2 | 80.3 | 2000 | 924.3 | 5.9 | 29.3 | 350.2 | 234.9192 | 13.9211 |  |  | 1214.4465 | 3.8974
Standard | Low |  | 4632 | 65.2 | 2964.6 | 786.7 | 6.2 | 29.3 | 272.6 | 348.2208 | 14.6588 |  |  | 1005.0817 | 4.1031
Standard | Medium |  | 4095.5 | 57.7 | 4484.6 | 717.5 | 8.2 | 29.3 | 233.7 | 526.7594 | 19.3555 |  |  | 900.1295 | 5.4196
Standard | High |  | 3559 | 50.1 | 4564.6 | 648.4 | 7.4 | 29.3 | 194.7 | 536.1562 | 17.4815 |  |  | 794.9075 | 4.894
Medium | Low |  | 3491.3 | 49.2 | 7555.6 | 639.7 | 12.1 | 29.3 | 189.8 | 887.4779 | 28.5317 |  |  | 781.6873 | 7.9876
Medium | Medium |  | 3117.8 | 43.9 | 9075.6 | 591.5 | 13.5 | 29.3 | 162.7 | 1066.0166 | 31.8071 |  |  | 708.5715 | 8.9061
Medium | High |  | 2744.2 | 38.7 | 9155.6 | 543.4 | 12.7 | 29.3 | 135.6 | 1075.4133 | 29.9391 |  |  | 635.4557 | 8.3831
Good | Low |  | 3173 | 44.7 | 8526.3 | 598.6 | 12.9 | 29.3 | 166.7 | 1001.496 | 30.2019 |  |  | 719.3635 | 8.4566
Good | Medium |  | 2844.9 | 40.1 | 10046.3 | 556.4 | 14.2 | 29.3 | 142.9 | 1180.0346 | 33.4572 |  |  | 655.1511 | 9.3676
Good | High |  | 2516.9 | 35.4 | 10126.3 | 514.1 | 13.5 | 29.3 | 119.1 | 1189.4314 | 31.8157 |  |  | 590.9387 | 8.9088
Super | Low |  | 2748.5 | 38.7 | 10506.2 | 544 | 14.6 | 29.3 | 135.9 | 1234.0543 | 34.3843 |  |  | 636.2651 | 9.6269
Super | Medium |  | 2481.1 | 34.9 | 12026.2 | 509.5 | 16 | 29.3 | 116.5 | 1412.5929 | 37.554 |  |  | 583.9239 | 10.5153
Super | High |  | 2213.7 | 31.2 | 12106.2 | 475 | 15.4 | 29.3 | 97.1 | 1421.9897 | 36.1462 |  |  | 531.5827 | 10.122
Ground floor tenement |  |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Base | Low | F | 7873.7 | 110.9 | 0 | 1204.4 | 0 | 29.3 | 508 | 0 | 0 |  |  | 1640.1909 | 0
Poor | Low | F | 6632.2 | 93.4 | 400 | 1044.4 | 2.5 | 29.3 | 417.9 | 46.9838 | 5.873 |  |  | 1397.1011 | 1.6455
Poor | Medium | E | 5810 | 81.8 | 1920 | 938.5 | 7.2 | 29.3 | 358.2 | 225.5225 | 16.963 |  |  | 1236.0305 | 4.7506
Poor | High | E | 4987.7 | 70.2 | 2000 | 832.5 | 5.4 | 29.3 | 298.5 | 234.9192 | 12.6335 |  |  | 1074.9599 | 3.5384
Poor | Cond | D | 4240.4 | 59.7 | 2400 | 736.2 | 5.1 | 29.3 | 244.2 | 281.9031 | 12.042 |  |  | 928.4585 | 3.3721
Standard | Low | E | 5518 | 77.7 | 3721.9 | 900.8 | 12.3 | 29.3 | 337 | 437.173 | 28.7993 |  |  | 1178.8329 | 8.0673
Standard | Medium | E | 4855 | 68.4 | 5241.9 | 815.4 | 13.5 | 29.3 | 288.8 | 615.7116 | 31.6561 |  |  | 1048.7893 | 8.8635
Standard | High | D | 4191.9 | 59 | 5321.9 | 730 | 11.2 | 29.3 | 240.7 | 625.1084 | 26.3536 |  |  | 919.0155 | 7.3795
Standard | Cond | D | 3571.9 | 50.3 | 5721.9 | 650.1 | 10.3 | 29.3 | 195.7 | 672.0922 | 24.2501 |  |  | 797.6055 | 6.7909
Medium | Low | D | 3767.2 | 53.1 | 9008.1 | 675.2 | 17 | 29.3 | 209.9 | 1058.088 | 39.9882 |  |  | 835.9171 | 11.2003
Medium | Medium | C | 3354.3 | 47.2 | 10528.1 | 622 | 18.1 | 29.3 | 179.9 | 1236.6267 | 42.4666 |  |  | 754.9771 | 11.8933
Medium | High | C | 2941.3 | 41.4 | 10608.1 | 568.8 | 16.7 | 29.3 | 149.9 | 1246.0234 | 39.2078 |  |  | 674.0371 | 10.9797
Medium | Cond | C | 2521.4 | 35.5 | 11008.1 | 514.7 | 16 | 29.3 | 119.4 | 1293.0073 | 37.4948 |  |  | 591.7481 | 10.4995
Good | Low | D | 3480.7 | 49 | 10466.8 | 638.3 | 18.5 | 29.3 | 189.1 | 1229.4264 | 43.435 |  |  | 779.7987 | 12.1651
Good | Medium | C | 3108.7 | 43.8 | 11986.8 | 590.4 | 19.5 | 29.3 | 162.1 | 1407.965 | 45.8621 |  |  | 706.9527 | 12.8443
Good | High | C | 2736.7 | 38.5 | 12066.8 | 542.4 | 18.2 | 29.3 | 135 | 1417.3618 | 42.8206 |  |  | 633.8369 | 11.9906
Good | Cond | B | 2349.5 | 33.1 | 12466.8 | 492.5 | 17.5 | 29.3 | 106.9 | 1464.3457 | 41.1391 |  |  | 558.0231 | 11.5202
Super | Low | C | 2875.9 | 40.5 | 13008.7 | 560.4 | 20.2 | 29.3 | 145.2 | 1527.997 | 47.4533 |  |  | 661.3565 | 13.29
Super | Medium | C | 2590.3 | 36.5 | 14528.7 | 523.6 | 21.3 | 29.3 | 124.4 | 1706.5357 | 50.1332 |  |  | 605.2381 | 14.038
Super | High | B | 2304.6 | 32.5 | 14608.7 | 486.7 | 20.4 | 29.3 | 103.7 | 1715.9324 | 47.8175 |  |  | 549.3895 | 13.3926
Super | Cond | B | 1986.6 | 28 | 15008.7 | 445.8 | 19.8 | 29.3 | 80.6 | 1762.9163 | 46.4782 |  |  | 487.0657 | 13.0157
|  |  | 5887.1 |  | 2.5494 | £/kgCO2 p.a
Middle floor tenement |  |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Base | Low | E | 6313.9 | 88.9 | 0 | 1003.4 | 0 | 29.3 | 394.8 | 0 | 0 |  |  | 1334.7773 | 0
Poor | Low | E | 5295.2 | 74.6 | 400 | 872.1 | 3 | 29.3 | 320.8 | 46.9838 | 7.1567 |  |  | 1135.1253 | 2.0035
Poor | Medium | E | 4664 | 65.7 | 1920 | 790.8 | 9 | 29.3 | 275 | 225.5225 | 21.2157 |  |  | 1011.5569 | 5.9402
Poor | High | D | 4032.7 | 56.8 | 2000 | 709.4 | 6.8 | 29.3 | 229.1 | 234.9192 | 15.9809 |  |  | 887.7187 | 4.4737
Poor | Cond | D | 3438.2 | 48.4 | 2400 | 632.8 | 6.5 | 29.3 | 186 | 281.9031 | 15.2133 |  |  | 771.4349 | 4.2603
Standard | Low | D | 4149.2 | 58.4 | 3721.9 | 724.4 | 13.3 | 29.3 | 237.6 | 437.173 | 31.3386 |  |  | 910.6517 | 8.7755
Standard | Medium | D | 3681.7 | 51.9 | 5241.9 | 664.2 | 15.5 | 29.3 | 203.7 | 615.7116 | 36.3038 |  |  | 819.1895 | 10.1668
Standard | High | C | 3214.2 | 45.3 | 5321.9 | 604 | 13.3 | 29.3 | 169.7 | 625.1084 | 31.3024 |  |  | 727.4575 | 8.7629
Standard | Cond | C | 2750.6 | 38.7 | 5721.9 | 544.2 | 12.5 | 29.3 | 136.1 | 672.0922 | 29.2723 |  |  | 636.8047 | 8.1979
Medium | Low | C | 3194.2 | 45 | 8653.1 | 601.4 | 21.5 | 29.3 | 168.3 | 1016.3899 | 50.5667 |  |  | 723.6803 | 14.1599
Medium | Medium | C | 2863.1 | 40.3 | 10173.1 | 558.7 | 22.9 | 29.3 | 144.2 | 1194.9285 | 53.7409 |  |  | 658.6585 | 15.0463
Medium | High | C | 2532 | 35.7 | 10253.1 | 516.1 | 21 | 29.3 | 120.2 | 1204.3253 | 49.4285 |  |  | 593.9065 | 13.8393
Medium | Cond | B | 2177.6 | 30.7 | 10653.1 | 470.4 | 20 | 29.3 | 94.5 | 1251.3091 | 46.9534 |  |  | 524.5679 | 13.1486
Good | Low | C | 3003.2 | 42.3 | 9898.8 | 576.8 | 23.2 | 29.3 | 154.4 | 1162.7093 | 54.5105 |  |  | 686.1781 | 15.2618
Good | Medium | C | 2699.4 | 38 | 11418.8 | 537.6 | 24.5 | 29.3 | 132.3 | 1341.248 | 57.589 |  |  | 626.5523 | 16.1231
Good | High | C | 2395.6 | 33.7 | 11498.8 | 498.5 | 22.8 | 29.3 | 110.3 | 1350.6447 | 53.5015 |  |  | 567.1963 | 14.9806
Good | Cond | B | 2063 | 29.1 | 11898.8 | 455.6 | 21.7 | 29.3 | 86.1 | 1397.6286 | 51.027 |  |  | 501.9047 | 14.2865
Super | Low | C | 2621.2 | 36.9 | 12156.7 | 527.5 | 25.5 | 29.3 | 126.7 | 1427.9214 | 60.0093 |  |  | 611.4435 | 16.8065
Super | Medium | C | 2372 | 33.4 | 13676.7 | 495.4 | 26.9 | 29.3 | 108.6 | 1606.4601 | 63.2465 |  |  | 562.6097 | 17.7121
Super | High | B | 2122.7 | 29.9 | 13756.7 | 463.3 | 25.5 | 29.3 | 90.5 | 1615.8568 | 59.8355 |  |  | 513.7759 | 16.756
Super | Cond | B | 1833.8 | 25.8 | 14156.7 | 426.1 | 24.5 | 29.3 | 69.5 | 1662.8407 | 57.6075 |  |  | 457.1179 | 16.1301
|  |  | 4480.1 |  | 3.1599 | £/kgCO2 p.a
Top floor tenement |  |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | 20 year loan | loan repayment less savings |  |  | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Base | Low | F | 9560.9 | 134.7 | 0 | 1421.8 | 0 | 29.3 | 630.5 | 0 | 0 |  |  | 1970.6959 | 0
Poor | Low | F | 8733.2 | 123 | 400 | 1315.2 | 3.8 | 29.3 | 570.4 | 46.9838 | 8.815 |  |  | 1808.5461 | 2.4669
Poor | Medium | F | 7610.8 | 107.2 | 1920 | 1170.5 | 7.6 | 29.3 | 488.9 | 225.5225 | 17.9485 |  |  | 1588.6591 | 5.0257
Poor | High | F | 6488.4 | 91.4 | 2000 | 1025.9 | 5.1 | 29.3 | 407.4 | 234.9192 | 11.8676 |  |  | 1368.7721 | 3.3227
Poor | Cond | E | 5501 | 77.5 | 2400 | 898.6 | 4.6 | 29.3 | 335.7 | 281.9031 | 10.7761 |  |  | 1175.3255 | 3.0175
Standard | Low | E | 5136 | 72.3 | 4076.9 | 851.6 | 7.1 | 29.3 | 309.2 | 478.8711 | 16.7966 |  |  | 1103.8285 | 4.703
Standard | Medium | D | 4527.5 | 63.8 | 5596.9 | 773.2 | 8.6 | 29.3 | 265.1 | 657.4098 | 20.2717 |  |  | 984.8467 | 5.6772
Standard | High | D | 3919 | 55.2 | 5676.9 | 694.8 | 7.8 | 29.3 | 220.9 | 666.8065 | 18.3441 |  |  | 865.5951 | 5.137
Standard | Cond | C | 3342.7 | 47.1 | 6076.9 | 620.5 | 7.6 | 29.3 | 179 | 713.7904 | 17.8158 |  |  | 752.5489 | 4.9886
Medium | Low | D | 3767.2 | 53.1 | 9363.1 | 675.2 | 12.5 | 29.3 | 209.9 | 1099.7862 | 29.4612 |  |  | 835.9171 | 8.251
Medium | Medium | C | 3354.3 | 47.2 | 10883.1 | 622 | 13.6 | 29.3 | 179.9 | 1278.3248 | 31.9661 |  |  | 754.9771 | 8.952
Medium | High | C | 2941.3 | 41.4 | 10963.1 | 568.8 | 12.9 | 29.3 | 149.9 | 1287.7216 | 30.1928 |  |  | 674.0371 | 8.4549
Medium | Cond | C | 2521.4 | 35.5 | 11363.1 | 514.7 | 12.5 | 29.3 | 119.4 | 1334.7055 | 29.428 |  |  | 591.7481 | 8.2404
Good | Low | C | 3385.2 | 47.7 | 10750.8 | 626 | 13.5 | 29.3 | 182.1 | 1262.7849 | 31.7362 |  |  | 760.9127 | 8.8866
Good | Medium | C | 3026.8 | 42.6 | 12270.8 | 579.8 | 14.6 | 29.3 | 156.1 | 1441.3236 | 34.2357 |  |  | 690.7647 | 9.5871
Good | High | C | 2668.5 | 37.6 | 12350.8 | 533.6 | 13.9 | 29.3 | 130.1 | 1450.7203 | 32.6665 |  |  | 620.6167 | 9.1482
Good | Cond | B | 2292.2 | 32.3 | 12750.8 | 485.1 | 13.6 | 29.3 | 102.8 | 1497.7042 | 31.9783 |  |  | 546.9613 | 8.9559
Super | Low | C | 2875.9 | 40.5 | 13008.7 | 560.4 | 15.1 | 29.3 | 145.2 | 1527.997 | 35.4771 |  |  | 661.3565 | 9.9353
Super | Medium | C | 2590.3 | 36.5 | 14528.7 | 523.6 | 16.2 | 29.3 | 124.4 | 1706.5357 | 37.999 |  |  | 605.2381 | 10.6402
Super | High | B | 2304.6 | 32.5 | 14608.7 | 486.7 | 15.6 | 29.3 | 103.7 | 1715.9324 | 36.7005 |  |  | 549.3895 | 10.2784
Super | Cond | B | 1986.6 | 28 | 15008.7 | 445.8 | 15.4 | 29.3 | 80.6 | 1762.9163 | 36.1253 |  |  | 487.0657 | 10.1162
|  |  | 7574.3 |  | 15008.7
|  |  |  | 1.9815 | £/kgCO2 p.a

## Whole buildings
Whole Tenement Block - 3 storey |  |  |  |  | Assuming tight air tightness unless stated otherwise | [6 empty] | Elec cost | 0.1296 | p/kWh | Gas | 0.038 | p/kWh
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | Boiler Savings | Carbon Savings | 20 year loan | loan repayment less savings |  | Current Cost | Current Payback
[7 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Base | Low |  | 47497 | 669 | 0 | 7259.2 | 175.8 | 3066.6 | [5 empty] | 9891.3281 | 0
Poor | Low |  | 41321.2 | 582 | 2400 | 6463.4 | 175.8 | 2618.2 | 0 | 0.13003 | 281.9031 |  |  | 8681.5449 | 1.9838
Poor | Medium |  | 36169.6 | 509.4 | 11520 | 5799.6 | 175.8 | 2244.2 | 0.12467 | 0.23849 | 1353.1349 | 689.3349 |  | 7672.4929 | 5.1919
Poor | High |  | 31017.6 | 436.8 | 12000 | 5135.6 | 175.8 | 1870 | 0.24935 | 0.34696 | 1409.5155 | 745.5155 |  | 6662.9013 | 3.717
Poor | Cond |  | 26359.2 | 371.2 | 14400 | 4535.2 | 175.8 | 1531.8 | 0.36209 | 0.44503 | 1691.4186 | 1091.0186 |  | 5750.4377 | 3.4775
Standard | Low |  | 29606.4 | 416.8 | 23041.4 | 4953.6 | 175.8 | 1767.6 | 0 | 0.37667 | 2706.4342 | 3124.8342 |  | 6386.6261 | 6.5744
Standard | Medium |  | 26128.4 | 368.2 | 32161.4 | 4505.6 | 175.8 | 1515.2 | 0.11747 | 0.44989 | 3777.666 | 3329.666 |  | 5705.6509 | 7.6837
Standard | High |  | 22650.2 | 319 | 32641.4 | 4057.6 | 175.8 | 1262.6 | 0.23496 | 0.52312 | 3834.0466 | 3386.0466 |  | 5024.1361 | 6.7064
Standard | Cond |  | 19330.4 | 272.2 | 35041.4 | 3629.6 | 175.8 | 1021.6 | 0.34709 | 0.59302 | 4115.9497 | 3687.9497 |  | 4373.9181 | 6.3511
Medium | Low |  | 21457.2 | 302.4 | 54048.6 | 3903.6 | 175.8 | 1176.2 | 0 | 0.54824 | 6348.5283 | 6622.5283 |  | 4791.0289 | 10.5971
Medium | Medium |  | 19143.4 | 269.4 | 63168.6 | 3605.4 | 175.8 | 1008 | 0.10783 | 0.59696 | 7419.7601 | 7121.5601 |  | 4337.2253 | 11.3733
Medium | High |  | 16829.2 | 237 | 63648.6 | 3307.4 | 175.8 | 840 | 0.21569 | 0.64568 | 7476.1407 | 7178.1407 |  | 3883.9613 | 10.5951
Medium | Cond |  | 14440.8 | 203.4 | 66048.6 | 2999.6 | 175.8 | 666.6 | 0.327 | 0.69596 | 7758.0438 | 7450.2438 |  | 3416.1281 | 10.2002
Good | Low |  | 19738.2 | 278 | 62232.8 | 3682.2 | 175.8 | 1051.2 | 0 | 0.58443 | 7309.8413 | 7992.4413 |  | 4453.7789 | 11.445
Good | Medium |  | 17669.8 | 248.8 | 71352.8 | 3415.6 | 175.8 | 901 | 0.10479 | 0.62798 | 8381.0731 | 8114.4731 |  | 4048.5393 | 12.2121
Good | High |  | 15601.6 | 219.6 | 71832.8 | 3149 | 175.8 | 750.8 | 0.20957 | 0.67152 | 8437.4537 | 8170.8537 |  | 3643.2997 | 11.4969
Good | Cond |  | 13409.4 | 189 | 74232.8 | 2866.4 | 175.8 | 591.6 | 0.32064 | 0.71768 | 8719.3568 | 8436.7568 |  | 3213.7781 | 11.1168
Super | Low |  | 16746 | 235.8 | 76348.2 | 3296.6 | 175.8 | 834.2 | 0 | 0.64743 | 8967.8309 | 9398.0309 |  | 3868.3129 | 12.6761
Super | Medium |  | 15105.2 | 212.8 | 85468.2 | 3085.2 | 175.8 | 714.8 | 0.097982 | 0.68198 | 10039.0627 | 9827.6627 |  | 3546.1717 | 13.4698
Super | High |  | 13463.8 | 189.8 | 85948.2 | 2873.4 | 175.8 | 595.8 | 0.196 | 0.71653 | 10095.4433 | 9883.6433 |  | 3225.1097 | 12.8931
Super | Cond |  | 11614 | 163.6 | 88348.2 | 2635.4 | 175.8 | 461.4 | 0.30646 | 0.75548 | 10377.3464 | 10139.3464 |  | 2862.4985 | 12.5694
|  |  | 35883 |  | 88348.2 | 0.63696 |  | 0.84954
|  |  |  | 2.4621 | £/kgCO2 p.a
Whole Tenement Block - 4 storey |  |  |  |  | Assuming tight air tightness unless stated otherwise
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | Boiler Savings | Carbon Savings | 20 year loan | loan repayment less savings |  | Current Cost | Current Payback
[7 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Base | Low |  | 60124.8 | 846.8 | 0 | 9266 | 234.4 | 3856.2 | 0 |  | 0 |  |  | 12560.8826 | 0
Poor | Low |  | 51911.6 | 731.2 | 3200 | 8207.6 | 234.4 | 3259.8 | 0.1366 | 0.1366 | 375.8708 | -682.5292 |  | 10951.7954 | 1.9887
Poor | Medium |  | 45497.6 | 640.8 | 15360 | 7381.2 | 234.4 | 2794.2 | 0.24328 | 0.24328 | 1804.1798 | 977.7798 |  | 9695.6066 | 5.3607
Poor | High |  | 39083 | 550.4 | 16000 | 6554.4 | 234.4 | 2328.2 | 0.34997 | 0.34997 | 1879.354 | 1052.554 |  | 8438.3386 | 3.8811
Poor | Cond |  | 33235.6 | 468 | 19200 | 5800.8 | 234.4 | 1903.8 | 0.35977 | 0.44722 | 2255.2248 | 1501.6248 |  | 7293.3074 | 3.6449
Standard | Low |  | 37904.8 | 533.6 | 30485.2 | 6402.4 | 234.4 | 2242.8 | 0 | 0.36956 | 3580.7802 | 4182.3802 |  | 8207.9294 | 7.0033
Standard | Medium |  | 33491.8 | 472 | 42645.2 | 5834 | 234.4 | 1922.6 | 0.11642 | 0.44296 | 5009.0892 | 4440.6892 |  | 7344.0298 | 8.1745
Standard | High |  | 29078.6 | 409.6 | 43285.2 | 5265.6 | 234.4 | 1602 | 0.23285 | 0.51636 | 5084.2634 | 4515.8634 |  | 6479.051 | 7.1171
Standard | Cond |  | 24831.6 | 349.6 | 46485.2 | 4718 | 234.4 | 1293.8 | 0.3449 | 0.587 | 5460.1341 | 4912.5341 |  | 5647.5274 | 6.724
Medium | Low |  | 27845.6 | 392.4 | 71354.8 | 5106.4 | 234.4 | 1512.8 | 0 | 0.53687 | 8381.308 | 8769.708 |  | 6238.3894 | 11.2859
Medium | Medium |  | 24869.6 | 350 | 83514.8 | 4722.8 | 234.4 | 1296.4 | 0.10688 | 0.58637 | 9809.6171 | 9426.0171 |  | 5654.5422 | 12.0925
Medium | High |  | 21893.2 | 308.4 | 84154.8 | 4339.6 | 234.4 | 1080.4 | 0.21376 | 0.63587 | 9884.7912 | 9501.5912 |  | 5071.7742 | 11.237
Medium | Cond |  | 18796 | 264.8 | 87354.8 | 3940.4 | 234.4 | 855.6 | 0.32499 | 0.68738 | 10260.662 | 9861.462 |  | 4465.2638 | 10.7904
Good | Low |  | 25744.6 | 362.6 | 82030.4 | 4835.8 | 234.4 | 1360 | 0 | 0.57181 | 9635.26 | 10530.66 |  | 5826.135 | 12.1802
Good | Medium |  | 23068.6 | 324.8 | 94190.4 | 4490.8 | 234.4 | 1165.6 | 0.10394 | 0.61632 | 11063.569 | 10718.569 |  | 5301.6438 | 12.9752
Good | High |  | 20392.8 | 287 | 94830.4 | 4146 | 234.4 | 971.4 | 0.20788 | 0.66083 | 11138.7432 | 10793.9432 |  | 4777.6922 | 12.184
Good | Cond |  | 17535.4 | 247.2 | 98030.4 | 3777.6 | 234.4 | 763.8 | 0.31887 | 0.70835 | 11514.614 | 11146.214 |  | 4217.5874 | 11.7496
Super | Low |  | 21988.4 | 309.6 | 100661.6 | 4351.6 | 234.4 | 1087.6 | 0 | 0.63429 | 11823.6738 | 12397.6738 |  | 5091.1998 | 13.476
Super | Medium |  | 19849.2 | 279.6 | 112821.6 | 4076 | 234.4 | 932 | 0.097288 | 0.66987 | 13251.9828 | 12976.3828 |  | 4671.391 | 14.3002
Super | High |  | 17709.2 | 249.6 | 113461.6 | 3800 | 234.4 | 776.8 | 0.19461 | 0.70546 | 13327.157 | 13051.157 |  | 4252.6614 | 13.6565
Super | Cond |  | 15281.6 | 215.2 | 116661.6 | 3487.6 | 234.4 | 600.4 | 0.30502 | 0.74584 | 13703.0278 | 13390.6278 |  | 3776.7342 | 13.2809
|  |  | 44843.2 |  | 116661.6
|  |  |  | 2.6015 | £/kgCO2 p.a
Detached high ceiling
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | Boiler Savings | Carbon Savings | 20 year loan | loan repayment less savings | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Base | Low | G | 13913.1 | 148 | 0 | 2013.7 | 0 | 29.3 | 699.2 |  |  | 0 |  | 2156.0485 | 0
Poor | Low | G | 12690.9 | 135 | 400 | 1856.2 | 2.5 | 29.3 | 632.1 | 0 | 0.087845 | 46.9838 | -110.5162 | 1975.0127 | 2.2095
Poor | Medium | F | 11044.1 | 117.5 | 1920 | 1643.9 | 5.2 | 29.3 | 541.8 | 0.12976 | 0.20621 | 225.5225 | 13.2225 | 1731.3833 | 4.5212
Poor | High | F | 9397.3 | 100 | 2000 | 1431.7 | 3.4 | 29.3 | 451.5 | 0.25952 | 0.32457 | 234.9192 | 22.7192 | 1487.7539 | 2.9927
Poor | Cond | F | 7968.6 | 84.8 | 2400 | 1247.6 | 3.1 | 29.3 | 373.2 | 0.3721 | 0.42726 | 281.9031 | 97.8031 | 1276.5005 | 2.7287
Standard | Low | F | 8434.2 | 89.7 | 8275.2 | 1307.6 | 11.7 | 29.3 | 398.7 | 0 | 0.39379 | 972.0019 | 1032.0019 | 1345.2995 | 10.2069
Standard | Medium | E | 7395.5 | 78.7 | 9795.2 | 1173.8 | 11.7 | 29.3 | 341.8 | 0.12315 | 0.46845 | 1150.5405 | 1016.7405 | 1191.7833 | 10.1582
Standard | High | E | 6356.8 | 67.6 | 9875.2 | 1039.9 | 10.1 | 29.3 | 284.8 | 0.24631 | 0.54311 | 1159.9373 | 1026.0373 | 1037.9973 | 8.8325
Standard | Cond | D | 5414.6 | 57.6 | 10275.2 | 918.5 | 9.4 | 29.3 | 233.1 | 0.35802 | 0.61083 | 1206.9211 | 1085.5211 | 898.5107 | 8.1709
Medium | Low | D | 5568.3 | 59.2 | 17550.3 | 938.3 | 16.3 | 29.3 | 241.6 | 0 | 0.59978 | 2061.4517 | 2081.2517 | 921.4437 | 14.2153
Medium | Medium | D | 4939 | 52.5 | 19070.3 | 857.2 | 16.5 | 29.3 | 207.1 | 0.11301 | 0.64501 | 2239.9903 | 2158.8903 | 828.3627 | 14.3636
Medium | High | D | 3695.1 | 39.3 | 19550.3 | 696.9 | 14.8 | 29.3 | 138.8 | 0.3364 | 0.73442 | 2296.3709 | 2136.0709 | 644.0893 | 12.9304
Medium | Cond | C | 3922.7 | 41.7 | 16235.3 | 726.2 | 11.2 | 29.3 | 151.3 | 0.29553 | 0.71806 | 1906.9922 | 1936.2922 | 677.8143 | 10.9829
Good | Low | D | 4978.3 | 53 | 20650.3 | 862.3 | 17.9 | 29.3 | 209.2 | 0 | 0.64219 | 2425.5765 | 2561.6765 | 834.0285 | 15.6203
Good | Medium | D | 4433.3 | 47.2 | 22170.3 | 792 | 18.1 | 29.3 | 179.3 | 0.10948 | 0.68136 | 2604.1151 | 2533.8151 | 753.3583 | 15.8056
Good | High | C | 3888.3 | 41.4 | 22250.3 | 721.8 | 17.2 | 29.3 | 149.4 | 0.21895 | 0.72053 | 2613.5119 | 2543.3119 | 672.6881 | 14.9999
Good | Cond | C | 3341 | 35.5 | 22650.3 | 651.3 | 16.6 | 29.3 | 119.4 | 0.32889 | 0.75987 | 2660.4957 | 2589.9957 | 591.7481 | 14.4795
Super | Low | C | 3966.8 | 42.2 | 24763.4 | 731.9 | 19.3 | 29.3 | 153.7 | 0 | 0.71489 | 2908.6997 | 2989.2997 | 684.2895 | 16.8257
Super | Medium | C | 3566.3 | 37.9 | 26283.4 | 680.3 | 19.7 | 29.3 | 131.8 | 0.10096 | 0.74367 | 3087.2383 | 3035.6383 | 625.2033 | 17.1692
Super | High | C | 3165.8 | 33.7 | 26363.4 | 628.7 | 19 | 29.3 | 109.8 | 0.20193 | 0.77246 | 3096.6351 | 3045.0351 | 565.8473 | 16.5787
Super | Cond | B | 2734.2 | 29.1 | 26763.4 | 573.1 | 18.6 | 29.3 | 86.1 | 0.31073 | 0.80348 | 3143.6189 | 3088.0189 | 501.9047 | 16.1796
|  |  | 11178.9 |  | 26763.4
|  |  |  | 2.3941 | £/kgCO2 p.a
Semi Detached high ceiling
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | Boiler Savings | Carbon Savings | 20 year loan | loan repayment less savings | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Base | Low | G | 12943.8 | 137.7 | 0 | 1888.8 | 0 | 29.3 | 646 |  |  | 0 | 1888.8 | 2012.5149 | 0
Poor | Low | F | 11468.7 | 122 | 400 | 1698.7 | 2.1 | 29.3 | 565.1 | 0 | 0.11396 | 46.9838 | -143.1162 | 1794.2467 | 1.8326
Poor | Medium | F | 9996.5 | 106.3 | 1920 | 1508.9 | 5.1 | 29.3 | 484.4 | 0.12837 | 0.2277 | 225.5225 | 35.7225 | 1576.5181 | 4.4037
Poor | High | F | 8524.2 | 90.7 | 2000 | 1319.2 | 3.5 | 29.3 | 403.7 | 0.25674 | 0.34145 | 234.9192 | 45.2192 | 1358.7895 | 3.0594
Poor | Cond | E | 7235.3 | 77 | 2400 | 1153.1 | 3.3 | 29.3 | 333 | 0.36913 | 0.44102 | 281.9031 | 115.8031 | 1168.0409 | 2.842
Standard | Low | E | 7717.7 | 82.1 | 6163.6 | 1215.3 | 9.2 | 29.3 | 359.4 | 0 | 0.40375 | 723.9741 | 786.1741 | 1239.2681 | 7.9711
Standard | Medium | E | 6781.4 | 72.1 | 7683.6 | 1094.6 | 9.7 | 29.3 | 308.1 | 0.12132 | 0.47609 | 902.5128 | 781.8128 | 1100.8607 | 8.4282
Standard | High | E | 5845 | 62.2 | 7763.6 | 974 | 8.5 | 29.3 | 256.7 | 0.24265 | 0.54843 | 911.9095 | 791.3095 | 962.1835 | 7.3916
Standard | Cond | D | 4984.7 | 53 | 8163.6 | 863.1 | 8 | 29.3 | 209.6 | 0.35412 | 0.6149 | 958.8934 | 847.9934 | 835.1077 | 6.9335
Medium | Low | D | 5315.4 | 56.5 | 14119 | 905.7 | 14.4 | 29.3 | 227.7 | 0 | 0.58935 | 1658.4124 | 1701.0124 | 883.9415 | 12.5105
Medium | Medium | D | 4722.3 | 50.2 | 15639 | 829.3 | 14.8 | 29.3 | 195.2 | 0.11158 | 0.63517 | 1836.9511 | 1760.5511 | 796.2565 | 12.8583
Medium | High | D | 4129.1 | 43.9 | 15719 | 752.8 | 13.8 | 29.3 | 162.6 | 0.22318 | 0.681 | 1846.3478 | 1769.8478 | 708.3017 | 12.0525
Medium | Cond | C | 3543.3 | 37.7 | 16119 | 677.4 | 13.3 | 29.3 | 130.5 | 0.33339 | 0.72626 | 1893.3317 | 1817.9317 | 621.6959 | 11.5896
Good | Low | D | 4725.4 | 50.3 | 16427.2 | 829.7 | 15.5 | 29.3 | 195.3 | 0 | 0.63493 | 1929.5327 | 2081.8327 | 796.5263 | 13.5093
Good | Medium | D | 4216.5 | 44.9 | 17947.2 | 764.1 | 16 | 29.3 | 167.4 | 0.10769 | 0.67425 | 2108.0714 | 2042.4714 | 721.2521 | 13.899
Good | High | C | 3707.6 | 39.4 | 18027.2 | 698.5 | 15.1 | 29.3 | 139.5 | 0.21539 | 0.71356 | 2117.4681 | 2051.8681 | 645.9779 | 13.1919
Good | Cond | C | 3189.3 | 33.9 | 18427.2 | 631.7 | 14.7 | 29.3 | 111.1 | 0.32507 | 0.7536 | 2164.452 | 2097.652 | 569.3547 | 12.7686
Super | Low | C | 3840.3 | 40.9 | 20012.4 | 715.6 | 17.1 | 29.3 | 146.8 | 0 | 0.70331 | 2350.649 | 2434.549 | 665.6733 | 14.8588
Super | Medium | C | 3457.9 | 36.8 | 21532.4 | 666.3 | 17.6 | 29.3 | 125.8 | 0.099576 | 0.73285 | 2529.1876 | 2479.8876 | 609.0153 | 15.3419
Super | High | C | 3075.4 | 32.7 | 21612.4 | 617.1 | 17 | 29.3 | 104.9 | 0.19918 | 0.7624 | 2538.5844 | 2489.3844 | 552.6271 | 14.8042
Super | Cond | B | 2658.3 | 28.3 | 22012.4 | 563.3 | 16.6 | 29.3 | 82 | 0.30779 | 0.79463 | 2585.5682 | 2531.7682 | 490.8429 | 14.4659
|  |  | 10285.5 |  | 22012.4
|  |  |  | 2.1401 | £/kgCO2 p.a
Mid Terreced high ceiling
Insulation Type | Boiler Type | Efficiency Rating | Carbon Footprint kgCO2 p.a. | Total kgCO2/m2 | Total Upgrade Cost £ | Total Running Cost £ | Payback period years | Total Elec kWh/m2 p.a | Total other kWh/m2 p.a | Boiler Savings | Carbon Savings | 20 year loan | loan repayment less savings | Current Cost | Current Payback
[8 empty] | (Lighting, Cooling and Appliances) | Heating and hot water
Base | Low | F | 11553 | 122.9 | 0 | 1709.5 | 0 | 29.3 | 569.7 |  |  | 0 |  | 1806.6575 | 0
Poor | Low | F | 9909.3 | 105.4 | 400 | 1497.7 | 1.9 | 29.3 | 479.6 | 0 | 0.14227 | 46.9838 | -164.8162 | 1563.5677 | 1.6455
Poor | Medium | F | 8659.8 | 92.1 | 1920 | 1336.7 | 5.2 | 29.3 | 411.1 | 0.12609 | 0.25043 | 225.5225 | 64.5225 | 1378.7547 | 4.487
Poor | High | E | 7410.4 | 78.8 | 2000 | 1175.7 | 3.7 | 29.3 | 342.6 | 0.25218 | 0.35857 | 234.9192 | 73.9192 | 1193.9417 | 3.2642
Poor | Cond | E | 6299.7 | 67 | 2400 | 1032.6 | 3.5 | 29.3 | 281.7 | 0.36426 | 0.45471 | 281.9031 | 138.8031 | 1029.6335 | 3.0887
Standard | Low | E | 6874.8 | 73.1 | 4052.1 | 1106.7 | 6.7 | 29.3 | 313.2 | 0 | 0.40493 | 475.9581 | 550.0581 | 1114.6205 | 5.8553
Standard | Medium | E | 6058.9 | 64.5 | 5572.1 | 1001.5 | 7.9 | 29.3 | 268.5 | 0.11868 | 0.47556 | 654.4968 | 549.2968 | 994.0199 | 6.8568
Standard | High | D | 5242.9 | 55.8 | 5652.1 | 896.4 | 7 | 29.3 | 223.7 | 0.23737 | 0.54619 | 663.8935 | 558.7935 | 873.1495 | 6.0547
Standard | Cond | D | 4479 | 47.6 | 797.9 | 6052.1 | 6.6 | 29.3 | 181.8 | 0.34849 | 0.61231 | 93.721 | 5249.421 | 760.1033 | 0.76241
Medium | Low | D | 4894 | 52.1 | 10687.8 | 851.4 | 12.5 | 29.3 | 204.6 | 0 | 0.57639 | 1255.385 | -3945.315 | 821.6177 | 10.8501
Medium | Medium | D | 4361 | 46.4 | 12207.8 | 782.7 | 13.2 | 29.3 | 175.4 | 0.10891 | 0.62252 | 1433.9236 | 1365.2236 | 742.8361 | 11.4754
Medium | High | C | 3828 | 40.7 | 12287.8 | 714 | 12.3 | 29.3 | 146.1 | 0.21782 | 0.66866 | 1443.3204 | 1374.6204 | 663.7847 | 10.7517
Medium | Cond | C | 3290.5 | 35 | 12687.8 | 644.8 | 11.9 | 29.3 | 116.7 | 0.32765 | 0.71518 | 1490.3042 | 1421.1042 | 584.4635 | 10.3812
Good | Low | D | 4472.5 | 47.6 | 12204.2 | 797.1 | 13.4 | 29.3 | 181.5 | 0 | 0.61287 | 1433.5008 | 1585.8008 | 759.2939 | 11.6523
Good | Medium | C | 3999.8 | 42.6 | 13724.2 | 736.2 | 14.1 | 29.3 | 155.5 | 0.10569 | 0.65379 | 1612.0394 | 1551.1394 | 689.1459 | 12.281
Good | High | C | 3527 | 37.5 | 13804.2 | 675.3 | 13.3 | 29.3 | 129.6 | 0.2114 | 0.69471 | 1621.4362 | 1560.5362 | 619.2677 | 11.6257
Good | Cond | C | 3037.6 | 32.3 | 14204.2 | 612.2 | 12.9 | 29.3 | 102.8 | 0.32083 | 0.73707 | 1668.42 | 1605.32 | 546.9613 | 11.2759
Super | Low | C | 3713.9 | 39.5 | 15261.4 | 699.3 | 15.1 | 29.3 | 139.9 | 0 | 0.67853 | 1792.5983 | 1879.6983 | 647.0571 | 13.1609
Super | Medium | C | 3349.5 | 35.6 | 16781.4 | 652.4 | 15.9 | 29.3 | 119.9 | 0.098118 | 0.71008 | 1971.1369 | 1924.2369 | 593.0971 | 13.8282
Super | High | C | 2985.1 | 31.8 | 16861.4 | 605.4 | 15.3 | 29.3 | 99.9 | 0.19624 | 0.74162 | 1980.5337 | 1933.5337 | 539.1371 | 13.3027
Super | Cond | B | 2582.4 | 27.5 | 17261.4 | 553.5 | 14.9 | 29.3 | 77.8 | 0.30467 | 0.77647 | 2027.5176 | 1975.6176 | 479.5113 | 13.0064
|  |  | 8970.6 |  | 17261.4
|  |  |  | 1.9242 | £/kgCO2 p.a