## Inputs
Input Data
Location Data |  |  | Tide Data Surface Speed
Chart Datum Depth | 32 | m | Times | Neaps | Springs
Factor to tides | 2 |  | Hw-6 | 0.10288 | 0.15432
|  |  | Hw-5 | 0.61728 | 1.0288
Wave Data |  |  | Hw-4 | 1.0288 | 1.6975
Hs | 1 | m | Hw-3 | 1.0802 | 1.749
Wavelength | 20 | m | Hw-2 | 0.92592 | 1.5432
Period | 3.5806 | s | Hw-1 | 0.41152 | 0.66872
Distance along x axis | 10 | m | Hw | 0.05144 | 0.10288
Perentage of wave passed | 50 | % | Hw+1 | 0.41152 | 0.72016
Force of Gravity | 9.81 | m/s^2 | Hw+2 | 0.7716 | 1.2346
Variable velocity tollerance |  |  | Hw+3 | 1.0288 | 1.6975
Percentage difference | 15 | % | Hw+4 | 0.97736 | 1.5946
|  |  | Hw+5 | 0.66872 | 1.1317
Output Data
Diameter | 22 | m
Centre Hub height
from Bottom | 15 | m

## Neaps
11th March at Southend Kintyre 2014
Chart Datum |  | Hw-6 |  | Hw-5 |  | Hw-4 |  | Hw-3 |  | Hw-2 |  | Hw-1 |  | Hw |  | Hw+1 |  | Hw+2 |  | Hw+3 |  | Hw+4 |  | Hw+5
32 | 1 | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed
|  | 0.10288 |  | 0.61728 |  | 1.0288 |  | 1.0802 |  | 0.92592 |  | 0.41152 |  | 0.05144 |  | 0.41152 |  | 0.7716 |  | 1.0288 |  | 0.97736 |  | 0.66872
|  | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 33.38 | 0.051751 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 33.3 | 0.41387 | 33.33 | 0.05174 | 33.33 | 0.41392 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 | 33.11 | 0.93044 | 33.11 | 0.41353 | 33.18 | 0.051707 | 33.18 | 0.41365 | 33.18 | 0.7756 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 | 32.88 | 1.0844 | 32.88 | 0.92952 | 32.88 | 0.41312 | 32.98 | 0.051662 | 32.98 | 0.4133 | 32.98 | 0.77493 | 32.98 | 1.0332 |  | 0 |  | 0
[5 empty] | 0 | 32.63 | 1.0317 | 32.63 | 1.0833 | 32.63 | 0.9285 | 32.63 | 0.41267 | 32.72 | 0.051604 | 32.72 | 0.41283 | 32.72 | 0.77406 | 32.72 | 1.0321 | 32.72 | 0.98047 |  | 0
|  |  |  | 32.43 | 0.61846 | 32.43 | 1.0308 | 32.43 | 1.0823 | 32.43 | 0.92769 | 32.43 | 0.41231 | 32.53 | 0.051561 | 32.53 | 0.41249 | 32.53 | 0.77341 | 32.53 | 1.0312 | 32.53 | 0.97966 | 32.53 | 0.67029
Chart Datum | 0 | 32 | 0.10288 | 32 | 0.61728 | 32 | 1.0288 | 32 | 1.0802 | 32 | 0.92592 | 32 | 0.41152 | 32 | 0.05144 | 32 | 0.41152 | 32 | 0.7716 | 32 | 1.0288 | 32 | 0.97736 | 32 | 0.66872
| 1 | 31 | 0.10241 | 31 | 0.61449 | 31 | 1.0241 | 31 | 1.0754 | 31 | 0.92173 | 31 | 0.40966 | 31 | 0.051207 | 31 | 0.40966 | 31 | 0.76811 | 31 | 1.0241 | 31 | 0.97294 | 31 | 0.66569
| 2 | 30 | 0.10194 | 30 | 0.61161 | 30 | 1.0194 | 30 | 1.0703 | 30 | 0.91742 | 30 | 0.40774 | 30 | 0.050968 | 30 | 0.40774 | 30 | 0.76452 | 30 | 1.0194 | 30 | 0.96839 | 30 | 0.66258
| 3 | 29 | 0.10144 | 29 | 0.60866 | 29 | 1.0144 | 29 | 1.0652 | 29 | 0.91299 | 29 | 0.40577 | 29 | 0.050722 | 29 | 0.40577 | 29 | 0.76083 | 29 | 1.0144 | 29 | 0.96371 | 29 | 0.65938
| 4 | 28 | 0.10094 | 28 | 0.60562 | 28 | 1.0094 | 28 | 1.0598 | 28 | 0.90842 | 28 | 0.40374 | 28 | 0.050468 | 28 | 0.40374 | 28 | 0.75702 | 28 | 1.0094 | 28 | 0.95889 | 28 | 0.65608
| 5 | 27 | 0.10041 | 27 | 0.60248 | 27 | 1.0041 | 27 | 1.0543 | 27 | 0.90372 | 27 | 0.40165 | 27 | 0.050207 | 27 | 0.40165 | 27 | 0.7531 | 27 | 1.0041 | 27 | 0.95392 | 27 | 0.65268
| 6 | 26 | 0.099873 | 26 | 0.59924 | 26 | 0.99873 | 26 | 1.0487 | 26 | 0.89886 | 26 | 0.39949 | 26 | 0.049937 | 26 | 0.39949 | 26 | 0.74905 | 26 | 0.99873 | 26 | 0.94879 | 26 | 0.64918
| 7 | 25 | 0.099315 | 25 | 0.59589 | 25 | 0.99315 | 25 | 1.0428 | 25 | 0.89384 | 25 | 0.39726 | 25 | 0.049658 | 25 | 0.39726 | 25 | 0.74486 | 25 | 0.99315 | 25 | 0.94349 | 25 | 0.64555
| 8 | 24 | 0.098738 | 24 | 0.59243 | 24 | 0.98738 | 24 | 1.0367 | 24 | 0.88864 | 24 | 0.39495 | 24 | 0.049369 | 24 | 0.39495 | 24 | 0.74053 | 24 | 0.98738 | 24 | 0.93801 | 24 | 0.64179
| 9 | 23 | 0.098139 | 23 | 0.58883 | 23 | 0.98139 | 23 | 1.0305 | 23 | 0.88325 | 23 | 0.39256 | 23 | 0.04907 | 23 | 0.39256 | 23 | 0.73604 | 23 | 0.98139 | 23 | 0.93232 | 23 | 0.6379
| 10 | 22 | 0.097518 | 22 | 0.58511 | 22 | 0.97518 | 22 | 1.0239 | 22 | 0.87766 | 22 | 0.39007 | 22 | 0.048759 | 22 | 0.39007 | 22 | 0.73138 | 22 | 0.97518 | 22 | 0.92642 | 22 | 0.63387
| 11 | 21 | 0.096872 | 21 | 0.58123 | 21 | 0.96872 | 21 | 1.0172 | 21 | 0.87185 | 21 | 0.38749 | 21 | 0.048436 | 21 | 0.38749 | 21 | 0.72654 | 21 | 0.96872 | 21 | 0.92028 | 21 | 0.62967
| 12 | 20 | 0.096199 | 20 | 0.57719 | 20 | 0.96199 | 20 | 1.0101 | 20 | 0.86579 | 20 | 0.3848 | 20 | 0.0481 | 20 | 0.3848 | 20 | 0.72149 | 20 | 0.96199 | 20 | 0.91389 | 20 | 0.62529
| 13 | 19 | 0.095497 | 19 | 0.57298 | 19 | 0.95497 | 19 | 1.0027 | 19 | 0.85947 | 19 | 0.38199 | 19 | 0.047748 | 19 | 0.38199 | 19 | 0.71623 | 19 | 0.95497 | 19 | 0.90722 | 19 | 0.62073
| 14 | 18 | 0.094762 | 18 | 0.56857 | 18 | 0.94762 | 18 | 0.995 | 18 | 0.85286 | 18 | 0.37905 | 18 | 0.047381 | 18 | 0.37905 | 18 | 0.71071 | 18 | 0.94762 | 18 | 0.90024 | 18 | 0.61595
| 15 | 17 | 0.093991 | 17 | 0.56395 | 17 | 0.93991 | 17 | 0.98691 | 17 | 0.84592 | 17 | 0.37597 | 17 | 0.046996 | 17 | 0.37597 | 17 | 0.70494 | 17 | 0.93991 | 17 | 0.89292 | 17 | 0.61094
| 16 | 16 | 0.093181 | 16 | 0.55909 | 16 | 0.93181 | 16 | 0.9784 | 16 | 0.83863 | 16 | 0.37272 | 16 | 0.04659 | 16 | 0.37272 | 16 | 0.69886 | 16 | 0.93181 | 16 | 0.88522 | 16 | 0.60568
| 17 | 15 | 0.092326 | 15 | 0.55395 | 15 | 0.92326 | 15 | 0.96942 | 15 | 0.83093 | 15 | 0.3693 | 15 | 0.046163 | 15 | 0.3693 | 15 | 0.69244 | 15 | 0.92326 | 15 | 0.87709 | 15 | 0.60012
| 18 | 14 | 0.09142 | 14 | 0.54852 | 14 | 0.9142 | 14 | 0.95991 | 14 | 0.82278 | 14 | 0.36568 | 14 | 0.04571 | 14 | 0.36568 | 14 | 0.68565 | 14 | 0.9142 | 14 | 0.86849 | 14 | 0.59423
| 19 | 13 | 0.090457 | 13 | 0.54274 | 13 | 0.90457 | 13 | 0.9498 | 13 | 0.81412 | 13 | 0.36183 | 13 | 0.045229 | 13 | 0.36183 | 13 | 0.67843 | 13 | 0.90457 | 13 | 0.85935 | 13 | 0.58797
| 20 | 12 | 0.089429 | 12 | 0.53657 | 12 | 0.89429 | 12 | 0.939 | 12 | 0.80486 | 12 | 0.35772 | 12 | 0.044714 | 12 | 0.35772 | 12 | 0.67072 | 12 | 0.89429 | 12 | 0.84958 | 12 | 0.58129
| 21 | 11 | 0.088324 | 11 | 0.52995 | 11 | 0.88324 | 11 | 0.9274 | 11 | 0.79492 | 11 | 0.3533 | 11 | 0.044162 | 11 | 0.3533 | 11 | 0.66243 | 11 | 0.88324 | 11 | 0.83908 | 11 | 0.57411
| 22 | 10 | 0.08713 | 10 | 0.52278 | 10 | 0.8713 | 10 | 0.91486 | 10 | 0.78417 | 10 | 0.34852 | 10 | 0.043565 | 10 | 0.34852 | 10 | 0.65347 | 10 | 0.8713 | 10 | 0.82773 | 10 | 0.56634
| 23 | 9 | 0.085828 | 9 | 0.51497 | 9 | 0.85828 | 9 | 0.9012 | 9 | 0.77245 | 9 | 0.34331 | 9 | 0.042914 | 9 | 0.34331 | 9 | 0.64371 | 9 | 0.85828 | 9 | 0.81537 | 9 | 0.55788
| 24 | 8 | 0.084396 | 8 | 0.50638 | 8 | 0.84396 | 8 | 0.88616 | 8 | 0.75956 | 8 | 0.33758 | 8 | 0.042198 | 8 | 0.33758 | 8 | 0.63297 | 8 | 0.84396 | 8 | 0.80176 | 8 | 0.54857
| 25 | 7 | 0.082801 | 7 | 0.49681 | 7 | 0.82801 | 7 | 0.86941 | 7 | 0.74521 | 7 | 0.33121 | 7 | 0.041401 | 7 | 0.33121 | 7 | 0.62101 | 7 | 0.82801 | 7 | 0.78661 | 7 | 0.53821
| 26 | 6 | 0.080998 | 6 | 0.48599 | 6 | 0.80998 | 6 | 0.85048 | 6 | 0.72898 | 6 | 0.32399 | 6 | 0.040499 | 6 | 0.32399 | 6 | 0.60748 | 6 | 0.80998 | 6 | 0.76948 | 6 | 0.52649
| 27 | 5 | 0.078916 | 5 | 0.47349 | 5 | 0.78916 | 5 | 0.82861 | 5 | 0.71024 | 5 | 0.31566 | 5 | 0.039458 | 5 | 0.31566 | 5 | 0.59187 | 5 | 0.78916 | 5 | 0.7497 | 5 | 0.51295
| 28 | 4 | 0.07644 | 4 | 0.45864 | 4 | 0.7644 | 4 | 0.80262 | 4 | 0.68796 | 4 | 0.30576 | 4 | 0.03822 | 4 | 0.30576 | 4 | 0.5733 | 4 | 0.7644 | 4 | 0.72618 | 4 | 0.49686
| 29 | 3 | 0.073362 | 3 | 0.44017 | 3 | 0.73362 | 3 | 0.7703 | 3 | 0.66026 | 3 | 0.29345 | 3 | 0.036681 | 3 | 0.29345 | 3 | 0.55021 | 3 | 0.73362 | 3 | 0.69694 | 3 | 0.47685
| 30 | 2 | 0.069233 | 2 | 0.4154 | 2 | 0.69233 | 2 | 0.72695 | 2 | 0.6231 | 2 | 0.27693 | 2 | 0.034617 | 2 | 0.27693 | 2 | 0.51925 | 2 | 0.69233 | 2 | 0.65771 | 2 | 0.45002
| 31 | 1 | 0.062706 | 1 | 0.37624 | 1 | 0.62706 | 1 | 0.65841 | 1 | 0.56435 | 1 | 0.25082 | 1 | 0.031353 | 1 | 0.25082 | 1 | 0.4703 | 1 | 0.62706 | 1 | 0.59571 | 1 | 0.40759

## Springs
5th March 2014 at Southend Kintyre
Chart Datum | Hw-6 |  | Hw-5 |  | Hw-4 |  | Hw-3 |  | Hw-2 |  | Hw-1 |  | Hw |  | Hw+1 |  | Hw+2 |  | Hw+3 |  | Hw+4 |  | Hw+5
32 | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed |  | Surface speed
| 0.15432 |  | 1.0288 |  | 1.6975 |  | 1.749 |  | 1.5432 |  | 0.66872 |  | 0.10288 |  | 0.72016 |  | 1.2346 |  | 1.6975 |  | 1.5946 |  | 1.1317
| Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed | Depth M | Speed
|  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 34.27 | 0.10389 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0 |  | 0 | 34.11 | 0.67485 | 34.13 | 0.10383 | 34.13 | 0.72682 |  | 0 |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 |  | 0 | 33.7 | 1.5547 | 33.7 | 0.67368 | 33.72 | 0.10365 | 33.72 | 0.72557 | 33.72 | 1.2438 |  | 0 |  | 0 |  | 0
|  |  |  | 0 |  | 0 | 33.16 | 1.7579 | 33.16 | 1.5511 | 33.16 | 0.67213 | 33.15 | 0.1034 | 33.15 | 0.7238 | 33.15 | 1.2408 | 33.15 | 1.7061 |  | 0 |  | 0
|  |  |  | 0 | 32.55 | 1.7017 | 32.55 | 1.7532 | 32.55 | 1.547 | 32.55 | 0.67035 | 32.55 | 0.10313 | 32.55 | 0.72192 | 32.55 | 1.2376 | 32.55 | 1.7017 | 32.55 | 1.5985 |  | 0
|  |  | 32.06 | 1.0291 | 32.06 | 1.698 | 32.06 | 1.7494 | 32.06 | 1.5436 | 32.06 | 0.6689 | 32.12 | 0.10294 | 32.12 | 0.72055 | 32.12 | 1.2352 | 32.12 | 1.6984 | 32.12 | 1.5955 | 32.12 | 1.1323
Chart Datum | 32 | 0.15432 | 32 | 1.0288 | 32 | 1.6975 | 32 | 1.749 | 32 | 1.5432 | 32 | 0.66872 | 32 | 0.10288 | 32 | 0.72016 | 32 | 1.2346 | 32 | 1.6975 | 32 | 1.5946 | 32 | 1.1317
| 31 | 0.15362 | 31 | 1.0241 | 31 | 1.6898 | 31 | 1.741 | 31 | 1.5362 | 31 | 0.66569 | 31 | 0.10241 | 31 | 0.7169 | 31 | 1.229 | 31 | 1.6898 | 31 | 1.5874 | 31 | 1.1266
| 30 | 0.1529 | 30 | 1.0194 | 30 | 1.6819 | 30 | 1.7329 | 30 | 1.529 | 30 | 0.66258 | 30 | 0.10194 | 30 | 0.71355 | 30 | 1.2232 | 30 | 1.6819 | 30 | 1.58 | 30 | 1.1213
| 29 | 0.15217 | 29 | 1.0144 | 29 | 1.6738 | 29 | 1.7245 | 29 | 1.5217 | 29 | 0.65938 | 29 | 0.10144 | 29 | 0.7101 | 29 | 1.2173 | 29 | 1.6738 | 29 | 1.5724 | 29 | 1.1159
| 28 | 0.1514 | 28 | 1.0094 | 28 | 1.6654 | 28 | 1.7159 | 28 | 1.514 | 28 | 0.65608 | 28 | 0.10094 | 28 | 0.70655 | 28 | 1.2112 | 28 | 1.6654 | 28 | 1.5645 | 28 | 1.1103
| 27 | 0.15062 | 27 | 1.0041 | 27 | 1.6568 | 27 | 1.707 | 27 | 1.5062 | 27 | 0.65268 | 27 | 0.10041 | 27 | 0.70289 | 27 | 1.205 | 27 | 1.6568 | 27 | 1.5564 | 27 | 1.1045
0.958 | 26 | 0.14981 | 26 | 0.99873 | 26 | 1.6479 | 26 | 1.6978 | 26 | 1.4981 | 26 | 0.64918 | 26 | 0.099873 | 26 | 0.69911 | 26 | 1.1985 | 26 | 1.6479 | 26 | 1.548 | 26 | 1.0986
| 25 | 0.14897 | 25 | 0.99315 | 25 | 1.6387 | 25 | 1.6884 | 25 | 1.4897 | 25 | 0.64555 | 25 | 0.099315 | 25 | 0.69521 | 25 | 1.1918 | 25 | 1.6387 | 25 | 1.5394 | 25 | 1.0925
| 24 | 0.14811 | 24 | 0.98738 | 24 | 1.6292 | 24 | 1.6785 | 24 | 1.4811 | 24 | 0.64179 | 24 | 0.098738 | 24 | 0.69116 | 24 | 1.1849 | 24 | 1.6292 | 24 | 1.5304 | 24 | 1.0861
| 23 | 0.14721 | 23 | 0.98139 | 23 | 1.6193 | 23 | 1.6684 | 23 | 1.4721 | 23 | 0.6379 | 23 | 0.098139 | 23 | 0.68697 | 23 | 1.1777 | 23 | 1.6193 | 23 | 1.5212 | 23 | 1.0795
| 22 | 0.14628 | 22 | 0.97518 | 22 | 1.609 | 22 | 1.6578 | 22 | 1.4628 | 22 | 0.63387 | 22 | 0.097518 | 22 | 0.68263 | 22 | 1.1702 | 22 | 1.609 | 22 | 1.5115 | 22 | 1.0727
Mid point | 21 | 0.14531 | 21 | 0.96872 | 21 | 1.5984 | 21 | 1.6468 | 21 | 1.4531 | 21 | 0.62967 | 21 | 0.096872 | 21 | 0.6781 | 21 | 1.1625 | 21 | 1.5984 | 21 | 1.5015 | 21 | 1.0656
| 20 | 0.1443 | 20 | 0.96199 | 20 | 1.5873 | 20 | 1.6354 | 20 | 1.443 | 20 | 0.62529 | 20 | 0.096199 | 20 | 0.67339 | 20 | 1.1544 | 20 | 1.5873 | 20 | 1.4911 | 20 | 1.0582
| 19 | 0.14325 | 19 | 0.95497 | 19 | 1.5757 | 19 | 1.6234 | 19 | 1.4325 | 19 | 0.62073 | 19 | 0.095497 | 19 | 0.66848 | 19 | 1.146 | 19 | 1.5757 | 19 | 1.4802 | 19 | 1.0505
| 18 | 0.14214 | 18 | 0.94762 | 18 | 1.5636 | 18 | 1.611 | 18 | 1.4214 | 18 | 0.61595 | 18 | 0.094762 | 18 | 0.66333 | 18 | 1.1371 | 18 | 1.5636 | 18 | 1.4688 | 18 | 1.0424
| 17 | 0.14099 | 17 | 0.93991 | 17 | 1.5509 | 17 | 1.5979 | 17 | 1.4099 | 17 | 0.61094 | 17 | 0.093991 | 17 | 0.65794 | 17 | 1.1279 | 17 | 1.5509 | 17 | 1.4569 | 17 | 1.0339
0.844 | 16 | 0.13977 | 16 | 0.93181 | 16 | 1.5375 | 16 | 1.5841 | 16 | 1.3977 | 16 | 0.60568 | 16 | 0.093181 | 16 | 0.65227 | 16 | 1.1182 | 16 | 1.5375 | 16 | 1.4443 | 16 | 1.025
| 15 | 0.13849 | 15 | 0.92326 | 15 | 1.5234 | 15 | 1.5695 | 15 | 1.3849 | 15 | 0.60012 | 15 | 0.092326 | 15 | 0.64628 | 15 | 1.1079 | 15 | 1.5234 | 15 | 1.431 | 15 | 1.0156
| 14 | 0.13713 | 14 | 0.9142 | 14 | 1.5084 | 14 | 1.5541 | 14 | 1.3713 | 14 | 0.59423 | 14 | 0.09142 | 14 | 0.63994 | 14 | 1.097 | 14 | 1.5084 | 14 | 1.417 | 14 | 1.0056
| 13 | 0.13569 | 13 | 0.90457 | 13 | 1.4925 | 13 | 1.5378 | 13 | 1.3569 | 13 | 0.58797 | 13 | 0.090457 | 13 | 0.6332 | 13 | 1.0855 | 13 | 1.4925 | 13 | 1.4021 | 13 | 0.99503
| 12 | 0.13414 | 12 | 0.89429 | 12 | 1.4756 | 12 | 1.5203 | 12 | 1.3414 | 12 | 0.58129 | 12 | 0.089429 | 12 | 0.626 | 12 | 1.0731 | 12 | 1.4756 | 12 | 1.3861 | 12 | 0.98372
| 11 | 0.13249 | 11 | 0.88324 | 11 | 1.4573 | 11 | 1.5015 | 11 | 1.3249 | 11 | 0.57411 | 11 | 0.088324 | 11 | 0.61827 | 11 | 1.0599 | 11 | 1.4573 | 11 | 1.369 | 11 | 0.97157
| 10 | 0.13069 | 10 | 0.8713 | 10 | 1.4376 | 10 | 1.4812 | 10 | 1.3069 | 10 | 0.56634 | 10 | 0.08713 | 10 | 0.60991 | 10 | 1.0456 | 10 | 1.4376 | 10 | 1.3505 | 10 | 0.95843
| 9 | 0.12874 | 9 | 0.85828 | 9 | 1.4162 | 9 | 1.4591 | 9 | 1.2874 | 9 | 0.55788 | 9 | 0.085828 | 9 | 0.6008 | 9 | 1.0299 | 9 | 1.4162 | 9 | 1.3303 | 9 | 0.94411
| 8 | 0.12659 | 8 | 0.84396 | 8 | 1.3925 | 8 | 1.4347 | 8 | 1.2659 | 8 | 0.54857 | 8 | 0.084396 | 8 | 0.59077 | 8 | 1.0128 | 8 | 1.3925 | 8 | 1.3081 | 8 | 0.92836
| 7 | 0.1242 | 7 | 0.82801 | 7 | 1.3662 | 7 | 1.4076 | 7 | 1.242 | 7 | 0.53821 | 7 | 0.082801 | 7 | 0.57961 | 7 | 0.99362 | 7 | 1.3662 | 7 | 1.2834 | 7 | 0.91082
| 6 | 0.1215 | 6 | 0.80998 | 6 | 1.3365 | 6 | 1.377 | 6 | 1.215 | 6 | 0.52649 | 6 | 0.080998 | 6 | 0.56699 | 6 | 0.97198 | 6 | 1.3365 | 6 | 1.2555 | 6 | 0.89098
| 5 | 0.11837 | 5 | 0.78916 | 5 | 1.3021 | 5 | 1.3416 | 5 | 1.1837 | 5 | 0.51295 | 5 | 0.078916 | 5 | 0.55241 | 5 | 0.94699 | 5 | 1.3021 | 5 | 1.2232 | 5 | 0.86807
| 4 | 0.11466 | 4 | 0.7644 | 4 | 1.2613 | 4 | 1.2995 | 4 | 1.1466 | 4 | 0.49686 | 4 | 0.07644 | 4 | 0.53508 | 4 | 0.91727 | 4 | 1.2613 | 4 | 1.1848 | 4 | 0.84084
| 3 | 0.11004 | 3 | 0.73362 | 3 | 1.2105 | 3 | 1.2471 | 3 | 1.1004 | 3 | 0.47685 | 3 | 0.073362 | 3 | 0.51353 | 3 | 0.88034 | 3 | 1.2105 | 3 | 1.1371 | 3 | 0.80698
| 2 | 0.10385 | 2 | 0.69233 | 2 | 1.1423 | 2 | 1.177 | 2 | 1.0385 | 2 | 0.45002 | 2 | 0.069233 | 2 | 0.48463 | 2 | 0.8308 | 2 | 1.1423 | 2 | 1.0731 | 2 | 0.76156
| 1 | 0.094059 | 1 | 0.62706 | 1 | 1.0347 | 1 | 1.066 | 1 | 0.94059 | 1 | 0.40759 | 1 | 0.062706 | 1 | 0.43894 | 1 | 0.75247 | 1 | 1.0347 | 1 | 0.97194 | 1 | 0.68977

## Wave particle velocity
Charac.
H Sign. | 1 | m
H Max | 1.86 | m
Wavelength | 20 | m
Period | 3.5806 | s
Gravity | 9.81 | m/s^2
Linear wave theory (Krogstad and Arntsen)
X | 10 | distance along x axis
t | 0 | s
n(x,t) | 1.1394e-16 | m
Angular frequency of wave
ωwave | 1.7548 | rad/s
frequency (f) | 0.27928 | Hz
K | 0.31416
Steepness (s) | 0.093
Propogation along wave surface
Velocity ( c) Phase | 5.5857 | m/s
Z Depth | 0 | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12 | -13 | -14 | -15 | -16 | -17 | -18 | -19 | -20 | -21 | -22 | -23 | -24 | -25 | -26 | -27 | -28 | -29 | -30 | -31
Velocity Potential
φ | 2.4217 | 2.1356 | 2.0619 | 2.1935 | 2.5433 | 3.1462 | 4.0621 | 5.3823 | 7.2381 | 9.8142 | 13.3669 | 18.2497 | 24.9485 | 34.13 | 46.7078 | 63.9335 | 87.5212 | 119.8183 | 164.0385 | 224.5822 | 307.4743 | 420.9632 | 576.3424 | 789.0736 | 1080.326 | 1479.0821 | 2025.0223 | 2772.4734 | 3795.8147 | 5196.8792 | 7115.0875 | 9741.3215
u | -1.632 | -1.192 | -0.87063 | -0.63591 | -0.46447 | -0.33925 | -0.24779 | -0.18099 | -0.13219 | -0.096554 | -0.070523 | -0.051511 | -0.037623 | -0.02748 | -0.020072 | -0.01466 | -0.010708 | -0.0078211 | -0.0057126 | -0.0041725 | -0.0030476 | -0.002226 | -0.0016259 | -0.0011875 | -0.00086737 | -0.00063353 | -0.00046273 | -0.00033798 | -0.00024686 | -0.00018031 | -0.0001317 | -9.6193e-05
depth (z) | 0 | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12 | -13 | -14 | -15 | -16 | -17 | -18 | -19 | -20 | -21 | -22 | -23 | -24 | -25 | -26 | -27 | -28 | -29 | -30 | -31
u | -1.632 | -1.192 | -0.87063 | -0.63591 | -0.46447 | -0.33925 | -0.24779 | -0.18099 | -0.13219 | -0.096554 | -0.070523 | -0.051511 | -0.037623 | -0.02748 | -0.020072 | -0.01466 | -0.010708 | -0.0078211 | -0.0057126 | -0.0041725 | -0.0030476 | -0.002226 | -0.0016259 | -0.0011875 | -0.00086737 | -0.00063353 | -0.00046273 | -0.00033798 | -0.00024686 | -0.00018031 | -0.0001317 | -9.6193e-05

## Wave Drift (net flow)
Drift Forces
Stokes Wave drift | 257247761.3546 | 137238617.1425 | 73215167.8834 | 39059420.153 | 20837735.4966 | 11116683.7327 | 5930618.3838 | 3163914.2806 | 1687910.5899 | 900480.1986 | 480395.4622 | 256285.2581 | 136725.1331 | 72941.2303 | 38913.2777 | 20759.7702 | 11075.0902 | 5908.4287 | 3152.0764 | 1681.5952 | 897.111 | 478.598 | 255.3264 | 136.2136 | 72.6683 | 38.7677 | 20.6821 | 11.0337 | 5.8863 | 3.1403 | 1.6753 | 0.89375
Depth | 32 | 31 | 30 | 29 | 28 | 27 | 26 | 25 | 24 | 23 | 22 | 21 | 20 | 19 | 18 | 17 | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
Depth negative | 0 | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12 | -13 | -14 | -15 | -16 | -17 | -18 | -19 | -20 | -21 | -22 | -23 | -24 | -25 | -26 | -27 | -28 | -29 | -30 | -31
Wave Drift Force | 0.47681 | 0.25437 | 0.1357 | 0.072396 | 0.038623 | 0.020605 | 0.010992 | 0.0058643 | 0.0031285 | 0.001669 | 0.00089041 | 0.00047502 | 0.00025342 | 0.0001352 | 7.2126e-05 | 3.8478e-05 | 2.0528e-05 | 1.0951e-05 | 5.8424e-06 | 3.1168e-06 | 1.6628e-06 | 8.8708e-07 | 4.7325e-07 | 2.5247e-07 | 1.3469e-07 | 7.1856e-08 | 3.8334e-08 | 2.0451e-08 | 1.091e-08 | 5.8205e-09 | 3.1052e-09 | 1.6566e-09

## X distance Change
Velocity over a wave cycle
Hw-6
X Distance of Wave | 0 | 5 | 10 | 15 | 20 | 25 | 30
| Total | Total | Total | Total | Total | Total | Total
0
0
0
0
0
0
32 | 0.97466 | 0.75026 | 0.30146 | 0.077064 | 0.30146 | 0.75026 | 0.97466
31 | 0.74464 | 0.56264 | 0.19865 | 0.016653 | 0.19865 | 0.56264 | 0.74464
30 | 0.58016 | 0.43256 | 0.13735 | -0.010261 | 0.13735 | 0.43256 | 0.58016
29 | 0.46126 | 0.34154 | 0.10211 | -0.017601 | 0.10211 | 0.34154 | 0.46126
28 | 0.37431 | 0.27722 | 0.08303 | -0.014063 | 0.08303 | 0.27722 | 0.37431
27 | 0.30999 | 0.23125 | 0.073755 | -0.0049913 | 0.073755 | 0.23125 | 0.30999
26 | 0.26187 | 0.198 | 0.07027 | 0.0064034 | 0.07027 | 0.198 | 0.26187
25 | 0.22545 | 0.17365 | 0.070055 | 0.018257 | 0.070055 | 0.17365 | 0.22545
24 | 0.19758 | 0.15557 | 0.071552 | 0.029542 | 0.071552 | 0.15557 | 0.19758
23 | 0.17603 | 0.14196 | 0.073819 | 0.039747 | 0.073819 | 0.14196 | 0.17603
22 | 0.1592 | 0.13157 | 0.076299 | 0.048665 | 0.076299 | 0.13157 | 0.1592
21 | 0.14592 | 0.1235 | 0.078679 | 0.056267 | 0.078679 | 0.1235 | 0.14592
20 | 0.13533 | 0.11715 | 0.080798 | 0.062621 | 0.080798 | 0.11715 | 0.13533
19 | 0.12681 | 0.11206 | 0.08258 | 0.067838 | 0.08258 | 0.11206 | 0.12681
18 | 0.11988 | 0.10792 | 0.084006 | 0.07205 | 0.084006 | 0.10792 | 0.11988
17 | 0.11418 | 0.10448 | 0.085084 | 0.075387 | 0.085084 | 0.10448 | 0.11418
16 | 0.10943 | 0.10157 | 0.085836 | 0.077971 | 0.085836 | 0.10157 | 0.10943
15 | 0.10542 | 0.099046 | 0.086289 | 0.07991 | 0.086289 | 0.099046 | 0.10542
14 | 0.10199 | 0.096818 | 0.086472 | 0.081298 | 0.086472 | 0.096818 | 0.10199
13 | 0.098997 | 0.094801 | 0.08641 | 0.082214 | 0.08641 | 0.094801 | 0.098997
12 | 0.096332 | 0.092929 | 0.086123 | 0.08272 | 0.086123 | 0.092929 | 0.096332
11 | 0.093908 | 0.091148 | 0.085628 | 0.082868 | 0.085628 | 0.091148 | 0.093908
10 | 0.091649 | 0.08941 | 0.084933 | 0.082695 | 0.084933 | 0.08941 | 0.091649
9 | 0.089487 | 0.087671 | 0.08404 | 0.082225 | 0.08404 | 0.087671 | 0.089487
8 | 0.087359 | 0.085887 | 0.082942 | 0.08147 | 0.082942 | 0.085887 | 0.087359
7 | 0.085202 | 0.084008 | 0.081619 | 0.080425 | 0.081619 | 0.084008 | 0.085202
6 | 0.082943 | 0.081974 | 0.080037 | 0.079069 | 0.080037 | 0.081974 | 0.082943
5 | 0.080492 | 0.079706 | 0.078135 | 0.07735 | 0.078135 | 0.079706 | 0.080492
4 | 0.077717 | 0.07708 | 0.075806 | 0.075169 | 0.075806 | 0.07708 | 0.077717
3 | 0.074397 | 0.073881 | 0.072847 | 0.072331 | 0.072847 | 0.073881 | 0.074397
2 | 0.070073 | 0.069654 | 0.068816 | 0.068396 | 0.068816 | 0.069654 | 0.070073
1 | 0.063387 | 0.063047 | 0.062367 | 0.062027 | 0.062367 | 0.063047 | 0.063387

## Position and size
Depth | Hw-6 | Hw-5 | Hw-4 | Hw-3 | Hw-2 | Hw-1 | Hw | Average | 0.51152 | 0.58824 | 0.43479 | Total | Counter | Depth counter
33.38 | [6 empty] | -0.16704 | -0.16704 |  | 1 | 0 | 1 | 0 | FALSE
33.33 | [5 empty] | 0.17304 | -0.18105 | -0.0040073 |  | 1 | 0 | 1 | 0 | FALSE
33.18 |  |  |  |  | 0.64466 | 0.12775 | -0.21866 | 0.18458 |  | 1 | 0 | 1 | 0 | FALSE
32.98 |  |  |  | 0.75647 | 0.60155 | 0.085152 | -0.25947 | 0.29592 |  | 1 | 0 | 1 | 0 | FALSE
32.72 |  |  | 0.6706 | 0.72218 | 0.56743 | 0.051597 | -0.29892 | 0.34258 |  | 1 | 0 | 1 | 0 | FALSE
32.53 |  | 0.23887 | 0.65117 | 0.70271 | 0.54809 | 0.032712 | -0.31957 | 0.309 |  | 1 | 0 | 1 | 0 | FALSE
32 | -0.29771 | 0.21669 | 0.62821 | 0.67965 | 0.52533 | 0.010928 | -0.34915 | 0.20199 |  | 1 | 0 | 1 | 0 | FALSE
31 | -0.28407 | 0.228 | 0.63766 | 0.68887 | 0.53525 | 0.023174 | -0.33528 | 0.21337 |  | 1 | 0 | 1 | 0 | FALSE
30 | -0.23044 | 0.27924 | 0.68698 | 0.73795 | 0.58504 | 0.075365 | -0.28141 | 0.26467 |  | 1 | 0 | 1 | 0 | FALSE
29 | -0.16805 | 0.33917 | 0.74494 | 0.79566 | 0.6435 | 0.13628 | -0.21877 | 0.32468 |  | 1 | 0 | 1 | 0 | FALSE
28 | -0.11016 | 0.39452 | 0.79827 | 0.84874 | 0.69733 | 0.19265 | -0.16063 | 0.3801 |  | 1 | 0 | 1 | 0 | FALSE
27 | -0.061376 | 0.44069 | 0.84234 | 0.89255 | 0.74193 | 0.23986 | -0.11158 | 0.42634 |  | 1 | 0 | 1 | 0 | FALSE
26 | -0.022355 | 0.47701 | 0.8765 | 0.92644 | 0.77663 | 0.27726 | -0.072292 | 0.46274 |  | 1 | 1 | 2 | 1 | 26
25 | 0.0078747 | 0.50445 | 0.90171 | 0.95137 | 0.8024 | 0.30582 | -0.041783 | 0.49026 |  | 1 | 1 | 2 | 1 | 25
24 | 0.030795 | 0.52448 | 0.91943 | 0.9688 | 0.8207 | 0.32701 | -0.018574 | 0.51038 |  | 1 | 1 | 2 | 1 | 24
23 | 0.047897 | 0.53859 | 0.93115 | 0.98022 | 0.83301 | 0.34231 | -0.0011723 | 0.52457 |  | 1 | 1 | 2 | 1 | 23
22 | 0.060492 | 0.54808 | 0.93815 | 0.98691 | 0.84064 | 0.35305 | 0.011733 | 0.53415 |  | 1 | 1 | 2 | 1 | 22
21 | 0.069653 | 0.55401 | 0.9415 | 0.98994 | 0.84463 | 0.36027 | 0.021217 | 0.54017 |  | 1 | 1 | 2 | 1 | 21
20 | 0.076225 | 0.55722 | 0.94202 | 0.99012 | 0.84582 | 0.36482 | 0.028125 | 0.54348 |  | 1 | 1 | 2 | 1 | 20
19 | 0.080858 | 0.55834 | 0.94033 | 0.98808 | 0.84483 | 0.36735 | 0.033109 | 0.5447 |  | 1 | 1 | 2 | 1 | 19
18 | 0.084043 | 0.55785 | 0.9369 | 0.98428 | 0.84214 | 0.36833 | 0.036662 | 0.54432 |  | 1 | 1 | 2 | 1 | 18
17 | 0.086148 | 0.5561 | 0.93207 | 0.97907 | 0.83808 | 0.36812 | 0.039152 | 0.54268 |  | 1 | 1 | 2 | 1 | 17
16 | 0.087444 | 0.55335 | 0.92607 | 0.97266 | 0.83289 | 0.36699 | 0.040854 | 0.54004 |  | 1 | 1 | 2 | 1 | 16
15 | 0.088132 | 0.54976 | 0.91906 | 0.96523 | 0.82674 | 0.36511 | 0.041969 | 0.53657 |  | 1 | 1 | 2 | 1 | 15
14 | 0.088355 | 0.54546 | 0.91114 | 0.95685 | 0.81972 | 0.36262 | 0.042645 | 0.5324 |  | 1 | 1 | 2 | 1 | 14
13 | 0.088217 | 0.5405 | 0.90233 | 0.94756 | 0.81188 | 0.35959 | 0.042989 | 0.52758 |  | 1 | 1 | 2 | 1 | 13
12 | 0.087792 | 0.53494 | 0.89265 | 0.93737 | 0.80322 | 0.35608 | 0.043078 | 0.52216 |  | 1 | 1 | 2 | 1 | 12
11 | 0.087128 | 0.52875 | 0.88205 | 0.92621 | 0.79372 | 0.3521 | 0.042966 | 0.51613 |  | 1 | 1 | 2 | 1 | 11
10 | 0.086256 | 0.52191 | 0.87042 | 0.91399 | 0.78329 | 0.34765 | 0.042691 | 0.50946 |  | 1 | 1 | 2 | 1 | 10
9 | 0.08519 | 0.51433 | 0.85764 | 0.90056 | 0.77182 | 0.34267 | 0.042276 | 0.50207 |  | 1 | 1 | 2 | 1 | 9
8 | 0.08393 | 0.50591 | 0.84349 | 0.88569 | 0.7591 | 0.33712 | 0.041732 | 0.49385 |  | 1 | 1 | 2 | 1 | 8
7 | 0.082461 | 0.49647 | 0.82767 | 0.86907 | 0.74487 | 0.33087 | 0.04106 | 0.48464 |  | 1 | 1 | 2 | 1 | 7
6 | 0.080749 | 0.48574 | 0.80973 | 0.85023 | 0.72873 | 0.32374 | 0.04025 | 0.47417 |  | 1 | 1 | 2 | 1 | 6
5 | 0.078734 | 0.47331 | 0.78897 | 0.82843 | 0.71006 | 0.31548 | 0.039276 | 0.46204 |  | 1 | 1 | 2 | 1 | 5
4 | 0.076307 | 0.4585 | 0.76426 | 0.80248 | 0.68782 | 0.30563 | 0.038087 | 0.44758 |  | 1 | 1 | 2 | 1 | 4
3 | 0.073265 | 0.44007 | 0.73352 | 0.7702 | 0.66016 | 0.29335 | 0.036584 | 0.42959 |  | 1 | 0 | 1 | 0 | FALSE
2 | 0.069162 | 0.41533 | 0.69226 | 0.72688 | 0.62303 | 0.27686 | 0.034546 | 0.40544 |  | 1 | 0 | 1 | 0 | FALSE
1 | 0.062654 | 0.37618 | 0.62701 | 0.65836 | 0.5643 | 0.25077 | 0.031301 | 0.36723 |  | 1 | 0 | 1 | 0 | FALSE
[12 empty] | Counter | 23 | 345
[10 empty] | % | 15 | Hub Height | 15
[10 empty] | Percentage | 0.15 | Diameter | 22

## Total
Hw-6 | [6 empty] | Hw-5 | [5 empty] | Hw-4 | [5 empty] | Hw-3 | [5 empty] | Hw-2 | [5 empty] | Hw-1 | [5 empty] | Hw | [5 empty] | Hw+1 | [5 empty] | Hw+2 | [5 empty] | Hw+3 | [5 empty] | Hw+4 | [5 empty] | Hw+5
Surface speed | [6 empty] | Surface speed | [5 empty] | Surface Speed | [5 empty] | Surface speed | [5 empty] | Surface speed | [5 empty] | Surface speed | [5 empty] | Surface speed | [5 empty] | Surface speed | [5 empty] | Surface speed | [5 empty] | Surface speed | [5 empty] | Surface speed | [5 empty] | Surface speed
0.10288 | [6 empty] | 0.61728 | [5 empty] | 1.0288 | [5 empty] | 1.0802 | [5 empty] | 0.92592 | [5 empty] | 0.41152 | [5 empty] | 0.05144 | [5 empty] | 0.41152 | [5 empty] | 0.7716 | [5 empty] | 1.0288 | [5 empty] | 0.97736 | [5 empty] | 0.66872
Depth M | Speed | Depth - | Wave Drift | Wave Particle velocity | Total |  | Depth M | Speed | Depth - | Wave Drift | Wave Particle velocity | Total | Depth M | Speed | Depth - | Wave Drift | Wave Particle velocity | Total | Depth M | Speed | Depth - | Wave Drift | Wave Particle velocity | Total | Depth M | Speed | Depth - | Wave Drift | Wave Particle velocity | Total | Depth M | Speed | Depth - | Wave Drift | Wave Particle velocity | Total | Depth M | Speed | Depth - | Wave Drift | Wave Particle velocity | Total | Depth M | Speed | Depth - | Wave Drift | Wave Particle velocity | Total | Depth M | Speed | Depth - | Wave Drift | Wave Particle velocity | Total | Depth M | Speed | Depth - | Wave Drift | Wave Particle velocity | Total | Depth M | Speed | Depth - | Wave Drift | Wave Particle velocity | Total | Depth M | Speed | Depth - | Wave Drift | Wave Particle velocity | Total
[37 empty] | 33.38 | 0.051751 | 1.38 | 1.1348 | -1.3536 | -0.16704 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05
[31 empty] | 33.3 | 0.41387 | 1.3 | 1.0791 | -1.32 | 0.17304 | 33.33 | 0.05174 | 1.33 | 1.0997 | -1.3325 | -0.18105 | 33.33 | 0.41392 | 1.33 | 1.0997 | -1.3325 | 0.18113 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05
[25 empty] | 33.11 | 0.93044 | 1.11 | 0.95771 | -1.2435 | 0.64466 | 33.11 | 0.41353 | 1.11 | 0.95771 | -1.2435 | 0.12775 | 33.18 | 0.051707 | 1.18 | 1.0008 | -1.2711 | -0.21866 | 33.18 | 0.41365 | 1.18 | 1.0008 | -1.2711 | 0.14329 | 33.18 | 0.7756 | 1.18 | 1.0008 | -1.2711 | 0.50523 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05
[19 empty] | 32.88 | 1.0844 | 0.88 | 0.82884 | -1.1568 | 0.75647 | 32.88 | 0.92952 | 0.88 | 0.82884 | -1.1568 | 0.60155 | 32.88 | 0.41312 | 0.88 | 0.82884 | -1.1568 | 0.085152 | 32.98 | 0.051662 | 0.98 | 0.88259 | -1.1937 | -0.25947 | 32.98 | 0.4133 | 0.98 | 0.88259 | -1.1937 | 0.10216 | 32.98 | 0.77493 | 0.98 | 0.88259 | -1.1937 | 0.4638 | 32.98 | 1.0332 | 0.98 | 0.88259 | -1.1937 | 0.72211 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05
[13 empty] | 32.63 | 1.0317 | 0.63 | 0.70836 | -1.0694 | 0.6706 | 32.63 | 1.0833 | 0.63 | 0.70836 | -1.0694 | 0.72218 | 32.63 | 0.9285 | 0.63 | 0.70836 | -1.0694 | 0.56743 | 32.63 | 0.41267 | 0.63 | 0.70836 | -1.0694 | 0.051597 | 32.72 | 0.051604 | 0.72 | 0.74957 | -1.1001 | -0.29892 | 32.72 | 0.41283 | 0.72 | 0.74957 | -1.1001 | 0.062302 | 32.72 | 0.77406 | 0.72 | 0.74957 | -1.1001 | 0.42353 | 32.72 | 1.0321 | 0.72 | 0.74957 | -1.1001 | 0.68155 | 32.72 | 0.98047 | 0.72 | 0.74957 | -1.1001 | 0.62994 | 0 | 0 | -32 | 8.8376e-10 | -3.7774e-05 | -3.7773e-05
[7 empty] | 32.43 | 0.61846 | 0.43 | 0.62471 | -1.0043 | 0.23887 | 32.43 | 1.0308 | 0.43 | 0.62471 | -1.0043 | 0.65117 | 32.43 | 1.0823 | 0.43 | 0.62471 | -1.0043 | 0.70271 | 32.43 | 0.92769 | 0.43 | 0.62471 | -1.0043 | 0.54809 | 32.43 | 0.41231 | 0.43 | 0.62471 | -1.0043 | 0.032712 | 32.53 | 0.051561 | 0.53 | 0.66522 | -1.0364 | -0.31957 | 32.53 | 0.41249 | 0.53 | 0.66522 | -1.0364 | 0.041353 | 32.53 | 0.77341 | 0.53 | 0.66522 | -1.0364 | 0.40228 | 32.53 | 1.0312 | 0.53 | 0.66522 | -1.0364 | 0.66008 | 32.53 | 0.97966 | 0.53 | 0.66522 | -1.0364 | 0.60852 | 32.53 | 0.67029 | 0.53 | 0.66522 | -1.0364 | 0.29916
32 | 0.10288 | 0 | 0.47681 | -0.8774 | -0.29771 | 32 | 32 | 0.61728 | 0 | 0.47681 | -0.8774 | 0.21669 | 32 | 1.0288 | 0 | 0.47681 | -0.8774 | 0.62821 | 32 | 1.0802 | 0 | 0.47681 | -0.8774 | 0.67965 | 32 | 0.92592 | 0 | 0.47681 | -0.8774 | 0.52533 | 32 | 0.41152 | 0 | 0.47681 | -0.8774 | 0.010928 | 32 | 0.05144 | 0 | 0.47681 | -0.8774 | -0.34915 | 32 | 0.41152 | 0 | 0.47681 | -0.8774 | 0.010928 | 32 | 0.7716 | 0 | 0.47681 | -0.8774 | 0.37101 | 32 | 1.0288 | 0 | 0.47681 | -0.8774 | 0.62821 | 32 | 0.97736 | 0 | 0.47681 | -0.8774 | 0.57677 | 32 | 0.66872 | 0 | 0.47681 | -0.8774 | 0.26813
31 | 0.10241 | -1 | 0.25437 | -0.64085 | -0.28407 | 31 | 31 | 0.61449 | -1 | 0.25437 | -0.64085 | 0.228 | 31 | 1.0241 | -1 | 0.25437 | -0.64085 | 0.63766 | 31 | 1.0754 | -1 | 0.25437 | -0.64085 | 0.68887 | 31 | 0.92173 | -1 | 0.25437 | -0.64085 | 0.53525 | 31 | 0.40966 | -1 | 0.25437 | -0.64085 | 0.023174 | 31 | 0.051207 | -1 | 0.25437 | -0.64085 | -0.33528 | 31 | 0.40966 | -1 | 0.25437 | -0.64085 | 0.023174 | 31 | 0.76811 | -1 | 0.25437 | -0.64085 | 0.38162 | 31 | 1.0241 | -1 | 0.25437 | -0.64085 | 0.63766 | 31 | 0.97294 | -1 | 0.25437 | -0.64085 | 0.58645 | 31 | 0.66569 | -1 | 0.25437 | -0.64085 | 0.27921
30 | 0.10194 | -2 | 0.1357 | -0.46808 | -0.23044 | 30 | 30 | 0.61161 | -2 | 0.1357 | -0.46808 | 0.27924 | 30 | 1.0194 | -2 | 0.1357 | -0.46808 | 0.68698 | 30 | 1.0703 | -2 | 0.1357 | -0.46808 | 0.73795 | 30 | 0.91742 | -2 | 0.1357 | -0.46808 | 0.58504 | 30 | 0.40774 | -2 | 0.1357 | -0.46808 | 0.075365 | 30 | 0.050968 | -2 | 0.1357 | -0.46808 | -0.28141 | 30 | 0.40774 | -2 | 0.1357 | -0.46808 | 0.075365 | 30 | 0.76452 | -2 | 0.1357 | -0.46808 | 0.43214 | 30 | 1.0194 | -2 | 0.1357 | -0.46808 | 0.68698 | 30 | 0.96839 | -2 | 0.1357 | -0.46808 | 0.63601 | 30 | 0.66258 | -2 | 0.1357 | -0.46808 | 0.3302
29 | 0.10144 | -3 | 0.072396 | -0.34189 | -0.16805 | 29 | 29 | 0.60866 | -3 | 0.072396 | -0.34189 | 0.33917 | 29 | 1.0144 | -3 | 0.072396 | -0.34189 | 0.74494 | 29 | 1.0652 | -3 | 0.072396 | -0.34189 | 0.79566 | 29 | 0.91299 | -3 | 0.072396 | -0.34189 | 0.6435 | 29 | 0.40577 | -3 | 0.072396 | -0.34189 | 0.13628 | 29 | 0.050722 | -3 | 0.072396 | -0.34189 | -0.21877 | 29 | 0.40577 | -3 | 0.072396 | -0.34189 | 0.13628 | 29 | 0.76083 | -3 | 0.072396 | -0.34189 | 0.49133 | 29 | 1.0144 | -3 | 0.072396 | -0.34189 | 0.74494 | 29 | 0.96371 | -3 | 0.072396 | -0.34189 | 0.69422 | 29 | 0.65938 | -3 | 0.072396 | -0.34189 | 0.38989
28 | 0.10094 | -4 | 0.038623 | -0.24972 | -0.11016 | 28 | 28 | 0.60562 | -4 | 0.038623 | -0.24972 | 0.39452 | 28 | 1.0094 | -4 | 0.038623 | -0.24972 | 0.79827 | 28 | 1.0598 | -4 | 0.038623 | -0.24972 | 0.84874 | 28 | 0.90842 | -4 | 0.038623 | -0.24972 | 0.69733 | 28 | 0.40374 | -4 | 0.038623 | -0.24972 | 0.19265 | 28 | 0.050468 | -4 | 0.038623 | -0.24972 | -0.16063 | 28 | 0.40374 | -4 | 0.038623 | -0.24972 | 0.19265 | 28 | 0.75702 | -4 | 0.038623 | -0.24972 | 0.54593 | 28 | 1.0094 | -4 | 0.038623 | -0.24972 | 0.79827 | 28 | 0.95889 | -4 | 0.038623 | -0.24972 | 0.7478 | 28 | 0.65608 | -4 | 0.038623 | -0.24972 | 0.44499
27 | 0.10041 | -5 | 0.020605 | -0.18239 | -0.061376 | 27 | 27 | 0.60248 | -5 | 0.020605 | -0.18239 | 0.44069 | 27 | 1.0041 | -5 | 0.020605 | -0.18239 | 0.84234 | 27 | 1.0543 | -5 | 0.020605 | -0.18239 | 0.89255 | 27 | 0.90372 | -5 | 0.020605 | -0.18239 | 0.74193 | 27 | 0.40165 | -5 | 0.020605 | -0.18239 | 0.23986 | 27 | 0.050207 | -5 | 0.020605 | -0.18239 | -0.11158 | 27 | 0.40165 | -5 | 0.020605 | -0.18239 | 0.23986 | 27 | 0.7531 | -5 | 0.020605 | -0.18239 | 0.59131 | 27 | 1.0041 | -5 | 0.020605 | -0.18239 | 0.84234 | 27 | 0.95392 | -5 | 0.020605 | -0.18239 | 0.79214 | 27 | 0.65268 | -5 | 0.020605 | -0.18239 | 0.4909
26 | 0.099873 | -6 | 0.010992 | -0.13322 | -0.022355 | 26 | 26 | 0.59924 | -6 | 0.010992 | -0.13322 | 0.47701 | 26 | 0.99873 | -6 | 0.010992 | -0.13322 | 0.8765 | 26 | 1.0487 | -6 | 0.010992 | -0.13322 | 0.92644 | 26 | 0.89886 | -6 | 0.010992 | -0.13322 | 0.77663 | 26 | 0.39949 | -6 | 0.010992 | -0.13322 | 0.27726 | 26 | 0.049937 | -6 | 0.010992 | -0.13322 | -0.072292 | 26 | 0.39949 | -6 | 0.010992 | -0.13322 | 0.27726 | 26 | 0.74905 | -6 | 0.010992 | -0.13322 | 0.62682 | 26 | 0.99873 | -6 | 0.010992 | -0.13322 | 0.8765 | 26 | 0.94879 | -6 | 0.010992 | -0.13322 | 0.82657 | 26 | 0.64918 | -6 | 0.010992 | -0.13322 | 0.52695
25 | 0.099315 | -7 | 0.0058643 | -0.097305 | 0.0078747 | 25 | 25 | 0.59589 | -7 | 0.0058643 | -0.097305 | 0.50445 | 25 | 0.99315 | -7 | 0.0058643 | -0.097305 | 0.90171 | 25 | 1.0428 | -7 | 0.0058643 | -0.097305 | 0.95137 | 25 | 0.89384 | -7 | 0.0058643 | -0.097305 | 0.8024 | 25 | 0.39726 | -7 | 0.0058643 | -0.097305 | 0.30582 | 25 | 0.049658 | -7 | 0.0058643 | -0.097305 | -0.041783 | 25 | 0.39726 | -7 | 0.0058643 | -0.097305 | 0.30582 | 25 | 0.74486 | -7 | 0.0058643 | -0.097305 | 0.65342 | 25 | 0.99315 | -7 | 0.0058643 | -0.097305 | 0.90171 | 25 | 0.94349 | -7 | 0.0058643 | -0.097305 | 0.85205 | 25 | 0.64555 | -7 | 0.0058643 | -0.097305 | 0.55411
24 | 0.098738 | -8 | 0.0031285 | -0.071072 | 0.030795 | 24 | 24 | 0.59243 | -8 | 0.0031285 | -0.071072 | 0.52448 | 24 | 0.98738 | -8 | 0.0031285 | -0.071072 | 0.91943 | 24 | 1.0367 | -8 | 0.0031285 | -0.071072 | 0.9688 | 24 | 0.88864 | -8 | 0.0031285 | -0.071072 | 0.8207 | 24 | 0.39495 | -8 | 0.0031285 | -0.071072 | 0.32701 | 24 | 0.049369 | -8 | 0.0031285 | -0.071072 | -0.018574 | 24 | 0.39495 | -8 | 0.0031285 | -0.071072 | 0.32701 | 24 | 0.74053 | -8 | 0.0031285 | -0.071072 | 0.67259 | 24 | 0.98738 | -8 | 0.0031285 | -0.071072 | 0.91943 | 24 | 0.93801 | -8 | 0.0031285 | -0.071072 | 0.87006 | 24 | 0.64179 | -8 | 0.0031285 | -0.071072 | 0.57385
23 | 0.098139 | -9 | 0.001669 | -0.051911 | 0.047897 | 23 | 23 | 0.58883 | -9 | 0.001669 | -0.051911 | 0.53859 | 23 | 0.98139 | -9 | 0.001669 | -0.051911 | 0.93115 | 23 | 1.0305 | -9 | 0.001669 | -0.051911 | 0.98022 | 23 | 0.88325 | -9 | 0.001669 | -0.051911 | 0.83301 | 23 | 0.39256 | -9 | 0.001669 | -0.051911 | 0.34231 | 23 | 0.04907 | -9 | 0.001669 | -0.051911 | -0.0011723 | 23 | 0.39256 | -9 | 0.001669 | -0.051911 | 0.34231 | 23 | 0.73604 | -9 | 0.001669 | -0.051911 | 0.6858 | 23 | 0.98139 | -9 | 0.001669 | -0.051911 | 0.93115 | 23 | 0.93232 | -9 | 0.001669 | -0.051911 | 0.88208 | 23 | 0.6379 | -9 | 0.001669 | -0.051911 | 0.58766
22 | 0.097518 | -10 | 0.00089041 | -0.037916 | 0.060492 | 22 | 22 | 0.58511 | -10 | 0.00089041 | -0.037916 | 0.54808 | 22 | 0.97518 | -10 | 0.00089041 | -0.037916 | 0.93815 | 22 | 1.0239 | -10 | 0.00089041 | -0.037916 | 0.98691 | 22 | 0.87766 | -10 | 0.00089041 | -0.037916 | 0.84064 | 22 | 0.39007 | -10 | 0.00089041 | -0.037916 | 0.35305 | 22 | 0.048759 | -10 | 0.00089041 | -0.037916 | 0.011733 | 22 | 0.39007 | -10 | 0.00089041 | -0.037916 | 0.35305 | 22 | 0.73138 | -10 | 0.00089041 | -0.037916 | 0.69436 | 22 | 0.97518 | -10 | 0.00089041 | -0.037916 | 0.93815 | 22 | 0.92642 | -10 | 0.00089041 | -0.037916 | 0.88939 | 22 | 0.63387 | -10 | 0.00089041 | -0.037916 | 0.59684
21 | 0.096872 | -11 | 0.00047502 | -0.027694 | 0.069653 | 21 | 21 | 0.58123 | -11 | 0.00047502 | -0.027694 | 0.55401 | 21 | 0.96872 | -11 | 0.00047502 | -0.027694 | 0.9415 | 21 | 1.0172 | -11 | 0.00047502 | -0.027694 | 0.98994 | 21 | 0.87185 | -11 | 0.00047502 | -0.027694 | 0.84463 | 21 | 0.38749 | -11 | 0.00047502 | -0.027694 | 0.36027 | 21 | 0.048436 | -11 | 0.00047502 | -0.027694 | 0.021217 | 21 | 0.38749 | -11 | 0.00047502 | -0.027694 | 0.36027 | 21 | 0.72654 | -11 | 0.00047502 | -0.027694 | 0.69932 | 21 | 0.96872 | -11 | 0.00047502 | -0.027694 | 0.9415 | 21 | 0.92028 | -11 | 0.00047502 | -0.027694 | 0.89306 | 21 | 0.62967 | -11 | 0.00047502 | -0.027694 | 0.60245
20 | 0.096199 | -12 | 0.00025342 | -0.020228 | 0.076225 | 20 | 20 | 0.57719 | -12 | 0.00025342 | -0.020228 | 0.55722 | 20 | 0.96199 | -12 | 0.00025342 | -0.020228 | 0.94202 | 20 | 1.0101 | -12 | 0.00025342 | -0.020228 | 0.99012 | 20 | 0.86579 | -12 | 0.00025342 | -0.020228 | 0.84582 | 20 | 0.3848 | -12 | 0.00025342 | -0.020228 | 0.36482 | 20 | 0.0481 | -12 | 0.00025342 | -0.020228 | 0.028125 | 20 | 0.3848 | -12 | 0.00025342 | -0.020228 | 0.36482 | 20 | 0.72149 | -12 | 0.00025342 | -0.020228 | 0.70152 | 20 | 0.96199 | -12 | 0.00025342 | -0.020228 | 0.94202 | 20 | 0.91389 | -12 | 0.00025342 | -0.020228 | 0.89392 | 20 | 0.62529 | -12 | 0.00025342 | -0.020228 | 0.60532
19 | 0.095497 | -13 | 0.0001352 | -0.014774 | 0.080858 | 19 | 19 | 0.57298 | -13 | 0.0001352 | -0.014774 | 0.55834 | 19 | 0.95497 | -13 | 0.0001352 | -0.014774 | 0.94033 | 19 | 1.0027 | -13 | 0.0001352 | -0.014774 | 0.98808 | 19 | 0.85947 | -13 | 0.0001352 | -0.014774 | 0.84483 | 19 | 0.38199 | -13 | 0.0001352 | -0.014774 | 0.36735 | 19 | 0.047748 | -13 | 0.0001352 | -0.014774 | 0.033109 | 19 | 0.38199 | -13 | 0.0001352 | -0.014774 | 0.36735 | 19 | 0.71623 | -13 | 0.0001352 | -0.014774 | 0.70159 | 19 | 0.95497 | -13 | 0.0001352 | -0.014774 | 0.94033 | 19 | 0.90722 | -13 | 0.0001352 | -0.014774 | 0.89258 | 19 | 0.62073 | -13 | 0.0001352 | -0.014774 | 0.60609
18 | 0.094762 | -14 | 7.2126e-05 | -0.010791 | 0.084043 | 18 | 18 | 0.56857 | -14 | 7.2126e-05 | -0.010791 | 0.55785 | 18 | 0.94762 | -14 | 7.2126e-05 | -0.010791 | 0.9369 | 18 | 0.995 | -14 | 7.2126e-05 | -0.010791 | 0.98428 | 18 | 0.85286 | -14 | 7.2126e-05 | -0.010791 | 0.84214 | 18 | 0.37905 | -14 | 7.2126e-05 | -0.010791 | 0.36833 | 18 | 0.047381 | -14 | 7.2126e-05 | -0.010791 | 0.036662 | 18 | 0.37905 | -14 | 7.2126e-05 | -0.010791 | 0.36833 | 18 | 0.71071 | -14 | 7.2126e-05 | -0.010791 | 0.7 | 18 | 0.94762 | -14 | 7.2126e-05 | -0.010791 | 0.9369 | 18 | 0.90024 | -14 | 7.2126e-05 | -0.010791 | 0.88952 | 18 | 0.61595 | -14 | 7.2126e-05 | -0.010791 | 0.60523
17 | 0.093991 | -15 | 3.8478e-05 | -0.0078819 | 0.086148 | 17 | 17 | 0.56395 | -15 | 3.8478e-05 | -0.0078819 | 0.5561 | 17 | 0.93991 | -15 | 3.8478e-05 | -0.0078819 | 0.93207 | 17 | 0.98691 | -15 | 3.8478e-05 | -0.0078819 | 0.97907 | 17 | 0.84592 | -15 | 3.8478e-05 | -0.0078819 | 0.83808 | 17 | 0.37597 | -15 | 3.8478e-05 | -0.0078819 | 0.36812 | 17 | 0.046996 | -15 | 3.8478e-05 | -0.0078819 | 0.039152 | 17 | 0.37597 | -15 | 3.8478e-05 | -0.0078819 | 0.36812 | 17 | 0.70494 | -15 | 3.8478e-05 | -0.0078819 | 0.69709 | 17 | 0.93991 | -15 | 3.8478e-05 | -0.0078819 | 0.93207 | 17 | 0.89292 | -15 | 3.8478e-05 | -0.0078819 | 0.88507 | 17 | 0.61094 | -15 | 3.8478e-05 | -0.0078819 | 0.6031
16 | 0.093181 | -16 | 2.0528e-05 | -0.005757 | 0.087444 | 16 | 16 | 0.55909 | -16 | 2.0528e-05 | -0.005757 | 0.55335 | 16 | 0.93181 | -16 | 2.0528e-05 | -0.005757 | 0.92607 | 16 | 0.9784 | -16 | 2.0528e-05 | -0.005757 | 0.97266 | 16 | 0.83863 | -16 | 2.0528e-05 | -0.005757 | 0.83289 | 16 | 0.37272 | -16 | 2.0528e-05 | -0.005757 | 0.36699 | 16 | 0.04659 | -16 | 2.0528e-05 | -0.005757 | 0.040854 | 16 | 0.37272 | -16 | 2.0528e-05 | -0.005757 | 0.36699 | 16 | 0.69886 | -16 | 2.0528e-05 | -0.005757 | 0.69312 | 16 | 0.93181 | -16 | 2.0528e-05 | -0.005757 | 0.92607 | 16 | 0.88522 | -16 | 2.0528e-05 | -0.005757 | 0.87948 | 16 | 0.60568 | -16 | 2.0528e-05 | -0.005757 | 0.59994
15 | 0.092326 | -17 | 1.0951e-05 | -0.0042049 | 0.088132 | 15 | 15 | 0.55395 | -17 | 1.0951e-05 | -0.0042049 | 0.54976 | 15 | 0.92326 | -17 | 1.0951e-05 | -0.0042049 | 0.91906 | 15 | 0.96942 | -17 | 1.0951e-05 | -0.0042049 | 0.96523 | 15 | 0.83093 | -17 | 1.0951e-05 | -0.0042049 | 0.82674 | 15 | 0.3693 | -17 | 1.0951e-05 | -0.0042049 | 0.36511 | 15 | 0.046163 | -17 | 1.0951e-05 | -0.0042049 | 0.041969 | 15 | 0.3693 | -17 | 1.0951e-05 | -0.0042049 | 0.36511 | 15 | 0.69244 | -17 | 1.0951e-05 | -0.0042049 | 0.68825 | 15 | 0.92326 | -17 | 1.0951e-05 | -0.0042049 | 0.91906 | 15 | 0.87709 | -17 | 1.0951e-05 | -0.0042049 | 0.8729 | 15 | 0.60012 | -17 | 1.0951e-05 | -0.0042049 | 0.59592
14 | 0.09142 | -18 | 5.8424e-06 | -0.0030713 | 0.088355 | 14 | 14 | 0.54852 | -18 | 5.8424e-06 | -0.0030713 | 0.54546 | 14 | 0.9142 | -18 | 5.8424e-06 | -0.0030713 | 0.91114 | 14 | 0.95991 | -18 | 5.8424e-06 | -0.0030713 | 0.95685 | 14 | 0.82278 | -18 | 5.8424e-06 | -0.0030713 | 0.81972 | 14 | 0.36568 | -18 | 5.8424e-06 | -0.0030713 | 0.36262 | 14 | 0.04571 | -18 | 5.8424e-06 | -0.0030713 | 0.042645 | 14 | 0.36568 | -18 | 5.8424e-06 | -0.0030713 | 0.36262 | 14 | 0.68565 | -18 | 5.8424e-06 | -0.0030713 | 0.68259 | 14 | 0.9142 | -18 | 5.8424e-06 | -0.0030713 | 0.91114 | 14 | 0.86849 | -18 | 5.8424e-06 | -0.0030713 | 0.86543 | 14 | 0.59423 | -18 | 5.8424e-06 | -0.0030713 | 0.59117
13 | 0.090457 | -19 | 3.1168e-06 | -0.0022433 | 0.088217 | 13 | 13 | 0.54274 | -19 | 3.1168e-06 | -0.0022433 | 0.5405 | 13 | 0.90457 | -19 | 3.1168e-06 | -0.0022433 | 0.90233 | 13 | 0.9498 | -19 | 3.1168e-06 | -0.0022433 | 0.94756 | 13 | 0.81412 | -19 | 3.1168e-06 | -0.0022433 | 0.81188 | 13 | 0.36183 | -19 | 3.1168e-06 | -0.0022433 | 0.35959 | 13 | 0.045229 | -19 | 3.1168e-06 | -0.0022433 | 0.042989 | 13 | 0.36183 | -19 | 3.1168e-06 | -0.0022433 | 0.35959 | 13 | 0.67843 | -19 | 3.1168e-06 | -0.0022433 | 0.67619 | 13 | 0.90457 | -19 | 3.1168e-06 | -0.0022433 | 0.90233 | 13 | 0.85935 | -19 | 3.1168e-06 | -0.0022433 | 0.85711 | 13 | 0.58797 | -19 | 3.1168e-06 | -0.0022433 | 0.58573
12 | 0.089429 | -20 | 1.6628e-06 | -0.0016385 | 0.087792 | 12 | 12 | 0.53657 | -20 | 1.6628e-06 | -0.0016385 | 0.53494 | 12 | 0.89429 | -20 | 1.6628e-06 | -0.0016385 | 0.89265 | 12 | 0.939 | -20 | 1.6628e-06 | -0.0016385 | 0.93737 | 12 | 0.80486 | -20 | 1.6628e-06 | -0.0016385 | 0.80322 | 12 | 0.35772 | -20 | 1.6628e-06 | -0.0016385 | 0.35608 | 12 | 0.044714 | -20 | 1.6628e-06 | -0.0016385 | 0.043078 | 12 | 0.35772 | -20 | 1.6628e-06 | -0.0016385 | 0.35608 | 12 | 0.67072 | -20 | 1.6628e-06 | -0.0016385 | 0.66908 | 12 | 0.89429 | -20 | 1.6628e-06 | -0.0016385 | 0.89265 | 12 | 0.84958 | -20 | 1.6628e-06 | -0.0016385 | 0.84794 | 12 | 0.58129 | -20 | 1.6628e-06 | -0.0016385 | 0.57965
11 | 0.088324 | -21 | 8.8708e-07 | -0.0011968 | 0.087128 | 11 | 11 | 0.52995 | -21 | 8.8708e-07 | -0.0011968 | 0.52875 | 11 | 0.88324 | -21 | 8.8708e-07 | -0.0011968 | 0.88205 | 11 | 0.9274 | -21 | 8.8708e-07 | -0.0011968 | 0.92621 | 11 | 0.79492 | -21 | 8.8708e-07 | -0.0011968 | 0.79372 | 11 | 0.3533 | -21 | 8.8708e-07 | -0.0011968 | 0.3521 | 11 | 0.044162 | -21 | 8.8708e-07 | -0.0011968 | 0.042966 | 11 | 0.3533 | -21 | 8.8708e-07 | -0.0011968 | 0.3521 | 11 | 0.66243 | -21 | 8.8708e-07 | -0.0011968 | 0.66124 | 11 | 0.88324 | -21 | 8.8708e-07 | -0.0011968 | 0.88205 | 11 | 0.83908 | -21 | 8.8708e-07 | -0.0011968 | 0.83788 | 11 | 0.57411 | -21 | 8.8708e-07 | -0.0011968 | 0.57291
10 | 0.08713 | -22 | 4.7325e-07 | -0.00087412 | 0.086256 | 10 | 10 | 0.52278 | -22 | 4.7325e-07 | -0.00087412 | 0.52191 | 10 | 0.8713 | -22 | 4.7325e-07 | -0.00087412 | 0.87042 | 10 | 0.91486 | -22 | 4.7325e-07 | -0.00087412 | 0.91399 | 10 | 0.78417 | -22 | 4.7325e-07 | -0.00087412 | 0.78329 | 10 | 0.34852 | -22 | 4.7325e-07 | -0.00087412 | 0.34765 | 10 | 0.043565 | -22 | 4.7325e-07 | -0.00087412 | 0.042691 | 10 | 0.34852 | -22 | 4.7325e-07 | -0.00087412 | 0.34765 | 10 | 0.65347 | -22 | 4.7325e-07 | -0.00087412 | 0.6526 | 10 | 0.8713 | -22 | 4.7325e-07 | -0.00087412 | 0.87042 | 10 | 0.82773 | -22 | 4.7325e-07 | -0.00087412 | 0.82686 | 10 | 0.56634 | -22 | 4.7325e-07 | -0.00087412 | 0.56547
9 | 0.085828 | -23 | 2.5247e-07 | -0.00063846 | 0.08519 | 9 | 9 | 0.51497 | -23 | 2.5247e-07 | -0.00063846 | 0.51433 | 9 | 0.85828 | -23 | 2.5247e-07 | -0.00063846 | 0.85764 | 9 | 0.9012 | -23 | 2.5247e-07 | -0.00063846 | 0.90056 | 9 | 0.77245 | -23 | 2.5247e-07 | -0.00063846 | 0.77182 | 9 | 0.34331 | -23 | 2.5247e-07 | -0.00063846 | 0.34267 | 9 | 0.042914 | -23 | 2.5247e-07 | -0.00063846 | 0.042276 | 9 | 0.34331 | -23 | 2.5247e-07 | -0.00063846 | 0.34267 | 9 | 0.64371 | -23 | 2.5247e-07 | -0.00063846 | 0.64307 | 9 | 0.85828 | -23 | 2.5247e-07 | -0.00063846 | 0.85764 | 9 | 0.81537 | -23 | 2.5247e-07 | -0.00063846 | 0.81473 | 9 | 0.55788 | -23 | 2.5247e-07 | -0.00063846 | 0.55724
8 | 0.084396 | -24 | 1.3469e-07 | -0.00046633 | 0.08393 | 8 | 8 | 0.50638 | -24 | 1.3469e-07 | -0.00046633 | 0.50591 | 8 | 0.84396 | -24 | 1.3469e-07 | -0.00046633 | 0.84349 | 8 | 0.88616 | -24 | 1.3469e-07 | -0.00046633 | 0.88569 | 8 | 0.75956 | -24 | 1.3469e-07 | -0.00046633 | 0.7591 | 8 | 0.33758 | -24 | 1.3469e-07 | -0.00046633 | 0.33712 | 8 | 0.042198 | -24 | 1.3469e-07 | -0.00046633 | 0.041732 | 8 | 0.33758 | -24 | 1.3469e-07 | -0.00046633 | 0.33712 | 8 | 0.63297 | -24 | 1.3469e-07 | -0.00046633 | 0.6325 | 8 | 0.84396 | -24 | 1.3469e-07 | -0.00046633 | 0.84349 | 8 | 0.80176 | -24 | 1.3469e-07 | -0.00046633 | 0.8013 | 8 | 0.54857 | -24 | 1.3469e-07 | -0.00046633 | 0.54811
7 | 0.082801 | -25 | 7.1856e-08 | -0.00034061 | 0.082461 | 7 | 7 | 0.49681 | -25 | 7.1856e-08 | -0.00034061 | 0.49647 | 7 | 0.82801 | -25 | 7.1856e-08 | -0.00034061 | 0.82767 | 7 | 0.86941 | -25 | 7.1856e-08 | -0.00034061 | 0.86907 | 7 | 0.74521 | -25 | 7.1856e-08 | -0.00034061 | 0.74487 | 7 | 0.33121 | -25 | 7.1856e-08 | -0.00034061 | 0.33087 | 7 | 0.041401 | -25 | 7.1856e-08 | -0.00034061 | 0.04106 | 7 | 0.33121 | -25 | 7.1856e-08 | -0.00034061 | 0.33087 | 7 | 0.62101 | -25 | 7.1856e-08 | -0.00034061 | 0.62067 | 7 | 0.82801 | -25 | 7.1856e-08 | -0.00034061 | 0.82767 | 7 | 0.78661 | -25 | 7.1856e-08 | -0.00034061 | 0.78627 | 7 | 0.53821 | -25 | 7.1856e-08 | -0.00034061 | 0.53787
6 | 0.080998 | -26 | 3.8334e-08 | -0.00024878 | 0.080749 | 6 | 6 | 0.48599 | -26 | 3.8334e-08 | -0.00024878 | 0.48574 | 6 | 0.80998 | -26 | 3.8334e-08 | -0.00024878 | 0.80973 | 6 | 0.85048 | -26 | 3.8334e-08 | -0.00024878 | 0.85023 | 6 | 0.72898 | -26 | 3.8334e-08 | -0.00024878 | 0.72873 | 6 | 0.32399 | -26 | 3.8334e-08 | -0.00024878 | 0.32374 | 6 | 0.040499 | -26 | 3.8334e-08 | -0.00024878 | 0.04025 | 6 | 0.32399 | -26 | 3.8334e-08 | -0.00024878 | 0.32374 | 6 | 0.60748 | -26 | 3.8334e-08 | -0.00024878 | 0.60724 | 6 | 0.80998 | -26 | 3.8334e-08 | -0.00024878 | 0.80973 | 6 | 0.76948 | -26 | 3.8334e-08 | -0.00024878 | 0.76923 | 6 | 0.52649 | -26 | 3.8334e-08 | -0.00024878 | 0.52624
5 | 0.078916 | -27 | 2.0451e-08 | -0.00018171 | 0.078734 | 5 | 5 | 0.47349 | -27 | 2.0451e-08 | -0.00018171 | 0.47331 | 5 | 0.78916 | -27 | 2.0451e-08 | -0.00018171 | 0.78897 | 5 | 0.82861 | -27 | 2.0451e-08 | -0.00018171 | 0.82843 | 5 | 0.71024 | -27 | 2.0451e-08 | -0.00018171 | 0.71006 | 5 | 0.31566 | -27 | 2.0451e-08 | -0.00018171 | 0.31548 | 5 | 0.039458 | -27 | 2.0451e-08 | -0.00018171 | 0.039276 | 5 | 0.31566 | -27 | 2.0451e-08 | -0.00018171 | 0.31548 | 5 | 0.59187 | -27 | 2.0451e-08 | -0.00018171 | 0.59168 | 5 | 0.78916 | -27 | 2.0451e-08 | -0.00018171 | 0.78897 | 5 | 0.7497 | -27 | 2.0451e-08 | -0.00018171 | 0.74952 | 5 | 0.51295 | -27 | 2.0451e-08 | -0.00018171 | 0.51277
4 | 0.07644 | -28 | 1.091e-08 | -0.00013272 | 0.076307 | 4 | 4 | 0.45864 | -28 | 1.091e-08 | -0.00013272 | 0.4585 | 4 | 0.7644 | -28 | 1.091e-08 | -0.00013272 | 0.76426 | 4 | 0.80262 | -28 | 1.091e-08 | -0.00013272 | 0.80248 | 4 | 0.68796 | -28 | 1.091e-08 | -0.00013272 | 0.68782 | 4 | 0.30576 | -28 | 1.091e-08 | -0.00013272 | 0.30563 | 4 | 0.03822 | -28 | 1.091e-08 | -0.00013272 | 0.038087 | 4 | 0.30576 | -28 | 1.091e-08 | -0.00013272 | 0.30563 | 4 | 0.5733 | -28 | 1.091e-08 | -0.00013272 | 0.57316 | 4 | 0.7644 | -28 | 1.091e-08 | -0.00013272 | 0.76426 | 4 | 0.72618 | -28 | 1.091e-08 | -0.00013272 | 0.72604 | 4 | 0.49686 | -28 | 1.091e-08 | -0.00013272 | 0.49672
3 | 0.073362 | -29 | 5.8205e-09 | -9.6941e-05 | 0.073265 | 3 | 3 | 0.44017 | -29 | 5.8205e-09 | -9.6941e-05 | 0.44007 | 3 | 0.73362 | -29 | 5.8205e-09 | -9.6941e-05 | 0.73352 | 3 | 0.7703 | -29 | 5.8205e-09 | -9.6941e-05 | 0.7702 | 3 | 0.66026 | -29 | 5.8205e-09 | -9.6941e-05 | 0.66016 | 3 | 0.29345 | -29 | 5.8205e-09 | -9.6941e-05 | 0.29335 | 3 | 0.036681 | -29 | 5.8205e-09 | -9.6941e-05 | 0.036584 | 3 | 0.29345 | -29 | 5.8205e-09 | -9.6941e-05 | 0.29335 | 3 | 0.55021 | -29 | 5.8205e-09 | -9.6941e-05 | 0.55012 | 3 | 0.73362 | -29 | 5.8205e-09 | -9.6941e-05 | 0.73352 | 3 | 0.69694 | -29 | 5.8205e-09 | -9.6941e-05 | 0.69684 | 3 | 0.47685 | -29 | 5.8205e-09 | -9.6941e-05 | 0.47675
2 | 0.069233 | -30 | 3.1052e-09 | -7.0806e-05 | 0.069162 | 2 | 2 | 0.4154 | -30 | 3.1052e-09 | -7.0806e-05 | 0.41533 | 2 | 0.69233 | -30 | 3.1052e-09 | -7.0806e-05 | 0.69226 | 2 | 0.72695 | -30 | 3.1052e-09 | -7.0806e-05 | 0.72688 | 2 | 0.6231 | -30 | 3.1052e-09 | -7.0806e-05 | 0.62303 | 2 | 0.27693 | -30 | 3.1052e-09 | -7.0806e-05 | 0.27686 | 2 | 0.034617 | -30 | 3.1052e-09 | -7.0806e-05 | 0.034546 | 2 | 0.27693 | -30 | 3.1052e-09 | -7.0806e-05 | 0.27686 | 2 | 0.51925 | -30 | 3.1052e-09 | -7.0806e-05 | 0.51918 | 2 | 0.69233 | -30 | 3.1052e-09 | -7.0806e-05 | 0.69226 | 2 | 0.65771 | -30 | 3.1052e-09 | -7.0806e-05 | 0.65764 | 2 | 0.45002 | -30 | 3.1052e-09 | -7.0806e-05 | 0.44994
1 | 0.062706 | -31 | 1.6566e-09 | -5.1717e-05 | 0.062654 | 1 | 1 | 0.37624 | -31 | 1.6566e-09 | -5.1717e-05 | 0.37618 | 1 | 0.62706 | -31 | 1.6566e-09 | -5.1717e-05 | 0.62701 | 1 | 0.65841 | -31 | 1.6566e-09 | -5.1717e-05 | 0.65836 | 1 | 0.56435 | -31 | 1.6566e-09 | -5.1717e-05 | 0.5643 | 1 | 0.25082 | -31 | 1.6566e-09 | -5.1717e-05 | 0.25077 | 1 | 0.031353 | -31 | 1.6566e-09 | -5.1717e-05 | 0.031301 | 1 | 0.25082 | -31 | 1.6566e-09 | -5.1717e-05 | 0.25077 | 1 | 0.4703 | -31 | 1.6566e-09 | -5.1717e-05 | 0.47024 | 1 | 0.62706 | -31 | 1.6566e-09 | -5.1717e-05 | 0.62701 | 1 | 0.59571 | -31 | 1.6566e-09 | -5.1717e-05 | 0.59566 | 1 | 0.40759 | -31 | 1.6566e-09 | -5.1717e-05 | 0.40754
5

## Useful Links
Website | Notes
http://www.hse.gov.uk/research/rrpdf/rr401.pdf
http://www.dft.gov.uk/mca/final_report-8.pdf
http://www.marin.nl/upload_mm/f/5/e/1807494158_1999999096_2006-DOT_JohannessenHaverBunnikBuchner.pdf
https://www.carbontrust.com/media/173503/tidal-streams_-device-design.pdf | 1/7th Power law theory
http://www.ieawind.org/task_23/Subtask_2S_docs/Meeting%2008_Berlin/GeirMoe_Chap6-6_LinearWaveTheory.pdf | Linear Wave Theory (wave particle Velocity)
Stokes Drift Velocity Is Approximatly equal to: