## LCOE Wind Farm
Project development | 150000 | £/MW | 150000000
Turbine | 1100000 | £/MW/unit turbine | 1100000000
Substructure | 3720000 | per unit turbine | 372000000
Mooring and Anchoring System | 136000 | per installed Anchor | 81600000
Electrical interconnection | 115700 | £/MW | 115700000
Installation | 459000 | £/MW/unit turbine | 459000000
Insurance during construction | 38000 | £/MW | 38000000
Contingency | .+10% |  | 231630000
CAPEX |  |  | 2547930000
O&M Cost | 75000 | £/MW/year | 1500000000
insurance during operating phase | 15600 | £/year/MW | 312000000
OPEX |  |  | 1812000000
CAPEX + OPEX |  |  | 4359930000
Years | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Discount rate | 1 | 0.95303 | 0.8656 | 0.7862 | 0.71408 | 0.64857 | 0.58907 | 0.53504 | 0.48595 | 0.44138 | 0.40089 | 0.36411 | 0.33071 | 0.30037 | 0.27282 | 0.24779 | 0.22506 | 0.20441 | 0.18566 | 0.16863 | 0.15316 | 0.13911 | 0.12635 | 0.11476 | 0.10423
Energy Generation MW*h/year | [5 empty] | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440 | 5248440
Discounted Energy Generation | 0 | 0 | 0 | 0 | 0 | 3403982.3641 | 3091718.7685 | 2808100.6071 | 2550500.0973 | 2316530.5153 | 2104024.0829 | 1911011.8827 | 1735705.6156 | 1576481.0314 | 1431862.8805 | 1300511.2448 | 1181209.1233 | 1072851.1565 | 974433.3846 | 885043.9461 | 803854.6286 | 730113.1958 | 663136.4176 | 602303.7399 | 547051.5349
Project development | -4: 70%; -3: 10%; 4359930000 -2: 10%; 4359930000 -1: 10%; 4359930000 0: 0%
Turbine | 4359930000 -1: 50%; 4359930000 0: 50%
Substructure | 4359930000 -1: 50%; 4359930000 0: 50%
Mooring and Anchoring System | 4359930000 -1: 40%; 4359930000 0: 60%
Electrical interconnection | 4359930000 -2: 70%; 4359930000 -1: 20%; 4359930000 0: 10%
Installation | 4359930000 -1: 30%; 4359930000 0: 70%
Insurance during construction | 4359930000 -2: 33.33%; 4359930000 -1: 33.33%; 4359930000 0: 33.33%
Contingency | 4359930000 -2: 33.33%; 4359930000 -1: 33.33%; 4359930000 0: 33.33%
OPEX | [5 empty] | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Annual Cost | 105000000 | 15000000 | 185866666.6667 | 1034356666.6667 | 1207706666.6667 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000 | 90600000
Discounted Annual Cost | 105000000 | 14295442.3865 | 160886843.7721 | 813208707.9828 | 862394240.1826 | 58760470.1942 | 53370091.0029 | 48474197.0962 | 44027426.972 | 39988580.356 | 36320236.4723 | 32988407.3318 | 29962222.8263 | 27213644.7106 | 24717206.8216 | 22449779.1295 | 20390353.4328 | 18519848.7128 | 16820934.3441 | 15277869.5223 | 13876357.4226 | 12603412.7363 | 11447241.359 | 10397131.1163 | 9443352.5125
LCOE [£/MW] | -4: 78.9776

## Discount Rate
WACC | 10.1%
year of project development | discount rate
-4 | 1
-3 | 0.95303
-2 | 0.8656
-1 | 0.7862
0 | 0.71408
1 | 0.64857
2 | 0.58907
3 | 0.53504
4 | 0.48595
5 | 0.44138
6 | 0.40089
7 | 0.36411
8 | 0.33071
9 | 0.30037
10 | 0.27282
11 | 0.24779
12 | 0.22506
13 | 0.20441
14 | 0.18566
15 | 0.16863
16 | 0.15316
17 | 0.13911
18 | 0.12635
19 | 0.11476
20 | 0.10423