## Slide 1: Electrical networks in ESP-r
Notes: <number>

## Slide 2: Objectives
How does ESP-r model electrical networks?
How can electrical networks be coupled to other domains?
How can I model electrical networks?
Notes: <number>

## Slide 3: Outline
Introduction
  Electrical network methodology
  Special materials & Hybrid components
  Power-only components and occupant-driven loads
  Connectors
  Grid interaction
Demonstration and hands-on exercises
  Special materials --- renewables
  Coupling plant components
  Power-only components
  Simulations and results analysis
Notes: <number>

## Slide 4: Electric networks
Node 1
Node 2
Node 3
Component A
Component B
Connector 1
Connector 2
Connection to
other domains
Connection to
other domains
Grid import export

## Slide 5: Nodes
Describe portions of network with common voltages
Node 1
Node 2
Node 3
Component A
Grid import export
Calculated:
Voltage computed by coupled
component
Balanced:
Voltage dependant
on other nodes
Fixed:
Voltage maintained
by grid import/export

## Slide 6: Node control volumes
Flow (current) and energy balances

## Slide 7: Conductors
Describe constant, linear impedance between nodes

## Slide 8: Components
Component A
Component B
Connection to
other domains
Connection to
other domains
Components couple network to other domains (plant/building envelope)
Provide network BC’s
Can also stand-in for conductors with non-linear impedance.

## Slide 9: Network solution

## Slide 10: Special materials (PV)
Fully integrated into building fabric
  performance temperature dependent
  Transmittance computed like windows

## Slide 11: Power conditioning (DC-DC, AC-DC)
PCU

## Slide 12: ESP-r Electrical network

## Slide 13: Electrical network with PV
PV-array
DC-AC converter
HVAC Pumps
Occupant-driven loads
Grid import/
export
PV-bus (floating voltage)
AC-bus (120V)

## Slide 14: PV located on west-roof