## Slide 1: Plant networks in ESP-r
Notes: <number>

## Slide 2: Objectives
How does ESP-r model buildings?
What is ESP-r capable of?
How do I model buildings in ESP-r?
Notes: <number>

## Slide 3: Outline
Introduction
  What is Building simulation
  ESP-r methodologies
  ESP-r structure
Demonstration and hands-on exercises
  Building thermal domain
  Network air flow modelling
Notes: <number>

## Slide 4: Solar heating system
Buffer
tank
Gas-fired tank
Solar Collector
Radiators

## Slide 5: Plant-networks: Components
Buffer
tank
Gas-fired tank
Solar Collector
Radiators

## Slide 6: Plant-components: Control-volumes
Buffer
tank
Gas-fired tank
Solar Collector
Radiators

## Slide 7: Component models: control volumes

## Slide 8: Control-volume energy balances

## Slide 9: Building coupling
Sequential solution
B
P
P
P
P
P
P
P
B
B
B
B
B
B
Integrated solution
B
P
P
P
P
P
P
P
B
B
B
B
B
B

## Slide 10: Building coupling
Fully-integraterd “onion solution"
B
P
P
P
P
P
P
P
B
B
B
B
B
B
Lagged, “Ping-pong” solution
B
P
P
P
P
P
P
P
B
B
B
B
B
B

## Slide 11: Plant network constituents
Solar Collector
Buffer
tank
Components
Connections
Containments
T
T
Controls
T

## Slide 12: Components
Selected from database
Linked to algorithms in ESP-r sourse code
Scope and resolution varies
Solar Collector

## Slide 13: Connections
Describe two-phase fluid flow paths
Diversion ratios:
Must add to 1 for each node
Are ignored for imposed flows.
Gas-fired tank
Radiators

## Slide 14: Containments
Describe a component’s surroundings
Can be:
  Fixed value
  Ambient (outdoor)
  Zone / surface / layer
  Node within another plant component
  Fixed temperature
Solar Collector
T
T

## Slide 15: Solar heating system
Buffer
tank
Gas-fired tank
Solar Collector
Radiators

## Slide 16: Controls
Buffer
tank
Gas-fired tank
Solar Collector
Radiators

## Slide 17: Controls: Buffer tank pump
Buffer
tank
Solar Collector
P
Irradiance
Time
100 W - off
200 W - on

## Slide 18: Controls: Gas burner
Buffer
tank
Gas-fired tank
T
Temperature
Time
55 °C - off
60 °C - off

## Slide 19: Controls: Gas-fired-tank pump
Buffer
tank
Gas-fired tank
T
Temperature
Time
55 °C - off
60 °C - on

## Slide 20: Controls: Radiator pump
Gas-fired tank
Radiators
Temperature
Time
19 °C - on
21 °C - off